© ISO New England Inc.

November 7, 2013

2013 Regional System Plan

Preface

ISO New England Inc. (ISO) is the not-for-profit corporation responsible for the reliable operation of New England’s electric power system. It also administers the region’s wholesale electricity markets and manages the comprehensive planning of the regional power system. The planning process includes the preparation of an annual Regional System Plan (RSP) in accordance with the ISO’s Open Access Transmission Tariff (OATT) and other parts of the Transmission, Markets, and Services Tariff (ISO tariff), approved by the Federal Energy Regulatory Commission (FERC). Regional System Plans meet the tariff requirements by including the following:

- Forecasts of future annual energy use and peak loads (i.e., the demand for electricity) for a five- to 10-year planning horizon and the need for resources (i.e., capacity)

- Information about the amounts, locations, and characteristics of market responses (e.g., generation or demand resources or elective transmission upgrades) that can meet the defined system needs to satisfy demand—systemwide and in specific areas

- Descriptions of transmission projects for the region that could meet the identified needs, as summarized in an RSP Project List, which includes information on project status and cost estimates and is updated several times each year.

RSPs also must summarize the ISO’s coordination of its short- and long-term system plans with those of neighboring systems, the results of economic studies of the New England power system, and information that can be used for improving the design of the regional wholesale electricity markets. In addition to these requirements, the RSPs identify the initiatives and other actions the ISO, state officials, regional policymakers, participating transmission owners (PTOs), and other New England Power Pool (NEPOOL) market participants and stakeholders have taken to meet, or in other ways change, the needs of the system.

The 2013 Regional System Plan (RSP13) and the regional system planning process, which identifies the region’s electricity needs and plans for meeting these needs for 2013 through 2022, were developed in full accordance with the requirements established in the OATT.

Regional System Planning Results

New England’s transmission owners have placed in service transmission projects throughout the region to provide solutions to the needs identified through the regional planning process, as detailed in past RSPs and supporting reports. These projects have reinforced the transmission facilities serving the entire region with upgrades identified in all six New England states. The projects also have reinforced the system in critical “load pockets,” such as Southwest Connecticut (SWCT) and Boston, allowing the import of power from other parts of the system. New interconnections with neighboring power systems also have been placed in service, strengthening the region’s ability to interchange power with these systems. From 2002 to June 2013, 475 projects were put into service, totaling approximately $5.5 billion of new infrastructure investment.

In addition to transmission development, market participants and the states have responded to the need for electric energy and capacity resources. Since November 1997, 14,896 megawatts (MW) of new generating projects have interconnected to the New England power system, and 3,363 MW of primarily older, less efficient resources have retired from the system. Demand resources, currently totaling 1,850 MW, are part of the regional power system, and 2,563 MW are expected by 2016. New England state annual investments in energy-efficiency programs are currently in the range of $500 to 600 million. These investments are expected to grow to approximately $800 million per year and remain a large part of the expansion in demand resources.

RSP13 Review and Approval

The regional system planning process in New England is open and transparent and reflects advisory input from regional stakeholders, particularly members of the Planning Advisory Committee (PAC), according to the requirements specified in the OATT. The PAC is open to all parties interested in regional system planning activities in New England.

The ISO and the PAC have discussed study proposals, scopes of work, assumptions, draft and final study results, and other materials appearing in RSP13. From September 2012 through August 2013, the ISO hosted 17 PAC meetings, which 182 stakeholder representatives from 122 entities attended. The ISO also posted to its website PAC presentations, meeting minutes, reports, databases, and other materials. In addition, the ISO held a public meeting on September 12, 2013, to discuss RSP13 and other planning issues facing the New England region.

As required by the OATT Attachment K, the ISO New England Board of Directors has approved the 2013 Regional System Plan.

Contents

Preface	i

Figures	vii

Tables	viii

Section 1
Executive Summary	1

1.1 Overview of the 2013 Regional System Plan	2

1.2 Overview of the Results of System and Strategic Planning Studies	3

1.3 . Major Findings and Observations	6

1.3.1 Forecasts of the Peak Demand and Annual Use of Electric Energy and the Effects of
Energy-Efficiency Measures	7

1.3.2 Needs for Capacity and Operating Reserves	8

1.3.3 Transmission System Needs and Solutions	10

1.3.4 Regional Strategic Planning	13

1.3.5 Interregional Planning	18

1.3.6 State, Regional, and Federal Initiatives that Affect System Planning	20

1.4 Conclusions	20

Section 2
Introduction	21

2.1 Overview of the System Planning Process and RSP13	21

2.1.1 Planning Studies Conducted for and Summarized in RSP13	23

2.1.2 Other Planning Considerations	24

2.2 Overview of the New England Electric Power System	26

2.3 Overview of the New England Wholesale Electricity Market Structure	27

2.4 Overview of System Subdivisions Used for Analyzing and Planning the System	29

Section 3
Forecasts of New England’s Peak Demand, Annual Use of Electric Energy, and Energy Efficiency	32

3.1 ISO New England Load Forecasts	32

3.1.1 Economic and Demographic Factors and Electric Energy Use	34

3.1.2 The CELT Forecast and Passive Demand Resources	36

3.1.3 Subarea Use of Electric Energy	37

3.2 Energy-Efficiency Forecast for New England	38

3.2.1 Results of the 2013 Forecast of Energy Efficiency	39

3.3 Load Forecast Incorporating FCA #7 Results and 2013 Energy-Efficiency Forecast	40

3.4 Summary of Key Findings of the Load and Energy-Efficiency Forecasts	42

Section 4
Resources—Adequacy, Capacity, and Reserves	43

4.1 Determining Systemwide and Local-Area Capacity Needs	43

4.1.1 Systemwide Installed Capacity Requirements	43

4.1.2 Local Resource Requirements and Limits	45

4.1.3 Capacity Supply Obligations	46

4.2 Determining Operating Reserves and Regulation	49

4.2.1 Systemwide Operating-Reserve Requirements	50

4.2.2 Locational Forward Reserve Market Requirements for Major Import Areas	52

4.3 Analyzing Operable Capacity	55

4.4 Identifying New England’s Generating Resources	57

4.4.2 Existing Generating Resources in New England	58

4.4.3 Generating Units in the ISO Generator Interconnection Queue	60

4.5 Summary	62

Section 5
Transmission Security and Upgrades	64

5.1 The Need for Transmission Security	65

5.2 Types of Transmission Upgrades	65

5.2.1 Reliability Transmission Upgrades	65

5.2.2 Market Efficiency Transmission Upgrades	66

5.2.3 Generator Interconnection Upgrades and Generator Interconnection-Related Upgrades	67

5.2.4 Elective Transmission Upgrades and Merchant Transmission Facilities	67

5.3 RSP Project List and Projected Transmission Project Costs	67

5.4 Transmission System Performance Needs Assessments and Upgrade Approvals	70

5.4.1 Northern New England	71

5.4.2 Southern New England	82

5.5 Information on Critical Load Levels	95

5.6 Transmission Improvements to Load and Generation Pockets Addressing Reliability Issues	95

5.7 Out-of-Merit Operating Situations	96

5.8 Other Needed and Elective Transmission Upgrades	97

5.8.1 Needed Market-Efficiency-Related Transmission Upgrades	97

5.8.2 Transmission Improvements to Mitigate Congestion	97

5.8.3 Reliability Transmission Upgrade Improvements to Load and Generation Pockets	98

5.8.4 Required Generator-Interconnection-Related Upgrades	98

5.8.5 Elective Transmission Upgrades	99

5.9 Summary	99

Section 6
Studies and Other Actions Supporting the Strategic Planning of the Region	101

6.1 Changing Mix of Fuels and Diminishing Fuel Diversity	101

6.2 Natural Gas and Oil Supply Issues for Power Generation	102

6.2.1 Winter 2012/2013 Operations	103

6.2.2 Availability of Oil-Fired Generation	105

6.2.3 Limited-Energy Generation Resources	106

6.2.4 Natural Gas Infrastructure—Issues and Improvements	107

6.2.5 Studies on Natural Gas Supply and Delivery to Power Generators	110

6.2.6 Summary of Natural Gas and Oil Supply Issues and Regional Actions	110

6.3 Impacts of Environmental Regulations on Generators and the Power System Overall	113

6.3.1 Emerging Impacts of Clean Water Act Regulations on the Region’s Generators	114

6.3.2 Clean Air Act Requirements	115

6.3.3 Cost of Compliance with Environmental Regulations	118

6.4 Update of Regional Nuclear Generation Licensing Renewals	119

6.5 Update on Hydroelectric Generation Relicensing	119

6.6 Wind Integration Activities	120

6.6.1 The New England Wind Integration Study	120

6.6.2 Wind Development in Constrained Areas	121

6.6.3 Strategic Transmission Analyses—Wind Integration Study	122

6.7 Adoption of Large-Scale Photovoltaic Resources	123

6.7.1 Operational Solar Forecasting	123

6.7.2 PV and Long-Term Planning	123

6.7.3 Potential Reliability Impacts of PV	124

6.8 Economic Performance of the System and Related Studies	124

6.9 Strategic Transmission Analyses—Generator Retirement Analysis	127

6.10 Market Resource Alternative Analysis	129

6.11 Summary	130

Section 7
Planning Coordination, Studies, and Initiatives	132

7.1 Federal Initiatives	132

7.1.1 FERC Order 1000	132

7.1.2 US Department of Energy Congestion Studies	133

7.2 Interregional Coordination and Initiatives	133

7.2.1 Eastern Interconnection Planning Collaborative Studies of the Eastern Interconnection	133

7.2.2 Electric Reliability Organization Overview	134

7.2.3 IRC Activities	135

7.2.4 Northeast Power Coordinating Council Studies and Activities	135

7.2.5 Northeastern ISO/RTO Planning Coordination Protocol	136

7.3 Regional Initiatives	137

7.3.1 Coordination among the New England States	137

7.3.2 Conference of Northeastern Governors and Eastern Canadian Premiers	138

7.3.3 Consumer Liaison Group	139

7.4 ISO Initiatives	139

7.4.1 Improving the Wholesale Electric Markets	139

7.4.2 Updates on Developing and Integrating Smart Grid and Other New Technologies	139

7.4.3 Draft Transmission Planning Process Guide and Draft Transmission Planning Technical Guide	142

7.5 State Initiatives, Activities, and Policies	143

7.5.1 Connecticut	143

7.5.2 Maine	144

7.5.3 Massachusetts	145

7.5.4 New Hampshire	145

7.5.5 Rhode Island	146

7.5.6 Vermont	147

7.5.7 Summary of Renewable Portfolio Standards	148

7.6 Summary of Initiatives	148

Section 8
Key Findings and Conclusions	149

8.1 Energy Use and Energy-Efficiency Forecasts	149

8.2 Capacity Needs	149

8.3 Operating Reserves and Ancillary Services	149

8.4 Transmission Projects	150

8.5 Transmission System Studies	150

8.6 Analysis of Market Resource Alternatives	151

8.7 Fuel Supply and Diversity	151

8.8 Development and Integration of Renewable Resources	151

8.9 State Targets for Renewable Energy	152

8.10 Environmental Regulations and Initiatives	152

8.11 Economic Studies	153

8.12 Interregional Coordination	153

8.13 Federal, Regional, and State Initiatives	153

8.14 Looking Ahead	154

Appendix A
Acronyms	155

# Figures

Figure 2-1: 	Key facts about New England’s electric power system and wholesale electricity markets.	27

Figure 2-2: 	Active-demand-resource dispatch zones in the ISO New England system.	30

Figure 2-3: 	RSP13 geographic scope of the New England electric power system.	31

Figure 3-1: 	The ISO’s actual summer peak loads (i.e., reconstituted for OP 4 and FCM passive demand resources) and the 50/50 and 90/10 forecasts (MW).	34

Figure 3-2: 	“Economy.com” forecasts of New England gross state product from November 2012
and November 2011 forecasts.	36

Figure 3-3: 	Revised RSP13 annual energy-use load forecast (diamond), load forecast minus FCM #7 results through 2016 (square), and load forecast minus FCM results and minus the energy-efficiency forecast (triangle) for 2017 to 2022 (GWh).	41

Figure 3-4: 	Revised RSP13 summer peak demand forecast (90/10) (diamond), load forecast minus FCM #7 results through 2016 (square), and load forecast minus FCM results and minus the energy-efficiency forecast (triangle) for 2017 to 2022 (MW).	41

Figure 4-1: 	Projected summer operable capacity analysis, 2013 to 2022.	56

Figure 4-2: 	Capacity of generation-interconnection requests by RSP subarea from November 1997
to April 2013.	60

Figure 4-3: 	Resources in the ISO Generator Interconnection Queue, by state and fuel type,
as of April 1, 2013 (MW and %).	61

Figure 4-4: 	Resources in the ISO Generator Interconnection Queue, by RSP subarea and fuel type,
as of April 1, 2013 (MW).	62

Figure 4-5: 	Percentage of resources in the ISO Generator Interconnection Queue, by RSP subarea
and fuel type, as of April 1, 2013.	62

Figure 5-1: 	Map of constraints in southern New England.	84

Figure 6-1: 	New England’s generating capacity and electric energy production by fuel type,
2000 and 2012.	102

Figure 6-2: 	Average winter weekly temperatures (for weekdays only) from 2000 to 2013 (°F).	104

Figure 6-3: 	February 8–12, 2013, generator outages and reductions (MW) (top)
and 2013 Winter Storm Nemo transmission outages (bottom).	105

Figure 6-4. 	Estimated aggregate oil-generator output (MW).	106

Figure 6-5: 	January to February 2013 timeline showing challenges resulting from the inflexibility
of the fuel supply for power generation.	107

Figure 6-6: 	Overview map of the natural gas infrastructure serving New England.	108

Figure 6-7: 	Northeast natural gas pipeline constraints (left) and recent pipeline-capacity additions (right).	109

Figure 6-8: 	Marginal and system average emission rates, 1999 to 2011 (lb/MWh).	117

Figure 6-9: 	Effectiveness of load and resource additions or removals based on production cost ($).	126

Figure 6-10: 	At-risk capacity resources in New England (MW) assumed to retire by 2020.	129

Figure 7-1: 	Existing and planned FACTS devices in New England.	142

# Tables

Table 3-1 	Summary of Annual Electric Energy Use and Peak Demand for New England and the States	33

Table 3-2 	New England Economic and Demographic Forecast Summary	35

Table 3-3 	Forecasts of Annual Use of Electric Energy and Peak Demand in RSP Subareas, 2013 and 2022	37

Table 3-4  	Forecasts of RSP Subarea Peak Demand, 2013	38

Table 3-5  	ISO New England’s Final Energy-Efficiency Forecast for 2016 to 2022 (GWh, MW)	40

Table 3-6  	2013 Forecasts of Annual and Peak Electric Energy Use Compared with the Forecast
Minus FCM Passive Resources (2013 to 2016) and Energy-Efficiency Forecast Results
(2017 to 2022)	42

Table 4-1  	Actual and Representative New England Net Installed Capacity Requirements and Resulting Reserves, 2013 to 2022 (MW, %)	44

Table 4-2 	Actual LSRs and MCLs for the 2013/2014 to 2016/2017 Capacity Commitment Periods	46

Table 4-3 	Summary of the FCA Obligations at the Conclusion of Each Auction (MW)	46

Table 4-4 	Results of the FCA by Capacity Zone at the Conclusion of Each Auction (MW, $/kW-month)	47

Table 4-5 	Capacity Supply Obligation for New Capacity Procured during the Forward Capacity
Auctions (MW)	49

Table 4-6  	Future Systemwide Needs (MW)	49

Table 4-7  	Representative Future Operating-Reserve Requirements in Major New England
Import Areas (MW)	53

Table 4-8 	Projected New England Operable Capacity Analysis for Summer, 2013 to 2022,
Assuming 50/50 Loads (MW)	56

Table 4-9 	Projected New England Operable Capacity Analysis for Summer, 2013 to 2022,
Assuming 90/10 Loads (MW)	57

Table 4-10  	2013 Summer Seasonal Claimed Capability for ISO New England Generating Resources,
by Assumed Operating Classification, Systemwide and by RSP Subarea (MW)	58

Table 4-11 	RSP13 Generating Capacity by Subarea, Load Zone, and State, 2013	59

Table 4-12 	Summary of Queue Projects as of April 1, 2013	61

Table 5-1 	Estimated Cost of Reliability Projects as of June 2013 Plan Update (Millions $)	69

Table 5-2 	Actual and Forecast Regional Network Service Rates, 2011 to 2016	70

Table 5-3 	Net Commitment-Period Compensation by Type and Year (Million $)	98

Table 6-1 	New England Operating Nuclear Power Plants	119

Table 6-2 	Vintage of New England Generators by Fuel Type and In-Service Dates	128

# Executive Summary

Over the past decade, ISO New England’s (ISO) regional system planning process and market design have fostered significant improvements to the region’s generation and demand resources and transmission system. Almost 30% of the region’s existing generation was built during the last 12 years, and the amount of energy-efficiency performing as demand resources in the Forward Capacity Market (FCM) has increased roughly 200 MW per year over the past four years. The transmission system, which had seen little investment in past decades, has been upgraded to better serve the region’s load.

To maintain the reliable and efficient operation of the New England power system, the regional system planning process is continuous and comprehensive, building on the results and recommendations of previous plans. Notwithstanding the region’s system improvements, challenges remain across the 10-year planning horizon for maintaining system reliability, including the following:

- Improving resource performance and flexibility

- Maintaining reliability given the region’s increased reliance on natural-gas-fired capacity

- Planning for the potential retirement of generators

- Integrating a greater level of intermittent resources (i.e., variable energy resources; VERs)

To address these challenges, prepare for changes likely to confront the New England power system, and assess potential system enhancements, the ISO and its stakeholders are conducting a Strategic Planning Initiative and other market development, system operations, and planning activities to support the overall strategic planning of the region. These activities take place through an open stakeholder process that includes input from the Planning Advisory Committee (PAC) and the New England Power Pool (NEPOOL) committee structure.

Historically, the region has responded to system needs through proactive planning, the completion of transmission projects and other improvements that facilitate the reliable operation of the system, the development of resources needed in the region, and the overall competitiveness of the markets. The Federal Energy Regulatory Commission’s (FERC) Order 1000 now requires fundamental changes to the transmission planning process as it has been conducted in New England since 2001 regarding the transmission owners’ right to build and the process for developing transmission projects. The order also requires planning to meet public policy objectives. While the effective date of this order is uncertain, implementing these changes could prove challenging for the region.

In addition to revising the planning process to meet Order 1000 requirements, the ISO is conducting its ongoing regional planning activities under the following set of system considerations:

- Low net load growth due to a slow recovery from the recession and the forecast of energy-efficiency resources

- Existing level and types of resources, the development of new resources, and the retirement of others

- $5.7 billion additional transmission improvements planned for the region consistent with federal and regional reliability standards

- The robust interregional coordination and planning studies the ISO performs with neighboring regions, which are consistent with the interregional requirements of Order 1000

This section provides an overview of the 2013 Regional System Plan, a summary of the results of system and strategic planning studies, and the highlights of key findings and observations. The main sections of RSP13 summarize key assumptions, study results, and issues and include references to reports and presentations that provide detailed information to interested readers. Italicized terms throughout the report indicate that a definition for the term is included within the text or footnotes; links to other documents that more fully define the more complex terms are provided. Appendix A is a list of acronyms and abbreviations used in RSP13.

## Overview of the 2013 Regional System Plan

The 2013 Regional System Plan (RSP13) provides information on system and project needs, system improvements, and the results of newly completed load, resource, and transmission analyses of the New England electric power system for reliably serving load throughout the region to 2022. It also discusses ongoing and new analyses based on the current and planned system and describes new and planned infrastructure for all areas of New England. The major factors influencing resource retirements and the development of the electric power system infrastructure for the 10-year planning period, such as existing and pending state and federal environmental and energy policies, also are addressed.

RSP13 and the system planning process throughout the year comply with all applicable sections of the ISO’s Transmission, Markets, and Services Tariff (ISO tariff), approved by FERC. The plan and planning process also satisfy the relevant criteria and requirements established by the North American Electric Reliability Corporation (NERC), the Northeast Power Coordinating Council (NPCC), participating transmission owners (PTOs), and the ISO. As part of its compliance with Attachment K of the ISO’s Open Access Transmission Tariff (OATT), RSP13 specifically provides information on the timing of system needs and the quantity, general locations, and characteristics of the generation and demand resources that could resolve these needs. The results of various system and regional strategic planning studies and other materials, such as the following, provide this information:

- Forecasts of the average electric energy usage annually and at the peak hour for 2013 to 2022—for the entire system, individual states, and smaller areas of the power system (see Section 3.1)

- Forecasts of the long-term energy-efficiency (EE) savings in the six New England states, annually and at the peak hour for 2016 to 2022 (see Section 3.2)

- Projections of the systemwide need for capacity and operating reserves, which show the allowable limits of generator retirements and the locations where fast-start resources would be the most beneficial (see Section 4)

- Analyses and operating experience that show the vulnerabilities associated with the regional reliance on natural gas and the benefits of having more reliable access to gas supplies, dual-fuel capabilities, and other fuel sources (see Section 6.2)

- Existing and pending environmental regulations, emissions analyses, and economic studies, which show the effects of using efficient, low-emitting resources; greater amounts of renewable resources; and improved energy efficiency on regional air emissions and economic performance (see Section 6.3)

- Economic studies of resource retirement and expansion scenarios, which describe the effects of varying amounts, locations, and types of resources on system performance  (see Section 6.8)

- The Strategic Transmission Analysis, which provides insight on beneficial electrical locations for resource development if and when extensive generation retirements occur across the region (see Section 6.9)

- Planning analyses of wind and photovoltaic (PV) resources and the status of tools to address both the interconnection requirements and systemwide needs for successfully implementing the large-scale development and operation of variable resources (see Sections 6.6 and 6.7)

- The results of market resource alternative (MRA) studies and plans for improving both the timeliness and usefulness of this type of analysis to stakeholders (see Section 6.10)

- Summaries of regional and interregional transmission planning studies (i.e., needs assessments and solutions studies), which provide detailed information to resource developers and other stakeholders on potential infrastructure additions (see Section 5 and Section 7)

## Overview of the Results of System and Strategic Planning Studies

Like the RSP12 forecast, the RSP13 regional forecast shows slow growth in the summer peak demand and annual energy use. The energy-efficiency forecast of demand-side resources also is similar to the RSP12 forecast and shows a further slowing of net load growth. Assuming no retirements, resources procured in the seventh Forward Capacity Auction (FCA #7) are sufficient to meet systemwide needs through 2022, and the ISO Generator Interconnection Queue (the queue) indicates that additional resources are seeking to develop in the region.

The region’s heavy dependence on natural-gas-fired generation to meet its electricity needs has resulted in recent operating problems similar to those experienced during past events. Adverse interactions between electric power generators and the natural gas system have occurred, and could occur any time of the year, because the natural gas system has been subject to interruptions that reduce the flow of natural gas to generating units requiring fuel. In addition, the scheduling requirements of the natural gas system for providing fuel to generators can be in conflict with the electric power sector’s need for flexible operation. Adding to this issue is that the regional dependence on natural-gas-fired generation to provide both electric energy and capacity is expected to grow with the likely retirement of older coal and oil units and their replacement, in whole or in part, with generators in the queue that burn natural gas. Upgrades to the natural gas system infrastructure, some of which have been proposed, would provide some improvements to the deliverability of natural gas. However, additional solutions are required to address fuel-adequacy issues. The ISO is pursuing market and operational changes, as follows, to address the risks associated with unit performance and gas dependency:

- Coordinating with the gas industry to obtain timely information to fill information gaps and better manage the power system

- Enhancing market mechanics to better enable resource performance

- Improving market incentives for resources to perform

- Procuring sufficient resources to meet the requirements for capacity and electric energy

Economic studies of various system-expansion scenarios have used metrics such as potential production costs, transmission congestion, and a number of others to suggest the most economical locations for resource development and the least economical locations for resource retirements. Other economic studies are showing the effects of possible new imports from Canada.

Environmental and economic incentives provided by governmental policies are encouraging the development of low-emitting, renewable resources, such as wind and solar. These resources could diversify the fuel supply; however, the reliable large-scale integration of intermittent resources would place increased regulation and reserve requirements on the system, presenting challenges for system operations and planning. Hydroelectric units have traditionally been well suited to provide regulation and reserves, but they may lose some of their ability to operate flexibly as part of their relicensing requirements. Additionally, while photovoltaic resources will not likely require the development of new transmission, significant wind development will, as shown by the wind integration study of the Strategic Transmission Analysis (see Section 6.6.3). This analysis is developing conceptual additions to the regional transmission system that would enable onshore wind resources to serve load reliably. Elective upgrades and merchant transmission facilities under consideration have the potential to improve access to renewable resources in remote areas of the region and in neighboring areas. In addition, smart grid technologies are being developed to improve the electric power system’s performance and operating flexibility.

Another aspect of the Strategic Transmission Analysis evaluated how the retirement of “at-risk” oil- and coal-fired generating units will affect reliability and assessed the most favorable locations for replacing the retired units (see Section 6.9). The results of the study showed that with the potential retirements, and the assumed completion of planned improvements in the RSP Project List, the need for new transmission facilities would be minimized and load could be served reliably, provided new capacity were electrically located near existing generator locations. Developing resources at the region’s energy trading hub (the Hub) or deliverable to the Hub also would reduce the need for transmission expansion. Although some local transmission improvements may be required, these locations are favorable even when considering resources needed to compensate for the unit retirements.

Transmission projects are in various stages of development, and many have begun or have completed the siting process. While transmission upgrades continue to progress throughout the region, the required timing and components of certain projects are being modified because of the reduction in net loads indicated by the load and EE forecasts, the retirement of generating resources, and the addition of new market resources. In general, the critical load level identified in all transmission system needs assessments can be used to identify the amount of resources that would relieve transmission system constraints. However, when resources fail to develop in the required amounts and in the needed locations, the proper timing of transmission projects is critical to meet regional reliability requirements and to mitigate risks associated with unit performance and gas dependency.

The ISO supports interregional planning efforts and has coordinated planning activities with the New York Independent System Operator (NYISO), PJM Interconnection, and other interregional organizations, such as the NPCC and NERC, and has actively participated in the Eastern Interconnection Planning Collaborative (EIPC). The ISO has filed with FERC proposed measures required for compliance with FERC Order 1000 to enhance interregional planning and improve interregional transmission cost allocation.

On May 17, 2013, FERC issued its order on the ISO’s filing to comply with Order 1000 regional requirements, which will significantly change how transmission planning is conducted in New England and will place additional responsibilities on the ISO. The order includes the following requirements:

- First, the order requires the removal of the participating transmission owners’ right to build, which is contained in the Transmission Operating Agreements, and it directs the ISO to implement a competitive process to build transmission.

- Second, the order significantly limits the projects that could be exempted from the competitive process and requires the ISO to establish an effective date for the implementation of this process based on the start of an annual planning cycle.

- Third, FERC rejected the ISO’s proposed public policy design it filed in October 2012, which would have had the states select the more efficient or cost-effective transmission solution that would resolve an identified transmission need driven by public policy requirements. FERC requires the ISO, and not the states, to evaluate the solutions offered after a public policy project is identified and select the more cost effective or efficient project for inclusion in the Regional System Plan.

The regional planning process has been robust and able to foster the development of required infrastructure through the partnership of the ISO with the states, market participants, transmission owners, and other stakeholders. The ISO will continue to work with stakeholders through the NEPOOL process to establish a means of complying with and implementing Order 1000 regional requirements, which could pose challenges to the region.

## . Major Findings and Observations

This section highlights the major findings and observations of the RSP13 load forecast, energy-efficiency forecast, supply and demand resource and transmission planning studies, market outcomes, and economic studies. Other projects, studies, and initiatives that are part of the system planning process are summarized. The sections of the report that contain more details of these findings and observations are indicated.

For all RSP13 analyses, the ISO used a number of assumptions, which are subject to uncertainty over the course of the planning period. Some factors, as follows, are subject to change, which may vary RSP13 results and conclusions and ultimately influence the future development of transmission and generation and demand resources:

Demand and energy-efficiency forecasts, which are dependent on the economy, new building and federal appliance-efficiency standards, state EE goals and program implementation, and other considerations

Resource availability, which is dependent on physical and economic parameters that affect the performance, development, and retirement of resources

Environmental regulations and compliance strategies, which can vary with changes in public policies, economic parameters, and technology development

The deployment of new technologies, which may affect the physical ability and the economic viability of new types of power system equipment and the efficiency of operating the power system

Fuel price forecasts, which change with world markets and infrastructure development

Market rules and public policies, which can alter the development of market resources

Timing of planned system improvements, which can be subject to siting and construction delays, uncertainty due to the implementation of the competitive process for transmission development  under FERC Order 1000, and changes to the system

The ISO considers these factors for developing a robust plan. While each RSP is a snapshot in time, the ISO updates the results of planning activities as needed, accounting for the status of ongoing projects, studies, and new initiatives.

### Forecasts of the Peak Demand and Annual Use of Electric Energy and the Effects of Energy-Efficiency Measures

RSP13 includes forecasts of annual energy use and peak energy use, as well as the peak load reductions and energy savings from energy efficiency. The amount and location of the net system load affect the need for new resources and the required timing of some transmission projects.

#### Peak Demand, Annual Use of Electric Energy, and Load Growth

The RSP13 forecast of summer peak demand is higher than the RSP12 forecast by 75 MW for 2013 and lower than the RSP12 forecast by 50 MW for 2021 for the 50/50 “reference” case. For RSP13, the 50/50 summer peak forecast is 27,840 megawatts (MW) for 2013, which grows to 31,520 MW for 2022. The 90/10 summer peak forecast, which represents summer heat waves, is 30,135 MW for 2013 and grows to 34,105 MW in 2021. The ISO forecasts the 10-year growth rate to be 1.4% per year for the summer peak demand, 0.6% per year for the winter peak demand, and 1.1% per year for the annual use of electric energy. The annual load factor (i.e., the ratio of the average hourly load during a year to peak hourly load) continues to decline from 56.2% in 2013 to 54.6% in 2022. (Section 3.1)

The load forecast is highly dependent on the economic forecast, which reflects economic trends. The RSP13 forecasts also account for reductions based on the energy-efficiency forecast and the expected effects of historical energy-efficiency savings and federal EE standards for appliances and commercial equipment, which will go into effect in 2013 and would save 1.6% of the total gross electric energy consumption in 2022. Another factor for developing the forecasts is that demand resources that cleared the Forward Capacity Market are considered to be sources of supply and not demand-side measures. (Section 3.1)

#### Energy-Efficiency Forecast

The EE forecast for 2016 through 2022 shows a regionwide annual average energy savings of approximately 1,358 gigawatt-hours (GWh) and an average reduction in peak loads of 193 MW per year. The EE forecast shows savings of 1,621 MWh in 2016, declining to 1,114 MWh in 2022. Similarly, the peak load savings from EE declines from 231 MW in 2016 to 159 MW in 2022. The EE forecast also shows results for each New England state. (Section 3.2)

The annual energy use forecast, minus both the FCM passive demand resources projected for 2013–2016 and the 2017–2022 energy-efficiency forecast, shows essentially no net long-run growth in electric energy use and would save 11.4% of the gross energy consumption in 2022. The summer peak 90/10 forecast, when adjusted for both the existing FCM passive resources projected for 2013–2016 and the 2017–2022 energy-efficiency forecast, is projected to increase at a more modest rate, approximately half the projected growth rate of the demand forecast. (Section 3.1 and 3.3)

### Needs for Capacity and Operating Reserves

RSP13 quantifies the system needs for capacity and operating reserves and the amounts procured through the Forward Capacity Market and the locational Forward Reserve Market (FRM).

#### Capacity

The minimum amount of capacity the region needs to meet resource adequacy requirements is called the Installed Capacity Requirement (ICR). The region’s net ICR is expected to grow from 31,552 MW in 2013 to a representative value of 35,300 MW by 2022. This represents a growth of over 400 MW per year (416 MW on average), which is equivalent to 1.25% per year. The current development of generation, demand, and import capacity resources in the region is expected to provide the capacity needed to meet the ICR. Because the ICR calculation accounts for the load-relieving actions of ISO Operating Procedure No. 4 (OP 4), Action during a Capacity Deficiency, meeting the ICR level could necessitate the use of specific OP 4 actions. Several factors affect the frequency and extent of OP 4 actions, including the amount of resources procured to meet capacity needs, their availability, actual system loads, and other system conditions. Study results show that the need for load and capacity relief by OP 4 actions will be up to 3,300 MW during extremely hot and humid summer peak-load conditions over the planning horizon. (Section 4.1)

Resources are projected to be sufficient for the 2016/2017 capacity commitment period. The region would have a surplus of 2,842 MW in 2018/2019, which would decrease to 2,042 MW in 2022/2023, accounting for the load and energy-efficiency forecasts and assuming all resources with capacity supply obligations for FCA #7 remain in service and only known retirements are considered. (Section 4.1.3)

The amount of capacity resources in the Northeast Massachusetts (NEMA)/Boston capacity zone is projected to marginally meet the resource adequacy requirements for that area. In FCA #7, the local sourcing requirement (LSR) for NEMA/Boston was 3,209 MW, and the resources in that area, which include over 700 MW of new resources procured in FCA #7, totaled 3,716 MW. Additional load growth, reduced resource availability—possibly resulting from fuel supply issues—or retirements in NEMA/Boston would create the need to develop additional new resources. (Section 4.1)

Other resources throughout the region, particularly demand resources, have submitted “nonprice” retirement requests, and approximately 1,660 MW of one-year dynamic and static delist bids were approved in FCA #7. The high likelihood of resource retirements at future auctions also will likely accelerate the need for new resources, and the region already is beginning to lose older, relatively inefficient generating facilities. Additionally, coal and oil resource owners could choose not to invest in environmental remediation measures called for in pending or required regulations, which could force these units to shut down. (Sections 4.1 and 6.3)

FERC-approved changes also will improve the market incentives for developing resources when and where needed, and the Strategic Planning Initiative is assessing ways to enhance the efficient development of resources. FCM changes will develop criterion and processes for creating, modifying, or collapsing capacity zones. These changes also will address the relationship between the zonal reconfigurations and the ISO’s rejection of resource delist bids. In general, the development of new resources near the system load centers in NEMA/Boston and Connecticut, and in other load pockets throughout the system, mitigates reliability risks associated with resource retirements and resource performance issues, improves system performance, and allows for a more optimal use of the existing infrastructure. Resources in the generator interconnection queue, which included 5,294 MW as of April 1, 2013; new demand resources; and new import capacity from neighboring regions are in various stages of development and could address some of these issues. (Sections 4.1)

#### Operating Reserves and Resource Flexibility

Operating reserve is the megawatt capability of a power system greater than system demand that is required for preserving system reliability—such as by providing frequency regulation, responding to load forecast errors, and filling the void left by forced outages—when resources or transmission facilities are lost because of a contingency. Some resources are required to be synchronized to the system for immediate use (i.e., spinning resources), and some must be available for service within 10 minutes or within 30 minutes (i.e., fast-start resources). In New England, resources participating in the locational Forward Reserve Market and other committed and on-line resources help satisfy the operating-reserve requirements of the region overall and in major load pockets.

As a result of transmission upgrades and other resource additions in recent years, the Greater Southwest Connecticut area is not expected to need any additional fast-start capability for 2013 to 2017. Over the same period, the forecasted need for this type of generation in the Greater Connecticut area is up to 900 MW during the summer, and the need in the BOSTON area may be up to 300 MW. The expected increase in import capabilities into Greater Connecticut and BOSTON during the next several years, and the planned additions of economical generation within these areas procured through the FCM, would allow the ISO more flexibility in achieving the best economic outcome for energy production while maintaining adequate amount of operating reserves for these areas to meet operational reliability standards. Further additions of in-merit generation or demand resources within the major import areas, increases in the import capabilities of these areas, or some combination of these outcomes would decrease the need to locate operating reserves within these areas. (Section 4.2)

Unit retirements; greater dependency on limited-energy generation (LEG) resources that can limit their operation when they have limited fuel; and the addition of intermittent resources, particularly wind and photovoltaics, will increase the need for flexible operations and resources to provide reserves, regulation service, and ramping in the most effective locations. The ISO has reviewed the existing requirements for operating reserves, and potential enhancements to the wholesale electricity markets are nearly final to better meet operational needs and improve the efficiency and reliability of the system as currently configured. The ISO has increased the 10-minute operating-reserve requirement by 25% and will be procuring additional replacement reserves beginning in October 2013. (Section 4.2 and Section 6)

### Transmission System Needs and Solutions

Transmission projects placed in service over the past 10 years have reduced congestion and decreased dependence on generating units located in load pockets. In 2012, systemwide congestion-related costs totaled approximately $29.3 million, and payments for generators in “must-run” situations that provided second-contingency coverage and voltage control totaled just under $23.7 million. These values total approximately 1.1% of the $4.77 billion wholesale electric energy market. (Section 2.2)

#### Transmission Projects

The ISO regularly discusses with the PAC the scope of transmission system needs and the progress of transmission system needs assessment studies that drive regional transmission planning for improvements. In response, the PAC provides guidance and comments on study scopes, assumptions, and results. All transmission projects are coordinated with other regions as warranted. The ISO also has advised the PAC of the regional network service (RNS) rate and projections developed by the PTOs. (Section 5.3 )

The descriptions of transmission projects in RSP13 are based on the June 2013 RSP Project List update, which includes 282 projects at a total cost of approximately $5.7 billion. Generally, transmission system upgrades continue to be necessary because new resources are not being installed of sufficient size or in a location that eliminates the need for system upgrades. The ISO updates the RSP Project List at least three times per year, identifying improvements and changes in project status. The status of several major projects under development is as follows: (Section 5.3 and 5.4)

- The Maine Power Reliability Program (MPRP), for which the Maine Public Utilities Commission (MPUC) has approved siting for most of the components, establishes a second 345 kilovolt (kV) path in northern Maine from Surowiec to Orrington and adds new 345 kV lines in southern Maine, creating a third parallel path from Surowiec to Eliot. Many components of these new paths are under construction, and several elements already are in service. When completed, they will provide basic infrastructure needed for increasing the ability to move power into Maine from New Hampshire and will improve the ability of the transmission system within Maine to move power into the local load pockets as necessary. Studies have demonstrated that the MPRP also will provide a modest increase in the transfer capability across major interfaces in Maine, including Maine to New Hampshire. The MPRP project is scheduled for completion by early 2015, with the exception of upgrades around Lewiston.

- The New England East–West Solution (NEEWS) series of projects has been identified to address system reliability needs:

- The Rhode Island components of NEEWS are complete, while the final Springfield components are under construction and scheduled to be in service by the end of 2013. The portions of the Springfield components affecting Connecticut import capability are in service.

- The Interstate Reliability Project has been reevaluated to account for updated load and energy-efficiency forecasts; system operating constraints; and resources acquired, delisted, or retired through the Forward Capacity Auctions, such as the impact of the retirement of the Salem Harbor facility. The need for the Interstate Reliability Project has been reconfirmed, and the preferred solution is unchanged. This solution consists of new 345 kV transmission between Millbury, MA; West Farnum, RI; Lake Road, CT; and Card, CT. The siting proceedings in the affected states of Connecticut and Rhode Island have been conducted, and approvals have been issued. Siting proceedings in Massachusetts, the one remaining affected state, are expected to be completed in early 2014.

- The need for the Central Connecticut Reliability component of NEEWS is being reevaluated as part of the Greater Hartford–Central Connecticut (GHCC) study. The GHCC needs assessment has been completed, a report is being drafted, and solution alternatives are being developed.

- The Long-Term Lower Southeastern Massachusetts (Lower SEMA) project addresses system reliability concerns in the lower southeastern Massachusetts (LSM) area, which includes Cape Cod, and is scheduled for completion in September 2013. The project includes adding a new 345 kV transmission line from the Carver substation to a new 345/115 kV substation west of Barnstable on Cape Cod, adding a third 345 kV line serving Cape Cod. The project received siting approval in April 2012.

In addition to the system needs assessments and solutions studies, several major transmission planning studies have been completed and others are underway to address system issues in all six New England states. Some studies have developed preferred solutions to serve major portions of the system, including Vermont and New Hampshire, the Pittsfield and Greenfield area, the southwestern area of Connecticut, and the Greater Boston area. All studies examine the system comprehensively and account for the electrical characteristics of the tightly integrated New England network. The ISO continues to review the timing and components of projects throughout the system to account for system changes in load level, resource development and availability, and other factors.

Generation helps ensure the reliability of area load pockets, which include portions of Maine, the Boston area, southeastern Massachusetts, western Massachusetts, the Springfield area, and portions of Connecticut. In addition to enhancing reliability, transmission improvements placed in service have reduced costs associated with second-contingency and voltage-control payments to generators. The Lower SEMA short-term upgrades are one example of transmission upgrades that have improved reliability, reduced dependencies on generating units, and reduced “make-whole” payments to market participants whose resources had operating costs higher than their energy market revenues over a 24-hour dispatch day. (Section 5.7)

Transmission expansion may be required to meet future challenges facing the New England region to preserve the reliability of service to those areas of the system that could face generator retirements within the planning horizon and to address reliability needs attributable to load growth and resource integration. (Section 5.6)

#### Development of Elective Transmission Upgrades

Several developers have proposed Elective Transmission Upgrades (ETUs), which are in various stages of study and development. These projects could increase New England’s tie capability with its neighbors and improve access to renewable sources of energy. For example, certain generators are considering elective upgrades as a way to mitigate curtailment of wind energy resources. The ISO will continue to monitor the outcomes of these upgrades and their impacts on system conditions and needs. The ISO has initiated an effort to improve the existing Elective Transmission Upgrade process. (Section 5.2.4)

### Regional Strategic Planning

In addition to identifying the need for capacity and operating reserves, the ISO assesses the potential impacts of fuel availability and public policies, including environmental initiatives, on the system’s need for certain amounts, types, and locations of resources and transmission improvements. The ISO also is addressing issues concerning the development and integration of renewable resources and smart grid technologies.

#### Resource Performance and Natural Gas Dependency

The ISO is addressing several strategic planning issues associated with natural gas dependency, resource performance, and natural gas supplies. These problems have been quantified, and solutions are being implemented to improve infrastructure and markets.

Natural Gas Dependency. New England is increasingly dependent on natural gas as a primary fuel for generating electric energy and decreasing its dependence on oil. In 2000, 17.7% of the region’s capacity was natural-gas-fired generation, which produced 14.7% of the region’s electric energy, whereas in 2012, natural gas plants represented 43.0% of the region’s capacity and 51.8% of the system’s electric energy production. In 2000, oil units represented 34.0% of the region’s capacity and produced 22.0% of the region’s electric energy that year, but in 2012, oil units represented 21.6% of the capacity and produced 0.6% of the region’s electric energy. Over the same period, the capacity reduction of coal units has been less severe from 11.7% to 7.8%; their energy production decreased from 17.9% to 3.2%. (Section 6.1)

The high regional use of natural gas to generate electricity is the result of the addition of new, efficient natural-gas-fired units over the past decade; the recent low price of natural gas; and the displacement of older, less efficient oil- and coal-fired units in economic dispatch. As the revenues from the wholesale electricity markets decline for these oil and coal units and more units retire, the regional reliance on natural gas for providing capacity and energy will increase. Further dependency on natural-gas-fired generation will likely occur, resulting from the loss of other types of generation subject to risks, such as nuclear and hydro units that may not be relicensed. Many units also do not have effective dual-fuel capability (in terms of the amount of time they need to switch to using oil or the availability of secondary fuel inventory). Accompanying the increased use of natural gas are concerns regarding the adequacy of the region’s natural gas pipeline capacity and gas supply in the pipelines to serve electric power generation reliably; at any time of the year, natural and geopolitical events of all types could interrupt supplies of gas and other fuels, such as oil and coal. (Section 6.2)

Resource Performance. System events that occurred during 2012 and winter 2013 brought into focus the vulnerabilities and limitations of the system when generators have not made adequate arrangements for all types of fuel to support their energy offers, particularly during severe winter or other stressed system conditions. These events also highlighted reliability issues with infrequently operated oil- and coal-fired generators. In light of these resource availability concerns in 2012 and early 2013, the ISO is implementing, with stakeholder input, near-term improvements to the wholesale electricity markets to enhance system reliability. Plans call for the following improvements to be in place by the end of 2014: (Section 6.2.6)

- Improve the use of the daily reoffer period, which enables resources to more closely reflect their true cost of fuel in their energy market offers, which is essential for appropriate energy market pricing

- Accelerate the timing of the Day-Ahead Energy Market and associated reliability commitments to align more closely with existing natural gas trading and nomination cycles, which will improve the ability of generators to procure needed natural gas and allow the ISO additional time to activate non-gas-fired generators, if needed

- Allow reserve prices to increase under tight system conditions to better reflect the costs of maintaining these reserves, which will improve energy market pricing and associated incentives for resources to deliver power when needed

- Increase the amount of needed operating reserves, which will more closely reflect system operator action and improve the pricing of reserves and electric energy

- Update the shortage-event trigger in the Forward Capacity Market to improve incentives for resources to make adequate arrangements for fuel during tight system conditions

In addition, the ISO is planning to implement several out-of-market measures to address fuel supply and reliability for the 2013/2014 winter. These include ways of compensating generators that maintain oil inventories, increasing access to demand resources, and verifying the ability of dual-fueled units to switch fuels. These measures are intended to supplement the near-term market changes until the medium- and long-term changes can be implemented. (Section 6.2.6)

The ISO is working with stakeholders over the medium and long terms on additional improvements to the wholesale electricity markets. These improvements, expected to be implemented over the next few years, include the following: (Section 6.2.6)

    - More fully integrating demand resources into the energy market, which will broaden the conditions under which demand resources could be called on to help meet the region’s energy needs

    - Further modifying the FCM shortage-event trigger and replacing the shortage-event penalty structure with a pay-for-performance model so that resources will have even stronger incentives to perform when system needs are greatest

Natural Gas Supplies. Recent improvements to the interregional natural gas infrastructure have helped improve the supply of natural gas from the Marcellus Shale production areas to the Northeast. Additional enhancements to the regional pipeline network would allow New England to access the larger quantities of natural gas for the region’s power generators. Unlike the electric power industry, which proactively plans the expansion of the transmission network, natural gas transportation requires firm contractual arrangements before natural gas pipeline facilities can be constructed. (Section 6.2)

A planning study of regional natural gas issues quantified the regional need for additional natural gas system supply or the use of non-gas-fired resources under a number of scenarios. The analysis considered several scenarios, including the replacement of older oil- and coal-fired generating units with natural-gas-fired generators and natural gas infrastructure outages affecting reliable electric power operation. Additionally, a follow-up natural gas study has begun for determining the potential risks of energy shortfalls for the region under a variety of scenarios. The ISO also is coordinating an interregional study of the natural gas system with the NYISO, PJM, the Midcontinent Independent System Operator (MISO), the Independent Electricity System Operator (of Ontario) (IESO), and the Tennessee Valley Authority (TVA). (Section 6.2.5)

#### The Potential Impacts of Environmental Regulations on the Power System

Existing and pending state, regional, and federal environmental requirements addressing air pollution, greenhouse gas emissions, cooling water drawn from rivers and bays, and wastewater discharges that flow back into these water bodies as well as public treatment works will affect many New England generators in the 2015 to 2022 timeframe. Many generators in the region already have installed needed control technologies because of state environmental rules requiring earlier compliance, and new transmission upgrades have reduced the dependence on older, less efficient oil- and coal-fired units previously needed to address more local reliability concerns. These changes and the greater reliance on natural gas for power generation have lessened air pollution emissions and thermal pollution into rivers and bays in the region.

Between 2001 and 2011, systemwide emissions of nitrogen oxides (NOX) declined by 58%, sulfur dioxide (SO2) emissions by 71%, and carbon dioxide (CO2) emissions by 11%. The decrease appears attributable to a nearly 50% decline in both oil- and coal-fired generation in 2011, combined with a significant increase in natural gas generation, which has a substantially lower SO2 emission rate. In addition to required compliance with regulations, the future regional emissions could vary because of a number of factors; regional emissions would increase with production by oil-fired generating units during periods of natural gas shortages and could decrease through the greater use of energy efficiency and wind and photovoltaic resources. (Section 6.3)

Using assessments of the potential impact of existing and proposed state and EPA regulations on identified fossil steam units in the region, the ISO is identifying existing generation across New England affected by these environmental requirements. Uncertainty remains over the extent to which the final regulations will require generator owners to make capital investments in environmental remediation measures and potentially increase plant operating costs. These factors could require long-term generator outages for implementing required remediation measures. They also could trigger unit retirements as an alternative to accepting higher capital and operating costs. Alternatively, generators may comply with some of the environmental requirements by reducing capacity or energy production.

ISO analyses for the Strategic Planning Initiative and other planning efforts will continue to update stakeholders regarding the generators at risk for retirement and generators that already have environmental remediation measures in place or may require relatively minor upgrades. The actual compliance timelines will depend on the timing and substance of the final regulations and site-specific circumstances of the electric generating facilities.

#### Renewable Portfolio Standards and the Integration of Renewable Resources

Renewable Portfolio Standards (RPSs) and similar state goals are stimulating the need for, and the development of, renewable resources and energy efficiency in the region. Other regional and industry efforts are assisting in integrating renewable resources, demand resources, and smart grid technologies into the system.

Meeting State Targets for Renewable Energy. The New England states have targets for the proportion of electric energy that load-serving entities (LSEs) must serve using renewable resources, such as wind, solar, and energy efficiency. Because the states are revising these targets to reflect different amounts and types of resources that qualify for RPSs, the ISO cannot project the precise amount of regional renewable energy goals. However, the state goals for EE and renewable resources are estimated to total approximately one-third of the region’s projected electric energy consumption by 2022. The region’s RPSs can be met by developing the renewable resources already in the ISO queue; importing renewable resources from adjacent balancing authority areas; building new renewable resources in New England not yet in the queue; and using “behind-the-meter” projects and eligible renewable fuels at existing generators, such as biomass. If the development of renewable resources falls short of providing sufficient Renewable Energy Certificates (RECs) to meet the RPSs, load-serving entities can make state-established alternative compliance payments (ACPs). ACPs also can serve as a price cap on the cost of Renewable Energy Certificates. (Section 7.5.7)

Integrating Intermittent Renewable Resources. The ISO has made progress implementing the recommendations from the New England Wind Integration Study, which analyzed various planning, operating, and market aspects of wind integration for up to a 12-gigawatt (GW) addition of wind resources to the system. By late 2013, the ISO will have implemented a wind power forecast. The ISO also is facilitating wind integration by modifying operating procedures, data acquisition, and, over the longer-term, dispatch rules.

A number of wind projects have interconnected to electrically remote and weak portions of the regional power system, and additional wind projects are proposed for these areas. These facilities pose operational and planning challenges due to issues with voltage and stability performance, modeling, and differences between actual system operation and interconnection studies. As a result, the ISO is examining potential improvements to the interconnection process, including the use of Elective Transmission Upgrades to strengthen electrically weak portions of the regional transmission network. (Section 6.6)

Photovoltaic resources are rapidly developing in New England, predominantly situated close to load centers. However, the ISO cannot observe or control most of these resources, which may respond differently to grid disturbances than larger, conventional generators. New ISO initiatives will be addressing these highly complex issues with stakeholders. (Section 6.7)

Developing New England’s Smart Grid. In general, smart grid technologies can improve the ability of the transmission system to operate reliably under a wide variety of system conditions. They can improve the ability of system operators to observe and control the system, increase the transfer capability of the transmission system while adding less new infrastructure, and facilitate end-user response to the power system. Specific applications of smart grid technologies use demand resources to provide ancillary services, such as operating reserves, and help integrate variable renewable resources, such as wind and photovoltaic power, as well as hydroelectric power from neighboring Canadian regions. Smart grid technologies also can facilitate dynamic pricing. This smart grid equipment helps implement both customers’ load response and the use of behind-the-meter resources, such as rooftop solar installations.

The region is a leader in the smart grid application of high-voltage direct-current (HVDC) facilities and flexible alternating-current transmission systems (FACTS), which improve the use of system infrastructure. The ISO and the New England transmission owners installed phasor measurement units (PMUs) and associated equipment at 40 substations to upgrade the monitoring and operation of the system. The ISO and stakeholders have  also supported research and development efforts and the establishment of industry standards for integrating smart grid technologies, including dispatching active demand resources, which are affected by the installation of smart meters and changes in retail rate structures. The ISO will continue to monitor the development of these technologies. (Section 7.4.2)

#### Economic Studies of Resource Integration and Interregional Coordination

Both the 2011 and 2012 economic studies analyzed several of the strategic issues the region is addressing. The 2011 economic study examined the effects of integrating varying amounts of wind on production costs, load-serving energy expenses, and emissions, as well as the need for transmission development, to enable wind resources to serve the region’s load centers. The 2012 Economic Study highlighted the least suitable locations for unit retirements and the most suitable locations for developing different resources without causing congestion. The study showed the effects of using various amounts of energy efficiency and low-emitting resources, including renewable energy.

These studies showed several key results. Accessing the onshore wind energy located in northern New England remote from load centers will require transmission expansion. Replacing older high-emitting coal- and oil-fired units with cleaner-burning natural gas generation will decrease environmental emissions but increase New England’s dependence on natural gas and potentially require the expansion of the natural gas system infrastructure. The addition of resources with low energy costs decreases electric energy expenses for LSEs but also decreases energy market revenues to resources, which may then require increases in other revenue sources to remain economically viable. (Section 6.8)

The ISO is currently conducting an economic study in response to a stakeholder request received in 2013. This study, expected to be completed by the end of 2013, will examine the effects of increasing the acceptable loss-of-source limits in New England. As with other economic studies, the results will show changes in the production of electric energy by different types of generators using various types of fuels.

#### Analysis of Market Resources as an Alternative to Transmission Investment

In general, developing resources in load pockets is beneficial, especially the load pockets with exposure to potential generator retirements. However, assessing the suitability of individual resources during the planning process can be challenging because of the wide variability of the characteristics, locations, and possible combinations of resources, such as central station and distributed generation resources, end-use efficiency, and storage technologies. In response to PAC requests for more details about resources that could meet system needs, the ISO performed a pilot study for the Vermont/New Hampshire (VT/NH) area, which demonstrated how resources of various sizes and at various locations could meet thermal system performance requirements for 2020. The analysis identified the critical load levels and hypothetical supply-side units, which could eliminate thermal overloads for normal and contingency conditions. The ISO has applied the lessons learned from the VT/NH study to the study of the Greater Hartford and Central Connecticut area and has updated the PAC on the results.

The ISO is examining ways of improving the efficiency of producing analyses on market resource alternatives and a means of summarizing results that would be more useful to stakeholders. Plans call for implementing these enhancements in 2014. (Section 6.10)

### Interregional Planning

ISO New England’s planning activities are closely coordinated at the state, regional, interregional, and federal levels. Identifying interregional system needs and the potential impacts that proposed generating units and transmission projects could have on neighboring systems is beneficial to support interregional reliability and economic performance.

The ISO has developed coordinated system plans and has proactively initiated planning studies with other regions. The ISO has worked with both NYISO and PJM through the Northeastern ISO/RTO Planning Coordination Protocol to build on the Northeast Coordinated System Plan and address several key interregional issues and activities: (Section 7.2)

- Market-efficiency analyses, including the development of coordinated production cost models of the three ISO/RTOs and neighboring regions, which will serve as guidance for future interregional transmission studies

- The effects of environmental regulations and the integration of wind and other renewable resources

- The current and future dependency on natural gas and how the interregional electric power system provides access to a wider variety of types and locations of resources that can improve the overall reliability of the system

- The effects of demand-side resources on the system and how each of the ISO/RTOs reflects these resources in its respective system operations and planning processes

- Coordinated tracking and discussion of compliance with FERC Order 1000 requirements for interregional planning

Sharing more supply and demand resources with other systems most likely will be needed, particularly to meet environmental regulations and successfully integrate variable energy resources. The ISO has worked with stakeholders to establish a means of complying with FERC Order 1000, which includes improving the interregional planning process and interregional cost allocation. ISO New England will continue conducting joint studies with NYISO and PJM to identify transmission constraints limiting interregional power transfers and to show the effects of relieving these constraints throughout the ISO/RTO regions. The ISO also will continue to coordinate other efforts with neighboring systems to explore the ability to import power from, and export power to, the eastern Canadian provinces and New York and participate in national and regional planning activities.

ISO New England and other planning authorities throughout the Eastern Interconnection are members of the Eastern Interconnection Planning Collaborative. The EIPC addresses its portion of North American planning issues, coordinates plans, and conducts studies for the entire Eastern Interconnection through a transparent and collaborative process involving input from a broad base of interested stakeholders. ISO New England also serves as a principal investigator for a project funded as part of US Department of Energy (DOE) grant work. During Phase I of this project, the EIPC analyzed eight macroeconomic futures and 72 associated sensitivities based on input variables of each future. Phase II commenced in 2011. This phase involves more detailed analysis of three final scenarios selected from the Phase I results and resource-expansion options and summarizes the results of production cost analyses for the transmission buildouts specified in the three final scenarios. At DOE’s request, EIPC is further studying how the interface between the natural gas and electric power systems affects operations and planning. The draft EIPC Phase II report will be revised to account for the findings of the EIPC Gas-Electric System Interface Study, targeted for completion in mid-2015.

The ISO participates in several other national and regional system planning forums, such as NERC, the ISO/RTO Council, and the Northeast Power Coordinating Council. Through the NPCC and NERC, the ISO has participated in interregional assessments, which coordinate planning studies and demonstrate compliance with all required planning standards, criteria, and procedures. (Section 7.2)

### State, Regional, and Federal Initiatives that Affect System Planning

The ISO continuously works with a wide variety of state policymakers and other regional and interregional stakeholders on initiatives such as the Strategic Planning Initiative and FERC Order 1000. Regional initiatives continue for improving the wholesale electricity markets, integrating new technologies, and documenting the regional transmission planning process and technical requirements for planning studies. The draft Transmission Planning Process Guide describes the process for developing the draft scopes of work, study assumptions, needs assessment studies, and solutions studies and how stakeholders can provide inputs. The draft Transmission Planning Technical Guide describes the standards, criteria, and assumptions used in transmission planning studies. Both these documents will be revisited to align with final Order 1000 requirements.

The ISO has continued to provide technical support to a number of state agencies and groups as they formulate policies for the region. These groups include the New England Conference of Public Utilities Commissioners (NECPUC), the New England States Committee on Electricity (NESCOE), the New England governors, the Consumer Liaison Group (CLG), and others. The planning process will continue to evolve in response to FERC orders and other policy developments. (Section 7.3)

## Conclusions

The 2013 Regional System Plan identifies system needs and plans for meeting these needs. RSP13 also discusses risks to the regional electric power system; the likelihood, timing, and potential consequences of these risks; and mitigating actions. Through an open process, regional stakeholders and the ISO are addressing these issues, which could include further infrastructure development as well as changes to the wholesale electricity market design and the system planning process. Through current and planned activities, the region is working toward meeting all challenges for planning and operating the system.

# Introduction

As the Regional Transmission Organization (RTO) for New England, ISO New England (ISO) operates the region’s electric power system, administers the region’s competitive wholesale electricity markets, and conducts the regional system planning process, which includes coordinating planning efforts with neighboring areas. The main objectives of the ISO’s system planning process are as follows:

- Identify system needs and potential solutions for ensuring the short-term and long-term reliability of the system

- Facilitate the efficient operation of the markets through resource additions and transmission upgrades that serve to reliably move power from various internal and external sources to the region’s load centers

- Provide information to regional stakeholders, who can further develop system improvements

To meet these objectives and in compliance with all portions of the ISO’s Transmission, Markets, and Services Tariff (ISO tariff), including the Open Access Transmission Tariff (OATT), the 2013 Regional System Plan (RSP13) describes the ISO’s ongoing system resource and transmission planning activities covering the 10-year period to 2022.

This section provides an overview of RSP13 and the ISO’s regional system planning process required by the ISO’s tariff. For background, the section also provides highlights of the power system and the wholesale electricity market structure in New England. A summary of the various regional subdivisions the ISO uses in system planning studies also is provided.

Throughout RSP13, italicized terms indicate that a definition for the term is included within the text or footnotes; links to other documents that more fully define the more complex terms are provided. Links to relevant technical reports; presentations; and other, more detailed materials also are included throughout the report. All website addresses are current as of the time of publication. Appendix A is a list of acronyms and abbreviations used in RSP13.

## Overview of the System Planning Process and RSP13

To assess how to maintain the reliability of the New England power system, while promoting the operation of efficient wholesale electricity markets, the ISO and its stakeholders analyze the system and its components as a whole. They account for the performance of these individual elements and the many varied and complex interactions that occur among the components and that affect the overall performance of the system. The major steps in planning the regional electric power system are as follows:

- Forecasting the peak demand for electric energy and the average annual use of electric energy

- Forecasting the amount of energy efficiency (EE) that will be available and determining the potential effect of energy efficiency on system peak demand

- Assessing the amounts and general locations of resources that the overall system and individual areas of the system need, the types of resources that can satisfy these needs and any critical time constraints for addressing resource needs

- Analyzing transmission system needs and developing potential solutions to meet these needs

- Assessing scenarios of the economic performance of the system with existing resources, possible resource retirements, and potential resource development

- Coordinating study efforts with surrounding RTOs, balancing authority areas, and the entire Eastern Interconnection and analyzing information and data presented in neighboring plans through a number of interregional agreements and joint studies

Using information on defined system needs, a variety of established signals from ISO-administered markets, and other factors, stakeholders responsible for developing needed resources can assess their options for satisfying these needs and commit to developing market resource projects. For example, stakeholders can build a new power plant to provide additional system capacity and electric energy production or develop active and passive demand resources to reduce the amount of electric energy used. They also can provide Elective Transmission Upgrades (ETUs).

These elective transmission and supply and demand resource alternatives could result in modifying, offsetting, or deferring proposed regulated transmission upgrades. To the extent that stakeholder responses to market signals are not forthcoming or adequate to meet identified system needs, the planning process requires the ISO to conduct subsequent planning of regulated transmission upgrades to meet the identified needs.

The draft Transmission Planning Process Guide and draft Transmission Planning Technical Guide describe the transmission planning process and the assumptions used with transmission planning studies in more detail. However, the ISO will revise these documents to be consistent with changes in the planning process required by the Federal Energy Regulatory Commission’s (FERC) Order 1000 (see Sections 7.1.1 and 7.4.3).

### Planning Studies Conducted for and Summarized in RSP13

The ISO conducts numerous regional and local-area studies throughout the year during all stages of planning for ensuring the reliability of the power system. FERC, interregional entities, the states, and others, also sponsor planning initiatives for improving the power system and interregional coordination. RSP13 summarizes the ISO’s major studies and initiatives as well as those conducted by others, both individually and jointly with the ISO, including the following:

- Ten-year load forecasts through 2022 of peak demand and the average annual use of electric energy (Section 3.1)

- Regional energy-efficiency (EE) forecast from 2016 to 2022 (Section 3.2)

- Analyses of the amount, operating characteristics, and locations of needed capacity and operating reserves (Section 4)

- Assessments of systemwide and local-area needs (i.e., needs assessments) that include critical load levels, and transmission solutions to meet these needs (i.e., solution studies) (Section 5):

  - Maine Power Reliability Program (MPRP)

  - New England East–West Solution (NEEWS)

  - Projects throughout New England

- Studies assessing regional strategic planning needs and solutions, including studies in support of the ISO’s Strategic Planning Initiative (SPI), which address the following topics: (Section 6)

  - Resource performance and gas dependency, including power system operating experience and the operation and infrastructure of the natural gas system

  - Operating and planning for expansion of renewable resources, including the potential need for transmission development for wind generation

  - Effect of generator compliance with environmental regulations on generator retirements

  - Implications of generator retirements on transmission system requirements and potential locations for developing new resources (i.e., the Strategic Transmission Analysis)

- Simulations of the estimated economic and environmental performance of various future resource- and transmission-expansion scenarios (Section 6.8)

  - 2011 and 2012 economic studies

  - 2013 request for new economic studies

- Planning coordination studies and other activities (Section 7)

  - Northeastern ISO/RTO Planning Coordination studies

  - Eastern Interconnection Planning Collaborative activities

  - Other joint planning studies with neighboring regions

  - ISO initiatives and governmental activities and policies affecting the planning the system

### Other Planning Considerations

The regional system planning process, which complies with all requirements, involves working closely with stakeholders and exchanging detailed information with them about the system. Another consideration for planning the system is making sure ISO studies and underlying assumptions account for the ever-changing physical and market forces that can affect the system and system plans.

#### Working with the Planning Advisory Committee and Other Committees

To conduct the system planning process, the ISO holds an open and transparent stakeholder forum with the Planning Advisory Committee (PAC). PAC membership is open to all and currently includes representatives from state and federal governmental agencies; participating transmission owners (PTOs); ISO market participants; other New England Power Pool (NEPOOL) members; consulting companies; manufacturers; and other organizations, such as universities and environmental groups. The PAC has met 17 times from fall 2012 to summer 2013 to discuss draft scopes of work, assumptions, and draft and final study results on a wide range of issues. In addition, subgroups of the PAC have discussed the energy-efficiency forecast and environmental issues.

Other committees are involved in the system planning process. The Reliability Committee provides advisory input on planning procedures, final proposed plan applications, regional transmission cost allocations, and other activities that affect the overall operations and planning of the power system. The Markets Committee provides advisory input on changes proposed by the ISO to Market Rule 1 and market procedures. Stakeholders who advise ISO New England or its neighboring ISO/RTOs on system planning matters have the opportunity to meet as a unified group through the Interregional Planning Stakeholder Advisory Committee (IPSAC).

#### Providing Information to Stakeholders

In addition to publishing the Regional System Plan and specific needs assessments and solutions studies to provide information to stakeholders, the ISO issues the RSP Project List, which includes the status of transmission upgrades during a project’s lifecycle and is updated several times per year (see Section 5.3). RSP13 incorporates information from the June 2013 list. Additionally, the ISO posts on its website detailed information supplemental to the RSP process, such as the Annual Markets Report (AMR), Wholesale Markets Project Plan (WMPP), presentations, and other reports. The ISO also makes available databases used in its analyses and related information required to perform simulations consistent with FERC policies and the ISO Information Policy requirements pertaining to both confidential information and critical energy infrastructure information (CEII) requirements. Stakeholders can use this information and data to conduct their own independent studies.

#### Accounting for Uncertainty

Regional system planning must account for the uncertainty in assumptions made about the next 10 years stemming from changing demand, fuel prices, technologies, market rules, planning processes, and environmental requirements; the development and retirement of resources; the physical conditions under which the system might be operating; and other relevant events. The following major factors may vary RSP13 results and conclusions and ultimately affect the development and timing of needed transmission facilities and generation, demand, and market resources:

Demand and energy-efficiency forecasts, which are dependent on the economy, new building and federal appliance-efficiency standards, state goals for energy efficiency and EE program implementation, and other considerations

Resource availability, which is dependent on physical and economic parameters that affect the performance, development, and retirement of resources

Environmental regulations and compliance strategies, which can vary with changes in public policies, economic parameters, and technology development

The deployment of new technologies, which may affect the physical ability and the economic viability of new types of power system equipment and the efficiency of operating the power system

Fuel price forecasts, which change with world markets and infrastructure development

Market rules and public policies, which can alter the development of market resources

The timing of planned system improvements, which can be subject to siting and construction delays, uncertainty due to the implementation of the competitive process for transmission development under FERC Order 1000, and changes to the system

While each RSP represents a snapshot in time, the planning process is continuous, and the results are revisited as needed when new information becomes available.

#### Meeting All Requirements

In addition to complying with the ISO tariff, which reflects the requirements of FERC orders, RSP13 complies with North American Electric Reliability Corporation (NERC) and Northeast Power Coordinating Council (NPCC) criteria and standards, as well as ISO planning and operating procedures. RSP13 also conforms to transmission owner criteria, rules, standards, guides, and policies consistent with NERC, NPCC, and ISO criteria, standards, and procedures. RSP13 reflects the impacts that federal government and New England state policies have on system planning. The region is working toward compliance with FERC Order 1000.

## Overview of the New England Electric Power System

New England’s electric power grid has been planned and operated as a unified system of its participating transmission owners and market participants. The New England system integrates resources with the transmission system to serve all regional load regardless of state boundaries. Most of the transmission lines are relatively short and networked as a grid. Therefore, the electrical performance in one part of the system affects all areas of the system. Figure 2-1 shows key facts about the New England regional electric power system.

|  | - 6.5 million households and businesses; population 14 million - Over 350 generators - 31,700 MW of total generation - Over 8,000 miles of transmission lines - 13 interconnections to electricity systems in New York and Canada - Approximately 1,850 MW of demand resources for 2013 - All-time peak demand of 28,130 MW, set on August 2, 2006 - Approximately 500 participants in the marketplace (those who generate, buy, sell, transport, and use wholesale electricity and implement demand resources) - $6.10 billion total market value— $4.77 billion energy market, $1.19 billion capacity market, and approximately $0.13 billion for ancillary services - Approximately $5.5 billion in transmission investment since 2002; approximately $5.7 billion planned over the next 5 years |
| --- | --- |

Figure 2-1: Key facts about New England’s electric power system and wholesale electricity markets.

Note: The 1,850 MW of ISO demand resources do not include energy efficiency provided by other customer-based programs outside the ISO markets or are otherwise unknown to the ISO. The total load on August 2, 2006, would have been 28,770 MW had it not been reduced by approximately 640 MW, which included a 490 MW demand reduction in response to ISO Operating Procedure No. 4 (OP 4), Action during a Capacity Deficiency; a 45 MW reduction of other interruptible OP 4 loads; and a 107 MW reduction of load as a result of price-response programs, which are outside of OP 4 actions. More information on OP 4 is available at http://www.iso-ne.com/rules_proceds/operating/isone/op4/index.html. Also see Section 3.1.

## Overview of the New England Wholesale Electricity Market Structure

New England’s wholesale electricity markets facilitate the buying, selling, and transporting of wholesale electricity, as well as ensure proper system frequency and voltage, sufficient future capacity, seasonal and real-time reserve capacity, and system restoration capability after a blackout. Stakeholders also have the opportunity to hedge against the costs associated with transmission congestion. As shown in Figure 2-1, in 2012, approximately 500 market participants completed transactions in New England’s wholesale electricity markets totaling $6.10 billion. The wholesale electricity markets and market products in New England are as follows:

- Day-Ahead Energy Market—allows market participants to secure prices for electric energy the day before the operating day and hedge against price fluctuations that can occur in real time.

- Real-Time Energy Market—coordinates the dispatch of generation and demand resources to meet the instantaneous demand for electricity.

- Forward Capacity Market (FCM)—ensures the sufficiency of installed capacity, which includes demand resources, to meet the future demand for electricity by sending appropriate price signals to attract new investment and maintain existing investment both where and when needed.

- Financial Transmission Rights (FTRs)—allows participants to hedge against the economic impacts associated with transmission congestion and provides a financial instrument to arbitrage differences between expected and actual day-ahead congestion.

- Ancillary services

- Regulation Market—compensates resources that the ISO instructs to increase or decrease output moment by moment to balance the variations in demand and system frequency to meet industry standards.

- Forward Reserve Market (FRM)—compensates generators for the availability of their operational capacity not generating electric energy but able to be converted into electric energy within 10 or 30 minutes when needed to respond to system contingencies, such as unexpected outages.

- Real-time reserve pricing—compensates participants with on-line and fast-start generators for the increased values of their electric energy when the system or portions of the system are short of reserves. It also provides efficient price signals to generators when redispatch is needed to provide additional reserves to meet requirements.

- Voltage support—compensates resources for maintaining voltage-control capability, which allows system operators to maintain transmission voltages within acceptable limits.

One key feature of the region’s wholesale electricity markets is locational marginal pricing for electric energy, which reflects the variations in supply, demand, and transmission system limitations effectively at every location where electric energy enters or exits the wholesale power network. In New England, wholesale electricity prices are set at approximately 900 pricing points (i.e., pnodes) on the power grid. If the system were entirely unconstrained and had no losses, all locational marginal prices (LMPs) would be the same, reflecting only the cost of serving the next megawatt increment of load by the generator with the lowest-cost electric energy available, which would be able to flow to any point on the transmission system. LMPs would differ among the pnodes if each location’s marginal cost of congestion and marginal cost of line losses differed.

Transmission system constraints, which limit the flow of the least-cost generation and create the need to dispatch more costly generation, give rise to the congestion component of an LMP. Line losses are caused by physical resistance and subsequent heat loss in the transmission system as electricity travels through transformers, reactors, and other types of equipment, resulting in less power being withdrawn from the system than was injected. Line losses and their associated marginal costs are inherent to transmission lines and other grid infrastructure as electric energy flows from generators to loads. As with the marginal cost of congestion, the marginal cost of losses affects the amount of generation that must be dispatched. The ISO operates the system to minimize total system costs, while recognizing physical limitations of the system.

## Overview of System Subdivisions Used for Analyzing and Planning the System

To assist in modeling, analyzing, and planning electricity resources in New England, the region and the system have been subdivided in various ways. These categories are included in the discussions throughout the RSP and are summarized below.

The system’s pricing points include individual generating units, load nodes, load zones (i.e., aggregations of load pnodes within a specific area), and the Hub. The Hub is a collection of 32 locations in central New England where little congestion is evident. It typically has a price intended to represent an uncongested price for electric energy, which is used as a price index and point of exchange for bilateral transactions in the energy market. The Hub also facilitates energy trading and enhances transparency and liquidity in the marketplace. In New England, generators are paid the LMP for electric energy at their respective nodes, and participants serving demand pay the price at their respective load zones.

New England is divided into eight electric energy load zones used for wholesale energy market settlement: Maine (ME), New Hampshire (NH), Vermont (VT), Rhode Island (RI), Connecticut (CT), Western/Central Massachusetts (WCMA), Northeast Massachusetts and Boston (NEMA), and Southeast Massachusetts (SEMA). Import-constrained load zones are areas within New England that do not have enough local resources and transmission-import capability to serve local demand reliably or economically. Export-constrained load zones are areas within New England where the available resources, after serving local load, exceed the areas’ transmission capability to export the excess electric energy. Reliability regions, which reflect the operating characteristics of, and the major constraints on, the New England transmission system, can have the same boundaries as load zones.

A capacity zone is a geographic subregion of the New England Balancing Authority Area that may represent load zones that are export constrained, import constrained, or contiguous—neither export nor import constrained. Capacity zones are used in the Forward Capacity Auctions (FCAs) (see Sections 4.1.2 and 4.1.3). The region also currently has four reserve zones—Connecticut (CT), Southwest Connecticut (SWCT), NEMA/Boston, and the rest of the system (Rest-of-System, ROS) (i.e., the area excluding the other, local reserve zones).

Additionally, the region is divided into 19 demand-resource dispatch zones, which are groups of nodes used to dispatch real-time demand-response resources or real-time emergency-generation (RTEG) resources. These allow for a more granular dispatch of active demand resources at times, locations, and quantities needed to address potential system problems without unnecessarily calling on other active demand resources. Figure 2-2 shows the dispatch zones the ISO uses to dispatch FCM active demand resources.

Figure 2-2: Active-demand-resource dispatch zones in the ISO New England system.

The ISO also has established 13 subareas of the region’s electric power system. These subareas form a simplified model of load areas connected by the major transmission interfaces across the system. The simplified model illustrates possible physical limitations to the reliable and economic flow of power that can evolve over time as the system changes.

Figure 2-3 shows the ISO subareas and three external balancing authority areas. While transmission planning studies and the real-time operation of the system use more detailed models, the subarea representation shown in Figure 2-3 is suitable for some RSP13 studies of production cost and environmental emissions.

|  | Subarea Designation | Region or State |
| --- | --- | --- |
|  | BHE | Northeastern Maine |
|  | ME | Western and central Maine/ Saco Valley, New Hampshire |
|  | SME | Southeastern Maine |
|  | NH | Northern, eastern, and central New Hampshire/eastern Vermont and southwestern Maine |
|  | VT | Vermont/southwestern New Hampshire |
|  | Boston (all capitalized) | Greater Boston, including the North Shore |
|  | CMA/NEMA | Central Massachusetts/ northeastern Massachusetts |
|  | WMA | Western Massachusetts |
|  | SEMA | Southeastern Massachusetts/ Newport, Rhode Island |
|  | RI | Rhode Island/bordering Massachusetts |
|  | CT | Northern and eastern Connecticut |
|  | SWCT | Southwestern Connecticut |
|  | NOR | Norwalk/Stamford, Connecticut |
|  | NB, HQ, and NY | New Brunswick (Maritimes), Hydro­Québec, and New York external balancing authority areas |

Figure 2-3: RSP13 geographic scope of the New England electric power system.

Notes: Some RSP studies investigate conditions in Greater Connecticut, which combines the NOR, SWCT, and CT subareas. This area has similar boundaries to the State of Connecticut but is slightly smaller because of electrical system configurations near the border with western Massachusetts. Greater Southwest Connecticut includes the southwest and western portions of Connecticut and consists of the NOR and SWCT subareas. NB includes New Brunswick, Nova Scotia, and Prince Edward Island (i.e., the Maritime provinces) plus the area served by the Northern Maine Independent System Administrator (USA).

# Forecasts of New England’s Peak Demand, Annual Use of Electric Energy, and Energy Efficiency

Load forecasts provide key inputs for evaluating the reliability and economic performance of the electric power system under various conditions and for determining whether and when improvements are needed. This section summarizes the forecasts for the annual use of electric energy and peak loads, New England-wide and in individual states and subareas. It also describes the economic and demographic factors that drive the forecasts and explains the forecasting methodology. For RSP13, the underlying methodology for forecasting annual energy use and peak loads has not changed. This section also provides the results of the ISO’s regional energy-efficiency (EE) projections for the 10-year RSP planning horizon.

## ISO New England Load Forecasts

The ISO load forecasts are estimates of the total amounts of electric energy the New England states will need annually and during seasonal peak hours. This year’s forecast horizon runs from 2013 through winter 2022/2023. Each forecast cycle updates the data for the region’s historical annual use of electric energy and peak loads by adding an additional year of data, the most recent economic and demographic forecasts, and resettlement adjustments that include meter corrections.

The economic recession that ended in 2009 significantly affected regional electric energy consumption and had a corresponding impact on annual electric energy use and seasonal peak load forecasting, as reflected in the 2012 Regional System Plan (RSP12) and continuing through the RSP13 forecast. Compared with last year’s economic forecast, the RSP13 economic outlook shows less growth in 2013 and, higher growth in 2015 through 2017, and similar growth for the remaining years. The outlook for 2013 to 2022 shows the growth in the gross domestic product (GDP) of 2.5% in 2013, rising to a high of 4.0% in 2015, and declining to about 2.1% by 2018 through 2022.

Table 3-1 summarizes the ISO’s forecasts of annual electric energy use and seasonal peak load (50/50 and 90/10) for New England overall and for each state. RSP13 forecasts of annual energy use, and both summer and winter seasonal peaks under 50/50 conditions are approximately the same as those published in RSP12. Compared with the RSP12 forecast, the RSP13 50/50 load forecast for summer peak demand is 75 MW higher in 2013 and 50 MW lower in 2021.

Table 3-1
Summary of Annual Electric Energy Use and Peak Demand for New England and the States

| State(a) | Net Energy for Load (1,000 MWh) |  |  | Summer Peak Loads (MW) |  |  |  |  | Winter Peak Loads (MW) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 50/50 |  | 90/10 |  | CAGR(b) | 50/50 |  | 90/10 |  | CAGR(b) |
|  | 2013 | 2022 | CAGR(b) | 2013 | 2022 | 2013 | 2022 |  | 2013/14 | 2022/23 | 2013/14 | 2022/23 |  |
| CT | 34,145 | 37,400 | 1.0 | 7,310 | 8,110 | 7,975 | 8,825 | 1.1 | 5,750 | 5,925 | 5,860 | 6,045 | 0.3 |
| ME | 12,090 | 13,125 | 0.9 | 2,065 | 2,285 | 2,205 | 2,450 | 1.2 | 1,905 | 1,965 | 2,000 | 2,065 | 0.4 |
| MA | 63,060 | 70,195 | 1.2 | 12,955 | 14,890 | 13,985 | 16,055 | 1.5 | 10,280 | 11,055 | 10,490 | 11,295 | 0.8 |
| NH | 12,310 | 13,740 | 1.2 | 2,525 | 2,925 | 2,710 | 3,150 | 1.7 | 2,050 | 2,185 | 2,155 | 2,300 | 0.7 |
| RI | 8,745 | 9,435 | 0.8 | 1,895 | 2,140 | 2,130 | 2,405 | 1.4 | 1,395 | 1,445 | 1,445 | 1,495 | 0.4 |
| VT | 6,695 | 7,110 | 0.7 | 1,090 | 1,175 | 1,130 | 1,220 | 0.9 | 1,070 | 1,130 | 1,130 | 1,190 | 0.6 |
| New England | 137,045 | 151,005 | 1.1 | 27,840 | 31,520 | 30,135 | 34,105 | 1.4 | 22,445 | 23,700 | 23,080 | 24,395 | 0.6 |

- A variety of factors cause state growth rates to differ from the overall growth rate for New England. For example, New Hampshire has the fastest-growing economy in New England, and Maine has the slowest-growing economy in the region.

- CAGR stands for compound annual growth rate.

Net energy for load (NEL) is the generation output within an area, accounting for electric energy imports from other areas and electric energy exports to other areas. It also accounts for system losses and excludes the electric energy consumed to operate pumped-storage hydroelectric plants. The compound annual growth rate (CAGR) for the ISO’s electric energy use is 1.1% for 2013 through 2022, 1.4% for the summer peak, and 0.6% for the winter peak. The systemwide load factor (i.e., the ratio of the average hourly load during a year to peak hourly load) continues to decrease, from 56.2% in 2013 to 54.6% in 2022, but at a slower rate than in the past, and it begins to flatten by the end of forecast.

Figure 3-1 shows a comparison of the ISO’s actual summer peak demand (i.e., the load reconstituted to include the megawatts that had been reduced because of OP 4 and FCM passive demand resources) with the 50/50 load forecast and with the 90/10 load forecast. The actual load has been near or has exceeded the 90/10 forecast six times over the last 20 years because of hot and humid weather conditions, and it has been near or above the 50/50 forecast 10 times during same period.

Figure 3-1: The ISO’s actual summer peak loads (i.e., reconstituted for OP 4 and FCM passive demand resources) and the 50/50 and 90/10 forecasts (MW).

Note: The forecasted load values are the first-year values of the CELT forecast for each year. For example, the forecasted loads for 2012 are the loads for the first year of the 2012 CELT report.

### Economic and Demographic Factors and Electric Energy Use

The price of electricity and other economic and demographic factors drive the annual use of electric energy and the growth of the seasonal peak. In addition to net energy for load, the forecasts account for the effects of future federal long-term energy-efficiency goals, as well as the historical effects of energy efficiency, but do not reflect the peak and electric energy savings attributable to passive demand resources (see Section 3.1.2).

The ISO’s forecasts of electric energy use in New England and each state are based on a total energy-use concept, which sums the total electric energy used residentially (about 38%), commercially (about 42%), and industrially (about 20%). Real gross state product (RGSP) and the real price of electricity serve as proxies for overall economic and demographic conditions. These variables are the primary forces driving the model of electric energy use. Table 3-2 summarizes these and other indicators of the New England economy.

Table 3-2
New England Economic and Demographic Forecast Summary

| Factor | 1980 | 2012 | CAGR | 2013 | 2022 | CAGR |
| --- | --- | --- | --- | --- | --- | --- |
| Summer peak (MW) | 14,539 | 27,430 | 2.0 | 27,840 | 31,520 | 1.4 |
| Net energy for load (1,000 MWh) | 82,927 | 136,162 | 1.6 | 137,045 | 151,005 | 1.1 |
| Population (thousands) | 12,378 | 14,558 | 0.5 | 14,614 | 14,971 | 0.3 |
| Real price of electricity (¢/kWh, 2012$)(a) | 17.289 | 14.156 | −0.7 | 14.156 | 14.156 | 0.0 |
| Employment (thousands) | 5,483 | 6,856 | 0.7 | 6,909 | 7,484 | 0.9 |
| Real income (millions, 2005 $) | 280,918 | 661,204 | 2.7 | 671,990 | 885,085 | 3.1 |
| Real gross state product (millions, 2005 $) | 310,452 | 732,663 | 2.7 | 750,722 | 954,927 | 2.7 |
| Energy per household (MWh) | 18.954 | 23.749 | 0.7 | 23.740 | 24.705 | 0.4 |
| Real income per household (thousands) (2005 base year) | 64.207 | 115.324 | 1.8 | 116.405 | 144.804 | 2.5 |

(a)  kWh stands for kilowatt-hour.

The forecast of the retail electricity prices assumes that the prices will grow at the rate of inflation (2.7% average annual growth) and have fully incorporated the capacity costs from the Forward Capacity Market.

The Economy.com November 2012 economic forecast of real gross state product was used to represent overall economic activity in the RSP13 forecast models. Compared with the November 2011 Economy.com economic forecast, the November 2012 Economy.com forecast of real gross state product shows less growth from 2011 through 2013, higher growth from 2014 through 2017, and the same growth for the remaining years. Figure 3-2 compares the RGSP forecasts from November 2012 with the forecasts from November 2011.

Figure 3-2: “Economy.com” forecasts of New England gross state product from November 2012 and November 2011 forecasts.

Source: Moody’s Analytics, Economy.com.

Notes: Years 1981 to 2012 reflect actual gross state product. Note the US Bureau of Economic Analysis revisions to the historical data for 2007 to 2011.

### The CELT Forecast and Passive Demand Resources

The seasonal peak load and energy-use forecast, as published in the 2013–2022 Forecast Report of Capacity, Energy, Loads, and Transmission (2013 CELT Report) and used for calculating the Installed Capacity Requirement (ICR), fully accounts for historical energy efficiency, passive demand resources, and future federal appliance standards. The forecast does not expressly reflect the future reduction in peak demand and energy use that will result from the passive demand resources that clear the Forward Capacity Auctions and the energy-efficiency forecast (described in detail in Section 3.2). Historical reductions in load from “other demand resources” in the transition period leading up to the FCM and from the passive demand resources in the FCM have been added back into the historical loads used for load forecasting.

### Subarea Use of Electric Energy

Much of the RSP13 reliability and production cost analysis depends on the forecasts of annual electric energy use and peak demand in the subareas. Table 3-3 summarizes these forecasts and provides important market information to stakeholders. Table 3-4 shows the forecast for the RSP subareas and their relationship to the load zones and states. The forecasts for the peak demand and annual energy use in the subareas are based on allocating the ISO’s state forecasts to distribution companies within the states (on the basis of historical shares), allocating the distribution company forecasts to busses using the ISO model of the transmission network, and then aggregating the busses for each of the subareas.

Table 3-3
Forecasts of Annual Use of Electric Energy and Peak Demand in RSP Subareas, 2013 and 2022

| Area | Net Energy for Load (1,000 MWh) |  |  | Summer Peak Loads (MW) |  |  |  |  | Winter Peak Loads (MW) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 50/50 Load |  | 90/10 Load |  |  | 50/50 Load |  | 90/10 Load |  |  |
|  | 2013 | 2022 | CAGR | 2013 | 2022 | 2013 | 2022 | CAGR | 2013/14 | 2022/23 | 2013/14 | 2022/23 | CAGR |
| BHE | 1,825 | 1,985 | 0.9 | 310 | 345 | 330 | 370 | 1.3 | 290 | 300 | 305 | 315 | 0.4 |
| ME | 5,665 | 6,400 | 1.4 | 925 | 1,070 | 985 | 1,150 | 1.7 | 935 | 995 | 985 | 1,045 | 0.7 |
| SME | 4,275 | 4,385 | 0.3 | 760 | 790 | 815 | 850 | 0.5 | 640 | 630 | 675 | 665 | −0.2 |
| NH | 10,755 | 11,975 | 1.2 | 2,180 | 2,515 | 2,335 | 2,705 | 1.6 | 1,780 | 1,900 | 1,875 | 2,000 | 0.7 |
| VT | 7,425 | 7,995 | 0.8 | 1,280 | 1,405 | 1,335 | 1,475 | 1.1 | 1,200 | 1,275 | 1,265 | 1,340 | 0.6 |
| BOSTON | 28,320 | 31,240 | 1.1 | 5,835 | 6,620 | 6,300 | 7,140 | 1.4 | 4,600 | 4,925 | 4,695 | 5,035 | 0.8 |
| CMA/NEMA | 8,410 | 9,255 | 1.1 | 1,720 | 1,950 | 1,855 | 2,100 | 1.4 | 1,380 | 1,470 | 1,410 | 1,505 | 0.7 |
| WMA | 10,890 | 12,025 | 1.1 | 2,165 | 2,465 | 2,335 | 2,655 | 1.4 | 1,820 | 1,945 | 1,860 | 1,990 | 0.8 |
| SEMA | 14,095 | 15,765 | 1.3 | 2,945 | 3,440 | 3,185 | 3,720 | 1.7 | 2,260 | 2,415 | 2,310 | 2,470 | 0.7 |
| RI | 11,705 | 13,090 | 1.3 | 2,510 | 2,920 | 2,790 | 3,240 | 1.7 | 1,870 | 2,010 | 1,930 | 2,070 | 0.8 |
| CT | 16,615 | 18,165 | 1.0 | 3,555 | 3,940 | 3,875 | 4,290 | 1.1 | 2,800 | 2,875 | 2,855 | 2,935 | 0.3 |
| SWCT | 11,300 | 12,380 | 1.0 | 2,415 | 2,680 | 2,635 | 2,920 | 1.1 | 1,905 | 1,965 | 1,940 | 2,005 | 0.4 |
| NOR | 5,760 | 6,345 | 1.1 | 1,240 | 1,375 | 1,355 | 1,495 | 1.1 | 965 | 1,005 | 985 | 1,025 | 0.4 |
| ISO total(a, b) | 137,045 | 151,005 | 1.1 | 27,840 | 31,520 | 30,135 | 34,105 | 1.4 | 22,445 | 23,700 | 23,080 | 24,395 | 0.6 |

(a) 	The total load-zone projections are similar to the state load projections and are available at the ISO’s “2013 Forecast Data File,” http://www.iso-ne.com/trans/celt/fsct_detail/index.html; tab #2, “ISO-NE Control Area, States, Regional System Plan (RSP13) Subareas, and SMD [Standard Market Design] Load Zones Energy and Seasonal Peak-Load Forecast.”

(b) 	Totals may not equal the sum because of rounding and may not exactly match the results for other tables in this section.

Table 3-4 
Forecasts of RSP Subarea Peak Demand, 2013(a)

| RSP Subarea | Load Zone | State | 50/50 Summer Peak Load |  |  | 90/10 Summer Peak Load |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | MW | % of RSP Subarea | % of State | MW | % of RSP Subarea | % of State |
| BHE | ME | Maine | 310 | 100.0 | 15.0 | 330 | 100.0 | 15.0 |
| ME | ME | Maine | 925 | 100.0 | 44.8 | 985 | 100.0 | 44.7 |
| SME | ME | Maine | 760 | 100.0 | 36.8 | 815 | 100.0 | 37.0 |
| NH | ME | Maine | 70 | 3.2 | 3.4 | 75 | 3.2 | 3.4 |
|  | NH | New Hampshire | 2,035 | 93.5 | 80.6 | 2,180 | 93.4 | 80.4 |
|  | VT | Vermont | 75 | 3.4 | 6.9 | 80 | 3.4 | 7.1 |
|  |  |  | 2,180 |  |  | 2,335 |  |  |
| VT | NH | New Hampshire | 335 | 26.2 | 13.3 | 360 | 26.9 | 13.3 |
|  | VT | Vermont | 945 | 73.9 | 86.7 | 980 | 73.3 | 86.7 |
|  |  |  | 1,280 |  |  |  |  |  |
| BOSTON | NH | New Hampshire | 85 | 1.5 | 3.4 | 90 | 1.4 | 3.3 |
|  | NEMA/ Boston | Massachusetts | 5,755 | 98.6 | 44.4 | 6,210 | 98.6 | 44.4 |
|  |  |  | 5,835 |  |  | 6,300 |  |  |
| CMA/NEMA | NH | New Hampshire | 75 | 4.4 | 3.0 | 80 | 4.3 | 3.0 |
|  | WCMA | Massachusetts | 1,645 | 95.7 | 12.7 | 1,775 | 95.7 | 12.7 |
|  |  |  | 1,720 |  |  | 1,855 |  |  |
| WMA | VT | Vermont | 70 | 3.2 | 6.4 | 75 | 3.2 | 6.6 |
|  | CT | Connecticut | 100 | 4.6 | 1.4 | 110 | 4.7 | 1.4 |
|  | WCMA | Massachusetts | 1,995 | 92.1 | 15.4 | 2,155 | 92.3 | 15.4 |
|  |  |  | 2,165 |  |  | 2,335 |  |  |
| SEMA | RI | Rhode Island | 170 | 5.8 | 9.0 | 190 | 6.0 | 8.9 |
|  | SEMA | Massachusetts | 2,775 | 94.2 | 21.4 | 2,995 | 94.0 | 21.4 |
|  |  |  | 2,945 |  |  | 3,185 |  |  |
| RI | RI | Rhode Island | 1,725 | 68.7 | 91.0 | 1,940 | 69.6 | 91.1 |
|  | SEMA | Massachusetts | 785 | 31.3 | 6.1 | 845 | 30.3 | 6.0 |
|  |  |  | 2,510 |  |  | 2,790 |  |  |
| CT | CT | Connecticut | 3,555 | 100.0 | 48.6 | 3,875 | 100.0 | 48.6 |
| SWCT | CT | Connecticut | 2,415 | 100.0 | 33.0 | 2,635 | 100.0 | 33.0 |
| NOR | CT | Connecticut | 1,240 | 100.0 | 17.0 | 1,355 | 100.0 | 17.0 |

(a)  Totals may not equal the sum because of rounding and may not exactly match the results for other tables in this section.

## Energy-Efficiency Forecast for New England

The FCM provides the ISO with a comprehensive understanding of the short-term savings in energy use over the FCM horizon. Since 2009, the ISO also has been analyzing energy-efficiency programs and studying how to model incremental, future long-term EE savings for five to 10 years. This deliberate and analytic effort advanced the ISO’s understanding of energy efficiency from anecdotal to empirical. The result was the nation’s first regional (multistate) long-term forecast of energy efficiency. The ISO’s regional energy-efficiency forecast, as summarized in this section for 2016 through 2022, is part of ongoing efforts to analyze the long-term impacts of state-sponsored energy-efficiency programs on future demand.

### Results of the 2013 Forecast of Energy Efficiency

The final EE forecast for 2016 to 2022 projects savings in the average, total, and peak energy use for the region and each state. The results, which are based on an average annual spending rate among the six states of approximately $800 million per year, show a regional annual average energy savings of 1,358 gigawatt-hours (GWh). The forecast for total energy savings from 2016 to 2022 is 9,503 GWh. The states’ annual average energy savings ranges from a low of 58 GWh in New Hampshire to a high of 761 GWh in Massachusetts.

The regional average savings in peak demand is 193 MW. The forecast for total peak savings is 1,353 MW from 2016 to 2022. The states’ annual average peak savings ranges from a low of 10 MW in Maine and New Hampshire to a high of 110 MW in Massachusetts. Table 3-5 shows the results of ISO’s final EE forecast for 2016 to 2022.

Table 3-5
 ISO New England’s Final Energy-Efficiency Forecast for 2016 to 2022 (GWh, MW)(a)

| Forecast of Electric Energy Savings (GWh) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Year | Sum of States | States |  |  |  |  |  |
|  |  | ME | NH | VT | CT | RI | MA |
| 2016 | 1,621 | 108 | 68 | 120 | 246 | 161 | 919 |
| 2017 | 1,529 | 102 | 65 | 119 | 232 | 150 | 861 |
| 2018 | 1,435 | 97 | 61 | 113 | 218 | 140 | 806 |
| 2019 | 1,349 | 91 | 58 | 109 | 204 | 131 | 754 |
| 2020 | 1,268 | 86 | 55 | 107 | 192 | 122 | 706 |
| 2021 | 1,187 | 81 | 52 | 100 | 180 | 114 | 660 |
| 2022 | 1,114 | 76 | 49 | 97 | 169 | 106 | 618 |
| Total | 9,503 | 641 | 408 | 765 | 1,441 | 924 | 5,324 |
| Average | 1,358 | 92 | 58 | 109 | 206 | 132 | 761 |
| Forecast of Peak Demand Savings (MW) |  |  |  |  |  |  |  |
| Year | Sum of States | States |  |  |  |  |  |
|  |  | ME | NH | VT | CT | RI | MA |
| 2016 | 231 | 12 | 11 | 18 | 31 | 26 | 133 |
| 2017 | 218 | 12 | 11 | 18 | 29 | 24 | 124 |
| 2018 | 204 | 11 | 10 | 17 | 27 | 23 | 116 |
| 2019 | 192 | 10 | 10 | 16 | 26 | 21 | 109 |
| 2020 | 180 | 10 | 9 | 16 | 24 | 20 | 102 |
| 2021 | 169 | 9 | 9 | 15 | 23 | 18 | 95 |
| 2022 | 159 | 9 | 8 | 14 | 21 | 17 | 89 |
| Total | 1,353 | 73 | 68 | 114 | 181 | 149 | 768 |
| Average | 193 | 10 | 10 | 16 | 26 | 21 | 110 |

(a) The forecast results are available at www.iso-ne.com/eefwg.

Individual program administrators and state regulatory agencies provide the ISO with the EE program performance and budget data used to create the forecast. ISO New England’s Energy-Efficiency Forecast Working Group assesses the forecast assumptions and offers input.

## Load Forecast Incorporating FCA #7 Results and 2013 Energy-Efficiency Forecast

The section presents the load forecast reflecting FCM passive demand resources, including the results of the seventh Forward Capacity Auction (FCA #7) for the 2016/2017 capacity commitment period (CCP) and the 2013 energy-efficiency forecast for 2017–2022 (not from 2016, as presented in Section 3.2.1, which discusses the forecast prepared before FCA #7). Figure 3-3 and Figure 3-4 show a revised load forecast of annual energy use and summer peak loads, incorporating FCM passive demand resources through 2016 and the EE forecast data for 2017 to 2022, as presented in Table 3-5. Thus, these figures differ from those included in the Final 2013 Energy-Efficiency Forecast 2016-2022, which incorporate FCM passive resources from FCA #6 through 2015 and the 2013 EE forecast for 2016 to 2022.

Figure 3-3: Revised RSP13 annual energy-use load forecast (diamond), load forecast minus FCM #7 results through 2016 (square), and load forecast minus FCM results and minus the energy-efficiency forecast (triangle) for 2017 to 2022 (GWh).

Figure 3-4: Revised RSP13 summer peak demand forecast (90/10) (diamond), load forecast minus FCM #7 results through 2016 (square), and load forecast minus FCM results and minus the energy-efficiency forecast (triangle) for 2017 to 2022 (MW).

As shown in Table 3-6, the annual energy use forecast, minus both the FCM passive resources projected for 2013–2016 and the results of the 2017–2022 energy-efficiency forecast, shows essentially no long-run growth in electric energy use. The summer peak 90/10 forecast, when adjusted for both the existing FCM passive resources projected for 2013–2016 and the 2017–2022 energy-efficiency forecast, is projected to increase at a more modest rate, approximately half the projected growth rate of the forecast.

Table 3-6 
2013 Forecasts of Annual and Peak Electric Energy Use Compared with the Forecast Minus
FCM Passive Resources (2013 to 2016) and Energy-Efficiency Forecast Results (2017 to 2022)

|  | Gross | Gross − (FCM + EEF) |
| --- | --- | --- |
| NEL | 1.1 | 0.3 |
| 50/50 and 90/10 Summer | 1.4 | 0.9 |
| 50/50 and 90/10 Winter | 0.6 | −0.1 |

## Summary of Key Findings of the Load and Energy-Efficiency Forecasts

The RSP13 forecasts of annual net energy use and peak loads are key inputs in establishing the system needs discussed in Section 4 through Section 7. The RSP13 forecasts for the annual use of electric energy and summer and winter peak are essentially the same as in RSP12. The key points of the forecast are as follows:

- The recent recession ended in 2009, followed by relatively slower economic growth beginning in the early years of the forecast. The forecast for the economy shows faster growth through 2017 compared with the previous few years and then return to a long-run sustainable growth rate.

- The forecasts for annual energy use and the summer and winter peaks are not materially different from the RSP12 forecast.

- The ISO will continue examining ways to improve the load forecast further.

- The gross compound annual growth rate for the ISO’s electric energy use is 1.1% for 2013 through 2022, 1.4% for the summer peak, and 0.6% for the winter peak.

- The annual load forecast minus both the FCM passive resources and the ISO EE forecast shows essentially no long-term growth in energy consumption and reductions in the peak load.

Similar to any forecast, some level of uncertainty exists in the ISO’s energy-efficiency forecast. Nevertheless, as the region gains experience using this EE forecast methodology, the ISO and regional stakeholders will consider adjusting the methodology to ensure that the results are as accurate as possible. The ISO’s planning activities have incorporated the EE forecast, and regional transmission assessments and other planning studies appropriately reflect this forecast and the impacts from the region’s large investments in EE, as appropriate.

# Resources—Adequacy, Capacity, and Reserves

The ISO’s system planning process identifies the amounts, locations, and types of resources the system needs to ensure resource adequacy and how the region is meeting these needs in the short term through the Forward Capacity Market and the locational Forward Reserve Market (FRM). The amount of capacity the system requires in a given year is determined through the Installed Capacity Requirement calculation, which accounts for uncertainties, contingencies, and resource performance under a wide range of existing and future system conditions. The procurement of operating reserves for the system and local areas address contingencies, such as unplanned outages. Collectively, the forecasts of future electricity demand (as discussed in Section 3), the ICR calculation, the procurement of capacity and reserves, and the operable capacity analyses that consider future scenarios of load forecasts and operating conditions are referred to as the resource adequacy process. Projects proposed through the ISO’s Generator Interconnection Queue (the queue), energy-efficiency resources reflected in the ISO’s EE forecast, imports from neighboring systems, and the development of other resources can be used to meet the long-term needs of the system.

This section describes the requirements for resource adequacy over the planning period; the analyses conducted to determine the systemwide and local-area needs for resource adequacy; and the region’s efforts to meet the need for resources through the FCM, the FRM, the queue, and energy-efficiency resources planned by the states. This section also discusses the results of the net operable capability assessments of the system under a variety of deterministic, stressed-system conditions. The Strategic Planning Initiative (see Section 6) and other projects (Section 7) are addressing current issues and challenges in meeting short-term and long-term resource needs.

## Determining Systemwide and Local-Area Capacity Needs

The Installed Capacity Requirement forms the basis for determining the systemwide capacity needs. The planning process also determines the need for capacity in local capacity zones, accounting for export and import capabilities (or limitations) of these local zones. The annual Forward Capacity Auctions procure the needed capacity, systemwide and for capacity zones. The section provides the results of the systemwide and local-area capacity analyses for the planning period.

### Systemwide Installed Capacity Requirements

RSP13 discusses the established ICR values for the 2013/2014 through 2016/2017 capacity commitment periods and shows representative net ICR values for the 2018/2019 through 2022/2023 periods. The actual net ICR values for the 2013/2014 through 2016/2017 capacity commitment periods reflect the latest ICR values established for these years. FERC has approved the ICR and Hydro-Québec Interconnection Capability Credits (HQICC) values for the 2013/2014 through 2016/2017 commitment periods, which were based on the 2012 CELT load forecast. The representative net ICR values do not indicate the definitive amount of capacity the region must purchase for that period but provide stakeholders with a general forecast of the likely resource needs of the region. The assumptions used to develop the ICR values published in RSP13 were discussed at meetings of the Power Supply Planning Committee (PSPC), the Reliability Committee (RC), and the PAC.

Table 4-1 summarizes the results of the ICR calculation with the 50/50 peak load forecast (see Section 3.1). The actual reserve decreased from approximately 14% to approximately 12% in 2016/2017 because of assumed increases in tie benefits and changes in other system conditions reflected in the simulations.

Table 4-1 
Actual and Representative New England Net Installed Capacity Requirements
and Resulting Reserves, 2013 to 2022 (MW, %)

| Years | 2013 CELT Forecast 50/50 Peak (MW) | Actual and Representative Future Net ICR(a) (MW) | Resulting Reserves(b) (%) |
| --- | --- | --- | --- |
| 2013/2014 | 27,840 | 31,552 | 13.3 |
| 2014/2015 | 28,290 | 32,209 | 13.9 |
| 2015/2016 | 28,825 | 32,771 | 13.7 |
| 2016/2017 | 29,350 | 32,968 | # 12.3 |
| 2017/2018 | 29,790 | TBD(c) | TBD(c) |
| 2018/2019 | 30,155 | 33,800(d) | 12 |
| 2019/2020 | 30,525 | 34,200(d) | 12 |
| 2020/2021 | 30,860 | 34,600(d) | 12 |
| 2021/2022 | 31,205 | 35,000(d) | 12 |
| 2022/2023 | 31,520 | 35,300(d) | 12 |

- Net ICR values for 2013/2014 to 2016/2017 are the latest values approved by FERC. These net ICR values were developed using 2012 CELT Report loads.

- The resulting reserves for 2013/2014 to 2016/2017, when calculated using their respective CELT load forecasts, compared with values calculated using the 2013 CELT Report load forecast showed similar results because the two load forecasts are very similar.

- In November 2013, the ISO will file with FERC the ICR and net ICR for 2017/2018.

- The calculation for the 2018/2019 through 2022/2023 capability years’ representative net ICR values needed to meet the resource adequacy planning criterion is based on the resulting reserves for the 2016/2017 period. The representative future net ICR values used 12% resulting reserves, rounded to the nearest 100.

In 2012, with stakeholder input, the ISO calculated the representative net ICR values for 2018/2019 and beyond using the 2012 CELT load forecast and other system assumptions that also were used to calculate the ICR for 2016/2017. These probabilistic calculations showed a representative resulting-reserve requirement of approximately 12%, which was used, along with the 2013 CELT forecast, to determine the representative ICR values published in this RSP. The assumed percentage of resulting reserves shown in Table 4-1 for the future years is consistent with the results of these probabilistic studies, assumed system conditions, and probabilistic calculation methodologies.

As of the RSP13 publication date, the net ICR for 2017/2018 was under development and scheduled to be filed with FERC in November 2013. In December 2013 or early 2014, the ISO plans to present to the PAC the representative net ICR values for 2018/2019 through 2022/2023 using the same probabilistic calculation techniques and assumptions used to determine the 2017/2018 net ICR values.

### Local Resource Requirements and Limits

While the ICR addresses New England’s total capacity requirement assuming the system overall has no transmission constraints, certain subareas are limited in their ability to export or import power. To address the impacts of these constraints on subarea reliability, before each FCA, the ISO determines the maximum capacity limit (MCL) and local sourcing requirement (LSR) for certain subareas within New England. An MCL is the maximum amount of capacity that can be procured in an export-constrained load zone to meet the total ICR for the New England region. An LSR is the minimum amount of capacity that must be electrically located within an import-constrained load zone to meet the ICR. Areas that have either an LSR or an MCL and that meet other tests in the market are designated in the Forward Capacity Auction as capacity zones. These designations help ensure that the appropriate amount of capacity is procured within these capacity zones to satisfy the ICR and contribute effectively to total system reliability.

The LSR and MCL values are included in Table 4-2 for the 2013/2014 through the 2016/2017 capacity commitment periods. The LSR and MCL values for FCA #8 were under development at the time of the RSP13 publication and will be filed with FERC in November 2013. In December 2013 or early 2014, the ISO plans to present to the PAC the representative LSR and MCL values for 2018/2019 through 2022/2023 using the same probabilistic calculation techniques and assumptions used for determining the 2017/2018 LSR and MCL values.

Table 4-2
Actual LSRs and MCLs for the 2013/2014 to 2016/2017 Capacity Commitment Periods(a)

| Capacity Commitment Period |  | LSR (MW) |  | MCL (MW) |
| --- | --- | --- | --- | --- |
|  |  | CT | NEMA/Boston | Maine |
| 2013/2014 | FCA #4 | 7,310 | 2,799 | 3,632 |
| 2014/2015 | FCA #5 | 7,262 | 2,917 | 3,682 |
| 2015/2016 | FCA #6 | 7,402 | 3,063 | 3,818 |
| 2016/2017 | FCA #7 | 7,603 | 3,209 | 3,709 |

(a) 	Source: “Summary of ICR, LSR, and MCL for FCM and the Transition Period,” table, in Summary of ICR Values, document, http://www.iso-ne.com/markets/othrmkts_data/fcm/doc/index.html. These are the latest values filed with FERC.

### Capacity Supply Obligations

This section presents the results of the first seven Forward Capacity Auctions, including the amount of capacity that generation, import, and demand resources in the region will supply.

#### Capacity Supply Obligations for the First Seven FCAs

Table 4-3 shows the results of the seven FCAs held so far for 2010/2011 through 2016/2017 and provides the capacity supply obligation (CSO) totals procured for FCA #1 thru FCA #7 at the conclusion of each auction. This table also includes some details on the types of CSOs procured, including the total real-time emergency generation (see Section 2.4), self-supply obligation values that reflect bilateral capacity arrangements, and import capacity supply obligations from neighboring balancing authority areas.

Table 4-3
Summary of the FCA Obligations at the Conclusion of Each Auction (MW)(a)

| Commitment Period | ICR | HQICC | Net ICR(b) | Capacity Supply Obligation | RTEG Capacity Supply Obligation | RTEG Utilization Ratio | Self-Supply Obligation | Import Capacity Supply Obligation |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2010/2011 | 33,705 | 1,400 | 32,305 | 34,077 | 875 | 0.686 | 1,593 | 934 |
| 2011/2012 | 33,439 | 911 | 32,528 | 37,283 | 759 | 0.791 | 1,696 | 2,298 |
| 2012/2013 | 32,879 | 914 | 31,965 | 36,996 | 630 | 0.952 | 1,935 | 1,900 |
| 2013/2014 | 33,043 | 916 | 32,127 | 37,501 | 688 | 0.872 | 2.698 | 1,993 |
| 2014/2015 | 34,154 | 954 | 33,200 | 36,918 | 722 | 0.831 | 3,176 | 2,011 |
| 2015/2016 | 34,498 | 1,042 | 33,456 | 36,309 | 617 | 0.972 | 4,164 | 1,924 |
| 2016/2017 | 34,023 | 1,055 | 32,968 | 36,220 | 262 | 1.000 | 4,662 | 1,830 |

  - Information regarding the results of annual reconfiguration auctions is available at http://www.iso-ne.com/markets/othrmkts_data/fcm/cal_results/index.html.

  - The ICR minus the Hydro-Québec Interconnection Capability Credits (see Section 4.1.1) equals the net ICR. The ICR applies to the FCA, not the reconfiguration auction.

#### FCA Results for Capacity Zones

Table 4-4 summarizes the detailed CSOs for the capacity zones modeled for each capacity commitment period, which are published in the 2013 CELT Report. The CSOs have been adjusted to reflect the market rule’s limit of 600 MW for real-time emergency-generation resources, which is the maximum quantity of this resource type that can be counted toward the ICR.

Table 4-4
Results of the FCA by Capacity Zone at the Conclusion of Each Auction (MW, $/kW-month)(a)

| Commitment Period | Modeled Capacity Zone | Maximum Capacity Limit | Local Sourcing Requirement | Capacity Supply Obligation | RTEG Capacity Supply Obligation | Self-Supply Obligation | Capacity Clearing Price | Payment Rate | RTEG Payment Rate |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | (MW) |  |  |  |  | ($/kW-month) |  |  |
| 2010/2011 | Rest-of-Pool |  |  | 30,572 | 838 | 1,584 | 4.5 | 4.254 | 2.918 |
|  | Maine | 3,855 |  | 3,505 | 37 | 9 | 4.5 | 4.254 | 2.918 |
| 2011/2012 | Rest-of-Pool |  |  | 33,468 | 727 | 1,687 | 3.6 | 3.119 | 2.467 |
|  | Maine | 3,395 |  | 3,815 | 32 | 9 | 3.6 | 3.119 | 2.467 |
| 2012/2013 | Rest-of-Pool |  |  | 33,099 | 597 | 1,925 | 2.951 | 2.535 | 2.413 |
|  | Maine | 3,275 |  | 3,897 | 33 | 9 | 2.951 | 2.465 | 2.347 |
| 2013/2014 | Rest-of-Pool |  |  | 33,476 | 655 | 2,693 | 2.951 | 2.516 | 2.194 |
|  | Maine | 3,187 |  | 4,025 | 33 | 6 | 2.951 | 2.336 | 2.036 |
| 2014/2015 | Rest-of-Pool |  |  | 32,960 | 691 | 3,171 | 3.209 | 2.855 | 2.374 |
|  | Maine | 3,702 |  | 3,958 | 31 | 5 | 3.209 | 2.885 | 2.374 |
| 2015/2016 | Rest-of-Pool |  |  | 32,374 | 582 | 4,157 | 3.434 | 3.129 | 3.044 |
|  | Maine | 3,888 |  | 3,935 | 35 | 7 | 3.434 | 3.129 | 3.044 |
| 2016/2017 | Rest-of-Pool |  |  | 20,182 | 80 | 4076 | 3.15 | 2.744 | 2.744 |
|  | Maine | 3,709 |  | 3,950 | 12 | 26 | 3.15 | 2.744 | 2.744 |
|  | Connecticut |  | 7,603 | 8,372 | 143 | 499 | 3.15 | 2.883 | 2.883 |
|  | NEMA/ Boston(b) |  | 3,209 | 3,716 | 28 | 61 | 14.999 | 14.999 (new)/ 6.661 (existing) | 6.661 |

    - Values are rounded and do not reflect proration.

    - Insufficient competition triggered in NEMA/Boston.

Two capacity zones, Maine and the Rest-of-Pool, were used in FCA #1 through FCA #6 to address Maine’s designation as an export-limited capacity zone. The potential import-constrained capacity zones were determined to have sufficient existing capacity to meet the local-sourcing requirements for FCA #1 through FCA #6. In its March 30, 2012, order on tariff revisions to the FCM, FERC accepted the ISO’s proposal to model four capacity zones for FCA #7. These capacity zones were Maine, which was designated as an export-constrained capacity zone; NEMA/Boston and Connecticut, which were designated as import-constrained capacity zones; and the Rest-of-Pool, which combined the other four capacity zones.

For FCA #8, the ISO submitted a filing to FERC proposing to continue to model the same four zones used in FCA #7 but then initiating a stakeholder process to develop a zonal structure for the market that better reflects reliability needs of the system. FERC initially rejected this proposal, requiring the ISO to model eight capacity zones, but after the ISO provided additional information, FERC subsequently accepted the use of the existing four capacity zones. FERC is requiring the ISO to pursue the stakeholder process for determining future zones as originally proposed. This process was initiated over the summer 2013 and will develop criterion and processes for creating, modifying, or collapsing capacity zones, as appropriate.

Available capacity resources in the Connecticut capacity zone exceed the resource adequacy requirements for the area after FCA #7 by 769 MW. In this zone for the 2016/2017 capacity commitment period, 8,372 MW of capacity resources will be used to meet the local sourcing requirement of 7,603 MW. An additional 100 MW of capacity also was procured in Connecticut to support an administrative export delist bid through that capacity zone. In the NEMA/Boston capacity zone, the FCA #7 auction closed in the first round when a new capacity resource sought to withdraw from the auction. If the new resource, a 674 MW generating capacity resource proposed by Footprint Power, had withdrawn from the auction, the NEMA/Boston capacity zone would have been short of the resources needed to meet demand in 2016/2017. This capacity zone met the Market Rule 1 conditions for administrative pricing and triggered insufficient competition in NEMA/Boston. Table 4-5 shows, by resource type, the amounts of new capacity procured during all the FCAs.

Table 4-5
Capacity Supply Obligation for New Capacity
Procured during the Forward Capacity Auctions (MW)(a)

| Capacity Resource | FCA #1 | FCA #2 | FCA #3 | FCA #4 | FCA #5 | FCA #6 | FCA #7 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Generation resources | 40 | 1,157 | 199 | 114 | 42 | 79 | 800 |
| Demand-resource total | 860 | 447 | 309 | 515 | 263 | 313 | 245 |
| Active demand resources | 576 | 185 | 98 | 257 | 42 | 66 | <1 |
| Passive demand resources | 284 | 262 | 211 | 258 | 221 | 247 | 245 |
| Import resources | 0 | 1,529 | 817 | 831 | 871 | 1,648 | 1,718 |

(a) 	New RTEG capacity is not included in the table values because it is treated as existing capacity in the FCA. Repowered existing generating capacity (i.e., capacity that has undergone environmental upgrades), which is treated as new capacity in the FCA, has been removed as well. Refer to the full auction results at http://www.iso-ne.com/markets/othrmkts_data/fcm/cal_results/index.html.

#### Representative Systemwide Resource Needs

The systemwide capacity needs are shown by the representative net ICR values for future years (see Section 4.1.1). Table 4-6 compares these systemwide needs with the resources procured in FCA #7 plus the energy-efficiency forecast (see Section 3.2) that projects the future levels of passive demand resources. This projection assumes that all resources with supply obligations through FCA #7 are in commercial service by the start of the seventh capacity commitment period commencing in June 2016 and that they remain in service for the 10-year planning horizon. The resource surpluses from 2018 through 2022 show the maximum amounts of resource retirements the region can withstand systemwide, assuming that the retirements have no impact on transmission security constraints.

Table 4-6 
Future Systemwide Needs (MW)

| Year | 50/50 Peak Load | Representative Net ICR (Need) | FCA #7 (Known Resources)(a) | EE Forecast (New Resource) | Resource Surplus/Shortage |
| --- | --- | --- | --- | --- | --- |
| 2018/2019 | 30,155 | 33,800 | 36,220 | 422 | 2,842 |
| 2019/2020 | 30,525 | 34,200 | 36,220 | 614 | 2,634 |
| 2020/2021 | 30,860 | 34,600 | 36,220 | 794 | 2,414 |
| 2021/2022 | 31,205 | 35,000 | 36,220 | 964 | 2,184 |
| 2022/2023 | 31,520 | 35,300 | 36,220 | 1,122 | 2,042 |

(a) 	FCA #7 resource numbers are based on FCA #7 auction results. Details are available at http://www.iso-ne.com/regulatory/ferc/filings/2013/feb/er13-992-000_2-26-13_7th_fca_results_filing.pdf.

## Determining Operating Reserves and Regulation

In addition to capacity resources being available to meet the region’s actual demand for electricity, as discussed in Section 4.1, the system needs a certain amount of resources that can provide operating reserves and system regulation. The overall mix of resources providing operating reserves must be able to respond quickly to system contingencies stemming from equipment outages. The ISO may also call on these resources to provide regulation service for maintaining system frequency and external transactions with neighboring balancing authority areas or to serve load during peak demand conditions. A suboptimal mix of resources overall, with limited amounts of flexible operating characteristics, could result in the system’s dependence on more costly resources to provide these services. In the worst case, reliability would be degraded.

Several types of resources in New England have the operating characteristics to respond to contingencies, provide regulation service, and serve peak demand. The generating units that provide operating reserves can respond to contingencies within 10 or 30 minutes and can either be synchronized or not synchronized to the power system. Synchronized (i.e., spinning) operating reserves are on-line resources that can increase output. Nonsynchronized (i.e., nonspinning) operating reserves are off-line, fast-start resources that can be electrically synchronized to the system quickly, reaching maximum output within 10 minutes or within 30 minutes. During real-time daily operations, the ISO determines operating-reserve requirements for the system as a whole and for major import-constrained areas.

This section discusses the need for operating reserves, both systemwide and in major import areas, and the use of specific types of fast-start resources to fill these needs. An overview of the Forward Reserve Market and a forecast of representative future operating-reserve requirements for Greater Southwest Connecticut, Greater Connecticut, and BOSTON are provided. This section also discusses the likely need for additional flexible resources identified by the Strategic Planning Initiative (see Section 6).

### Systemwide Operating-Reserve Requirements

The ISO’s operating-reserve requirements, as established in Operating Procedure No. 8, Operating Reserve and Regulation (OP 8), are used to protect the system from the impacts associated with a loss of generating or transmission equipment within New England. A certain amount of the power system’s resources must be available to provide operating reserves to assist in addressing systemwide contingencies.

To comply with OP 8, the ISO must maintain sufficient reserves in its balancing authority area during normal conditions to be able to replace within 10 minutes the first-contingency loss (N−1) (see Section 2.3). In addition, OP 8 requires the ISO to maintain sufficient reserves to be able to replace at least 50% of the next-largest contingency loss (N−1−1) within 30 minutes. Typically, the largest first-contingency loss is between 1,300 and 1,700 MW, and 50% of the next-largest contingency loss is between 600 and 750 MW. These resources typically consist of some combination of the two largest on-line generating units or imports on the Phase II interconnection with Québec.

In accordance with NERC and NPCC criteria for power system operation, ISO Operating Procedure No. 19 (OP 19), Transmission Operations, requires system power flows to stay within applicable emergency limits of the power system elements that remain after any other power system element is lost (N−1). This N−1 limit may be a thermal, voltage, or stability limit of the transmission system. OP 19 further stipulates that within 30 minutes of the loss of the first-contingency element, the system must be able to return to a normal state that can withstand a second contingency. To implement these OP 19 requirements, and as set forth in OP 8, operating reserves must be distributed throughout the system. This requirement is designed to ensure that the ISO can activate all reserves without exceeding transmission system limitations and that the operation of the system remains in accordance with NERC, NPCC, and ISO New England criteria and guidelines.

#### Changes to the Real-time 10-Minute Operating-Reserve Requirement

In July 2012, the ISO increased its real-time 10-minute operating-reserve requirement to address its emerging concern over resource performance prompted by the operation of many generators during NERC and NPCC reportable contingencies. Although the ISO had maintained a 10-minute operating-reserve level that assumed 100% performance of resources offering capability, analysis of operational performance of existing resources during stressed system conditions in 2010 and early 2011 indicated consistently less than 100% performance when dispatching resources in response to a contingency. Results of this analysis demonstrated that many of the generating resources the system relied on for contingency response did not always perform relative to their offered capability but rather exhibited a system average 20% rate of nonperformance. To compensate for nonperformance, the ISO has increased the total 10-minute operating-reserve requirement by 25% (1.0/0.8=1.25). Consequently, the total 10-minute operating reserve previously equivalent to the largest single contingency is now 125% of this contingency.

The increased total 10-minute operating-reserve requirement is reflected in the operable capacity analysis (see Section 4.3), and is distributed equally to the spinning and nonspinning components of this requirement (50% to each). The ISO reviews the historical performance of resources and can reduce the portion of nonspinning reserves to 25% of the total 10-minute operating reserve.

#### Changes to the FRM Requirement

To complement the changes in the real-time operating-reserve requirements, the ISO also revised the market rules to address the change in the procurement of 10-minute reserves in the Forward Reserve Market, effective March 1, 2013. This revision addresses the resource performance issues described in Section 4.2.1.1. As a result, the ISO has procured 25% more 10-minute reserve beginning with the summer 2013 forward-reserve auction. All the total 10-minute values associated with the FRM, published in RSP13, reflect this 25% increase in the overall reserve requirement but do not affect the amount of reserves distributed to locations (i.e., the reserve values for BOSTON, SWCT, and Greater CT did not increase) (see Section 4.2.2).

#### Replacement-Reserve Requirement

To address the uncertainties associated with resource nonperformance, as well as load forecast error, and gas-fuel dependence, the ISO will begin operating the system to meet an incremental replacement-reserve requirement as part of the total operating-reserve requirement. These replacement reserves will be included in the FRM procurements starting in October 2013 with the winter 2013/2014 period. The replacement-reserve requirement will be set at 180 MW during Eastern Standard Time and 160 MW during Daylight Savings Time. The higher amount set for the winter period is to accommodate the additional peak load ramping and fuel uncertainty usually experienced during this period.

Resources will be redispatched to meet the replacement-reserve requirement using an additional Reserve Constraint Penalty Factor (RCPF) for replacement reserves, which will be set at $250/MWh. However, the ISO will not take emergency actions (i.e., invoke OP 4 procedures) for shortfalls in meeting the replacement reserves. These replacement-reserve requirements also will not affect locational requirements that distribute reserve requirements.

### Locational Forward Reserve Market Requirements for Major Import Areas

To maintain system reliability further, the ISO must maintain certain reserve levels within major importing subareas of the system that rely on imports of power from outside the area. The amount and type of operating reserves required within these “load pockets” depend on many factors, including load levels, the projected peak load of the subarea, and the operating characteristics of the generating units within the area. The systemwide commitment and economic dispatch of generation, system topology, system reliability constraints, special operational considerations, possible resource outages, and other system conditions are additional factors that can affect required levels of reserve within subareas.

The ISO analyzes and determines how the generating resources within the load pockets must be committed to meet the following day’s operational requirements and withstand possible contingencies, including the most critical contingencies that determine the transmission import capability into the subarea. If maximizing the use of transmission import capability to meet demand is more economical, the subarea will require more local operating reserves to protect for contingencies. If using import capability to meet demand is less economical, generation located outside the subarea could provide operating reserves, thus reducing operating-reserve support needed within the subarea. The locational Forward Reserve Market is in place to procure these required operating reserves.

Table 4-7 shows representative future operating-reserve requirements for Greater Southwest Connecticut, Greater Connecticut, and BOSTON. These estimated requirements are based on the same methodology used to calculate the requirements for the locational FRM. The estimates account for representative future system conditions for load, economic generation, generation availability, N−1 and N−1−1 transfer limits, and normal criteria contingencies for generation and transmission in each subarea. The representative values show a range to reflect the load and resource uncertainties associated with future system conditions. Table 4-7 also shows the existing amount of fast-start capability located in each subarea resulting from the fast-start resource offered into past FRM auctions.

Table 4-7 
Representative Future Operating-Reserve Requirements
in Major New England Import Areas (MW)

| Area/Improvement | Market Period(a) | Range of Fast-Start Resources Offered into the Past Forward Reserve Auctions (MW)(b) | Representative Future Locational Forward Reserve Market Requirements (MW) |  |
| --- | --- | --- | --- | --- |
|  |  |  | Summer(c) (Jun to Sep) | Winter(c) (Oct to May) |
| Greater Southwest Connecticut(d) | 2013 | 199–515 | 0(e) | 155(e) |
|  | 2014 |  | 0 | 0 |
|  | 2015 |  | 0 | 0 |
|  | 2016 |  | 0 | 0 |
|  | 2017 |  | 0 | 0 |
| Greater Connecticut(f, g) Greater Springfield Reliability Project (GSRP), and Interstate Reliability Project (IRP) of the New England East–West Solution (NEEWS)(f) | 2013 | 659–1,563(h) | 747(e) | 578(e) |
|  | 2014 |  | 100–700 | 0 |
|  | 2015 |  | 200–800 | 0 |
|  | 2016 |  | 300–900 | 0 |
|  | 2017 |  | 0–600 | 0 |
| BOSTON(g, i) | 2013 | 0–441 | 0(e) | 0(e) |
|  | 2014 |  | 0–150 | 0 |
|  | 2015 |  | 0–200 | 0 |
|  | 2016 |  | 0–250 | 0 |
|  | 2017 |  | 0–300 0, if Footprint is in service | 0–100 0, if Footprint is in service |

- The market period is from June 1 through May 31 of the following year.

- These values are the range of the megawatts of resources offered into the past forward-reserve auctions. The amount offered into the auctions for BOSTON decreased in recent years as the reserve requirements for the market decreased. A summary of the forward-reserve offers for the past auctions is available at http://www.iso-ne.com/markets/othrmkts_data/res_mkt/summ/index.html.

- “Summer” means June through September of a capability year; “winter” means October of the associated year through May of the following year (e.g., the 2013 winter values are for October 2013 through May 2014). The representative values show a range to reflect uncertainties associated with the future system conditions.

- The assumed N−1 and N−1−1 values to reflect transmission import limits into Greater Southwest Connecticut are 3,200 MW and 2,300 MW, respectively.

- These values are actual locational forward-reserve requirements. The projections of the requirements for future years are based on assumed contingencies.

- For Greater Connecticut, the assumed import limits reflect an N−1 value of 3,050 MW and an N−1−1 value of 1,850 MW with the Greater Springfield Reliability Project in service. With the Card–Lake Road line in service, assumed for 2017, the definition of the import interface will change, so that the assumed Greater Connecticut N-1 import limit will be 2,800 MW and the assumed N-1-1 limit will be 1,600 MW.

- In some circumstances when transmission contingencies are more severe than generation contingencies, shedding some nonconsequential load (i.e., load shed that is not the direct result of the contingency) may be acceptable.

- These values include resources in Greater Southwest Connecticut.

- The assumed N−1 and N−1−1 values reflecting transmission import limits into BOSTON are 4,900 MW and 3,700 MW, respectively. These limits are assumed to change to 4,850 MW and 4,175 MW in 2014 to reflect the impacts of the retirement of Salem Harbor units #1–#4 and the North Shore Upgrade. The operating-reserve values for BOSTON would be lower with transmission upgrades or without the consideration of the common-mode failure of Mystic units #8 and #9, which are assumed would trip (up to 1,400 MW) because of a failure of the units’ common fuel supply. The 2017 values for NEMA/Boston also show the forward-reserve requirement, assuming that Footprint Power, 674 MW, will be in service by June 2016.

Because the local contingency requirements in Greater SWCT are nested within CT (i.e., operating reserves meeting the Greater SWCT requirement also meet the Greater Connecticut requirement), resources installed in the Greater SWCT area also would satisfy the need for resources located anywhere in Greater Connecticut.

#### Greater Southwest Connecticut

As shown in Table 4-7, Greater SWCT is not expected to require maintaining operating reserves in the area. Because transmission improvements have increased the transfer capability into the area (see Section 5.4.2), for future years, economic energy transfers will be able to  serve load and reserve support from outside the Greater SWCT area will be able to cover second contingencies.

#### Greater Connecticut

Past RSPs and market signals had identified the need for in-merit and fast-start resources in Greater Connecticut to meet reliability requirements and reduce out-of-merit market costs. As a result of resource development, Greater Connecticut is projected to have adequate fast-start resources, and the economic performance of this area is expected to improve. Up to 1,563 MW of fast-start resources were offered into the past summer auctions for Greater Connecticut, which exceeds the 747 MW of the reserve requirement established for the FRM. The expected in service of the Lake Road–Card transmission line in 2016 would increase the transfer capability into Greater Connecticut and redefine that area such that the Lake Road generating plant would be considered electrically connected within Greater Connecticut. These changes, and the addition of new economical resources within Greater Connecticut, would allow the ISO more flexibility in achieving the most economical energy production while maintaining an adequate amount of operating reserves for Greater Connecticut.

#### BOSTON

The FRM requirements for the BOSTON subarea shown in Table 4-7 reflect the possible simultaneous contingency loss of Mystic units #8 and #9. With the increased import limits resulting from the completion of the NSTAR 345 kilovolt (kV) Transmission Reliability Project in 2008, operators can optimize the use of regional generation located outside NEMA/Boston to meet both the load and reserve requirements of this subarea.

The FRM requirements for the BOSTON subarea also reflect the retirements of the Salem Harbor units in 2014. These retirements affect the reserve requirements because they will reduce the total ability to serve load in the BOSTON subarea. However, both the North Shore transmission upgrades (that increases the transmission transfer capabilities into BOSTON) and the planned addition of Footprint Power (that increases local generation in the area) more than offset the effects of the reduced amount of Salem Harbor generation available to serve the BOSTON subarea loads. (Refer to Table 4-7, note i.)

If the transmission lines were fully utilized to import lower-cost generation into BOSTON, this subarea would need to provide operating reserves to protect against the larger of (1) the loss of the largest generation source within the subarea and a transmission line or (2) the loss of two transmission lines into the subarea. Up to 441 MW of fast-start resources were offered into the past FRM auctions. The expected amount of existing fast-start resources located in BOSTON will likely meet the estimates of representative local reserve requirements for BOSTON during the study timeframe.

#### Summary of Forward Reserve Market Requirements in Major Load Pockets

New England must meet its overall operating-reserve requirements and have sufficient reserves in load pockets to meet reliability requirements. The recent additions of fast-start resources in Greater Connecticut provide needed operating flexibility as well as operating reserves. Planned fast-start resources as well as baseload resources on line most of the time also would decrease the amounts of reserves required within the subareas of Greater Connecticut. Existing fast-start resources will likely be used to meet the locational reserve requirements for BOSTON. Any reduction in traditional baseload resources in either area would increase the locational FRM requirement.

The potential retirement of generating units could affect the definition of the zones for operating-reserve requirements.

## Analyzing Operable Capacity

The ISO analyzes the systemwide operable capacity to estimate the net capacity that will be available under two scenarios (i.e., using the 50/50 and 90/10 forecasts of peak load). The analysis identifies operable capacity margins, assuming peak-load conditions and that New England will only have an amount of capacity equal to the net ICR to meet the assumed peak demand plus operating-reserve requirements. A negative margin for a specific scenario indicates the extent that possible mitigation actions would be required through predefined protocols, as prescribed in the ISO’s Operating Procedure No. 4, Action during a Capacity Deficiency, or Operating Procedure No. 7 (OP 7), Action in an Emergency.

Figure 4-1, Table 4-8, and Table 4-9 show the results of the ISO’s systemwide operable capacity analysis for 2013 to 2022. The analysis does not take into account operable capacity needs for RSP subareas. The results show that if the loads associated with the 50/50 forecast occurred, the ISO would expect New England to experience a negative operable capacity margin every year of the study period. The ISO system operators will have to rely on load and capacity relief from OP 4 actions to mitigate the possible capacity shortages.

Figure 4-1: Projected summer operable capacity analysis, 2013 to 2022.

Note: Each year indicates the starting year for the respective capacity commitment period. Total net capacity values for 2013/2014 to 2016/2017 are based on the net ICR filed with FERC. The net capacity for 2018/2019 to 2022/2023 is based on representative net ICR values. The net capacity for 2017/2018 is under development and will be determined after the net ICR for 2017/2018 is filed with FERC in November 2013.

Table 4-8
Projected New England Operable Capacity Analysis for Summer, 2013 to 2022,
Assuming 50/50 Loads (MW)

| Capacity Situation (Summer MW) | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Load (50/50 forecast) | 27,840 | 28,290 | 28,825 | 29,350 | 29,790 | 30,155 | 30,525 | 30,860 | 31,205 | 31,520 |
| Operating reserves(a) | 2,375 | 2,375 | 2,375 | 2,375 | 2,375 | 2,375 | 2,375 | 2,375 | 2,375 | 2,375 |
| Total requirement | 30,215 | 30,665 | 31,200 | 31,725 | 32,165 | 32,530 | 32,900 | 33,235 | 33,580 | 33,895 |
| Installed capacity (net ICR) | 31,552 | 32,209 | 32,771 | 32,968 | N/A | 33,800 | 34,200 | 34,600 | 35,000 | 35,300 |
| Assumed unavailable capacity | −2,100 | −2,100 | −2,100 | −2,100 | −2,100 | −2,100 | −2,100 | −2,100 | −2,100 | −2,100 |
| Total net capacity(b) | 29,452 | 30,109 | 30,671 | 30,868 | N/A | 31,700 | 32,100 | 32,500 | 32,900 | 33,200 |
| Operable capacity margin(c) | −763 | −556 | −529 | −857 | N/A | −830 | −800 | −735 | −680 | −695 |

(a)	The 2,375 MW value of operating reserves is  based on the following assumptions: a first contingency of 1,400 MW plus a 25% increase in the 10-minute operating reserve to compensate for nonperformance of the reserve generating units (as discussed in Section 4.2.1.1) equal to 350 MW, and 30-minute reserves of 625 MW (one half of 1,250 MW).

(b) 	The net capacity values are consistent with Table 4-1.

(c) 	“Operable capacity margin” equals “total net capacity” minus “total requirement.”

Table 4-9
Projected New England Operable Capacity Analysis for Summer, 2013 to 2022,
Assuming 90/10 Loads (MW)

| Capacity Situation (Summer MW) | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Load (90/10 forecast) | 30,135 | 30,620 | 31,185 | 31,740 | 32,210 | 32,615 | 33,010 | 33,380 | 33,755 | 34,105 |
| Operating reserves(a) | 2,375 | 2,375 | 2,375 | 2,375 | 2,375 | 2,375 | 2,375 | 2,375 | 2,375 | 2,375 |
| Total requirement | 32,510 | 32,995 | 33,560 | 34,115 | 34,585 | 34,990 | 35,385 | 35,755 | 36,130 | 36,480 |
| Installed capacity (net ICR) | 31,552 | 32,209 | 32,771 | 32,968 | N/A | 33,800 | 34,200 | 34,600 | 35,000 | 35,300 |
| Assumed unavailable capacity | −2,100 | −2,100 | −2,100 | −2,100 | −2,100 | −2,100 | −2,100 | −2,100 | −2,100 | −2,100 |
| Total net capacity(b) | 29,452 | 30,109 | 30,671 | 30,868 | N/A | 31,700 | 32,100 | 32,500 | 32,900 | 33,200 |
| Operable capacity margin(c) | −3,058 | −2,886 | −2,889 | −3,247 | N/A | −3,290 | −3,285 | −3,255 | −3,230 | −3,280 |

(a)	The 2,375 MW value of operating reserves is  based on the following assumptions: a first contingency of 1,400 MW plus a 25% increase in the 10-minute operating reserve to compensate for nonperformance of the reserve generating units (as discussed in Section 4.2.1.1) equal to 350 MW, and 30-minute reserves of 625 MW (one half of 1,250 MW).

(b) 	The net capacity values are consistent with Table 4-1.

(c) 	“Operable capacity margin” equals “total net capacity” minus “total requirement.”

Figure 4-1 and Table 4-9 show that New England could experience larger negative operable capacity margins of approximately 3,058 MW as early as summer 2013 if the 90/10 peak loads occurred. Thus, throughout the study period, New England would need to rely on load and capacity relief from OP 4 actions under the projected 90/10 peak loads. Assuming the exact amount of resources needed to meet the once-in-10-years loss-of-load expectation (LOLE) analysis is purchased in the FCA, this negative operable capacity margin would increase to approximately 3,250 MW by 2016. Using an indicative reserve margin of 12%, the operable capacity margin stays relatively constant from 2018 through 2022 in the negative 3,300 MW range.

## Identifying New England’s Generating Resources

Table 4-10 shows the megawatt amount of summer seasonal claimed capability (SCC) of the generating resources, both systemwide and for each RSP subarea, categorized by the assumed operating classification of the resource.

Table 4-10 
2013 Summer Seasonal Claimed Capability for ISO New England Generating Resources,
by Assumed Operating Classification, Systemwide and by RSP Subarea (MW)

| Area | Baseload | Intermediate | Peaking | Intermittent(a) |
| --- | --- | --- | --- | --- |
| BHE | 133 | 488 | 158 | 50 |
| BOSTON | 1,247 | 1,646 | 297 | 12 |
| CMA/NEMA | 45 | 102 | 29 | 22 |
| CT | 3,886 | 679 | 536 | 12 |
| ME | 287 | 244 | 135 | 157 |
| NH | 2,752 | 1,184 | 83 | 69 |
| NOR | 330 | 0 | 182 | 0 |
| RI | 1,561 | 3,607 | 45 | 4 |
| SEMA | 1,867 | 1,330 | 146 | 11 |
| SME | 887 | 535 | 32 | 38 |
| SWCT | 521 | 974 | 770 | 7 |
| VT | 762 | 0 | 125 | 34 |
| WMA | 386 | 1,363 | 1,955 | 34 |
| Total | 14,664 | 12,152 | 4,493 | 450 |

        - The “intermittent” category includes all wind, solar, and run-of-river hydro generators.

### Existing Generating Resources in New England

Generating units located close to load centers typically reduce the need for transmission system improvements. Table 4-11 tabulates the existing generating amounts and locations by RSP subarea, load zone, and state.

Table 4-11
RSP13 Generating Capacity by Subarea, Load Zone, and State, 2013

| RSP Subarea | State | Load Zone | Summer |  |  | Winter |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | MW(a) | % of RSP Subarea | % of State | MW(a) | % of RSP Subarea | % of State |
| BHE | Maine | ME | 829 | 100 | 26 | 935 | 100 | 27 |
| ME | Maine | ME | 823 | 100 | 26 | 928 | 100 | 27 |
|  |  | NH | 0.4 | 0 | 0 | 0.5 | 0 | 0 |
|  |  |  | 823 |  |  | 929 |  |  |
| SME | Maine | ME | 1,492 | 100 | 47 | 1,552 | 100 | 45 |
| NH | New Hampshire | ME | 0 | 0 | 0 | 1 | 0 | 0 |
|  |  | NH | 4,066 | 99 | 100 | 4,334 | 99 | 100 |
|  | Vermont | NH | 0 | 0 | 0 | 1 | 0 | 0 |
|  |  | VT | 22 | 1 | 2 | 28 | 1 | 2 |
|  |  |  | 4,089 |  |  | 4,364 |  |  |
| VT | New Hampshire | NH | 0 | 0 | 0 | 3 | 0 | 0 |
|  |  | VT | 1 | 0 | 0 | 4 | 0 | 0 |
|  | Vermont | NH | 88 | 10 | 9 | 90 | 8 | 8 |
|  |  | VT | 831 | 90 | 82 | 974 | 91 | 83 |
|  |  |  | 921 |  |  | 1,070 |  |  |
| BOSTON | Massachusetts | NEMA | 3,200 | 100 | 24 | 3,649 | 100 | 25 |
|  |  | SEMA | 1 | 0 | 0 | 0 | 0 | 0 |
|  |  | WCMA | 0 | 0 | 0 | 0 | 0 | 0 |
|  |  |  | 3,201 |  |  | 3,649 |  |  |
| CMA/NEMA | Massachusetts | NEMA | 0 | 0 | 0 | 0 | 0 | 0 |
|  |  | SEMA | 1 | 0 | 0 | 1 | 0 | 0 |
|  |  | WCMA | 198 | 100 | 2 | 222 | 100 | 2 |
|  |  |  | 198 |  |  | 223 |  |  |
| WMA | Massachusetts | WCMA | 3,660 | 98 | 28 | 3,969 | 98 | 28 |
|  | Vermont | WCMA | 78 | 2 | 8 | 77 | 2 | 7 |
|  |  |  | 3,738 |  |  | 4,046 |  |  |
| SEMA | Massachusetts | SEMA | 3,109 | 93 | 24 | 3,354 | 92 | 23 |
|  | Rhode Island | RI | 244 | 7 | 13 | 279 | 8 | 13 |
|  |  |  | 3,353 |  |  | 3,633 |  |  |
| RI | Connecticut | RI | 745 | 14 | 9 | 845 | 14 | 9 |
|  | Massachusetts | RI | 0 | 0 | 0 | 0 | 0 | 0 |
|  |  | SEMA | 2,904 | 56 | 22 | 3,186 | 55 | 22 |
|  | Rhode Island | RI | 1,567 | 30 | 87 | 1,801 | 31 | 87 |
|  |  |  | 5,217 |  |  | 5,832 |  |  |
| CT | Connecticut | CT | 5,113 | 100 | 59 | 5,316 | 100 | 58 |
| SWCT | Connecticut | CT | 2,272 | 100 | 26 | 2,535 | 100 | 27 |
| NOR | Connecticut | CT | 512 | 100 | 6 | 544 | 100 | 6 |
| Total(b) |  |  | 31,759 |  |  | 34,628 |  |  |

        - The values shown are representative seasonal claimed capability based on the 2013 CELT.

        - Totals may vary because of rounding.

### Generating Units in the ISO Generator Interconnection Queue

The interconnection requests in the ISO’s Generator Interconnection Queue reflect the region’s interest in building new generation capacity. Figure 4-2 shows the capacity of the 54 active generation-interconnection requests in the queue by RSP subarea as of April 1, 2013. As shown, approximately 50% of the active projects are proposed in the BOSTON and SWCT subareas. The areas with the most active proposed capacity additions are the SWCT, BOSTON, and SEMA subareas followed by ME, BHE, and NH. Together, these six subareas have about 4,875 MW under study or development of a total of 5,294 MW of active projects for New England. A total of 2,115 MW is proposed for three subareas in Massachusetts: WMA, BOSTON, and SEMA.

Figure 4-2: Capacity of generation-interconnection requests by RSP subarea from November 1997 to April 2013.

Notes: All capacities are based on the projects in the ISO Generator Interconnection Queue as of April 1, 2013, that would interconnect with the ISO system. Projects involving only transmission or that did not increase an existing generator’s capacity were excluded. Projects with more than one listing in the queue, representing different interconnection configurations, were counted only once.

Table 4-12 shows a summary of the projects in the ISO Generator Interconnection Queue as of April 1, 2013. Since the first publication of the queue in November 1997, 100 generating projects (14,896 MW) out of 351 total generator applications (totaling 71,498 MW) have become commercial. Since the queue’s inception, proposed projects totaling approximately 51,308 MW have been withdrawn, reflecting a megawatt attrition rate of 72%. The 54 active projects in the queue total 5,294 MW. Figure 4-3 shows the resources in the ISO Generator Interconnection Queue, by state and fuel type, as of April 1, 2013. Figure 4-4 shows the total megawatts of the same resources by RSP subarea, and Figure 4-5 shows the fuel types by subarea, expressed as a percentage of the total.

Table 4-12
Summary of Queue Projects as of April 1, 2013(a)

| Category of Projects | Projects | Total Capacity (MW) |
| --- | --- | --- |
| Commercial | 100 | 14,896 |
| Active | 54 | 5,294 |
| Withdrawn | 197 | 51,308 |
| Total | 351 | 71,498 |

(a) 	Source: NEPOOL Participants Committee COO Report (April 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/prtcpnts/mtrls/2013/apr52013/index.html.

Figure 4-3: Resources in the ISO Generator Interconnection Queue, by state and fuel type, as of April 1, 2013 (MW and %).

Notes: The “other renewables” category includes wood, landfill gas (LFG), solar, and fuel cell capacity. The totals for all categories reflect all queue projects that would interconnect with the system and not all projects in New England.

Figure 4-4: Resources in the ISO Generator Interconnection Queue, by RSP subarea and fuel type, as of April 1, 2013 (MW).

Figure 4-5: Percentage of resources in the ISO Generator Interconnection Queue, by RSP subarea and fuel type, as of April 1, 2013.

## Summary

The results of FCA #7 show that New England will have adequate resources through 2022, assuming that resources meet their capacity supply obligations. Because additional resources are likely to retire (see Section 6), the ISO is working with stakeholders to identify issues and find the means of meeting future capacity needs. Most new capacity resources have been demand resources (mainly energy efficiency) and imports from neighboring regions, and approximately 5,300 MW of proposed generation are in the ISO Generator Interconnection Queue. The ISO remains optimistic that the region will procure and install adequate demand and supply resources in time to meet the physical capacity needs the ICRs will establish for future years. Additional market incentives are under development to further increase the likelihood of resource development where and when needed (Refer to Section 6.2.6 and 7.4.1).

By design, the level of the ICR specified for New England could necessitate the use of specific OP 4 actions because the ICR calculation includes capacity and accounts for the load relief these actions provide. Several factors would affect the frequency and extent of OP 4 actions, including the amount of resources procured to meet capacity needs, their availability, and actual system loads. Study results show that the need for load and capacity relief by OP 4 actions will be approximately 3,300 MW during extremely hot and humid summer peak-load conditions. This amount is likely achievable through OP 4 actions by depleting operating reserves, scheduling emergency transactions with neighboring systems, operating real-time emergency generators, and implementing 5% voltage reductions.

Fast-start resources with a short lead time for project development can satisfy near-term operating-reserve requirements while providing operational flexibility to major load pockets and the system overall. Properly locating and sizing economical baseload generation within major load pockets decreases the amount of reserves required within the load pocket and reduces the reliance on transmission facilities. Transmission improvements also can allow for the increased use of reserves from outside these areas. This section shows that the region could meet representative operating-reserve requirements for the system as currently planned.

Preserving the reliable operation of the system will become increasingly challenging with potential retirements and the need for operating flexibility, particularly in light of the reliance on natural gas resources. These factors are expected to increase the need for reliable resources, especially those able to provide operating reserves and ramping capabilities. To begin addressing this need, the ISO has procured additional 10-minute reserves and replacement operating reserve.

To address these challenges over the long term, the region has initiated a Strategic Planning Initiative and other stakeholder efforts (see Section 6). Analysis and adjustments of the markets may be required to ensure that the region has reliable amounts of needed resources and operating reserves. One major near-term enhancement to the FCM involves the modification of the zonal structure used in the capacity market. The ISO began working with stakeholders during summer 2013 to develop criterion and processes for creating, modifying, or collapsing capacity zones, as appropriate. Through the normal market-development process, enhancements to the FCM and the FRM also may be considered to better meet operational needs.

# Transmission Security and Upgrades

The ISO and regional stakeholders have made progress analyzing the transmission system in New England, developing “backstop” transmission solutions to address existing and projected transmission system needs and implementing these solutions. Fifteen major 345 kV projects have emerged from these efforts, all of which are critical for maintaining transmission system reliability. These transmission upgrades also have improved and will continue to improve the economic performance of the power system.

As of June 1, 2013, nine of the 15 major 345 kV projects have been placed in service, with two additional projects expected to be in service by the end of the year at a cost of over $3.6 billion. These include the following:

- Two Southwest Connecticut Reliability Projects (Phase 1 and Phase 2)

- Northeast Reliability Interconnection (NRI) Project

- Boston 345 kV Transmission Reliability Project (Phase 1 and Phase 2)

- Short-Term Lower SEMA Upgrades

- Northwest Vermont (NWVT) Reliability Project

- Vermont Southern Loop Project

- Rhode Island components of the New England East–West Solution (NEEWS)

- Long-Term Lower SEMA Upgrades, (in service by the end of 2013)

- Greater Springfield components of NEEWS (in service by the end of 2013)

The Maine Power Reliability Program (MPRP) is currently under construction. The Interstate Reliability Project component of NEEWS is in siting. One new 345 kV project has emerged as a result of the Greater Boston study but is being reassessed. The needs assessment is currently being updated for the last of the 15 projects—the Central Connecticut Reliability Project component of NEEWS. This assessment has been merged into the Greater Hartford–Central Connecticut (GHCC) study.

Also, the addition of the 345 kV substations across New England has improved the ability of the transmission system to meet load growth. All these and other projects will help maintain system reliability and enhance the region’s ability to support a robust, competitive wholesale power market by reliably moving power from various internal and external sources to the region’s load centers.

This section discusses the need for transmission security and the performance of the transmission system in New England. It addresses the need for transmission upgrades, accounting for known plans for resource additions and attritions, and updates the progress of the current major transmission projects in the region. Previous RSPs, various PAC presentations, and other ISO reports contain information regarding the detailed analyses associated with many of these efforts. The draft Transmission Planning Process Guide contains details on the existing regional system planning process and how transmission planning studies are performed through the open regional stakeholder process (see Section 2.1 and 7.4.3). The draft Transmission Planning Technical Guide includes details on the current standards, criteria, and assumptions used in transmission planning studies (see Section 2.1.2.4).

## The Need for Transmission Security

A reliable, well-designed transmission system is essential for complying with mandatory reliability standards and providing regional transmission service that provides for the secure dispatch and operation of generation and that delivers numerous products and services, as follows:

- Capacity

- Electric energy

- Operating reserves

- Load-following

- Automatic generation control

- Immediate contingency response to sudden generator or transmission outages

A secure transmission system also plays an important role in the following functions:

- Improving the reliability of and access to supply resources

- Regulating voltage and minimizing voltage fluctuations

- Stabilizing the grid after transient events

- Facilitating the efficient use of regional supply and demand resources

- Reducing the amount of reserves necessary for the secure operation of the system

- Facilitating the scheduling of equipment maintenance

- Assisting neighboring balancing authority areas, especially during major contingencies affecting their reliability, and ensuring the reliability of the interconnected system

## Types of Transmission Upgrades

Attachment N of the OATT, “Procedures for Regional System Plan Upgrades,” defines several categories of transmission upgrades that can be developed to address various types of defined system needs, such as reliability and market efficiency.

### Reliability Transmission Upgrades

Reliability Transmission Upgrades are necessary to ensure the continued reliability of the New England transmission system in compliance with applicable reliability standards. A Reliability Transmission Upgrade also may provide market-efficiency benefits. To identify the transmission system facilities required to maintain reliability and system performance, the ISO evaluates the following factors using reasonable assumptions for forecasted load and the availability of generation and transmission facilities (based on maintenance schedules, forced outages, or other unavailability factors):

- Known changes in available supply resources and transmission facilities, such as anticipated transmission enhancements considering Elective Transmission Upgrades (ETUs) and merchant transmission facilities (i.e., independently developed and funded facilities subject to the operational control of the ISO, pursuant to unit-specific operating agreements) (see below); the addition of demand-side resources or new or previously unavailable generators; or generator retirements

- Forecasted load, which accounts for growth, reductions, and redistribution throughout the grid

- Acceptable stability response

- Acceptable short-circuit performance

- Acceptable voltage levels

- Adequate thermal capability

- Acceptable system operability and responses (e.g., automatic operations, voltage changes)

### Market Efficiency Transmission Upgrades

Market Efficiency Transmission Upgrades (METUs) primarily are designed to reduce the total net production cost to supply the system load. The ISO categorizes a proposed transmission upgrade as a METU when it determines that the net present value of the net reduction in total cost to supply the system load is greater than the net present value of the carrying cost of the identified upgrade. A Reliability Transmission Upgrade may qualify for interim treatment as a Market Efficiency Transmission Upgrade if market efficiency is used to advance the schedule for the implementation of the upgrade.

In determining the net present value of the costs of power system resources, the ISO takes into account applicable projected economic factors, as follows:

- Energy costs

- Capacity costs

- Cost of supplying total operating reserve

- System losses

- Changes in available supply resources and transmission facilities, such as through anticipated transmission enhancements considering Elective Transmission Upgrades and merchant transmission facilities (see below); the addition of demand-side resources or new or previously unavailable generators; or generator retirements

- Load growth

- Fuel costs and availability

- Generator availability

- Release of locked-in generating resources

- Present-worth factors for each project specific to the owner of the project

- Present-worth period not to exceed 10 years

- Cost of the project

Analyses may include the use of historical information, such as information in market reports, and special studies, and they should report cumulative net present value annually over the study period.

### Generator Interconnection Upgrades and Generator Interconnection-Related Upgrades

A Generator Interconnection Upgrade is an addition or modification to the New England transmission system for interconnecting a new or existing generating unit whose energy or capacity capability is materially changing and increasing, whether or not the interconnection is for meeting the Network Capability Interconnection Standard or the Capacity Capability Interconnection Standard. Costs of Generator Interconnection-Related Upgrades typically are allocated to the generator owner in accordance with the OATT. Generator Interconnection-Related Upgrades to the New England transmission system are included in the RSP Project List for informational purposes (see Section 5.3).

### Elective Transmission Upgrades and Merchant Transmission Facilities

An Elective Transmission Upgrade is an upgrade to the New England transmission system voluntarily funded by one or more participants that have agreed to pay all the costs of the upgrade and is not one of the following types of other upgrades:

- Generator Interconnection-Related Upgrade

- Reliability Transmission Upgrade

- Market Efficiency Transmission Upgrade

- Project proposed as an ETU but already identified as a transmission project in the RSP before its proposal as an ETU

The Elective Transmission Upgrade study process also is the mechanism available to integrate merchant transmission facilities into the regional transmission system. The ISO has initiated an effort to improve the existing study process for Elective Transmission Upgrades.

## RSP Project List and Projected Transmission Project Costs

The RSP Project List is a summary of needed transmission projects for the region and includes information on project type, the primary owner, the transmission upgrades and their status, and the estimated cost of the pool transmission facility (PTF) portion of the project. The ISO updates this list at least three times per year. Additional information on the project classifications included in the RSP Project List is available in the draft Transmission Planning Process Guide.

The ISO regularly updates the PAC on study schedules, scopes of work, assumptions, draft and final results, and project costs and compiles the status of all projects in the RSP Project List. Projects are considered part of the Regional System Plan consistent with their status and are subject to transmission cost allocation for the region. RSP13 incorporates information from the June 2013 RSP Project List. As of June 2013, the total estimated cost of transmission upgrades proposed, planned, and under construction was approximately $5.7 billion, as shown in Table 5-1.

Table 5-1
Estimated Cost of Reliability Projects as of June 2013 Plan Update (Million $)

| Projects | Project Costs (millions of $)(a) |
| --- | --- |
| Major projects |  |
| Maine Power Reliability Program | 1,466 |
| Merrimack Valley/North Shore Reliability Project | 155 |
| Long-Term Lower SEMA Upgrades | 114 |
| New England East–West Solution (NEEWS) | 1,908 |
| NEEWS (Greater Springfield Reliability Project)—$718 million |  |
| NEEWS (Rhode Island Reliability Project)—$305 million |  |
| NEEWS (Central Connecticut Reliability Project)—$301 million |  |
| NEEWS (Interstate Reliability Project)—$510 million |  |
| NEEWS (other)—$74 million |  |
| Greater Rhode Island Transmission Reinforcements (including Advanced NEEWS) | 242 |
| Pittsfield/Greenfield Project | 140 |
| Greater Boston—North, South, Central, Western Suburbs | 718 |
| New Hampshire Solution—Southern, Central, Seacoast, Northern | 426 |
| Vermont Solution—Northwestern, Central, Southeastern | 260 |
| Southwest Connecticut | 363 |
| Subtotal(b) | 5,792 |
| Other projects | 5,593 |
| New projects | 11 |
| Projects whose cost estimates were previously reported as “to be determined” | 1 |
| Total(b) | 11,396 |
| Minus “concept” projects | −205 |
| Minus “in-service” projects | −5,512 |
| Aggregate estimate of active projects in the plan(b) | 5,679 |

(a) 	Transmission owners provided all estimated costs, which may not meet the guidelines described in Planning Procedure 4, Attachment D.

(b) 	Totals may not sum exactly because of rounding.

The participating transmission owner Administrative Committee (AC) provides annual updates to the ISO and NEPOOL on projected regional network service (RNS) transmission rates, as shown in Table 5-2. The PTOs are expected to make a supplemental filing in October 2013 that will adjust the RNS transmission rate to approximately $85/kW-year, effective June 1, 2013.

Table 5-2
Actual and Forecast Regional Network Service Rates, 2011 to 2016(a. b. c)

|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Actual |  | Estimated |  |  |  |
| Additions in service ($ millions) | 1,305 | 1,355 | 907 | 1,122 | 892 | 893 |
| Revenue requirement ($ millions) | 203 | 220 | 142 | 185 | 145 | 142 |
| RNS rate impact ($/kW-year) | 10 | 11 | 7 | 9 | 7 | 7 |
| RNS rate forecast ($/kW-year) | 75 | 87 | 94 | 103 | 110 | 117 |
| RNS rate forecast ($/kWh)(d) | 0.014 | 0.018 | 0.019 | 0.021 | 0.022 | 0.024 |

(a) 	The forecast is preliminary and for illustrative purposes only. It reflects gross costs and is based on a number of assumptions and variables, including, among others, estimated project need, design, scope, and labor and materials costs; inflation; site and permitting approvals; transmission in-service dates; estimated carrying charges; and coincident peak network loads. It does not include assumptions pertaining to savings (e.g., those associated with reduced congestion and unlocked capacity) or prior-year true-up adjustments. Therefore, such estimates and assumptions are expected to change as current data become available. Contact ISO Customer Service at (413) 540-4220 for additional information about the RNS rate forecast.

(b) 	The figures may not agree because of rounding.

(c) 	Sources: RNS Rate Effective June 1, 2012, and RNS Rates—Five-Year Forecast, PTO AC Rates Working Group presentations at the NEPOOL Reliability Committee/Transmission Committee Summer Meeting (August 13–15, 2012), http://www.iso-ne.com/committees/comm_wkgrps/trans_comm/tariff_comm/mtrls/2012/aug1314152012/a6_2012_rns_rate_presentation_revised_8_9.pdf and http://www.iso-ne.com/committees/comm_wkgrps/trans_comm/tariff_comm/mtrls/2012/aug1314152012/a6_rns_rates_forecast_2012_2016.ppt.

(d) 	The estimated RNS rate forecast assumes a 60% load factor.

## Transmission System Performance Needs Assessments and Upgrade Approvals

The New England power system provides electricity to a diverse region, ranging from rural agricultural areas to densely populated urban areas, and it integrates widely dispersed and varied types of power supply resources. The geographic distribution of peak loads in New England is approximately 20% in the northern states of Maine, New Hampshire, and Vermont and 80% in the southern states of Massachusetts, Connecticut, and Rhode Island. Although the land area in the northern states is larger than the land area in the southern states, the greater urban development in southern New England creates the relatively larger demand and corresponding transmission density.

The New England transmission system consists of mostly 115 kV, 230 kV, and 345 kV transmission lines, which in northern New England generally are longer and fewer in number than in southern New England. The New England area has nine interconnections with New York: two 345 kV ties; one 230 kV tie; one 138 kV tie; three 115 kV ties; one 69 kV tie; and one 330 MW, ±150 kV high-voltage direct-current (HVDC) tie.

Currently, New England and New Brunswick are connected through two 345 kV ties, the second of which was placed in service in December 2007. New England also has two HVDC interconnections with Québec: a 225 MW back-to-back converter at Highgate in northern Vermont and a ±450 kV HVDC line with terminal configurations allowing up to 2,000 MW to be delivered at Sandy Pond in Massachusetts.

The following sections summarize the June 2013 status of several transmission planning studies and projects and the need for upgrades.

### Northern New England

The northern New England (NNE) area encompasses the transmission system in Maine, New Hampshire, and Vermont. Studies of each of these states are being conducted to address the transmission system’s short-term and long-term needs.

#### Northern New England Transmission

With the Northeast Reliability Interconnection in service, New England and New Brunswick now have two 345 kV interconnections leading into a 345 kV corridor at Orrington, Maine. The corridor spans hundreds of miles and eventually ties into Massachusetts. The transmission system throughout northern New England is limited in capacity; it is weak in places and faces numerous transmission security concerns. Underlying the limited number of 345 kV transmission facilities are a number of old, low-capacity, and long 115 kV lines. These lines serve a geographically dispersed load, as well as the concentrated, more developed load centers in southern Maine, southern New Hampshire, and northwestern Vermont.

The two most significant issues facing the area have been to maintain the general performance of the long 345 kV corridor, particularly through Maine, and to ensure sufficient system security to meet demand. The region faces thermal and voltage performance issues and stability concerns and is reliant on several special protection systems (SPSs) that may be subject to incorrect or undesired operation. The system of long 115 kV lines, with weak sources and high real- and reactive-power losses, is exceeding its ability to integrate generation and efficiently and effectively serve load. Also, in many instances, the underlying systems of 34.5 kV, 46 kV, and 69 kV lines are exceeding their capabilities and are being upgraded, placing greater demands on an already stressed 115 kV system.

Over the past several years, the addition of generation in Maine and New Hampshire, in combination with the area’s limited transfer capability and limited transmission expansion, has increased the likelihood of many northern New England interfaces operating near their limits, creating restrictions on northern resources. Because these interface limits depend on generation dispatch, the operation of the system becomes more complex. Additional concerns in northern New England include limited system flexibility to accommodate maintenance outages, limited dynamic reactive-power resources, and high real- and reactive-power losses. Power flows on some interfaces, which historically have been from north to south, at times have reversed and are moving from south to north, highlighting shifting market economics, generation dispatch patterns, and emerging system weaknesses, in addition to those already identified on the interfaces. The recent operating data in this corridor shows that flows remain predominantly in the north to south direction.

A significant number of new wind generation projects have interconnected to the northern portions of the New England transmission system. Several additional proposed wind projects have applied to interconnect in these areas (see Section 4.4.3). These portions of the system are remote from the region’s load centers and are susceptible to poor voltage performance. To date, new wind generation constructed in New England has limited ability to provide dynamic voltage support. These locations have experienced generation restrictions in system operations, especially during transmission system maintenance conditions. These restrictions are expected to continue in the absence of significant transmission expansion. Refer to Section 6.6 for a discussion of wind integration activities.

#### Northern New England Transmission System Studies

Study efforts are progressing in various portions of Maine, New Hampshire, and Vermont to address a number of transmission system concerns. Some of these studies have focused on defining short-term needs and developing solutions, while others have made significant progress in evaluating potential system conditions 10 years into the future.

Maine—The long-term system needs of Bangor Hydro Electric (BHE) and Central Maine Power (CMP) were identified in 2007. To improve the performance of the Bangor system, the Keene Road substation was completed and 115 kV upgrades have been placed into service. CMP has planned 115 kV expansions in western Maine to address area thermal and voltage issues. Upgrades north of Augusta and near Rumford have reduced some voltage concerns. Several 115 kV system reinforcements, including the addition of the new substations at Maguire Road and Larabbee Road in southern Maine, already have been placed into service and are helping to serve southern Maine load in the near term.

Projects planned as part of the Maine Power Reliability Program must meet reliability requirements and be consistent with long-term planning objectives in both the BHE and CMP service territories. These projects include the addition of significant new 345 kV and 115 kV transmission facilities and new 345 kV autotransformers at key locations.

The northern portion of the Maine transmission system continues to present challenges for reliable system planning and operations. Lengthy sections of 345 kV transmission in Maine connect the New Brunswick system to the greater New England network. Until the addition of the MPRP project (see Section 5.4.1.3), portions of this corridor consist of only one 345 kV line in parallel with weak 115 kV transmission serving relatively small amounts of load. To maintain reliable operations, this part of the system currently employs several SPSs, and a static VAR compensator (SVC) provides dynamic support voltage. Certain contingencies have the potential to cause high voltages, low voltages, high frequencies, the loss of a large amount of generation, or system separation from New Brunswick. A number of new generation projects and Elective Transmission Upgrades are seeking to interconnect to this part of the system. The technical complexities mentioned complicate the system’s ability to accommodate additional interconnections.

A transfer study identified the increase in transfer capability across the major interfaces in Maine and neighboring systems resulting from the addition of the MPRP project. The study, completed in 2012, evaluated thermal, voltage, and stability transfer limits and demonstrated a modest increase in transfer capability across the major interfaces in Maine, including Maine to New Hampshire. The overall limiting condition in setting the new transfer limits is the system’s stability response to faults in southern New England. The new transfer limits have been adopted in the appropriate planning and capacity market processes.

The resulting new transfer limits indicate that the constraints within Maine will likely continue to limit the ability of the system to deliver some existing and new capacity. Because of these continued constraining interface limits within Maine, subsequent study work will investigate the ability to further increase the north-to-south limits in Maine with the existing series capacitor at Orrington placed back into service.

In addition to the Surowiec South and Orrington South interfaces, subarea export constraints will continue to be restrictive after the updated MPRP transfer limits are put in place. They include the Rumford Area, Bigelow/Upper Kennebec, and Northern Maine/Keene Road. Additional local constraints may emerge as more resources pursue interconnection.

New Hampshire—A number of studies of the New Hampshire portion of the system have been conducted. These studies have identified the need for additional 345/115 kV transformation capability and the need for additional 115 kV transmission support in various parts of the state. Existing and midterm concerns of northern and central New Hampshire have been improved by closing the Y-138 tie with Maine and the addition of a second 345/115 kV autotransformer at Deerfield.

As discussed below, a 10-year, two-phase study of the New Hampshire area has been completed as part of the Vermont/New Hampshire Transmission System Needs Assessment and Solutions Study.

Vermont—Vermont regulations require the Vermont Electric Power Company (VELCO), the owner and operator of Vermont's transmission system, to develop a 20-year Vermont Long-Range Transmission Plan every three years. The 2012 Vermont Long-Range Plan identifies four regional groupings of reliability needs on Vermont’s high-voltage, bulk electric system (115 kV and above), which are consistent with the regional system plan findings described below.

The Vermont system was studied to assess and resolve potential reliability issues as part of the Vermont/New Hampshire Transmission System 2011 Needs Assessment. Collaborative efforts among the ISO, VELCO, National Grid, and Northeast Utilities have continued assessing the reliability of Vermont and New Hampshire’s transmission system.

New Hampshire and Vermont Combined—A combined study of the Vermont and New Hampshire area was completed in two phases. The first phase was to conduct the Vermont/New Hampshire Transmission System 2011 Needs Assessment, which identified and focused on transmission system needs for serving New Hampshire and Vermont loads while maintaining overall regional system performance. The second phase studied transmission solution alternatives and resulted in proposed regulated transmission solutions that address the violations identified in the needs assessment. In addition, a pilot study of market resource alternatives was conducted for the Vermont/New Hampshire system.

The Vermont/New Hampshire Transmission System 2011 Needs Assessment identified several areas of weak performance and demonstrated the following transmission system needs:

- The Vermont transmission system: The Vermont transmission system requires additional local reactive support to help maintain voltage within criteria. In addition, following the outage of critical facilities that serve the area, the remaining 115 kV lines serving the state become loaded above emergency limits. This indicates the need for locating additional resources within that area or adding transmission capacity to maintain reliable operations following these contingencies.

- Multiple outages: The combination of key line contingencies causes some thermal overloads and many low-voltage violations on the underlying 115 kV system.

- Concord–Manchester–Nashua: This area, stretching roughly from the Webster substation in the north to the Power Street substation in the south, shows many voltage and thermal violations for a wide range of first and second contingencies. These violations are more significant when certain generation connected to the system is unavailable.

- Central New Hampshire: The portion of New Hampshire’s transmission system near the Beebe River substation shows many post-contingency voltage violations, which in turn cause some thermal overloads on 115 kV lines.

- The New Hampshire seacoast: The New Hampshire seacoast area is in need of additional resources or transmission capability to serve the 115 kV network under both N-1 and N-1-1 conditions.

- Western New Hampshire: The New Hampshire western area shows many post-contingency voltage violations and thermal overloads on 115 kV lines under both N-1 and N-1-1 conditions.

- Other areas of the New Hampshire system: Other regions of the system show violations, illustrating a dependence on local generation and sensitivity to area load growth. As solutions are developed to meet the needs identified for the larger areas, the needs of these areas may be addressed; however, the smaller areas should continue to be monitored throughout the planning process to ensure their compliance with planning criteria.

The Vermont/New Hampshire Transmission System 2011 Needs Assessment identified the critical load level at which the voltage violations and thermal overloads would occur. Most of the voltage and thermal violations identified were found at or below existing peak load levels under various system conditions. The needs assessment, coupled with the critical load level analysis, indicates the need to examine substantial transmission system upgrades to improve system performance.

The study reflected several sensitivities to future assumptions within New Hampshire and Vermont, such as changes to the status of Vermont Yankee (VY), which may have an impact on the performance of both the New Hampshire and Vermont transmission systems. In addition, the New York ISO (NYISO) has informed ISO New England that it cannot ensure that flow across the 115 kV PV-20 line between Plattsburgh substation in New York and Sand Bar substation in Vermont will be available when necessary to resolve New England’s system concerns. Contingencies currently exist on the New York Power Authority (NYPA) 230 kV system that limit New York’s ability to move power across this facility to New England. Even after system upgrades eliminate these contingencies, NYISO has recommended against relying on flow into Vermont across the PV-20 line. Furthermore, no additional contracts are in place across the facility to ensure that power would flow to New England as needed.

The New Hampshire/Vermont Solutions Study assessed alternatives for upgrading the New Hampshire and Vermont 345 kV and 115 kV transmission system. Transmission upgrades for ensuring the reliability of the transmission system in New Hampshire and Vermont were identified to address the reliability needs found in the needs assessment.

A follow-up analysis to the New Hampshire/Vermont Needs Assessments and Solutions Study included a reassessment of the preferred solutions developed in the solutions study. This reassessment incorporated an updated set of assumptions based on the 2011 “proof-of concept” long-term energy-efficiency forecast, as well as for load, generation and demand resources, transmission system topology, and the use of existing transmission system devices. The original NH/VT Solutions Study identified a number of transmission system upgrades, which no longer are required within the 10-year planning horizon and could be deferred from the preferred solution identified in the New Hampshire/Vermont Solutions Study. These deferred transmission system upgrades are located in several portions of the New Hampshire and Vermont transmission systems.

Another study of the New Hampshire/Vermont area was initiated in 2012 to capture the final long-term energy-efficiency forecast, as well as the latest Forward Capacity Auction results and the latest load forecast for 2022. The 2022 New Hampshire/Vermont Needs Assessment resulted in a number of adjustments to the previously identified preferred solutions for the area, which will be reflected in the October 2013 RSP Project List. In Northwestern Vermont, a proposed special protection system to cross-trip the PV-20 line to mitigate low voltages following certain contingencies in New York has been deferred. In Central Vermont/Connecticut River, the new Coolidge–West Rutland 345 kV line has been deferred, and the proposed new Coolidge–Ascutney 115 kV line is being reevaluated along with the alternative of rebuilding the existing line. In New Hampshire, the addition of capacitor banks at the Amherst 345 kV substation is being reevaluated. The previously proposed upgrade of the 326 345 kV line from Scobie, NH, to Sandy Pond, MA, is being reevaluated in coordination with the Greater Boston Needs Assessment and Solutions Study reassessments (see below).

The final remaining set of transmission system upgrades, identified for each of the subareas in northern New England, is as follows:

Southwestern Vermont—The following solutions were developed to eliminate low voltages at Bennington:

- Adams 115 kV substation reconfiguration and the addition of two circuit breakers

- Two 12.5 megavolt-ampere reactive (MVAR) capacitor banks at Bennington 115 kV substation

Southeastern Vermont and Western New Hampshire—The southeastern Vermont and western New Hampshire area focuses on the Vernon area in southern Vermont and the Fitzwilliam/Monadnock area in western New Hampshire. The Fitzwilliam/Monadnock area is centered on the Monadnock 115 kV bus. This area is bounded by the L163 Jackman–Keene, the I135N Bellows Falls–Monadnock tap, the J136N Bellows Falls–Flagg Pond, and the N186 Vernon Road tap–Chestnut Hill 115 kV lines, as well as the Fitzwilliam 345/115 kV autotransformer. The following solutions were developed to mitigate thermal overloads and voltage violations:

- New Fitzwilliam–Monadnock 115 kV line

- Two 13.3 MVAR capacitor banks at Weare 115 kV substation

- A152 Chestnut Hill–Westport–Swanzey 115 kV line rebuild

- N186-2 Vernon Road tap–Chestnut Hill 115 kV line rebuild

- Terminal upgrades at Flagg Pond 115 kV substation

- 381–Northfield–New Hampshire/Vermont border 345 kV line upgrade

Northern New Hampshire and Northern Vermont—The northern Vermont area refers to the area associated with the 115 kV path along northern Vermont between the St. Johnsbury and Highgate 115 kV stations. The northern New Hampshire area represents the northern 115 kV loop including Whitefield, Lost Nation, and Berlin, and the Comerford/Moore/Littleton area. The following solutions were developed to mitigate thermal overloads and voltage violations:

- Second 230/115 kV autotransformer at Littleton

- A 230 kV C203 Comerford–Moore line tap into Littleton substation

Central New Hampshire—The central New Hampshire area stretches roughly from the Webster substation in the south to the Littleton substation in the north. The following solutions were developed to mitigate thermal overloads and voltage violations:

- Four 26 MVAR capacitor banks at Webster 115 kV substation

- Two 25 MVAR dynamic reactive devices at Saco Valley 115 kV substation

- Load transfer scheme

Southern New Hampshire—The southern New Hampshire area stretches roughly from the Webster substation in the north to the Power Street substation in the south. This area is fed from local generation and from the Deerfield and Scobie 345/115 kV stations from the east, from the Webster 115 kV station from the north, the L163 Keene–Jackman 115 kV line from the west, and the Y151 Power St–Tewksbury 115 kV line from the south. This area serves the Nashua, Manchester, and Concord area loads and contains a significant portion of the total New Hampshire load. The following solutions were developed to mitigate multiple thermal overloads and voltage violations:

- 345/115 kV autotransformer at Eagle 115 kV substation

- Four 25 MVAR capacitor banks at Eagle

- 326-National Grid NH/MA border–Sandy Pond 345 kV line upgrade (being reevaluated)

- 326-NU Scobie Pond–NH/MA border 345 kV line upgrade (being reevaluated)

- Scobie series circuit breaker with breaker 802

- New Scobie–Huse Road 115 kV line

- G146 Garvins–Deerfield 115 kV line upgrade

- P145 Oak Hill–Merrimack 115 kV line upgrade

- D118 Deerfield–Pine Hill 115 kV line rebuild

- H137 Merrimack–Garvins 115 kV line rebuild

- J114-2 Greggs–Rimmon 115 kV line upgrade

- Loop V182 line into Oak Hill substation (Garvins–Webster)

- Merrimack series circuit breaker with breakers BT12 and BT23

- Merrimack capacitor bank relocation to bus 1 and bus 3

- K165 Eagle–Bridge St.–Power St. 115 kV line upgrade

New Hampshire Seacoast—The New Hampshire Seacoast area is the area along the New Hampshire coastline, bordered by the Deerfield and Scobie 115 kV stations to the west and the Three Rivers 115 kV station to the north. There are no 115 kV connections to the south. This system serves load in the Portsmouth, Dover, and Rochester areas. The following solutions were developed to mitigate multiple thermal overloads and voltage violations:

- New Madbury–Portsmouth 115 kV line

- New Scobie–Chester 115 kV line

- Chester substation work associated with new 115 kV line

- Six 13.3 MVAR capacitor banks at Schiller 115 kV substation and series circuit breaker with breaker BT10

- H141 Chester–Great Bay 115 kV line upgrade

- R193 Scobie–Kingston tap 115 kV line upgrade

- Three Rivers 115 kV series circuit breaker with breaker R1690

#### Northern New England Transmission Projects

The ISO has identified projects that address issues with transmission system performance, either individually or in combination. Some of the projects, as described in the previous sections, address subregional reliability issues and have the ancillary benefit of improving the performance of major transmission corridors and thus the overall performance of the system. The projects are as follows:

- Vermont 345 kV Reactor Additions—This project is needed to provide support for the long-term loss of equipment that provides reactive support; to compensate for the absence of voltage control from key generating units, possibly due to maintenance outages; to mitigate high-voltage violations; and to address operational concerns during light-load conditions. The project was placed in service in March 2013. Elements of this project are as follows:

- New Haven substation—replace the existing fixed 60 MVAR reactor with a 34 to 60 MVAR variable reactor

- Coolidge substation—install two 34 to 60 MVAR variable reactors

- Vernon 345 kV substation—install the 60 MVAR fixed reactor relocated from the New Haven substation

- Bennington, Ascutney, and Georgia 115 kV Substation Rebuild Projects—These substation rebuild projects in Vermont are needed for resolving contingencies that could result in area voltage collapse. The existing straight-bus substations will be rebuilt to a ring-bus configuration and designed to accommodate future expansion to a breaker-and-a-half configuration. The Georgia substation rebuild was completed in October 2012. The projected in-service date for the Ascutney rebuild is August 2013 and for the Bennington rebuild, November 2013.

- Highgate Converter Station Refurbishment—The Highgate converter was constructed in 1985, and by 2010, the equipment was becoming obsolete and failing. To ensure the continued reliable operation of the converter, the control and cooling systems needed to be replaced. Finding parts and industry expertise to perform repairs on this aging equipment was difficult. Plus, repairing aging technology, which may eventually lead to nonrepairable failures of the outdated control systems, is more time consuming and more difficult than repairing newer equipment. Because of its age, the cooling system required increased maintenance, which exposed the converter to potential forced and extended outages. Failure of a cooling system would reduce or shut down power transfers through the converter. Other control components and devices also needed to be replaced. The upgrade was completed in November 2012.

- Deerfield Substation Expansion Project—This project adds a second 345/115 kV autotransformer at the Deerfield substation in New Hampshire, which entered service in November 2011. Three new 345 kV circuit breakers were also added to eliminate problematic contingencies. Five 115 kV circuit breakers were replaced, and one new 115 kV circuit breaker was added. To mitigate area overloads, the Madbury–Deerfield (L175) 115 kV line was rebuilt, and the Dover–Madbury (M183) 115 kV line and Deerfield–Rochester (C129) 115 kV line were reconductored. In addition, the Rochester substation will be expanded to accommodate a new radial line to a new North Rochester substation by 2014.

- Section 63 Area Voltage Support—All loads served by the Wyman–Livermore Falls 115 kV line (section 63) in western Maine were exposed to contingency outages. Additionally, area voltages would fall to unacceptable levels because of contingencies. To mitigate violations observed, a new switching station at the 63B tap, referred to as the Starks switching station, was constructed, and two 18 MVAR capacitor banks were added to that station. These upgrades were placed in service in November 2012.

- Maine Power Reliability Program—The MPRP provides a 10-year look at the Maine transmission system and has identified the following inadequacies:

- Insufficient 345 kV transmission—Maine currently has two 345 kV transmission paths from southern to central Maine and two 345 kV ties from northern Maine to New Brunswick. In the central part of the system, Maine has a single 345 kV path.

- Insufficient 345/115 kV transformation capacity—The reliability of Maine’s 115 kV system depends on the capacity and availability of autotransformers at five locations. Overloads of the autotransformers under normal and contingency conditions illustrate insufficient transformation capacity.

- Insufficient 345 kV transmission support for Portland and southern Maine—The largest load pocket in Maine is subject to thermal and voltage reliability issues.

- Insufficient transmission infrastructure in western, central, and southern Maine regions—Each of these regions in Maine represents a major load pocket that depends on local generation to meet reliability standards.

- Insufficient transmission infrastructure in midcoast and “downeast” Maine regions—These regions in Maine (i.e., Bucksport−Eastport) represent load pockets that have no local generation and that fully depend on the transmission system.

- MPRP Transmission Alternatives Study—This study identified transmission upgrades to serve load pockets and ensure that the system will meet national and regional transmission reliability criteria. These projects will provide the ancillary benefit of facilitating the maintenance of the system in Maine. The selected alternative, referred to in the transmission alternatives study as “N5S1,” consists of significant additions of new 345 kV lines, 115 kV lines, 115 kV capacitors, 345/115 kV autotransformers, and line rebuilds and the separation of circuits sharing common towers. The new 345 kV lines in the north will create a 345 kV path from Orrington to Surowiec, while the new 345 kV lines in the south will create a third parallel path from Surowiec to Eliot in southern Maine. While these new paths are expected to increase transfer capability out of Maine, they also will increase the ability to move power into Maine from New Hampshire and improve the ability of the transmission system within Maine to move power into the load pockets as necessary.

- On July 1, 2008, CMP submitted a siting application for these MPRP projects to the Maine Public Utilities Commission (MPUC). In June 2010, the MPUC issued an order approving most of the MPRP. The 345 kV portions of the MPRP not approved were the installation of the autotransformer at Raven Farm, the reconfiguration of Maine Yankee substation, and the elimination of the double-circuit tower (DCT) configuration, which exists on the Maine Yankee−Buxton and Coopers Mill−Maine Yankee (375/392) circuits. On July 26, 2010, PSNH and CMP filed a supplemental filing that provides additional information on the new Eliot switching station near Three Rivers per the June 2010 MPUC order. In addition, the permitting process for Section 3020 (Surowiec to Raven Farm) still is open for establishing siting details. The Eliot switching station has completed the siting process and has obtained its Certificate of Public Convenience and Necessity (CPCN) from the MPUC. Because of engineering design changes and the Maine Public Utilities Commission Order issued in June 2010, the “N5S1” alternative has been modified. The expected in-service date for most of the MPRP project is early 2015, with the rest scheduled for completion in late 2015. The major 345 kV components of the current plan are as follows:

- New 345 kV line construction

    - Orrington–Albion Road

    - Albion Road–Coopers Mills

    - Coopers Mills–Larrabee Road

    - Larrabee Road–Surowiec

    - Surowiec–Raven Farm

    - South Gorham–Maguire Road

    - Maguire Road–Eliot (formally called Three Rivers)

- New 345/115 kV autotransformers

    - Albion Road

    - Cooper Mills (replace existing Maxcys T3)

    - Larrabee Road

    - Maguire Road

    - South Gorham

- Separation of double-circuit towers

    - 345 kV Kennebec River Crossing by the Maine Yankee−Buxton and Maine Yankee−Surowiec circuits (375/377)

  - Rerating of 345 kV transmission lines

    - Section 378 (345 kV Maine Yankee–Mason)

- Chester Area Project—This project adds a 345/115 kV transformer at Keene Road in Chester, Maine, to provide necessary backup to the area load and allow for rebuilding the Keene–Enfield–Graham 115 kV section (line 64). The line 64 rebuild and the installation of the Keene Road autotransformer provide area support following the loss of both autotransformers at Orrington. The autotransformer is in service, and the line 64 rebuild was placed in service in December 2011.

### Southern New England

The southern New England area encompasses the Massachusetts, Rhode Island, and Connecticut transmission system. Studies of these states are being conducted to address a wide range of transmission system concerns, both short and long term.

#### Southern New England Transmission

The 345 kV facilities that traverse southern New England comprise the primary infrastructure integrating southern New England, northern New England, and the Maritimes Balancing Authority Area with the rest of the Eastern Interconnection. This network serves the majority of New England demand, integrating a substantial portion of the region’s supply, demand, and import resources.

Although recent improvements have been made, the southern New England system continues to face thermal, low-voltage, high-voltage, and short-circuit concerns under some system conditions. The most significant concerns involve maintaining the reliability of supply to serve load and developing the transmission infrastructure to integrate generation throughout this area. In many areas, an aging low-capacity 115 kV system has been overtaxed and is no longer able to serve load and support generation reliably. Upgrades to the power system are being planned and developed to ensure the system can meet its current level of demand and prepare for future load growth (see Section 3).

#### Southern New England Transmission System Studies

Study efforts in southern New England have been progressing on a wide range of system concerns. Initial efforts focused on load areas with the most significant risks to reliability and threats to the system, particularly Boston and Southwest Connecticut. With the completion of the 345 kV Reliability Project in Boston and the Phase I and Phase II Projects in Southwest Connecticut, plans are under development to address the reliability of other parts of the system, particularly Connecticut; the Springfield, Massachusetts, area; central and western Massachusetts; Rhode Island; and southeastern Massachusetts, including Cape Cod. Additionally, Boston and Southwest Connecticut are being reevaluated to address the changes in load and resources that have occurred since the initial set of upgrades was established.

Several needs, originally identified for a number of the upgrades associated with the New England East–West Solution studies have now been reconfirmed. These include three of the four NEEWS components: the Rhode Island Reliability Project (RIRP), the Greater Springfield Reliability Project (GSRP), and the Interstate Reliability Project (Interstate). The Interstate reassessment effort also addressed the much broader requirements of the overall New England east–west and west–east transmission systems.

The Boston area study is reevaluating the preferred solution components against recently made changes in the cable-rating assumptions for downtown Boston and the addition of Footprint Power’s 674 MW generation at the Salem Harbor site. The study also is evaluating an alternative solution proposed by New Hampshire Transmission, LLC that combines many of the AC solution components and an HVDC submarine cable (SeaLink HVDC Submarine Cable Project) extending from Seabrook, New Hampshire, to Boston, Massachusetts.

A Greater Hartford–Central Connecticut study, which includes the needs reassessment of the Central Connecticut Reliability Project (CCRP) component of NEEWS, and the Hartford, Middletown, northwestern Connecticut, and Barbour Hill areas has been presented, and a report of the results of the needs assessment is being drafted. In combination, this study, the Eastern Connecticut study, and the Southwest Connecticut study cover all the load within the state. The needs assessments included the impact of the energy-efficiency forecast for years beyond those covered by the Forward Capacity Auction commitment periods (see Section 4.1.3), and solution alternatives are being developed.

Preferred solutions were developed for the Pittsfield area of western Massachusetts. The needs and solutions were reassessed using the latest topology and load assumptions as well as the energy-efficiency forecast. The results of the reassessment have shown that some parts of the preferred solution are no longer needed and some additional solution components need to be added.

A needs assessment is in progress for the Southeast Massachusetts/Rhode Island (SEMA/RI) area, referred to as Eastern REMVEC. Its major goals are to determine any long-term system needs required to integrally serve the broad SEMA, NEMA, and Rhode Island areas and to ensure consistency and cohesiveness of the planning and design of these areas of the system. This study will assume as its starting point that the Long-Term Lower SEMA, Interstate, RIRP, and Greater Boston plans are all in service (see more below).

Southern New England Region—The Rhode Island Reliability Project and the Greater Springfield Reliability Project are expected to be in service by the end of 2013. Conversely, as a result of new resources’ clearing in the Forward Capacity Market (see Section 4.1) within Connecticut and to the west of the New England East–West interface, as well as the impact of the energy-efficiency forecast and the updated load forecast, the need for the Interstate and the CCRP components required a significant amount of new analysis.

Two sets of needs assessment and solutions studies have been completed for the Interstate component of NEEWS. The first set of needs assessment and solutions studies were published in April 2011 and February 2012, and the second set were both published in September 2012. The results of the reassessments show a substantial need for an integrated regional transmission solution to resolve system performance issues in eastern New England, western New England, and Greater Rhode Island (GRI). Addressing the transmission constraints along the Card Street–West Medway corridor (CT–RI–MA) will resolve both the aforementioned load-serving issues. This also would reduce potential constraints surrounding the approximately 2,000 MW of generation along this corridor in the Greater Rhode Island area for reliably serving load in both western and eastern New England over the long-term planning horizon. See Figure 5-1.

Figure 5-1: Map of constraints in southern New England.

The original need for the Interstate component of NEEWS was primarily based on a deficiency in the ability to move power from eastern New England to serve load in western New England and Connecticut. While this need still exists to some extent, the new analyses show the increased need to move power from western New England to serve load in eastern New England as well.

The original analysis showed the need for a third 345 kV line into West Farnum to reliably serve load in Rhode Island, and the updated needs assessments shows this need as well. The subsequent solutions studies reviewed five different alternatives to resolve the remaining needs, and the preferred alternative was a slightly modified version of the original Interstate project.

The modifications reflected the reduced need to move power from eastern New England to western New England and the increased need to move power from west to east. The solutions studies show that the original interstate project is effective at resolving the majority of the overload issues in Rhode Island, western New England, Connecticut, and eastern New England. However, it did not resolve all criteria violations for serving eastern New England load. The necessary additional modifications are as follows:

- Upgrade the 345 kV line from ANP Blackstone, MA, to NEA Bellingham, MA, to West Medway, MA (336 line)

- Reconductor the 345 kV line from Sherman Road, RI, to West Farnum, RI (328 line)

- Eliminate the sag limit on the 115 kV line from Montville, CT, to Buddington, CT (1410 line)

- Upgrade the terminal equipment at Sherman Road (345 kV), West Medway (345 kV), and West Farnum (345 kV) substations

- Rebuild of the Sherman Road (345 kV) switching station

Because of the reassessment, the following upgrades included in the original Interstate Reliability Project are no longer needed:

- Upgrading the terminal equipment necessary to increase the ratings on the 345 kV line from ANP Blackstone, MA, to Sherman Road, RI (3361 line)

- Reconductoring a section of the 345 kV line from Sherman Road, RI, to Killingly, CT (347 line)

- Adding 480 MVARs of capacitors at the Montville 345 kV substation

- Adding a 345 kV circuit breaker at the Killingly substation

Another project originally part of the Interstate component of NEEWS, the looping of the Millstone–Manchester 345 kV line into the Card Street substation, is not needed as part of the Interstate Reliability Project.

Because  the need for the Interstate Reliability Project was based on the transfer of power into eastern New England, western New England, Connecticut, and Rhode Island, the energy-efficiency forecast and the new load forecast, which when combined result in lower loads in these areas, could have had an impact on the need and the solution. The results of the Interstate Needs Assessment and Solutions Study published in September 2012 have shown system needs similar to those found in the April 2011 needs assessment, as well as the need for all parts of the preferred solution. The September 2012 needs assessment showed the need to improve the transfer capability into Rhode Island and from west to east below 2012 load levels and the need to increase transfer capability into Connecticut and east to west at 2016 to 2017 load levels.

Massachusetts—

- Greater Boston area: A long-term reliability needs assessment has been completed for the Greater Boston area, and solutions have been developed to address the criteria violations that resulted. The solutions study focused on developing solutions for three study subareas: northern (New Hampshire border to Boston, including the suburbs north of Boston), central (downtown Boston 115 kV system and the suburbs west of Boston), and southern (suburbs south of Boston). The solutions for the northern, southern, and central areas have been identified and are described below. In addition, these final transmission solutions account for the retirement of the Salem Harbor units by June 1, 2014 (see Section 5.7), and the necessary 115 kV line reconductoring projects in the North Shore area have been advanced so that they will be in service before the Salem Harbor units retire. A reevaluation of the needs in the Greater Boston area, including the addition of the proposed new generation at Salem Harbor and the long-term energy-efficiency forecast, has been completed, and a review of the preferred solutions is in progress. The investigation into potential solutions includes an HVDC line from Seabrook to Boston (the SeaLink HVDC Submarine Cable project), which would displace the need for some AC upgrades Most of the reliability issues that the project will address exist at the 2013 load levels.

- The preferred transmission solution for the northern area includes the following elements (all in Massachusetts except where indicated):

- New 345 kV circuit from Scobie, NH, to Tewksbury

- New 345 kV circuit from Tewksbury to Woburn

- New 345 kV circuit from Ward Hill to Wakefield Junction

- New 345 kV cable from Woburn to North Cambridge

- New 345/115 kV autotransformer at Woburn

- Line reconductorings on the 115 kV network in the North Shore area, which are being advanced to ensure that reliability will be maintained when the Salem units are retired:

- Y-151: Tewksbury Junction–West Metheun

- B-154N and C-155N: King Street–South Danvers

- S-145 and T-146: Tewksbury–North Reading

- Line reconductorings on the 115 kV network in the North Shore Area:

- Y-151: Tewksbury–Tewksbury Junction

- S-145 and T-146: North Reading–Wakefield Junction

- Line reconductoring/upgrades on the 345 kV network in the North Area:

- 337: Sandy Pond–Tewksbury

- 394: Terminal upgrades at the Seabrook 345 kV station

- Line reconductorings in the Wakefield–Everett area:

- F158N and F158S lines: Wakefield–Everett

- 128-518/P168: Chelsea–Revere (in service)

- Reconductoring the 115 kV lines M 139 and N 140 from Tewksbury to Pinehurst

- New 36.7 MVAR capacitor bank at Chelsea (in service)

- Opening the Y-151 line at Power St., NH, and retiring the Y-151 SPS

The final transmission solution for the southern area includes the following (all in Massachusetts):

- A new 115 kV line from Holbrook to West Walpole

- Reconductoring of the sections of the 115 kV line from Beaver Pond to Depot Street
(C-129 N/201-502) and the line from Depot Street to Medway (D-130/201-501) (under construction)

The preferred transmission solution for the western suburbs and central area includes the following upgrades (all in Massachusetts):

- New 115 kV lines, as follows:

  - From Sudbury to Hudson

  - From Woburn to Hartwell

  - From Needham to Baker St.

  - From Mystic to Chelsea

  - From Mystic to Woburn

- A new 230/115 kV autotransformer at Sudbury

- A second Mystic 345/115 kV autotransformer at Mystic

- A new 36.7 MVAR capacitor at Hartwell (in service)

- Reconfiguration of the Waltham 115 kV substation

- Separation of the X-24/E-157W double-circuit tower instances (Millbury–Northboro Rd./Millbury–E. Main St.)

- Separation of the F-158N/Q-169 DCT instance (Wakefield–Maplewood/Wakefield–Lynn)

- Separation of the O-167/P-168 DCT instance (Mystic–Everett/Revere–Chelsea)

- Terminal upgrades at the West Medway substation to increase the 282-602 line capability from West Medway to Waltham

- K Street 115 kV breaker additions

- Replacement of the existing Woburn 345/115 kV autotransformer

- Line reconductorings on the 115 kV and 69 kV network in the central area

320-507/508: Lexington–Waltham

211-508: Woburn–Burlington (under construction)

533-508: Lexington–Harwell

E-157W: East Main St.–Millbury

128-518: Chelsea–Revere

W23: Fitch Rd.–Woodside

W23W: Northboro–Woodside

Berkshire County/Pittsfield area: The completed solutions study for this area describes the area’s final transmission solution, which consists of the upgrades listed below. An updated reassessment of the needs, accounting for updates to the load forecast and changes in resources and energy efficiency, has been completed, which shows that most of the needs exist at 2013 load levels:

- Expand and reconfigure Northfield Mountain 345 kV substation, and install a 345/115 kV autotransformer

- Build a three-breaker ring-bus switching station in Erving adjacent to the A127/B128 (Harriman–Millbury/Harriman–Millbury) right-of-way

- Build a new 1.2 mile 115 kV single-circuit line connecting the new Northfield 345/115 kV autotransformer to the new Erving switching station

- Rebuild the 115 kV 1361 line (Montague–Cumberland)

- Loop the 115 kV A127 (Harriman–Millbury 115 kV) line into the new Erving switching station, and reconductor the A127 line from Erving to the Cabot tap (on the way to Harriman substation)

- Disconnect Montague from the 115 kV B128 line at Cabot Junction, and reconnect to the A127 line (Harriman–Millbury)

- Remove the sag limitation on the 115 kV 1421 and 1512 lines (Pleasant–Blandford–Granville Junction)

- Rebuild the 115 kV A127/Y177 double-circuit line from Montague to Cabot Junction on single-circuit structures

- Reconnect the Y177 line into the 3T/4T position at Montague substation

- Install 115 kV capacitors at Podick, Amherst, and Cumberland substations

- Install a bus tie breaker between buses 1 and 2 at Harriman substation

- Replace five air-break disconnect switches on the A127E line between Erving and Barre

- The recently completed needs reassessment shows no further need for the following solution components:

- Reconductoring the 115 kV 1371 line (Woodland–Pleasant)

- Replacing the E131 115 kV breaker at Harriman substation

- In addition, the recently completed needs reassessment has shown additional voltage control devices, such as shunt reactors and capacitors, will need to be incorporated into the solutions.

Massachusetts/Rhode Island—The Southeast Massachusetts/Rhode Island study (the Eastern REMVEC study) is in its needs assessment stage. The study has identified additional needs that require further solutions to serve the broad southeast Massachusetts and Rhode Island load areas reliably. The study has also modeled upgrades identified by the Greater Boston, Interstate, RIRP, and Lower SEMA analyses. Past studies have indicated a need to further integrate the Brayton Point plant, perhaps via a new Brayton Point–Bridgewater 345 kV line, and to add transmission capacity to remove limits on moving generation into and around the West Medway substation. This study also will identify short-circuit needs in the SEMA/RI area, including solutions to protect equipment from the high levels of fault duty at the West Medway station.

Connecticut—A long-term reliability needs assessment for 2018 has been completed for the Southwest Connecticut area, and solutions are being developed to address the criteria violations. The solutions analysis focused on developing solutions for six study subareas: Naugatuck Valley and the Frost Bridge–Devon Corridor, Housatonic Valley, Bridgeport, New Haven, Southington, and Glenbrook–South End. The Glenbrook–South End cable and the Mill River–Quinnipiac 8300 line reconfiguration included in the New Haven area solution alternatives (see Section 5.4.2.3, Southwest Connecticut Advanced Solutions) were developed to address independent subarea needs and were advanced. Other solution alternatives were developed in conjunction to address interdependent subarea needs.

A new needs assessment and solutions study for the study horizon to 2022 was initiated to take into account the latest assumptions, changes in topology resulting from the approval of new projects and the results of the latest FCA, and the inclusion of energy efficiency beyond the latest FCA. The new needs remain unchanged with the exception that two identified needs are no longer present. The solution alternatives are in the process of being developed and may comprise the combinations shown below.

The solutions alternatives for addressing the needs in the Naugatuck Valley and Frost Bridge–Devon Corridor subareas include a combination of the following components:

Separation of DCT configurations

Reconductoring of 115 kV transmission lines

Installation of capacitor banks

Reconfiguration of 115 kV substations

Addition of a 115 kV circuit series breaker

Paralleling of 115 kV transmission lines

The solution alternatives for addressing the needs in the Housatonic Valley subarea include a combination of the following components:

Addition of a 115 kV transmission line

Reconfiguration of 115 kV transmission lines

Relocation of existing capacitor banks

Installation of capacitor banks

Installation of one synchronous condenser

The preferred solution for addressing the needs in the Bridgeport area includes the following components:

- Reconductoring and rebuilding of the 115 kV transmission lines between Baird and Congress substations

- An upgrade of the 115 kV bus at Baird

- Installation of 345 kV series circuit breaker at East Devon

- Reconductoring and rebuilding of the 115 kV transmission lines between Devon Tie switching station and Barnum substation

- Reconductoring and rebuilding of 115 kV transmission lines between Baird and Barnum substations

- Installation of two 30 MVAR capacitor banks at the Hawthorne 115 kV substation

The studies of these alternatives are in conjunction with the solution alternatives being developed to address the needs in the Naugatuck Valley and Frost Bridge–Devon corridor.

The preferred solution for addressing the needs in the New Haven subarea includes the following components:

- Removal of the 115 kV phase-angle regulator at Sackett substation

- Reconductoring of the 115 kV lines between Cook Hill Junction and Southington and also between Glen Lake Junction and Mix Avenue substation

- Terminal uprates and control room expansion at Mix Avenue substation

- Installation of 42 MVAR capacitor banks at Mix Avenue and Grand Avenue substations

- Relay upgrades at the North Haven 115 kV substations

- Replacement of a circuit switcher at Wallingford 115 kV substation

- Replacement of the capacitor bank at Sackett 115 kV substation

- Installation of a series reactor at Mix Avenue between Mix Avenue substation and Glen Lake Junction

- Reconductoring of the 115 kV lines between Wallingford and Walrec and Walrec to North Haven substations

- Reconductoring of the 115 kV lines between Devon Tie switching station and Milvon substation

The recently completed 2022 needs assessment showed no further need for the relay upgrades at the June 115 kV substation.

The comprehensive solution alternatives for addressing the needs in the Naugatuck Valley, Frost Bridge–Devon corridor and the Housatonic Valley subareas include a combination of the following components:

- Addition of 115 kV transmission lines

- Reconfiguration of 115 kV transmission lines

- Reconductoring of 115 kV transmission lines

- Reconfiguration of 115 kV substations

- Installation of capacitor banks

As part of the development of solutions in SWCT, the preferred solution for meeting short-circuit criteria at Pequonnock was to delay the circuit-breaker fault-clearing time to reduce the interrupt duty. The solution includes the complete replacement of the transmission control house and relays to incorporate the additional time delay in the tripping logic. The new 2022 needs and solutions reassessment is reevaluating the preferred solution to the Pequonnock short-circuit issue to validate whether or not it remains as the preferred solution.

Two other study efforts in Connecticut, evaluations of the Hartford and Middletown areas, have now been combined with the Greater Hartford–Central Connecticut study. The Greater Hartford transmission system can experience flow-through issues when its 115 kV circuits are called on, under contingency conditions, to carry the power normally supplied via the 345 kV system. Additionally, load-supply issues exist under certain dispatch and transfer conditions. Both voltage and thermal issues have been identified in the Middletown area under future conditions when local generation is unavailable and when the Haddam 345/115 kV autotransformer is out of service.

In addition, because preliminary studies conducted for both the Greater Hartford subarea and for the reassessment of the CCRP component of NEEWS showed interdependencies, the CCRP reassessment was combined with the Greater Hartford-Central Connecticut, Barbour Hill, and northwest Connecticut area studies, to become the GHCC study. The needs assessment for this study shows that system needs exist in all four subareas at 2013 load levels. A report of the results of the completed needs assessment is being drafted, and solution alternatives are being developed.

Finally, the eastern Connecticut area study is in progress. The eastern Connecticut area is defined from the east by the Connecticut and Rhode Island border, from the south by the Long Island Sound, from the west by the eastern boundary of the western Connecticut transfer, and from the north by the border between Connecticut and Massachusetts. The study area is served electrically from autotransformers at Killingly, Card, and Montville and by a 115 kV line from Rhode Island. The study evaluates the unavailability of the AES Thames generating unit among other issues. The needs assessment has been completed, and most of the needs are the result of losing one of the autotransformers at Card or Killingly or the 115 kV source from Rhode Island followed by another contingency. The needs assessment shows that most needs exist at 2013 load levels. The solution alternatives are being developed.

#### Southern New England Transmission System Projects

A number of transmission projects in various stages are underway in southern New England. Many factors complicate the system performance in southern New England, such as load levels, system transfers, and unit commitment. The projects identified for this area must function reliably under a wide variety of conditions, and their development must support the operation of the overall system.

NEEWS—Siting has been approved for the Springfield and Rhode Island components of the NEEWS project, expected to be completed by the end of 2013. The Rhode Island Reliability Project addresses the need for additional 345/115 kV transformation and contingency coverage in the Rhode Island area, and the Greater Springfield Reliability Project addresses various thermal overloads under forecasted normal conditions and significant thermal overloads and voltage problems under numerous contingencies.

The Rhode Island components now in service consist of, among others, the following upgrades:

- A second West Farnum–Kent County 345 kV line

- A third Kent County 345/115 kV autotransformer, placed into service in June 2011 (The second Kent County 345/115 kV transformer was placed into service in January 2011 as a part of the advanced NEEWS reinforcements for Greater Rhode Island.)

The Springfield components, expected to be fully in service by the end of 2013, consist of the following upgrades:

- Construction of a new Ludlow–Agawam–North Bloomfield 345 kV line

- Reconfiguration of the Barbour Hill–Manchester–North Bloomfield three-terminal 345 kV line into two separate two-terminal lines: Barbour Hill–Manchester and North Bloomfield–Manchester

- Reconfiguration and expansion of the Ludlow 345 kV substation

- Replacement of two existing 345 kV/115 kV autotransformers at Ludlow

- Construction of a new 345 kV switchyard and the installation of two 345/115 kV autotransformers at Agawam

- Construction of a new 345 kV switchyard at North Bloomfield and the addition of a second 345 kV autotransformer

- Construction of a new 115 kV switching station at Cadwell, which was placed into service in December 2011

- A combination of rebuilding, reconfiguring, and reconductoring numerous 115 kV circuits and associated substation modifications

- Construction of a new Fairmont 115 kV switching station

Webster–Harriman 115 kV Refurbishment (A127/B128)—A refurbishment has begun for the A127 and B128 115 kV lines that run westerly from the proximity of the Webster Street substation in Massachusetts to the Harriman substation in Vermont. This project is currently scheduled to be completed in 2015.

Central/Western Massachusetts Upgrades—Past studies developed a 10-year plan for central Massachusetts and portions of western Massachusetts. This plan calls for adding a second 230/115 kV autotransformer and replacing four 230 kV breakers at Bear Swamp, replacing a transformer at Pratts Junction and Carpenter Hill substations, adding a new 115 kV line from Millbury to Webster, and implementing several other 115 kV upgrades. Some of the upgrades have been placed in service, with the remaining scheduled through 2017.

Salem Harbor—Railyard Cable Replacement—The replacement of the underground cables between the Salem Harbor and Railyard substations is scheduled to be completed in 2016.

Auburn Reliability Project—Past studies of the area surrounding the Auburn Street substation in Massachusetts identified overloads of the existing 345/115 kV autotransformer and several 115 kV lines, voltage problems, and breaker overstresses. The solution to eliminate these reliability deficiencies includes rebuilding the 345 kV and 115 kV switchyards at the Auburn Street substation to accommodate new bay configurations, along with the installation of a second autotransformer and the replacement of a number of breakers. The reconductoring of the 115 kV Auburn Street–Parkview and Bridgewater–East Bridgewater lines has been completed. Additionally, a number of distribution substation changes are being discussed that could modify the original project and its subsequent cost. The Bridgewater–Easton 115 kV line (E1) will be extended to supply a new municipal substation in Mansfield. The new Avon substation will be constructed and tapped off the newly reconductored Auburn Street–Parkview line (A94). The addition of a second distribution transformer at Dupont requires associated terminal work. The completion of this project is currently scheduled for 2015.

Lower SEMA Short- and Long-Term Upgrades—Plans to improve system performance in the lower southeastern Massachusetts (LSM) area, which includes Cape Cod, were separated into two phases. Phase 1 included the projects that could be put in place in an expedited time frame. Phase 2 includes those projects that would serve as the long-term solution for reliable supply but would require state siting hearings. The short-term upgrades were completed in 2009, and the long-term upgrades received siting approval on April 27, 2012.

The long-term plan, scheduled for a September 2013 in-service date, includes adding a new 345 kV transmission line from the Carver substation to a new 345/115 kV substation. This new four-breaker ring-bus substation, which has been designated the West Barnstable substation, will be located west of the Barnstable substation adjacent to the 115 kV line right-of-way. The Carver–Bourne section of the 345 kV line is new construction, and the Bourne–Barnstable portion of the new 345 kV line will use an existing 115 kV line built to 345 kV standards. The 115 kV line (the Mashpee–Barnstable 115  line) will be tapped into the new substation. The plan also involves placing the existing 345 kV Cape Cod Canal crossing on separate towers and reconductoring the 115 kV D21 line between Bell Rock and High Hill.

Greater Rhode Island (Advanced NEEWS) Project—Reliability concerns with the 115 kV system in the Bridgewater–Somerset–Tiverton areas of southeastern Massachusetts and the adjoining area in Rhode Island had been identified previously. The solutions to these concerns were a group of upgrades that had been combined with the advanced Rhode Island upgrades (associated with NEEWS studies) to become what is now known as the Greater Rhode Island transmission reinforcements. The advanced NEEWS upgrades, the new Berry Street 345/115 kV substation (MA) and the expansion of the Kent County substation (RI) with an additional 345/115 kV autotransformer, have been placed in service in 2011. The proposed non-NEEWS GRI solutions in the Massachusetts area include, among other projects, the construction of new 115 kV transmission circuits between Brayton Point and Bell Rock substations. These are currently scheduled to be in service in 2018 and will be reexamined as part of the SEMA/RI (Eastern REMVEC) study (see above).

Millstone Double-Circuit Separation—Four 345 kV circuits emanate from the Millstone switching station. The 310 line to Manchester and the 348 line to Haddam share the same towers for four miles. The 371 line to Montville and the 383 line to Card Street share the same towers for two miles. The severe-line-outage detection (SLOD) special protection system was installed to improve system stability performance under certain system conditions. This project will separate the double-circuit sections of the Millstone lines and eliminate the need for the SLOD SPS and the exposure to contingencies that can be limiting under some system conditions in moving power from east to west through Connecticut. The project was completed in early 2013.

Southwest Connecticut Advanced Solutions—The advanced solutions for SWCT include the following elements:

- Reconfiguration of the 115 kV 8300 line from Mill River to Quinnipiac—The SWCT Needs Assessment analysis showed thermal issues unrelated to other needs in the New Haven area. The solution to mitigate the thermal issues is to install a new 115 kV overhead line from Mill River to Grand Avenue and to extend the existing 8300 line from Mill River into a new Grand Avenue substation bay. As of the June 2013 Project List, the project was scheduled for completion in July 2013.

- NU’s Glenbrook–South End 115 kV Cable Project—The SWCT Needs Assessment analysis showed thermal and voltage issues in the Stamford-Greenwich and Darien-Compo subareas due to line and cable outages followed by 115 kV stuck breaker and DCT contingencies. The solution to mitigate these issues is to install a new 115 kV underground cable between the Glenbrook and South End substations. The project is expected to be completed by December 2014.

## Information on Critical Load Levels

The ISO has been improving the information provided to stakeholders, especially the required timing of transmission projects. The load level most often drives the need for transmission improvements under the assumptions used in each of the studies. The load level at which a system problem could occur, and therefore a solution would be needed, is referred to as the critical load level. From this critical load level, an approximate year of need can be developed. However, the year of need can change as the load forecast and other influences, such as energy efficiency, vary.

The ISO provides information on critical load levels in the needs assessment and solutions study for each portion of the region investigated. In the April 2012 update to the New Hampshire/Vermont Needs and Solutions Studies (see Section 5.4.1.2), critical load levels have been provided, and virtually all upgrades are required at load levels that already have been surpassed. A similar assessment was performed for the Greater Boston area and the GHCC study. The results of this analysis also showed numerous system concerns for load levels that already have been surpassed.

## Transmission Improvements to Load and Generation Pockets Addressing
Reliability Issues

The performance of the transmission system is highly dependent on embedded generators operating to maintain reliability in several smaller areas of the system. Consistent with ISO operating requirements, the generators may be required to provide second-contingency protection or voltage support or to avoid overloads of transmission system elements. Reliability may be threatened when only a few generating units are available to provide system support, especially when considering normal levels of unplanned or scheduled outages of generators or transmission facilities. This transmission system dependence on local-area generating units typically can result in relatively high reliability payments associated with out-of-merit unit commitments.

Several areas currently depend on out-of-merit generating units to some degree to maintain reliability, or have been dependent on these units until recently. These areas and the status of transmission projects that either have reduced or eliminated the need to run units out of merit to respect reliability requirements, or are expected to do so when the projects are completed, are as follows:

- Maine—Generation is required for maintaining system reliability following second contingencies involving flows from New Hampshire to Maine. The MPRP project (see Sections 5.4.1.2 and 5.4.1.3) is expected to help reduce the requirement for running certain generators to support the transfers from New Hampshire to Maine. Net Commitment-Period Compensation (NCPC) charges in the Maine area were just under $4.1 million. Some out-of-merit costs in this period were associated with maintaining transmission system security during MPRP construction.

- Massachusetts

- Boston area—Because of the shunt reactor installations in the 2009 to 2010 timeframe, which followed the completion of the Stoughton Cables Project (see Section 5.4.2.2), NCPC for this area totaled less than $3.4 million for 2012.

- Southeastern Massachusetts—The completion of the short-term Lower SEMA project, coupled with the temporary operating measures put in place, resulted in NCPC payments in this area being less than $0.08 million.

- Western Massachusetts/Springfield area—A preferred solution for the Pittsfield–Greenfield area has been selected; however, some out-of-merit costs likely will continue until improvements are placed in service. Other out-of-merit costs in this area are associated with the construction of the GSRP component of NEEWS, which will accommodate load growth as well as reduce dependence on local generation. This area accounted for approximately $14.3 million of the 2012 NCPC charges.

- Connecticut—The new resources procured through the Forward Capacity Market helped keep the NCPC charges to just under $1.0 million for Connecticut. This minimal amount was due to operating-reserve requirements and the need to maintain second-contingency protection for the CT interface.

## Out-of-Merit Operating Situations

As part of the FCM rules, the ISO reviews each delist bid to determine whether the capacity associated with the delist bid is needed for the reliability of the New England electric power system. Capacity determined not to be needed for reliability is allowed to delist.

For FCA #4, which was held in August 2010 for the 2013/2014 capacity commitment period, 281 delist bids were received, representing 2,410 MW. In accordance with Planning Procedure No. 10 (PP 10), Planning Procedure to Support the Forward Capacity Market, the ISO reviewed and analyzed these bids and determined that 587 MW, representing Salem Harbor units #3 and #4, and 604 MW, representing Vermont Yankee, were needed for reliability. In a December 16, 2010, order, FERC accepted the ISO’s determination. In May 2012, the ISO notified Entergy that Vermont Yankee is no longer needed for the FCA #4 capacity commitment period.

In February 2011, a nonprice retirement request (see Section 5.4.2.2) was submitted for Salem Harbor units #1, #2, #3, and #4 beginning June 1, 2014. The ISO found no reliability concerns associated with the retirement of Salem units #1 and #2. However, in May 2011, the ISO determined that Salem Harbor units #3 and #4 were needed to ensure continued reliability of the system. Soon after the ISO’s determination was issued, the ISO was notified that Salem units #3 and #4 will be retired on June 1, 2014.

For FCA #5, which was held in June 2011 for the 2014/2015 capacity commitment period, 201 delist bids were received, representing 1,775 MW. In accordance with PP 10, the ISO reviewed and analyzed these bids and determined that only Vermont Yankee was needed for reliability. The ISO subsequently determined in November 2012 that Vermont Yankee was not needed for reliability for the FCA #5 period and accepted the delist bid. Refer to Sections 5.4.1.2 and 7.5.6 for more information on VY.

FCA #6 was held in April 2012 for the 2015/2016 capacity commitment period. The ISO reviewed and analyzed 191 delist bids, representing 1,968 MW. Several delist bids representing 79 MW were needed for reliability in the NEMA/Boston capacity zone. Subsequently, in February 2013, the ISO accepted these delist bids on the basis of updated studies.

FCA #7 was held in February 2013 for the 2016/2017 capacity commitment period. The ISO reviewed and analyzed 268 delist bids, representing 1,560 MW. The ISO accepted all delist bids. However, price separation occurred between the NEMA/Boston area and the rest of New England. The addition of new market resources and the final transmission solution for Greater Boston is expected to mitigate this concern by increasing the ability of the transmission system to move power into the area.

## Other Needed and Elective Transmission Upgrades

This section discusses Market-Efficiency-Related Transmission Upgrades. It also provides information on several transmission upgrades developed and paid for by generator developers. The transmission upgrades must meet reliability performance requirements.

### Needed Market-Efficiency-Related Transmission Upgrades

The purpose of and requirements for Market Efficiency Transmission Upgrades are described in Section 5.2.2. However, market-efficiency benefits also may be associated with Reliability Transmission Upgrades, particularly when out-of-merit operating costs are reduced.

### Transmission Improvements to Mitigate Congestion

Recent experience has demonstrated that the regional transmission system has little congestion among the New England load zones relative to the Hub. The highest average annual congestion component of the real-time LMP was for the CT load zone at $0.53/MWh and the WCMA load zone at $0.65/MWh. While these values were positive because of transmission construction activities, congestion costs remain low, and mitigation by additional transmission upgrades is not warranted. Planned Reliability Transmission Upgrades might reduce congestion costs further as well as potentially reduce transmission system losses.

### Reliability Transmission Upgrade Improvements to Load and Generation Pockets

Transmission solutions continue to be put in place where proposed generating or demand-side resources have not relieved transmission system performance concerns. The ISO is studying many of these areas, and while transmission projects are still being planned for some areas, other areas already have projects under construction and in service to mitigate dependence on generating units. Reliability Transmission Upgrades were used to address these system performance concerns, which contributed to a substantial reduction in out-of-merit operating costs.

Generating units in load pockets may receive second-contingency or voltage-control payments for must-run situations. Table 5-3 shows the NCPC by type and year.

Table 5-3
Net Commitment-Period Compensation by Type and Year (Million $)

| Year | Second Contingency(a) | Voltage | Total |
| --- | --- | --- | --- |
| 2003(b) | 36.0 | 14.4 | 50.4 |
| 2004 | 43.9 | 68.0 | 111.9 |
| 2005 | 133.7 | 75.1 | 208.8 |
| 2006 | 179.9 | 19.0 | 198.9 |
| 2007 | 169.5 | 46.0 | 215.5 |
| 2008 | 182.5 | 29.4 | 211.9 |
| 2009 | 17.2 | 5.0 | 22.2 |
| 2010 | 3.9 | 5.1 | 9.0 |
| 2011 | 6.0 | 5.9 | 11.9 |
| 2012 | 8.8 | 14.9 | 23.7 |

(a) 	NCPC for first-contingency commitment and distribution support is not included.

(b) 	NCPC under Standard Market Design began in March 2003.

The 2009, 2010, 2011, and 2012 figures show a significant decrease from the preceding years, averaging less than $17 million per year. With NCPC reliability payments this low, the incentives are limited for pursuing transmission upgrades solely to reduce dependence on these generating units and improve the economic performance of the system.

### Required Generator-Interconnection-Related Upgrades

No significant transmission system upgrades resulted from the interconnection of generators. Most of the Generator-Interconnection-Related Upgrades are fairly local to the point of interconnection of the generator. The RSP Project List identifies the PTF upgrades (see Section 5.3).

### Elective Transmission Upgrades

As of June 1, 2013, nine projects are proposed as Elective Transmission Upgrades in the ISO Generator Interconnection Queue:

- Two-terminal, HVDC line between Maine Yankee substation and South Boston, MA

- HVDC line between Orrington, ME, and Boston

- 345/230 kV AC line between Plattsburgh, NY, and New Haven, VT, in series with a back-to-back HVDC facility

- 345 kV tie line between Houlton, ME, and the Maine Electric Power Company (MEPCO) 345 kV tie and between Bridgewater, ME, and MEPCO

- HVDC line from northern Maine to Boston

- HVDC line from Québec to New Hampshire

- HVDC line from northern Maine to north of Boston

- HVDC line connecting offshore wind to south of Boston or Cape Cod

- Keene Road export enhancement

All ETU projects listed above currently are in the study phase.

## Summary

As of June 1, 2013, nine major 345 kV transmission projects have been completed in five states since 2002; two additional projects have completed siting and are under construction; and one other is in the final stages of siting. These projects reinforce critical load pockets, such as in Southwest Connecticut and Boston, and areas that have experienced significant load growth, such as northwest Vermont. These projects also include a new interconnection to New Brunswick, which increases the ability of New England to import power from Canada.

The MPUC has approved the siting of most of the component projects of the Maine Power Reliability Program, and many components are under construction. The MPRP will establish a second 345 kV line in the north from Orrington to Surowiec and will add new 345 kV lines in southern Maine, creating a third parallel path from Surowiec to Eliot (Three Rivers) in southern Maine. This program will reinforce and augment the 345/115 kV transformation capability in various load centers of Maine for greater reliability to area loads. These new paths provide basic infrastructure to increase the ability to move power into Maine from New Hampshire and improve the ability of the transmission system within Maine to move power into the load pockets as necessary. The studies necessary to evaluate any changes in transfer capability from Maine to New Hampshire were completed in 2012. To address potential system reliability concerns associated with the upcoming unavailability of Salem Harbor and the potential unavailability of Vermont Yankee, specific transmission upgrades have been advanced. For the retirement of the generation at Salem Harbor, 115 kV line reconductoring projects are moving ahead in the North Shore area. For Vermont Yankee, upgrades at Flagg Pond have been installed to address potential thermal overloads if Vermont Yankee is unavailable.

The New England East–West Solution series of projects has been identified to improve system reliability. The updated review of the need for the Interstate Reliability Project component of NEEWS is complete, and the preferred solution is unchanged. A reevaluation of the Central Connecticut Reliability Project has been combined with the Greater Hartford–Central Connecticut study, presently underway.

Costs associated with second-contingency and voltage-control payments have been mitigated through transmission improvements. Additional transmission plans have been developed, which reduce the dependence on generating units needed for reliability. An example is the Lower SEMA projects, whereby short-term improvements already have reduced dependence on the Cape Cod Canal generating units; further long-term improvements will eliminate the need to commit generation for second-contingency protection.

From 2002 through June 2013, 475 projects have been put into service, with an investment totaling approximately $5.5 billion. Additional projects (proposed, planned, or under construction), totaling approximately $5.7 billion, are summarized in the RSP Project List, which is updated periodically.

All transmission projects are developed to serve the reliability of the entire region and are fully coordinated regionally and interregionally. Most projects on the RSP Project List remain subject to regional cost allocation. As a result of transmission expansion, the ISO meets all required transmission planning requirements, and little congestion is currently evident on the system.

# Studies and Other Actions Supporting the Strategic Planning of the Region

The ISO has been conducting a number of studies to assist regional stakeholders in understanding the risks identified through the Strategic Planning Initiative, some of which are as follows:

- Resource performance and flexibility

- Increased reliance on natural-gas-fired capacity

- Retirement of generators

- Planning and operating a greater level of intermittent resources (i.e., variable energy resources; VERs) to maintain system reliability

These risks are interrelated, and many of the studies are providing information and data on the broader issues facing the region, the extent of these issues, and potential solutions. Some of the main issues are fuel diversity and supply; the impacts of environmental regulations on generators and the power system overall, including the potential for unit retirements; and the large-scale integration of wind and photovoltaic resources.

This section summarizes some of these major planning issues under study to address the region’s strategic risks and actions the ISO and the region are taking to address them, which include developing improvements to the wholesale electricity markets and system operations and planning.

## Changing Mix of Fuels and Diminishing Fuel Diversity

In a little more than a decade, New England has seen a major shift in its generation fleet. In this time, the region has moved from a more balanced mix of oil, coal, nuclear, and natural gas generators, to a system where 51.8% of the electric energy produced in the region is by natural gas power plants, representing 43.0% of the region’s capacity. In 2000, 17.7% of the region’s generating capacity was natural-gas-fired generation, which produced 14.7% of the region’s electric energy. Also showing this shifting emphasis of fuel types, oil units represented 34.0% of the region’s capacity in 2000 and produced 22.0% of the region’s electric energy that year, but in 2012, oil units represented 21.6% of the capacity and produced only 0.6% of the region’s electric energy. Over the same period, the capacity reduction of coal units has been less severe, from 11.7% to 7.8%; their energy production decreased from 17.9% to 3.2%. Figure 6-1 illustrates this shifting emphasis of New England’s generating capacity and fuel types for electric energy production for 2000 and 2012.

Figure 6-1: New England’s generating capacity and electric energy production by fuel type, 2000 and 2012.

Note: The capacity and energy statistics illustrated in the figure do not include capacity and energy associated with imports or behind-the-meter generation not registered in the region’s wholesale energy market.

Sources: The capacity data are from the 2012 Regional System Plan (http://www.iso-ne.com/trans/rsp/index.html), the energy data for 2000 are from the 2001 CELT Report (http://www.iso-ne.com/trans/celt/report/2001/index.html), and the energy data for 2012 are from the 2013 CELT Report (http://www.iso-ne.com/trans/celt/report/).

The future fuel mix of the region will show continued dependence on natural-gas-fired generation and the addition of intermittent renewable resources. Recent FCM auction results have shown the beginning of the retirement of coal- and oil-fired generators in the region, as well as the introduction of a diverse set of renewable and demand resources. As additional generators retire, units in the ISO Generator Interconnection Queue, which primarily are natural-gas-fired generation and wind resources (see Section 4.4.3) will likely replaced them. Further increases in the use of natural-gas-fired generation will likely occur, resulting from the loss of other types of generation subject to risks, such as nuclear and hydro units that may not be relicensed. The region also is beginning to experience the addition of photovoltaic resources, and future growth is expected.

  - Natural Gas and Oil Supply Issues for Power Generation

The region faces a number of concerns for ensuring the reliability of the fuel supply, particularly the supply of natural gas and oil. Operating experience has exposed some vulnerabilities associated with the strategic risks of resource performance and flexibility and the increased reliance on natural-gas-fired capacity. Market rules that allow resources to constrain their operation when they have limited fuel and limitations with natural gas infrastructure for supplying and delivering fuel have added to these concerns.

### Winter 2012/2013 Operations

While the region already recognized several risks to the reliable operation of the regional power system, these risks became significantly more evident during 2012/2013 winter operations. Two weeks after New England experienced a five-day cold stretch in late January 2013, a weekend blizzard left record snowfalls across parts of the region. While no major regional power system outages were reported during the cold stretch, the blizzard caused more than 645,000 distribution customers to lose power, primarily in southern New England.

Neither of these weather events led to system conditions that required the ISO to implement emergency procedures. During both events, however, the ISO had to commit additional generating resources to ensure adequate resources were available under the volatile weather and operating conditions.

As discussed in the following sections, the inadequacy of some generator fuel arrangements and the resulting uncertainty this created for ISO system operators drove these generator commitments. The ISO also needed to commit resources in key locations to manage the volatility of transmission, generation, and customer outages in areas hit hard by the February blizzard. These resources were committed out-of-economic-merit order and therefore received “make-whole” payments, which added costs to the region’s consumers.

#### January 2013 Cold Stretch in Perspective

Temperatures during the week of January 21-25, 2013, were not as cold as the January 2004 cold snap, during which the all-time New England electric-system winter peak of 22,818 MW occurred. While the 20,800 MW peak demand for electricity in this January 2013 period was approximately 2,000 MW lower than the 2004 cold snap, the sustained cold weather caused electric energy demand to be high for the entire week. Coupled with the region’s constrained natural gas infrastructure (see Section 6.2.4), the sustained cold weather contributed to depleted oil inventories, thus increasing fuel uncertainty and the risk to reliability during the subsequent blizzard event. The cold weather also had an impact on neighboring power systems, including Hydro-Québec, which set an all-time electric power system peak and limited exports to other regions.

Figure 6-2 depicts average weekly winter temperatures (weekdays only) from 2000 to 2013 and shows that the average regional temperature during the 2013 cold stretch (15°F) did not represent unusual winter weather, but rather that similarly cold weeks have occurred eight times during the last 13 winters. Also noteworthy is that significantly warmer weeks preceded and followed the January 2013 cold week, while other cold weeks in recent history have been part of a longer pattern of cold weather.

Figure 6-2: Average winter weekly temperatures (for weekdays only) from 2000 to 2013 (°F).

#### Winter Storm Nemo, February 8 to 9, 2013

Beginning on Friday, February 8, 2013, and continuing through Saturday, February 9, 2013, winter storm “Nemo” dropped record snow across New England. The peak demand for electricity during this period (18,700 MW) was about 4,100 MW lower than the January 2004 cold snap. High wind gusts and heavy snow packing into substations caused several transmission line trips (see Figure 6-3, top). Heavy snow and ice buildup on the air inlet filters of combustion turbines resulted in 4,200 MW of forced outages for generators (Figure 6-3, bottom). The evening of February 9, 2013, approximately 2,000 MW of gas-fired generation was unable to obtain fuel after the ISO called on them. Additionally, several generators reported inadequate remaining fuel oil inventory (not replaced when depleted earlier in the winter). Customer outages peaked at approximately 645,000 customers at 9:00 a.m. on February 9, 2013.

Figure 6-3: February 8–12, 2013, generator outages and reductions (MW) (top) and 2013 Winter Storm Nemo transmission outages (bottom).

### Availability of Oil-Fired Generation

While oil-fired generation provides valuable fuel diversity to the region, many oil-fired generators have maintained limited fuel inventories in recent years because of their limited use (i.e., they produced less than 1% of total electric power production in 2012, as shown in Figure 6-1). The inventory of fuel oil may be adequate for the limited number of hours these units are dispatched during the year, but it restricts their availability to sustain operations as needed, particularly when gas supplies in the region are tight. This situation arises in particular when the operation of the generator must be sustained over multiple days during adverse weather conditions that interfere with oil resupply, such as during Winter Storm Nemo.

During fall 2012 and winter 2013, the ISO conducted periodic fuel surveys, and the oil inventories that generator owners reported to the ISO suggest that many oil tanks are, on average, kept only about one quarter full. Figure 6-4 illustrates the estimated potential oil-generator power output based on the fuel surveys. This figure shows, for example, that if 12,000 MW of resources capable of operating on oil operated at full load, approximately 5,000 MW of these resources would run out of fuel within 48 hours, assuming no replenishment of fuel inventory.

Figure 6-4. Estimated aggregate oil-generator output (MW).

Source: ISO New England fuel surveys

The ISO will continue to conduct fuel surveys until further notice to maintain situational awareness of the fuel supplies in New England.

### Limited-Energy Generation Resources

The limited-energy generation (LEG) provisions of the market rules further reduce generator availability, essentially by allowing resources to limit their operation when they have limited fuel. On February 9, 2013, several gas resources increased their use of the LEG provisions, which forced the ISO system operators to take on more fuel-management responsibilities. Subsequent to receiving a day-ahead commitment, these gas resources informed the system operators that they had limited gas supplies and could not operate beyond what was committed in the Day-Ahead Energy Market. Thus, the system operators could not use the additional stated capability of the units to address system needs.

While system operators value information on whether a generator has a limited fuel supply, increases in the use of LEG provisions by natural-gas-fired generators adds to the complexity of system operations, particularly during the types of operating conditions that occurred during winter 2012/2013. For example, the amount of generating resources that operated as limited-energy generation on February 9, 2013, represented twice the usual number of LEG units and nearly three times the usual number of LEG hours and associated megawatt-hours.

As shown in Figure 6-5, the proximity of the five-day cold stretch and Winter Storm Nemo raises concerns for the region’s ability to maintain electric power system reliability under more-sustained cold-weather events.

Figure 6-5: January to February 2013 timeline showing challenges resulting from the inflexibility of the fuel supply for power generation.

### Natural Gas Infrastructure—Issues and Improvements

Recent and planned improvements to the regional and interregional natural gas infrastructure provide initial steps for expanding the access to natural gas sources to meet New England’s increasing demand for natural gas for power generation. More expansion is most likely required, however.

Figure 6-6 shows most of the major existing natural gas infrastructure serving New England. This infrastructure includes major natural gas pipelines (Algonquin Gas Transmission Pipeline, Tennessee Gas Pipeline, and Iroquois Gas Transmission System [IGTS] from the south and west; Maritimes and Northeast Pipeline from the northeast) and all liquefied natural gas (LNG) import terminals (Everett LNG and Canaport LNG onshore terminals and Neptune LNG and Northeast LNG  offshore terminals). The Sable Offshore Energy Project is an offshore natural gas production site.

Figure 6-6: Overview map of the natural gas infrastructure serving New England.

Notes: The Baileyville (Maritimes and Northeast Pipeline), Wright (Iroquois Gas Transmission System), and Cromwell (Algonquin Gas Transmission pipeline) compressor stations are receipt points for pipeline natural gas deliveries into New England that marketers use to set regional spot-market gas prices. The figure does not show the Deep Panuke Offshore Project, a natural gas production project under construction near the Sable Offshore Energy Project, both approximately 160 miles southeast of Halifax, Nova Scotia, Canada. Several other projects are also not shown: the northern Portland Natural Gas Transmission System (PNGTS), which delivers natural gas along a 144-mile route from Pittsburgh, New Hampshire, to Westbrook, Maine; the Granite State Gas Transmission pipeline, a 78-mile pipeline operating between Essex, Massachusetts, and just northwest of Portland, Maine; and the Vermont Gas Systems Company, which serves Vermont and does not interconnect to any other domestic pipeline.

Source: US Energy Information Administration, “Short-term Energy Outlook Supplement: Constraints in New England likely to affect regional energy prices this winter,” (January 18, 2013).

The liquefied natural gas deliveries to LNG import terminals have declined substantially in recent years, as reported by the Energy Information Administration (EIA) of the US Department of Energy (DOE) and observed by ISO System Operations forecasters on the pipeline electronic bulletin boards. This has limited the spot-market gas available within the Northeast. The interstate pipeline companies that serve the Appalachian region have added numerous interconnects from the area’s large and small producers, and over 10 billion cubic feet per day (Bcf/d) of natural gas from the Marcellus and Utica Shales is currently flowing out of the region, with production volumes forecast to be greater than 16 Bcf/d by the end of the decade. New England cannot access the full benefit of Marcellus shale production, however, because of existing pipeline capacity constraints leading into the region from the west and southwest, as shown in Figure 6-7.

Figure 6-7: Northeast natural gas pipeline constraints (left) and recent pipeline-capacity additions (right).

Source: EIA, “New Northeast natural gas pipeline capacity additions” (January 27, 2012), http://www.eia.gov/todayinenergy/detail.cfm?id=4750.

At present, of the 30 proposed pipeline-expansion projects under development across the Northeast, only a Spectra Energy project would specifically increase pipeline capacity and natural gas flows into New England, while two other projects, by Kinder Morgan and IGTS, would diversify access to natural gas supplies:

- Spectra Energy’s Algonquin Incremental Market (AIM) Project, with a projected in-service date of November 1, 2016, would expand the capacity of the existing Algonquin pipeline in southern New York, Connecticut, and Massachusetts, and increase New England’s pipeline capacity by 340 thousand dekatherms per day (MDth/d).

- Kinder Morgan’s Northeast Expansion Project, with an in-service date of late 2017 to 2018, involves the construction of approximately 170 miles of pipeline looping and new construction primarily within New York and Massachusetts. This should provide New England with access to Marcellus and other production sources.

- Iroquois Gas Transmission’s Wright Interconnection Project (WIP), near Wright, New York, in conjunction with the proposed Constitution Pipeline (from northeastern Pennsylvania to upstate New York) would provide additional pipeline capacity of 650 MDth/d.

The interstate natural gas pipeline companies developing these capacity additions operate under a business and regulatory model that requires pipeline shippers and customers to enter into long-term firm commitments. Although the natural gas pipelines serving the region are at or near capacity, they will not expand until customers make firm commitments. Unlike the electric power industry, which builds infrastructure in anticipation of demand, the gas industry requires signed contracts from firm customers before building or expanding pipeline infrastructure. In fact, FERC, which must approve interstate pipeline projects, bases its decision that a pipeline project is in the public convenience and a necessity in large part on the existence of firm contractual commitments.

### Studies on Natural Gas Supply and Delivery to Power Generators

Several studies have quantified potential shortfalls in natural gas supply to electric power generators, and additional studies are underway. The ISO commissioned a study to quantify the extent of the regional fuel diversity risk and assess the ability of the regional gas supply and delivery system to serve the gas demands of New England’s power supply under several scenarios.

The study reviewed the amount of gas supply available for New England’s gas-fired power generation through 2020 on peak winter and peak summer days. While the results showed that the natural gas system is adequate to meet the region’s expected summer peak conditions through 2020 and is able to supply local distribution company (LDC) demand, the existing natural gas infrastructure may not be able to meet the electric power system demand during peak winter conditions. These study results also showed the extent to which the region could require alternative sources of electrical power generation, such as dual-fuel capability, and additional gas transportation to generating units. Also refer to the ISO’s whitepaper, Addressing Gas Dependence, which reviews the reliability issues associated with the region’s increasing dependence on gas-fired generators and solutions to mitigate this risk.

The ISO issued a request for proposals to further study regional natural gas issues and better understand the emerging vulnerabilities, particularly in severe winter or other stressed system conditions. This study is examining natural gas system demand scenarios based on the demands of natural-gas-fired generating units to quantify the periods when these natural-gas-fired generators may be exposed to fuel shortages. In addition, ISO New England, NYSIO, PJM Interconnection (PJM), the Midcontinent ISO (MISO), the Ontario Independent Electricity System Operator (IESO), and the Tennessee Valley Authority (TVA) are coordinating a natural gas study of the broader interregional system (see Section 7.2.1).

### Summary of Natural Gas and Oil Supply Issues and Regional Actions

ISO New England has immediate and growing concerns about the availability and flexibility of generating resources—particularly natural gas and oil-fired resources—to reliably serve the daily, round-the-clock demands of electricity consumers in New England. These concerns have been documented through the ISO’s Strategic Planning Initiative.

The electric power system is the largest consumer of natural gas in New England. This dependence on the natural-gas fuel-delivery system that lacks local storage, combined with the economic pressures experienced by gas- and oil-fired generating facilities to participate in the wholesale electricity markets while attempting to minimize operating costs, are causing persistent reliability concerns. These concerns, while year-round, are most acute during extended cold-weather periods when natural gas demand by LDCs is high. Cold-weather conditions and the subsequent heavy demand for natural gas also can lead to natural gas pipeline constraints when electrical imports from neighboring regions may not be as readily available.

#### Operational Shortfalls and Institutional Barriers

Operating experience has demonstrated these problems, such as the situation that occurred this past winter when oil and LNG inventory levels were low. Colder temperatures, which have commonly occurred in New England, would have exacerbated the operating situation. Other concerns have existed when the interstate natural gas pipelines were being maintained or otherwise constrained, also when LNG inventories or injections into the interstate pipelines were low. As also seen this past winter, severe winter weather conditions can compromise the delivery of oil.

Most natural-gas-fired generators in New England have not made long-term financial commitments that would improve the reliability of natural gas supply through improvements to natural gas pipelines and natural gas storage facilities. In addition, the structural mismatch between the “24 x 7” demands of the electric power system and the less-liquid, overnight and weekend market for gas supply creates additional uncertainty in the commitment and dispatch of gas units during overnight and weekend hours. Additionally, during cold spells, fuel oil inventories can be depleted rapidly for those units that have switched from burning natural gas to burning oil for economic reasons or because the ISO committed them for reliability reasons or to manage the inflexibility of fuel deliveries to gas-fired generators.

#### Solutions, from Interim to Long Term

The operating conditions during the 2012/2013 winter have exposed the urgency of taking additional actions to address these growing concerns.

Interim Measures. The ISO, working with the New England states and its stakeholders, developed interim measures outside the usual ISO wholesale electricity markets to improve reliability for winter 2013/2014, as well as during the transition period until the market design changes being considered by the ISO and its stakeholders become effective. The measures involve maintaining oil inventories, increasing access to demand resources, and verifying the reliability of switching fuels by dual-fueled generators. FERC accepted the 2013/2014 Winter Reliability Program under the condition that costs are allocated to real-time load obligations and not to the regional network load.

Short-Term Improvements to the Wholesale Electricity Markets. Short-term improvements to the wholesale electricity markets also have been implemented. One measure has been to accelerate the timing of the ISO’s Day-Ahead Energy Market and associated reliability commitments to more closely match them to existing natural gas trading and nomination cycles and provide additional time for generators to secure fuel from the gas market. The changes allow the ISO more time to commit long lead-time resources, if needed, and allow participants with gas-fired generation resources to receive their next-day commitment earlier, so that they can procure gas and transportation based on these commitments. The changes also allow gas-fired generators with dual-fuel capability more time to make fuel-switching decisions. Additionally, the ISO and its stakeholders filed with FERC revisions to the market rule to allow generators to change their offers to sell electricity in real-time during the operating day. This improved use of the daily reoffer period will allow generators to reflect the true cost of fuel in their offers and will improve price signals.

Plans call for the following additional improvements to be in place by the end of 2014:

- Allow reserve prices to increase under tight system conditions to better reflect the costs of maintaining these reserves, which will improve energy market pricing and associated incentives for resources to deliver power when needed.

- Increase the amount of needed operating reserves, which will more closely reflect operator action and also improve the pricing of reserves and electric energy

- Update the shortage-event trigger in the Forward Capacity Market to improve incentives for resources to make adequate arrangements for fuel during tight system conditions.

Medium-Term and Long-Term Solutions. The ISO also is working with stakeholders to address medium-term and long-term fuel supply issues through wholesale electricity market developments that would increase the economic incentives for generators to perform when and where needed. For example, further revising the shortage-event triggers and replacing the FCM shortage-event penalty structure with a pay-for-performance model are expected to give resources even stronger incentives to perform when system needs are greatest and thus encourage them to make forward fuel arrangements. The stakeholder process is ongoing to improve the performance penalty structure for FCA #9 (2018/2019 capacity commitment period).

Potential improvements to system reliability involve having more generators with dual-fuel capability to protect against fuel shortages, increasing the procurement of noninterruptible fuel supplies, improving staffing levels and personnel training, and enhancing start-up capability that would reduce performance deficiencies. Another potential solution is having more rapid and readily available price-responsive demand, which can increase how often system operators can call on these resources to help meet the region’s energy needs.

Results and Further Recommendations. The implementation of operating procedures and improved communications between electric power and natural gas system operators over the past several years have improved the coordination between the natural gas supply and transportation systems and have prevented certain operational risks. The ISO continues to work with the natural gas industry to address the challenges of the increasing interdependency between the gas and electric power industries. Ways in which the gas sector could assist with reliability efforts include having gas suppliers provide generators with additional opportunities to obtain fuel outside normal business hours or having pipelines offer more flexible scheduling and additional services and provide real-time information on the status of the pipeline system. In addition, investment in natural gas infrastructure would improve the reliability of the fuel supply to the electric power system.

  - Impacts of Environmental Regulations on Generators and the Power System Overall

Existing and pending state, regional, and federal environmental requirements will require many generators to consider adding pollution control devices, reducing water use and wastewater discharges, and in some cases, limiting operations or considering retirement. Several upcoming federal air and water quality regulations could affect the economic performance of all fossil (coal-, oil-, and natural-gas-fired) and nuclear generators by increasing operating costs and imposing additional capital costs for needed controls or facility modifications. Other regulations could require certain generators to reduce emissions further through the extended operation of pollution control devices, the use additional reagents, or the procurement of additional emissions allowances. Separately, state, regional and future greenhouse gas (GHG) reduction goals and performance standards may limit fuel diversity options for new generation and limit operational flexibility of existing and future generators.

The US Environmental Protection Agency (EPA) is developing and implementing several air and water quality rules in the following areas that will have an impact on existing and new generators:

- Surface water withdrawals (for cooling water use and consumption)

- Wastewater discharges into surface water

- Mercury, acid gas, and other air toxics

- Ozone (O3), fine particulate matter (PM2.5), and sulfur dioxide (SO2)

- Greenhouse gases/carbon emissions

Several New England states are developing or revising air and water quality requirements for generators and GHG reduction targets under the Regional Greenhouse Gas Initiative (RGGI) or through Clean Energy Performance Standards. The Ozone Transport Commission, to which all New England states are members, also is pursuing various regional strategies that may yield additional emission-reduction requirements for generators within and upwind of the region.

System reliability could suffer if the aggregate impact and timing of all these requirements limits generator energy production, reduces capacity output, or contributes to unit retirements. Compliance with many of these requirements begins soon, with impacts unfolding by 2015 and continuing through 2022. Acknowledging the risk posed to reliability by the implementation of these regulations in a narrow timeframe, EPA has proposed or included some flexibility and opportunities for additional compliance time in pending and final rules. One opportunity, for example, is a safe harbor provision for limited-use oil-fired generators used as peaking units to help preserve system reliability (see Section 6.3.2.1).

### Emerging Impacts of Clean Water Act Regulations on the Region’s Generators

Major revisions of Clean Water Act standards including the § 316(b) Cooling Water Intake Rule and the § 304 Effluent Limitation Guidelines (ELGs) for Electric Steam Generators will require capital expenditures and continuing increased overhead and maintenance costs for existing fossil and nuclear generators. New electric energy generation projects will likely require dry, hybrid, or closed-cycle cooling systems and the elimination of most wastewater discharges under zero-liquid discharge requirements.

      - Cooling Water Intake Rule Requirements

EPA’s cooling water restrictions may require some portion of 12.1 gigawatts (GW) of existing fossil fuel and nuclear capacity in New England to mitigate the adverse impacts from cooling water use, with compliance due between 2014 and 2021 for some generators. Originally expected final by July 2012 and postponed until June 2013, the final 316(b) rule has been extended again until November 4, 2013; however, the implementation schedule for generators is not expected to slip significantly.

Up to 12.1 GW of fossil fuel and nuclear capacity may need to modify the intake structures used for cooling water use, and 5.6 GW of facilities with larger once-through cooling systems could face additional compliance costs and operational constraints, including costs to convert to closed-cycle cooling systems.

      - Changing Wastewater Discharge Requirements

To address changes in the toxicity of wastewater discharges from power plants, EPA proposed revisions to the Effluent Limitation Guidelines under the Clean Water Act, which would require many thermal generating stations to reduce or remove certain contaminants from their wastewater discharges beginning in 2017. EPA projects up to 16 GW in the NPCC region may be affected.

The proposed power plant ELGs present the largest uncertainty in the near term for those generators creating wastewater discharges of concern and operating air pollution control devices. These units mainly are coal-fired generators that use wet ash management systems equipped with wet scrubbers.

### Clean Air Act Requirements

Recent revisions to air quality standards limiting ambient concentrations of ozone and its precursors, fine particulate matter, and sulfur dioxide will require additional reductions from larger fossil-fuel-fired generators, while technology-based performance standards affect other generators.

      - Implementing Mercury and Air Toxics Standards

Approximately 7.9 GW of existing coal- or oil-fired capacity in the region are subject to EPA’s final Mercury and Air Toxics Standards (MATS), which require compliance by early 2015. However, most remaining coal-fired generators already are retrofitted with needed controls to comply with state air toxics regulations. Additionally, most oil-fired generators are subject to de minimis work practice standards only and are not required to add any emission control devices. This is due to a safe harbor included in MATS for oil-fired generators used as peaking units to help preserve system reliability that maintain a capacity factor below 8%. Less than 1 GW of affected capacity is expected to retire as a result of MATS.

      - Clean Air Act Regional Air Pollution Reduction

Up to 24 GW of existing fossil capacity in New England potentially is affected by future state, regional, and federal rules implementing air quality standards and performance standards required under the Clean Air Act for a range of air pollutants. Fossil generators may face additional emissions-reduction obligations once the Supreme Court, in its upcoming term, resolves litigation over EPA’s regional transported air pollution rule—the Cross-State Air Pollution Rule (CSAPR)—and if state and federal air regulators react to deteriorating air quality trends across southern New England, including exceedances and possible violations of the Ozone National Ambient Air Quality Standard (NAAQS).

With a resolution on CSAPR expected by the first half of 2014, EPA continues to develop the second phase of its strategy for regional transported air pollution, leaving some uncertainty about the timing and level of stringency of future regional air pollution rules for reducing precursors of ozone, fine particulates, and acid gas deposition. Many other Clean Air Act rules addressing air quality across the eastern United States include assumptions that CSAPR was already in effect. This has resulted in less pollution reduction from upwind generators that air regulators in affected downwind states had been counting on, as well as the potential need for downwind states, including those in New England, to pursue other pollution reduction strategies, such as additional restrictions on the region’s generators.

Such uncertainty makes it difficult to gauge the possible range of capital expenditures and annual compliance cost risk during the current planning period. This uncertainty already is having an impact on generators’ prices for future emissions allowances subject to the Clean Air Act Acid Rain Program and Clean Air Interstate Rule (CAIR). In recent years, nitrogen oxides (NOX) and SO2 allowance prices have fallen to levels that make compliance costs essentially negligible, although historically, allowance costs comprised a significant part of operating costs for coal- and oil-fired generators. The ISO and generators use such pricing to gauge compliance costs and inform analyses that account for the timing, magnitude, and location of unit retirements that could result from generators’ opting not to comply with environmental regulations.

      - Regional Emissions Trends

System carbon dioxide (CO2) emissions trends is one of several pollutant trends the ISO has analyzed in a series of air emissions reports prepared since 2001. The most recent, the 2011 ISO New England Electric Generator Air Emissions Report, provides detailed historical trends and emissions rate data using a methodology developed with input from stakeholders. In addition to responding to a request from the states for emissions data, the ISO sees value in tracking the emissions rate trends to help gauge the potential impact of future environmental regulations on the system.

The NOX and SO2 marginal emission rates decreased significantly between 2001 and 2011, declining by 91.7% and 98.9%, respectively (see Figure 6-8). Between 2001 and 2011, systemwide emissions of nitrogen oxides declined by 58%, and sulfur dioxide emissions decreased by 71%. The CO2 marginal emission rate decreased by 34.9% between 2001 and 2011, while declining 11% between 2001 and 2011.

Figure 6-8: Marginal and system average emission rates, 1999 to 2011 (lb/MWh).

Source: 2011 ISO New England System Air Emissions Report

The declines in NOX, SO2, and CO2 marginal emission rates on the system between 2001 and 2011 reflect declining capacity factors for coal- and oil-fired generators during a decade when natural-gas-fired combined-cycle and nuclear generators increased or maintained their share of capacity factor. The decrease from 2010 to 2011 appears attributable to a nearly 50% decline in both oil- and coal-fired generation in 2011, combined with a significant increase in natural gas generation, which has a substantially lower SO2 emission rate. The declines for coal- and oil-fired generators can be attributed to higher fuel prices; increasing environmental compliance obligations; and the challenges posed by maintaining older, less-flexible intermediate and base-load-designed generators primarily to provide peaking service.

      - Implications of Regional and Federal Greenhouse Gas Regulations

Fossil fuel-fired generators above 25 MW in New England are subject to the Regional Greenhouse Gas Initiative. RGGI states completed a comprehensive program review early in 2013 and issued program changes that RGGI states expect to adopt in time for the next compliance period, which begins in 2014. The RGGI model rule revisions lower the overall CO2 budget (annual cap) to 91 million tons (mtons) annually beginning in 2014, with 2.5% reductions each year through 2020.

To account for the existing privately held CO2 allowances left over from the first two compliance periods (2009 to 2011; 2012 to 2013), the RGGI program revisions will adjust each state’s share of the regional CO2 budget by 100% of the private bank of allowances. The adjustment for the private bank of CO2 allowances will be phased in from 2014 to 2020. The RGGI program revisions add an allowance reserve to manage allowance market volatility (Cost Containment Reserve) and impose an interim compliance deadline requiring affected generators to hold allowances covering at least 50% of their emissions during the first two years of each upcoming three-year compliance period. RGGI states expect that these, and other minor technical amendments, will promote a more robust and efficient allowance market.

In April 2012, EPA proposed a GHG New Source Performance Standard (NSPS) for new fossil fuel-fired combustion generators greater than 25 MW, requiring them to meet an output-based standard of 1,000 pounds of CO2/MWh generated (lbs CO2/MWhgross). Average CO2 emission rates for pulverized coal steam turbine generators typically are above 1,000 lb CO2/MWh, while many natural-gas-fired combined-cycle combustion turbine units in New England emit on average below 900 lb CO2/MWh. The EIA concluded that EPA’s proposed GHG NSPS standard effectively prohibits the construction of new coal-fired generators, either pulverized coal steam turbine or integrated gasification combined-cycle generators without carbon capture and storage.

EPA included new combined-cycle natural-gas-fired generators in the proposed GHG NSPS, but excluded new simple-cycle natural-gas-fired combustion turbines from the standard, citing their lower GHG emissions when used primarily for peaking duty. In a June 25, 2013, Presidential Memorandum, EPA was instructed to repropose the April 2012 GHG NSPS for new fossil-fuel-fired combustion generators by no later than September 20, 2013, and provide flexible carbon pollution standards for power plants. The same executive action also instructed EPA to propose GHG NSPS for exiting fossil-fuel-fired generators by June 1, 2014, and to finalize the rulemaking a year later. By June 30, 2016, states will be required to submit implementation plans detailing how and when existing generators would comply with the GHG NSPS.

### Cost of Compliance with Environmental Regulations

The Strategic Planning Initiative identified the retirement of generating units as a near-term issue because of costs to comply with environmental obligations. Most of the at-risk capacity faces compliance or retirement decisions later this decade and extending into the early part of the next decade, which is expected to affect positions in upcoming FCA auctions. The actual compliance timelines and costs will depend on the timing and substance of the final regulations and site-specific circumstances of the electric generating facilities. The ISO continues to identify such generators and study potential impacts.

## Update of Regional Nuclear Generation Licensing Renewals

New England has five nuclear generating generators: two in Waterford, Connecticut (Millstone), and one each in Seabrook, New Hampshire; Vernon, Vermont (Vermont Yankee); and Plymouth, Massachusetts (Pilgrim). All nuclear generators require an operating license, which is subject to renewals or extensions, as summarized in Table 6-1.

Table 6-1
New England Operating Nuclear Power Plants

| Unit Name | Operating (OP)/ Renewed License Date | License Expiration Date | Reactor Type | Electrical Output (MWe)(a) | Reactor Vendor/Type |
| --- | --- | --- | --- | --- | --- |
| Millstone 2 | September 26, 1975/ November 28, 2005 | July 31, 2035 | Pressurized water | 884 | Combustion Engineering (vendor) |
| Millstone 3 | January 31, 1986/ November 28,2005 | November 25, 2045 | Pressurized water | 1,227 | Westinghouse/ four-loop |
| Pilgrim | June 8, 1972/ May 29, 2012 | June 8, 2032 | Boiling water | 685 | General Electric/ type 3 |
| Seabrook | OP: March 15, 1990 | March 15, 2030 | Pressurized water | 1,295 | Westinghouse/ four-loop |
| Vermont Yankee(b) | March 21, 1972/ March 21, 2012 | March 21, 2032 | Boiling water | 510 | General Electric/ type 4 |

        - MWe stands for electrical megawatts. Nameplate electrical output was obtained from the Nuclear Regulatory Commission’s (NRC) website, http://www.nrc.gov/info-finder/reactor/.

        - Entergy Nuclear Power Marketing intends to retire Vermont Yankee during 2014 (see Section 7.5.6).

Operating license renewals for several reactors in the region cannot be finalized until the NRC revises two regulations (the Temporary Storage Rule and the Waste Confidence Decision Update) vacated by the DC Circuit Court of Appeals. The NRC expects to complete the replacement rulemaking for these matters no later than September 2014. In the meantime, licensing proceedings continue, and the ISO continues to monitor the proceedings for potential impacts.

## Update on Hydroelectric Generation Relicensing

Most of the oldest generators on the system are hydroelectric generators, which include 1,374 MW, or 4.3%, of installed capacity available and represent 6,692 GWh, or 5.7%, of all generation in 2012. In addition to providing capacity and electric energy, hydroelectric units traditionally have been well suited to provide regulation and reserves, but they may lose some of their ability to operate flexibly as part of their relicensing requirements.

A total of 1,945 MW of existing hydroelectric generators have licenses expiring between 2014 and 2022, including 1,715 MW of pumped storage capacity, and as of June 6, 2013, FERC has relicensed 110 MW of this capacity. Relicensing must take into consideration the requirements for adequately and equitably protecting and mitigating damage to fish and wildlife (and their habitats) and the recommendations of state and federal fish and wildlife agencies. The ISO is monitoring such proceedings to assess the impacts of operational restrictions, including the maintenance of minimum flows, on the ability of hydroelectric generators to offer regulation and reserve services.

Recently enacted legislation may encourage the development of hydroelectric generation. H.R. 267, the Hydropower Regulatory Efficiency Act of 2013 directs FERC to consider adopting a two-year licensing pathway for hydroelectric generation at existing nonpowered dams and closed-loop pumped storage projects. The act also increases FERC’s small-hydro license exemption from 5 MW to 10 MW, removes conduit projects under 5 MW from FERC jurisdiction while preserving public review, and increases the FERC conduit license exemption to 40 MW for all projects.

  - Wind Integration Activities

The integration of large amounts of variable resources poses new challenges to the electric power system. To address these challenges, the ISO has been conducting a number of studies, gathering operational data and observations, and participating in other projects.

### The New England Wind Integration Study

In 2010, the ISO completed the New England Wind Integration Study (NEWIS), a major study of the potential impacts of integrating large amounts of wind resources (up to 12,000 MW) into the New England system. This study analyzed various planning, operating, and market aspects of wind integration and the conceptual development of a transmission system that can integrate these resources.

NEWIS found that the successful integration of wind resources requires accurate, detailed wind power forecasts to provide system operators with situational awareness and aid in the efficient commitment and dispatch of other resources. The wind power forecast is expected to be fully implemented in late 2013. Other issues identified in NEWIS that will make efficient use of wind resources are in various stages of implementation, including modified operating procedures and data requirements and, over the longer-term, the dispatch rules for wind.

### Wind Development in Constrained Areas

Over the past few years, a number of wind generation projects have interconnected to the northern portions of the New England transmission system, and other wind projects have proposed to interconnect in these areas as well. The transmission system in these areas, remote from New England’s larger load centers, is sufficient for serving the relatively small amounts of area load, but it was not designed for integrating large amounts of resources.

As discussed with stakeholders, a confluence of FERC policy, technical stability, voltage, and modeling issues are challenging the wind interconnection process and system performance in the locally constrained areas that have wind resources. These challenges, as follows, have and can lead to some wind generation curtailment, or reduced operation, in these locations, especially during transmission system maintenance conditions:

- Contemporary wind generation is a relatively new technology that has rapidly evolved over the past few years and, to date, does not typically self-provide significant voltage or stability support to the system.

- Advances in wind technology’s physical equipment have outpaced the industry’s ability to develop accurate models for use in technical planning and operating studies. In some instances, the performance of the “as-built” equipment has differed significantly from the models provided during the system impact studies and preliminary operating studies.

- Wind generators are often located many miles from their point of interconnection to the transmission system. Many have connected to electrically weak parts of the New England power system, and as stated, most often without providing additional voltage support beyond the minimum requirements identified in their interconnection studies, pursuant to FERC
Order 661-A.

- The interconnection of wind generators is often based on meeting the minimal requirements of the respective interconnection standard without implementing elective transmission enhancements. Resource competition for transmission access in the energy market is based on offer price. The fact that wind resources often do not offer into the Day-Ahead Energy Market contributes to their risk of curtailment.

- While wind generation is subject to regional and local transmission constraints, most recent wind curtailments have been attributable to local constraints.

- The power system operating conditions are often much different from those studied during the interconnection process. The narrow scope of conditions examined in the interconnection study construct, pursuant to Order 2003, and FERC’s interconnection requirements for wind, pursuant to Order 661, coupled with wind generators not making upgrades beyond those minimally required to meet the respective interconnection standard, results in wind generation’s sensitivity to operating conditions, compared with conventional generation, and a greater risk of curtailment for these resources. This situation is significantly complicating system operations, and the curtailments are expected to continue in the absence of improvements at the wind facilities or significant transmission expansion.

The ISO will examine network planning issues associated with specific, electrically remote subsystems, including local congestion and voltage control and interaction. In addition to customer interconnection studies of Elective Transmission Upgrades that address marginal interconnections and transmission constraints above what currently is required, other interconnection studies may need to consider a wider range of system conditions because of the increasing amount of system operating complexity.

### Strategic Transmission Analyses—Wind Integration Study

The wind integration study of the Strategic Transmission Analyses has been examining the transmission system needs and conceptual transmission solutions associated with the potential development of wind, primarily in northern New England. The study is examining “broad” transmission system requirements to integrate wind resources for the 2020 study year. The study initially consisted primarily of steady-state transmission analysis of 4,000 MW of installed wind. Sensitivity analyses are studying various factors, such as systemwide seasonal load levels, the amount of wind anticipated being available seasonally, and varying amounts of power transfers with neighboring systems.

The initial study effort highlighted key transmission issues and a wide range of variables that affect results but did not qualify them. The initial conceptual 2 GW overlay postulated in the Governors’ Blueprint Study of 2009 to accommodate the increased wind power proved to have certain shortcomings. Additionally, the overlay did not address local issues created by the addition of wind resources. These hypothetical transmission system overlays will be refined further as part of the Strategic Transmission Analyses.

A revised study approach based on these results was adopted. To better understand transmission constraints, the study is identifying the constraints and determining sensitivities to key variables. Base conditions include no overlay. The ISO is examining the initial conceptual plans for integrating incremental amounts of wind resources, and subsequent efforts will examine the integration of up to 12,000 MW of wind. The study will assess steady-state and stability performance. Also, chronological GridView system simulations showing transmission flow patterns and durations may be used to adjust and refine transmission solutions and provide a cursory examination of production costs and cost-benefit analysis. These analyses may provide insights to develop Strategic Planning Initiative solutions focusing on market design and transmission planning.

  - Adoption of Large-Scale Photovoltaic Resources

New England has witnessed significant growth in the development of solar photovoltaic (PV) resources over the past few years, and continued growth of PV is anticipated. PV installations not counted as ISO resources reduce the summer peak load, and while the technology holds promise as a low-emitting source of electric energy, it poses many challenges.

Regional PV installations are predominantly small (i.e., less than 10 MW) and state-jurisdictionally interconnected to the distribution system. State policies largely influence the spatial distribution of PV, such that states with policies more supportive of PV (e.g., Massachusetts) are experiencing the most growth of the resource. Existing amounts of PV have not caused noticeable effects on system operation, but impacts are anticipated as penetrations grow. To examine and prepare for the potential effects of large-scale PV development in the region, the ISO has engaged in the initiatives outlined below.

### Operational Solar Forecasting

Given that PV will predominantly consist of relatively small projects that are not interconnected to the PTF system—and that the regional system operator can neither observe or dispatch—these projects are effectively a weather-dependent modifier of system load. As penetrations continue to grow and displace energy production from other resources, the weather influencing PV power production will introduce increased variability and uncertainty to the system and eventually will have an impact on system operations (e.g., result in the need for increased reserve, regulation, and ramping). As such, new forecasting techniques eventually will be required to account for PV generation appropriately. In early 2013, the ISO began working on a three-year, DOE-funded project to improve the state of the science of solar forecasting. The results of this project will assist the ISO in developing a centralized solar forecasting system that eventually will be required to support the efficient and reliable integration of increasing amounts of PV.

### PV and Long-Term Planning

PV is currently considered in long-term planning in one of two ways: (1) capacity supply obligations associated with PV projects that clear in the FCM can satisfy the Installed Capacity Requirement, or (2) energy production or load reductions from operating PV assets are embedded in the historic loads used to develop the ISO’s 10-year load forecast, which in turn are used in planning studies (the ICR calculation on the load side, transmission planning studies, and the like). In fall 2013, the ISO will initiate a stakeholder process to develop a long-term forecast of PV that accounts for the current and future growth of PV.

### Potential Reliability Impacts of PV

Because of the differences between the state-jurisdictional interconnection standards that apply to most PV resources and the FERC-jurisdictional standards that apply to larger, conventional generators, PV exhibits different electrical characteristics during system conditions typical during grid disturbances (e.g., low-voltage conditions during an unexpected outage of a large generator or transmission facility). The ISO is participating in a DOE project evaluating the potential reliability impacts of large amounts of distributed generation (DG), such as PV. The ISO looks forward to working with the New England states to ensure that the future interconnection standards for PV better coordinate with broader system reliability requirements.

The ISO continues to actively track the growth of PV in the region and evaluate its potential impacts on the efficient administration of wholesale electricity markets and the reliable operation and planning of the region’s electric power system. Because many other regions of North America also are witnessing the large-scale adoption of PV, the ISO also is engaging with other ISO/RTOs to share relevant methods and experience.

  - Economic Performance of the System and Related Studies

The 2011 Economic Study analyzed the effects of varying amounts of wind integration on several system metrics, including production cost, load-serving entity (LSE) energy expenses, environmental emissions, and others. The study investigated the economic impact of congestion associated with different wind-generation scenarios and identified existing transmission limitations. The results of the study showed the need for transmission development to interconnect new wind resources and bring the electric energy to load centers in New England. Further follow-up studies, completed in 2012, used the GridView program to model the transmission system in more detail and better evaluate the effects of integrating wind generation.

The results of the 2011 Economic Study and the follow-up analysis using GridView were generally in agreement. Highlights of the results are as follows:

- Transmission system limitations would not bottle in significant amounts of wind energy if up to 600 MW of wind resources were added in the Rumford area of Maine. However, the Wyman/Bigelow area, also in Maine, would become export constrained with 600 MW of wind development.

- The Surowiec South interface likely could limit wind production in north–central Maine, but the interaction of wind generation with the existing resources requires further investigation.

- Northern New Hampshire would be able to accommodate approximately 150 MW of wind without the need for major transmission upgrades to alleviate significant levels of congestion.

- SEMA/RI would be able to accommodate much more wind energy than the wind resources currently in the interconnection queue likely would produce.

Additionally, the results show decreased systemwide emissions and natural gas consumption because the wind resources displace generating units burning coal, oil, and mostly natural gas.

The 2012 Economic Study showed the most suitable locations for developing various types of resources without causing congestion, including baseload, wind, photovoltaic solar, and energy efficiency, among other resource types. The study also showed the least suitable locations for unit retirements. The study compared a “business-as-usual” scenario of currently obligated and envisioned FCM resource additions with the effects of increases and decreases in several resource types. These types include active demand resources; energy efficiency; a mix of renewable resources based on the ISO Generator Interconnection Queue; “behind-the-meter,” distributed generators; and efficient natural gas, combined-cycle units. In addition to the typical metrics the ISO has provided in past economic studies (e.g., production costs, LSE energy expenses, and congestion), the simulation results also showed where the system may have potential transmission bottlenecks for changes in resources in various locations and the effects of relieving these transmission constraints.

Figure 6-9 shows the locations for developing or retiring various amounts of baseload resources throughout New England that would result in the greatest amounts of congestion, as evidenced by changes in either higher or lower production costs compared with an unconstrained case. Because of lower capacity factors, other types of resource development or retirements had less effect on the total dollar quantity of congestion through New England, but some scenarios did show high amounts of congestion for a limited number of hours. Developing these other types of resources is preferred in locations where the development of baseload resources did not cause congestion. Similarly, the study suggested that, in some areas, the permanent loss of resources through retirements is problematic.

Figure 6-9: Effectiveness of load and resource additions or removals based on production cost ($).

Note: Based on interface limits using single-value transmission limits in transportation models. The year analyzed was 2021.

Source: ISO New England 2012 Economic Study: Incremental/Decremental Phase, PAC presentation (October 12, 2012), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2012/oct182012/eco_study_first_phase.pdf.

Specific scenarios of resource mixes also were analyzed as part of the 2012 Economic Study. The addition of resources with low or no fuel costs, such as combinations of efficient natural-gas-fired generators, wind, photovoltaic, energy efficiency, and demand response, showed reductions in the systemwide production cost and total LSE energy expenses. The study showed the estimated supportable dollars/kilowatt-year ($/kW-year) capital costs plus technology costs for each type of resource based on its energy revenues. The revenues to the postulated resources from the electric energy market, however, were insufficient to support the annual carrying charges of these resources. This suggests that other sources of revenue would be required to support the resource additions economically. Possible sources of revenues could come from other wholesale electricity markets, such as the FCM and FRM, as well as from other incentives, such as production tax credits.

The ISO received an economic study request in April 2013 to examine increased imports from Hydro-Québec over the Phase II tie. The scope of the 2013 Economic Study, based on discussion with the PAC, will consider the effect of increasing the acceptable loss-of-source limits in New England. The analysis will first consider a model of the New England with simplified representations of neighboring systems. Depending on the results, additional analyses may be conducted with more detailed models of the NYISO and PJM systems.

  - Strategic Transmission Analyses—Generator Retirement Analysis

Another aspect of the Strategic Transmission Analyses has assessed transmission issues associated with potential generator retirements. The initial phase of the generator retirement study was completed in 2012, with additional sensitivity analyses continuing through 2013.

The initial system conditions of the generator retirement study were based on RSP12 transmission development that included all major projects, such as NEEWS, and resource development assumptions consistent with FCA #6. Approximately 8,300 MW of coal- and oil-fired generating units, which would be over 40 years old by 2020, were then assumed to retire. Table 6-2 lists the vintage of New England’s electric generating fleet by fuel type and in-service dates. The repowering of these existing generators with natural gas would not require a major expansion of new system resources or improvements to the transmission system, although more natural gas transportation would be required. Therefore, the Strategic Transmission Analysis generation retirement study focused on three main scenarios: (1) the loss of all potential retirement resources, (2) the addition of replacement resources sufficient to meet system reliability needs in congestion-neutral locations, and (3) the addition of some replacement or repowered resources in key congested locations on the system. The initial analysis was conducted using study assumptions, particularly for generation outages and facility contingencies, similar to those used in FCM delist studies. Additional analyses are assessing the sensitivity of the results to the study assumptions more similar to those used in regional transmission planning needs assessments.

Table 6-2
Vintage of New England Generators by Fuel Type and In-Service Dates(a)

| Fuel Type | In-Service Date |  |  |  |  |  |  |  |  |  |  |  | Total |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Before 1950 |  | 1951–1970 |  | 1971–1990 |  | 1991–2000 |  | 2001–2010 |  | 2011–Mar 1, 2013 |  |  |  |
|  | # of Assets | MW | # of Assets | MW | # of Assets | MW | # of Assets | MW | # of Assets | MW | # of Assets | MW | MW | % |
| Gas | 5 | 53 | 1 | 94 | 12 | 1,570 | 21 | 3,507 | 36 | 7,753 | 1 | 620 | 13,598 | 42.8 |
| Oil | 3 | 9 | 58 | 2,222 | 20 | 4,005 | 8 | 140 | 21 | 388 | 7 | 317 | 7,083 | 22.3 |
| Nuclear | 0 | 0 | 0 | 0 | 5 | 4,624 | 0 | 0 | 0 | 0 | 0 | 0 | 4,624 | 14.6 |
| Coal | 0 | 0 | 12 | 2,289 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2,289 | 7.2 |
| Pumped storage | 1 | 29 | 0 | 0 | 6 | 1,691 | 0 | 0 | 0 | 0 | 0 | 0 | 1,720 | 5.4 |
| Hydro | 73 | 799 | 8 | 324 | 156 | 205 | 33 | 6 | 23 | 40 | 3 | 0 | 1,374 | 4.3 |
| Other renewables | 0 | 0 | 1 | 43 | 31 | 602 | 23 | 186 | 45 | 55 | 189 | 89 | 974 | 3.1 |
| Wind | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 22 | 21 | 35 | 75 | 97 | 0.3 |
| Totals | 82 | 891 | 80 | 4,973 | 232 | 12,697 | 86 | 3,839 | 147 | 8,258 | 235 | 1,101 | 31,759 | 100.0 |
| % of total MW |  | 2.8% |  | 15.6% |  | 40.0% |  | 12.1% |  | 26.0% |  | 3.5% |  |  |

(a) 	Generator assets in this table may be power plants or individual units that make up power plants. Values do not include HQICC, demand resources, or external imports and exports. Oil capacity includes diesel, kerosene, jet fuel, and residual oil-fired generators. Data are based on the seasonal claimed capabilities of the assets as of March 1, 2013, and projected capabilities of assets expected to be in service by summer 2013. Source: New England 2013 Regional System Plan Load and Capacity Resource Overview, PAC presentation (April 24, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/apr242013/a3_new_england_rsp13_load_and_capacity_resource_overview.pdf.

Figure 6-10 shows the locations of the capacity resources assumed to retire by 2020. The loss of approximately 8,300 MW primarily would cause resource shortages and, to a lesser degree, transmission-reliability constraints in New England that would require over 6,000 MW of resources to be retained, repowered, or replaced to satisfy the region’s Installed Capacity Requirement (see Section 4.1.1). The addition of new capacity electrically located at the region’s energy trading hub (the Hub) (see Section 2.3), or the addition of new capacity deliverable to the Hub, would allow the region to serve most of its load reliably. The Southeast Massachusetts and Connecticut load zones, however, may need some resources to address zonal or more local transmission reliability concerns that would vary depending on the timing and location of retirement requests.

Figure 6-10: At-risk capacity resources in New England (MW) assumed to retire by 2020.

Note: At-risk capacity is derived from earlier seasonal claimed capability values for summer from previous CELT reports and not the 2013 CELT Report as shown in Table 6-1. Oil-fired capacity includes only residual oil-fired generators.

  - Market Resource Alternative Analysis

Regional System Plans provide considerable information on the desired amounts, types, locations, and performance requirements of resources for meeting system needs. In general, developing resources in load pockets is beneficial, especially the load pockets with exposure to potential generator retirements. However, assessing the suitability of resources during the planning process can be challenging because of the wide variability of the characteristics, locations, and possible combinations of resources, such as central station and distributed generation resources, end-use efficiency, and storage technologies.

In response to PAC requests for more details about resources that could meet system needs, the ISO performed a pilot study for the Vermont/New Hampshire (VT/NH) area, which demonstrated how resources of various sizes and at various locations could meet thermal system performance requirements for 2020. The analysis identified the critical load levels and hypothetical supply-side units, which could eliminate thermal overloads for normal and contingency conditions.

The ISO applied the lessons learned from the VT/NH study to a study of the Greater Hartford and Central Connecticut area. Supply-side MRAs located at the proper location were shown to help mitigate thermal and voltage needs, but a comprehensive solution would be difficult to implement. Approximately 950 MW of total generation would need to be optimally located, and associated transmission system upgrades would be needed, to resolve all the identified thermal system needs. Alternatively, 1,350 MW of demand resources, or equivalently, 47% of the area’s projected 90/10 peak load, would eliminate thermal overloads in the area.

The ISO will be reassessing how to best carry out MRA analysis for future studies. In particular, the ISO will evaluate the current set of tools used to perform the analysis to identify opportunities for additional automation and to develop more meaningful ways to share the results of these studies with stakeholders. This work will need to be scheduled around the ISO’s efforts on zonal modeling in the FCM, with the aim to reinitiate MRA analysis in 2014 using an updated approach.

  - Summary

The ISO is conducting a number of studies to address the risks identified through the Strategic Planning Initiative, many of which are interrelated. Studies are quantifying these risks and informing stakeholders of other strategic planning issues facing the region. The region has implemented several measures and is developing others to improve the reliable and economic performance of the power system.

The operational challenges experienced this past winter highlighted the unsustainable nature of the reliability risks posed by the region’s steadily increasing dependence on natural gas for power generation. Amplifying these risks are the diminished operating performance of infrequently operated oil and coal generators, potential fuel availability issues, and other physical challenges. Many improvements to system operations and the region’s wholesale electricity markets, actively under development, will address these issues. The region has developed short-term mitigation measures to bolster 2013/2014 winter reliability. Modifications to the day-ahead and real-time markets, as well as efforts to procure additional reserves, will help reach medium-term solutions, while changes to the Forward Capacity Market will achieve the longer-term solutions. Furthermore, recent and planned improvements to the regional and interregional natural gas infrastructure have been analyzed and will expand natural gas sources to meet New England’s increasing demand for natural gas to produce electric power.

Existing and pending state, regional, and federal environmental regulations will require many generators to consider, between 2015 and 2022, adding air pollution control devices; modifying or reducing water use and wastewater discharges; and in some cases, limiting operations. Environmental controls necessary for compliance with these regulations will likely add capital investment at some generators, increase operating compliance costs at many generators, and involve additional operational restrictions at certain generators. Most of the at-risk capacity faces compliance or retirement decisions later this decade, which is expected to affect positions in upcoming Forward Capacity Auctions. The ISO continues to identify such generators and study potential impacts.

The ISO continues to analyze wind integration issues and has made progress implementing some of the recommendations identified in NEWIS. The wind integration component of the Strategic Transmission Analysis is developing conceptual additions to the transmission system that would enable onshore wind resources to reliably serve load. The 2011 Economic Study quantified the amounts of congestion associated with different wind penetration scenarios. The results of the study show the effects of integrating varying amounts of wind on production cost, load-serving energy expense, and congestion, as well as the need for transmission development to enable wind resources to serve the region’s load centers. The ISO will continue to engage stakeholders on the issues challenging the wind interconnection process and the performance of the system with wind resources in locally constrained areas.

While existing amounts of PV have yet to have a significant impact on system operations, the ISO is working on several initiatives aimed at facilitating its reliable and efficient integration. The regional goal is to have approximately 2,000 MW of distributed generation by 2020, most of which is expected to be PV. These efforts include the development of an operational solar forecast, working with stakeholders to develop a method to consider future expected amounts of PV in long-term planning, and evaluating the potential reliability risks posed by growing penetrations of PV.

The results of the 2012 Economic Study highlighted the most suitable locations for developing different resources without causing congestion; the effects of using efficient, low-emitting resources, increased amounts of renewable energy, and energy efficiency; and the least suitable locations for unit retirements. The ISO has developed a scope of work for the 2013 Economic Study, which will evaluate the effect of increasing the acceptable loss-of-source limits in New England.

The Strategic Transmission Analysis, which is assessing transmission issues associated with potential generator retirements, shows that the loss of these resources would cause resource shortages and transmission-reliability constraints requiring the retention, repowering, or replacement of much of the resource capacity. The study further showed that, in the event of these retirements, adding new capacity in electrical proximity to the Hub could reliably serve most of the region’s load. The Strategic Transmission Analyses may provide insights to develop Strategic Planning Initiative solutions focusing on market design and transmission planning.

The ISO found that the use of the results of the market resource alternative studies is significantly limited, in part because of the large number and codependency of the resources needed and the likely need for additional transmission upgrades for these resources to qualify in the Forward Capacity Market. The ISO is reassessing how to best analyze MRAs using an updated approach.

# Planning Coordination, Studies, and Initiatives

ISO planning activities are coordinated with governmental representatives of the six New England states, with neighboring systems, across the Eastern Interconnection, and nationally. Federal, regional, and state initiatives and policies have a significant impact on the wholesale electricity markets and transmission developed to meet system needs, specifically influencing the timing, type, and location of resources and transmission infrastructure.

  - Federal Initiatives

The Energy Policy Act of 2005 (EPAct) requires the US Department of Energy and the Federal Energy Regulatory Commission to implement several reliability provisions. The requirements include ensuring the reliability of the transmission infrastructure and implementing enforceable reliability standards administered by the North American Electric Reliability Corporation.

### FERC Order 1000

FERC Order 1000, issued on July 21, 2011, sets forth additional requirements that build on Order 890, including regional and interregional planning procedures and cost allocation and the incorporation of “public policy considerations” into the planning process. The ISO filed compliance filings with FERC on October 25, 2012, and July 10, 2013. The October 2012 filing describes the means to identify and consider transmission needs driven by state or federal public policies. The July 2013 filing describes improvements to both the interregional planning process and interregional cost allocation.

On May 17, 2013, FERC issued a compliance order on the ISO’s and certain New England transmission owners’ proposed regional compliance with Order 1000. On June 17, 2013, the ISO submitted a request for rehearing of several aspects of the May 17, 2013, regional compliance order addressing planning for public policy and rights of participating transmission owners.  On November 15, 2013, the ISO will file additional tariff changes to implement its compliance with this order. The ISO has worked with stakeholders to comply with the order and will continue to do so by addressing final implementation and compliance issues.

### US Department of Energy Congestion Studies

DOE is required to conduct a study every three years on electricity transmission congestion and constraints within the Eastern and Western Interconnections. Using the results of these studies and comments provided by the states and other stakeholders, the US Secretary of Energy may then designate any geographic area experiencing constraints or congestion on electricity transmission capacity as a National Interest Electric Transmission Corridor (National Corridor). A designation as a National Corridor merits federal concern and may enable FERC to exercise “backstop” authority to site transmission facilities. This would occur only under limited circumstances, such as when a state agency has failed to act on a siting application within a National Corridor for more than one year.

  - Interregional Coordination and Initiatives

The ISO is participating in numerous national and interregional planning activities with DOE, the Northeast Power Coordinating Council, and other balancing authority areas in the United States and Canada. The aim of these projects, as described in this section, is to ensure the coordination of planning efforts for enhancing the widespread reliability of the interregional electric power system. The ISO also conducts studies with other entities within and outside the region and with neighboring areas to, for example, improve production cost models and share simulation results, investigate the challenges to and possibilities for integrating renewable resources, and address other common issues affecting the planning of the overall system.

The ISO must identify and resolve interregional planning issues, as identified in needs assessments and solutions studies, consistent with the mandatory reliability requirements of the North American Electric Reliability Corporation. Interconnections with neighboring systems provide opportunities for the exchange of capacity and energy, and tie lines facilitate access to a diversity of resources and may support compliance with environmental obligations and more economic interregional operation of the system. Quantifying these benefits, identifying potential needs for additional interconnections, and coordinating the planning of the interconnected system are becoming increasingly important.

### Eastern Interconnection Planning Collaborative Studies of the Eastern Interconnection

The electric power planning authorities of the Eastern Interconnection, including ISO New England, formed the Eastern Interconnection Planning Collaborative (EIPC) to address their portion of North American planning issues and manage the process for combining the existing regional transmission expansion plans and analyzing the interconnection-wide system. EIPC has conducted studies in response to a DOE Funding Opportunity Announcement (FOA) awarded in 2010, of which ISO New England has served as a principal investigator. The EIPC study process is based on “bottom-up” planning, and EIPC is committed to interactive dialogue and open, transparent proceedings with input from a broad base of interested stakeholders.

The 2011 EIPC Phase I report describes the regional plan integration and the macroeconomic analysis of eight energy futures and 72 related sensitivities representing various potential public policy views. The results of the Phase I work were used to develop resource-expansion options for the three final scenarios selected for more detailed analysis during Phase II work. Stakeholders developed scenarios to reflect a variety of assumptions regarding the impacts of different public policies on the electricity sector and the amount of future load growth.

The Phase II work, which began in 2011, included a series of power flow and contingency analyses for 2030 focusing on power system facilities above 200 kV and resulting in detailed transmission buildouts for each scenario based on single-contingency overloads and selected NERC reliability criteria. The production costs for each scenario were analyzed using the transmission buildouts developed and the generation resources determined in Phase I. Following the initial simulations, stakeholders selected six additional sensitivity cases to investigate wind curtailments under various conditions and the effects of increased load and gas prices. The EIPC and its consultants also developed estimates of high-level, overnight capital costs and operations and maintenance costs projected for 2030 for the resource and transmission facilities identified in each scenario.

EIPC is working with DOE to apply the remaining funds of the grant to support an analysis of the electric power system interface with the natural gas sector. Phase III of this effort, expected to be completed in 2015, will involve New England, New York, PJM, TVA (including the Entergy System), MISO, and Ontario (see Section 6.2.5).

In 2013, EIPC continued to analyze the Eastern Interconnection transmission system. Plans call for combining each area’s plan into a comprehensive model of the Eastern Interconnection and developing a process for gathering stakeholder feedback on proposed studies and draft results.

### Electric Reliability Organization Overview

As the RTO for New England, the ISO is responsible for ensuring that its operations and planning comply with applicable NERC standards. In addition, the ISO has participated in regional and interregional studies required for compliance.

Through its committee structure, NERC, which is the FERC-designated Electric Reliability Organization (ERO), regularly publishes reports that assess the reliability of the North American electric power system. Annual long-term reliability assessments evaluate the future adequacy of the power system in the United States and Canada for a 10-year period. The reports project electricity supply and demand, evaluate resource and transmission system adequacy, and discuss key issues and trends that could affect reliability. Summer and winter assessments evaluate the adequacy of electricity supplies in the United States and Canada for the upcoming summer and winter peak-demand periods. Special regional, interregional, or interconnection-wide assessments are conducted as needed.

### IRC Activities

Created in April 2003, the ISO/RTO Council (IRC) is an industry group consisting of the 10 functioning ISOs and RTOs in North America. These ISOs and RTOs serve two-thirds of the electricity customers in the United States and more than 50% of Canada‘s population. The IRC works collaboratively to develop effective processes, tools, and standard methods for improving competitive electricity markets across much of North America. In fulfilling this mission, the IRC balances reliability considerations with market practices that provide competitive and reliable service to electricity users. As a result, each ISO/RTO manages efficient, robust markets that provide competitive and reliable electricity service, consistent with its individual market and reliability criteria.

While the IRC members have different authorities, they have many planning responsibilities in common because of their similar missions. As part of the ISO/RTO authorization to operate, each ISO/RTO independently and fairly administers an open, transparent planning process among its participants that provides for coordination, information exchange, comparability, dispute resolution, regional coordination, economic planning studies, and cost allocation. This ensures a level playing field for infrastructure development driven efficiently by competition and meeting all reliability requirements.

The IRC has coordinated filings with FERC on many issues, such as those concerning the FERC Notice of Proposed Rulemaking (NOPR) on Small Generator Interconnection Agreements and Procedures and other technical issues. In addition, the IRC submitted joint comments in April to the National Institute of Standards and Technology (NIST) Request for Information (RFI) on the Obama administration’s executive order on cybersecurity. The IRC noted that mandatory and enforceable cybersecurity standards already are in effect for the bulk electric power system and highlighted the initiatives taken by the electric industry to secure the grid against cyberattacks. The IRC also is acting to address the challenges of integrating demand resources and wind generation and, through its representatives, is leveraging the efforts of NERC‘s Integrating Variable Generation Task Force. The IRC has representation on other NERC task forces and committees.

### Northeast Power Coordinating Council Studies and Activities

The Northeast Power Coordinating Council is one of eight regional entities located throughout the United States, Canada, and portions of Mexico responsible for enhancing and promoting the reliable and efficient operation of the interconnected bulk power system. NPCC has been delegated the authority by NERC to create regional standards to enhance the reliability of the international, interconnected bulk power system in northeastern North America. As a member of NPCC, the ISO fully participates in NPCC-coordinated interregional studies with its neighboring areas.

NPCC conducts seasonal reliability assessments, an annual long-range resource adequacy evaluation, and a periodic assessment of the reliability of the planned NPCC bulk power system. All studies are well coordinated across neighboring area boundaries and include the development of common databases that can serve as the basis for internal studies by the ISO. Assessments of ISO New England demonstrate full compliance with NERC and NPCC requirements for meeting resource adequacy and transmission planning criteria and standards.

### Northeastern ISO/RTO Planning Coordination Protocol

ISO New England, NYISO, and PJM follow a planning protocol to enhance the coordination of planning activities and address planning seams issues among the interregional balancing authority areas. Hydro-Québec TransÉnergie, the Independent Electric System Operator of Ontario, the New Brunswick System Operator (NBSO), and New Brunswick Power participate on a limited basis to share data and information. The key elements of the protocol are to establish procedures that accomplish the following tasks:

- Exchange data and information to ensure the proper coordination of databases and planning models for both individual and joint planning activities conducted by all parties

- Coordinate interconnection requests likely to have cross-border impacts

- Analyze firm transmission service requests likely to have cross-border impacts

- Develop the Northeast Coordinated System Plan

- Allocate the costs associated with projects having cross-border impacts consistent with each party’s tariff and applicable federal or provincial regulatory policy

To implement the protocol, the group formed the Joint ISO/RTO Planning Committee (JIPC) and the Inter-Area Planning Stakeholder Advisory Committee (IPSAC) open stakeholder group. Through the open stakeholder process, the JIPC has addressed several interregional, balancing-authority-area issues. The 2011 Northeast Coordinated System Plan (NCSP11) summarized several key planning issues affecting the broad region, and additional studies have been presented to the IPSAC:

- Coordination and sharing of transmission study databases, critical contingency lists, and short-circuit equivalents

- Identification of improved planning techniques, modeling, and software tools

- Coordination of interconnection queue studies and transmission improvements, such as the addition of back-to-back HVDC converters at Hudson substation in series with the Hudson Farragut 345 kV ties

- Completion of coordinated production cost models and completion of market-efficiency studies

- Evaluations of environmental regulations and their potential effects on the power systems

- Identification of issues and solutions facilitating the integration of intermittent resources

- Assessment of fuel diversity issues, including coordinated studies of the natural gas system

- Determination of the effect of demand-side resources on interregional planning

JIPC activities also have coordinated compliance filings for FERC Order 1000, particularly on interregional planning and cost-allocation issues as required by FERC Order 1000.

  - Regional Initiatives

State, regional, and federal initiatives and policies have a significant impact on the wholesale electricity markets and transmission developed to meet system needs, specifically influencing the timing, type, and location of resources and transmission infrastructure. While not an all-inclusive list, this section discusses several policies, laws, and activities affecting the regional power system.

### Coordination among the New England States

The New England states have worked together continually to identify, discuss, and address energy issues of common interest. Even with this history of cooperation, each state has a unique set of energy policy objectives and goals.

Each of the New England states is actively involved in the ISO’s regional planning process, individually and through the New England States Committee on Electricity (NESCOE). NESCOE serves as a forum for representatives from the states to participate in the ISO's decision-making processes, including those dealing with resource adequacy and system planning and expansion issues. One of NESCOE’s priorities is its work on competitive coordinated procurement of regional renewable power in furtherance of a 2012 resolution by the New England governors. NESCOE established a procurement team and a legal team to explore commercial and legal issues identified in the project’s work plan. The procurement team is working to develop a request for proposals and related solicitation documents, including a project-evaluation tool and illustrative power-purchase agreement. In November 2012, NESCOE posted its final work plan to implement coordinated, competitive procurement of renewable power in New England. The work plan is designed to identify the lowest-, “all-in-” cost resources available to meet state renewable energy objectives. NESCOE announced in April 2013 that, in the late summer or early fall 2013, the six New England states plan to issue a solicitation for proposals for clean power projects.

NESCOE has been active in the study of natural gas supply and electric power generation. In December 2012, NESCOE released Phase I of its study of natural gas, which reviewed 35 existing natural gas studies to assess the adequacy of natural gas infrastructure in the region. The Phase I report states that the growth of the regional demand for natural gas will increasingly stress New England’s natural gas infrastructure, leading to infrastructure inadequacy at key locations.

In April 2013, NESCOE issued Phase II of its gas study. The Phase II report states that the natural gas market in New England experienced ever-increasing levels of supply constraint over the past several winters, evidenced by frequent market price spikes. The report also states that in the absence of incremental natural gas infrastructure, regional load growth from the electric power sector will increase the likelihood of constraints. Among potential solutions, the report identifies incremental natural gas pipeline capacity, incremental LNG imports, and electric transmission that enable imports from areas proximate to New England.

In September 2013, NESCOE completed the third and final phase of its study to evaluate the sufficiency of gas infrastructure to support electric power generation in New England from 2014 to 2029. In this phase, NESCOE analyzed three natural gas scenarios (low demand, base case, and high demand). Among other things, the report notes that under the base case and high-demand scenarios, short-term and long-term solutions are needed to relieve natural gas constraints in the region. Potential short-term solutions include the immediate deployment of dual-fuel generation, demand-response measures, and the seasonal purchase of LNG cargos. A recommended long-term solution is the construction of a cross-regional natural gas pipeline.

In addition to NESCOE, the ISO works collaboratively with the New England Conference of Public Utilities Commissioners (NECPUC), the New England governors, and the state consumer advocates. The ISO provides monthly updates to the states on regional stakeholder discussions regarding the regional planning process and the wholesale electricity markets.

The New England states are active participants in the interconnection-wide planning for the Eastern Interconnection. The Eastern Interconnection States Planning Council (EISPC) is an organization of 39 states and eight Canadian provinces in the Eastern Interconnection electric transmission grid, including representatives from New England, responsible for participating with the planning authorities that are part of the EIPC. Funded by a DOE Funding Opportunity Announcement, the EISPC comprises public utilities commissions, governors' offices, energy offices, and other key government representatives and provides input to the EIPC study effort. As a planning authority, the ISO has provided technical support to the EISPC. ISO New England, NESCOE, and NEPOOL work closely to coordinate New England’s participation in all EISPC and EIPC activities.

### Conference of Northeastern Governors and Eastern Canadian Premiers

On May 17, 2012, the Conference of Northeastern Governors and Eastern Canadian Premiers’ (NEG/ECP) met in Montpelier, Vermont, to continue prior discussions and efforts of the New England governors, eastern Canadian premiers, and NESCOE. At this meeting, the group developed a set of issues and policy recommendations for consideration by the 36th Conference of the NEG/ECP in August 2012, including the New England governors’ resolution on competitive, coordinated procurement of regional renewable power. In September 2013, Québec hosted the 37th Conference of the NEG/ECP, during which the governors and premiers adopted a joint resolution affirming their commitment to increasing the opportunities for cost-effective clean energy trade between the two regions.

### Consumer Liaison Group

ISO New England and regional electricity market stakeholders created the Consumer Liaison Group (CLG) in 2009 to facilitate the consideration of consumer interests in determining the needs and solutions for the region’s power system. With representatives from state offices of consumer advocates and attorneys general, large industrial and commercial consumers, chambers of commerce, and others, the CLG meets quarterly to address various consumer issues. With the input of CLG members, a Coordinating Committee guides CLG meeting agendas and ideas for special guest speakers and discussion topics.

In 2012, the CLG’s discussions focused on New England’s dependence on natural gas, regional transmission investment, and opportunities for consumers to achieve electricity costs savings. In June 2013, the CLG Coordinating Committee and the ISO issued the 2012 Report of the Consumer Liaison Group, which summarizes the activities of the CLG in 2012.

  - ISO Initiatives

In addition to the Strategic Planning issues discussed in Section 6, the ISO is involved in a number of other initiatives aimed at improving the wholesale electricity markets, developing and integrating new technologies, and enhancing operating and planning procedures to enhance system reliability.

### Improving the Wholesale Electric Markets

ISO annually assesses the wholesale electric markets to better understand problems to be addressed and to determine whether changes to the market design are warranted. The ISO uses this information and the results of RSP studies to develop market design changes through an open stakeholder process. Several market design projects address several of the challenges identified in the Strategic Planning Initiative (as addressed in Section 6). For example, some projects will improve the coordination between the electric power and natural gas sectors and others will provide incentives that improve the performance of resources through modifications to the FCM. One of these projects will allow demand response to set market-clearing prices (i.e., also known as dynamic pricing) that more closely reflect the costs of activating these resources in the Day-Ahead and Real-time Energy Markets.

### Updates on Developing and Integrating Smart Grid and Other New Technologies

The ISO strives to keep up to date with new technologies that can have an impact on the region’s electric power grid. As policymakers set targets and allocate public funds for developing smart grid initiatives and renewable generation, the ISO analyzes the effects of these technologies on system operations and reliability. Several of the technology developments affecting the planning of the New England region include the challenges of integrating smart grid equipment, improving operator awareness and system modeling through applications of phasor measurement units (PMUs), and utilizing high-voltage direct-current (HVDC) facilities and flexible alternating-current transmission system (FACTS) devices.

      - Participation in Developing Industry Standards and Other Professional Activities

Several municipal electric utilities and distribution system owners have installed advanced metering infrastructure (AMI) and technology. These technologies facilitate the installation of distributed resources and price-responsive demand. The ISO currently participates in several research projects sponsored by DOE, the Power System Engineering Research Center (PSERC), and the Electric Power Research Institute (EPRI) that support the successful integration of advanced technologies.

EIA notes that many commercial and industrial customers appear to have lower penetration rates for advanced metering infrastructure because they likely already have installed more sophisticated analog meters enabling participation in time-of-use or interruptible tariffs. EIA reports that the AMI penetration rate in 2011 was 23% nationwide. Maine has the highest penetration rate at 84%, but the rest of the region has penetration rates of 0 to 20%.

The ISO also is actively participating in the development of the national smart grid interoperability standards, led by the National Institute of Standards and Technology, to establish protocols that provide common interfaces for smart grid equipment. Additionally, as a part of an ISO/RTO Council project with other ISOs/RTOs, ISO New England is providing technical and other support for the development of demand-response-related standards by NIST and the North American Energy Standards Board (NAESB). ISO staff and stakeholders remain professionally active in the Institute of Electrical and Electronics Engineers (IEEE), a society that serves to educate its members and the public at large, as well as develop standards for the interconnection and operation of smart grid technologies.

      - Synchrophasor Infrastructure and Data Utilization Project

Synchrophasors are power system measurements created in devices known as phasor measurement units. The units use global positioning satellite technology to monitor the performance of the region’s electric power grid accurately and provide specific data for use in operating the grid and enhancing grid design. An application called the Region of Stability Existence (ROSE), which computes operational stability boundaries and margins and compares these limits to actual operating conditions, uses the PMU data. The equipment installations in the region include PMUs at 40 substations,  one phasor data concentrator (PDC) at the ISO and  seven PDCs at participating transmission owners, and communication infrastructure to support streaming PMU data from substations to transmission owners and then to the ISO.

      - HVDC and FACTS

The application of power electronics to the power system through high-voltage direct-current and flexible alternating-current transmission system technologies can enhance the performance of the transmission system. HVDC and FACTS use a combination of solid-state switches and computerized automation that enables nearly instantaneous customized control of real or reactive power flows—far faster than traditional electromechanical switches. HVDC has been applied to the New England system interconnections with Québec and to New York under the Long Island Sound. FACTS applications have provided a much-needed boost to the transmission system and offer some other technical advantages, especially when dynamic voltage support is needed. Figure 7-1 shows the existing and planned FACTS devices in New England.

Figure 7-1: Existing and planned FACTS devices in New England.

Note: The acronyms and abbreviations in the key refer to the following terms: HVDC = high voltage, direct current. VSC = voltage source converter. SVC = static voltage ampere reactive (V) compensator. STATCOM = static synchronous compensator. DVAR = dynamic voltage ampere reactive.

Both HVDC and FACTS are regularly considered as part of transmission planning studies when their applications economically meet system or generator interconnection needs. For example, the HVDC controls for Highgate (see Section 5.4) are being replaced. Future merchant and elective HVDC projects are under consideration as part of additional interconnections with Québec, New Brunswick, and New York, and as part of interconnections within New England between areas with a large potential for wind power development and regional load centers. Changes to the Chester static VAR compensator (SVC) control settings were completed in 2010, and dynamic voltage ampere reactive systems (DVARs) have been applied to stabilize wind farms, such as Kibby (see Section 5.3.3).

### Draft Transmission Planning Process Guide and Draft Transmission Planning Technical Guide

The ISO developed draft guides that document both the implementation of the regional planning process described in Attachment K of the OATT and the associated technical assumptions. The ISO discussed these draft guides with the PAC and posted them for stakeholder review and comment. In general, stakeholder comments reflected either corrections to the documentation of existing practices or requests for additional statistical support for assumptions and consideration of changes to existing practices. After the documentation of the existing practices is finalized, the requests for future modifications to planning practices will begin to be addressed. Both documents will require further review to align with final Order 1000 requirements.

The draft Transmission Planning Process Guide discusses the development of needs assessments and solution studies (see Section 5.4), including the opportunities for stakeholder involvement. Stakeholders provide comments throughout the planning process, ranging from the draft scope of work for establishing system needs through the review of solutions reports.

The draft Transmission Planning Technical Guide describes the standards, criteria, and assumptions used in transmission planning studies of the regional power system. The document discusses the development of models, including system assumptions of resource availability, transmission topology, and the levels of transmission system transfers. The guide also describes the thermal and voltage thresholds and the contingencies simulated to perform needs assessments and to develop transmission solutions.

  - State Initiatives, Activities, and Policies

The New England states have worked together continually to identify, discuss, and address energy issues of common interest. Over the past few years, the New England states have implemented numerous and varied energy policies and initiatives that have consistently focused on advancing energy efficiency, mitigating costs through long-term contracting, increasing the development of renewable resources, and reducing pollutants from certain generating facilities.

Even with this history of cooperation, each state has a unique set of energy policy objectives and goals. This section presents recently implemented laws, policies, and initiatives that affect regional system planning. While not an all-inclusive list of state initiatives, activities, and policies, this section discusses several policies recently considered and laws enacted in the six New England states.

### Connecticut

On February 19, 2013, the Connecticut Department of Energy and Environmental Protection (DEEP) finalized the state’s first Comprehensive Energy Strategy (CES) to advance the governor’s vision for a cheaper, cleaner, and more reliable energy future. A key component of the strategy is the expansion of relatively low-cost natural gas to residential customers for home heating. Currently, only 31% of the state’s 1.4 million households use natural gas for home heating purposes. The CES proposes to raise this figure to 50% by giving more than 250,000 residential customers the option of switching to natural gas over the next seven years.

With greater demands on natural gas, DEEP has stated that it will work with gas pipeline developers and local distribution companies to ensure that natural gas transmission capacity increases to meet the anticipated growth in demand. DEEP has also stated that it will work with stakeholders, including ISO New England, to coordinate efforts between the electric power and gas industries further for addressing the increased dependence on natural gas and its effect on the reliability of the electric power system.

On June 5, 2013, Governor Malloy signed Senate Bill 1138 into law, restructuring the state’s Renewable Portfolio Standard (RPS). The legislation stemmed from a study performed by the Connecticut DEEP, which recommended updating the state’s RPS framework. The legislation (1) allows large-scale hydro to count toward the RPS target but only in the event of a verified shortfall in Class I supply (up to 1% of electric energy provided in 2016 and no more than 5% by 2020), (2) gives DEEP the authority to solicit proposals and direct electricity distribution companies to enter into long-term power purchase agreements with various renewable energy sources, (3) expands support for small hydropower by increasing Class I hydro eligibility from 5 MW to 30 MW, and (4) calls for a gradual reduction in the value of renewable energy certificates (RECs) received by biomass and landfill gas projects.

Also in Connecticut, the Connecticut Siting Council is expected to finalize regulations in 2013 that will establish a new framework for large and small wind projects sited in Connecticut.

### Maine

The Maine legislature passed a comprehensive energy bill (LD 1559). Among other things, the bill expands funding for energy efficiency and provides the Maine Public Utilities Commission the authority to execute energy cost-reduction proposal contracts to procure natural gas pipeline capacity for increasing the flow of natural gas into New England by 2 Bcf /d by 2017. This is expected to depress the basis point differential that Maine and New England pay relative to other states. The bill also provides the Maine PUC with authority to direct gas and electric utilities to assess ratepayers for the cost of energy cost-reduction contacts.

The legislature also passed a resolution (LD 131) directing the PUC to examine measures to mitigate the effects of geomagnetic disturbances and electromagnetic pulse on the state's transmission system. The resolution requires the PUC to issue a report to the legislature in January 2014.

The Maine PUC approved an optional time-of-use standard-offer rate class for Central Maine Power Company’s residential and small commercial customers. Residential and small customers were afforded the opportunity to enroll in this program from December 1, 2012, through January 31, 2013, with the new rates effective March 1, 2013. The time-of-use option features reduced off-peak prices that provide cost savings to customers for electricity used at night and on weekends.

### Massachusetts

Legislation enacted in 2012 required the Massachusetts Department of Public Utilities (DPU) to determine whether the NEMA/Boston area will need additional capacity resources over the next 10 years and whether the DPU must order the distribution companies serving NEMA/Boston to solicit proposals and enter into long-term contracts for generation resources delivered to the area. Following a six-month investigation, the DPU on March 15, 2013, issued an order concluding that without new resources to replace the generating capacity retiring at Salem Harbor Station in 2014 (i.e., absent a proposed natural-gas-fired resource that cleared FCA #7 in the NEMA/Boston area), additional capacity will be needed in NEMA/Boston within the next 10 years.

The DPU considered, but decided against, ordering local electricity distribution companies to enter into long-term contracts for new capacity, stating that this would unnecessarily and unduly disrupt the wholesale energy marketplace and shift the risks associated with generation development from the developers, who can best manage such risks, back to consumers. The DPU further stated that it should order such contracts only with definitive proof of a market failure and imminent reliability concerns, which do not presently exist.

In February 2013, the Massachusetts Clean Energy Center (CEC) awarded a contract to a consultant to work with the DPU, Department of Energy Resources, Department of Environmental Protection, and CEC to better understand policy options, effectiveness, cost and benefits, and regulatory or legislative avenues for implementation of a Clean Energy Performance Standard (CEPS). The CEPS would require electricity suppliers to favor lower-emitting and nonemitting resources in the mix of electricity delivered to their customers.

Massachusetts is actively developing solar power in the state as part of its strategy to develop renewable energy resources. The state reached its 250 MW PV goal in 2013 (three years ahead of schedule) and in May 2013, announced a new goal to achieve 1,600 MW of PV by 2020.

### New Hampshire

In June 2013, the New Hampshire PUC released its Report on Investigation into Market Conditions, Default Service Rate, Generation Ownership, and Impacts on the Competitive Electricity Market. Among other things, this report provides analysis and recommendations concerning the effects and long-term viability of the current “hybrid” model for providing default service to customers of Public Service of New Hampshire (PSNH). The report questions whether PSNH should continue its ownership of generation in light of currently low market prices and increasing customer migration levels. Currently, PSNH is required by statute to retain its existing fossil and hydro generation and may divest its generation assets if the PUC determines that doing so is in the economic interest of PSNH retail customers.

In the report, the PUC stated that it does not believe the status quo is a viable option going forward. PSNH has asserted that that its ownership of coal- and oil-fired generation, as well as hydro facilities, has provided consumers with savings, and continued ownership provides a valuable hedge to the natural-gas-driven electricity market.

The New Hampshire legislature authorized (SB 99), and the governor signed into law, a study to be conducted on the organization, structure, and process of the state’s site-evaluation committee. The study will identify a number of needs, including potential funding, technology expertise, committee membership, and staffing. The study also will evaluate the roles of participating municipalities and the public in the process and will consider whether the site-evaluation committee can require applicants to present alternative proposals. The study will be completed by the end of 2013.

SB 191 recently gave the New Hampshire Office of Energy and Planning (OEP) the responsibility of preparing a 10-year energy strategy for the state and updating the strategy every three years. Some of the points the state energy strategy will address are as follows:

- Projected demand for consumption of electricity and natural gas

Existing and proposed electricity and natural gas facilities

The effects of future retirements and new resources

Renewable energy and fuel diversity

The role of distributed generation, energy efficiency, and demand response in the state

The strategy also will consider New Hampshire’s role in the regional electric power markets, the effects of the regional market on the state’s energy policy goals, and how the state can most effectively participate at the regional level. The strategy will review all state policies concerning energy and will include recommendations for policy changes. The energy strategy will be completed by September 1, 2014.

### Rhode Island

Rhode Island has initiated a process to address the state’s short-term and long-term energy needs through a new state energy plan. The Rhode Island State Energy Plan will address energy security, renewable energy procurement and energy efficiency. The plan’s stated objective is to develop an energy system that is secure, reliable, clean, cost-effective, and sustainable for Rhode Island citizens and businesses. The plan will consider in-state resources of energy, such as proposals to install offshore wind turbines off Block Island and Rhode Island Sound, as well as new energy projects in nearby states and in Eastern Canada. The plan aims to set an aggressive goal to increase the percentage of its power from renewable energy sources. The Office of Energy Resources expects to issue a preliminary draft plan by September 2013 and a final plan by March 2014.

### Vermont

Vermont is evaluating its policies on siting energy resources, particularly wind farms. On October 2, 2012, Governor Peter Shumlin created the Governor’s Energy Generation Siting Policy Commission to survey best practices for siting approvals of electric generation projects and for public participation and representation in the siting process. This commission issued a report of its findings to the governor and the legislature in April 2013. The report recommends that the Department of Public Service develop a state roadmap for meeting Vermont’s statutory energy targets and the goals in the state’s Comprehensive Energy Plan, and it recommends that the Public Service Board focus more time reviewing larger, more complex projects (e.g., 15 MW or larger) and streamline the review for smaller projects. It also recommends increasing public participation in the siting process and increasing the transparency, efficiency, and predictability of the process.

A federal court played a significant role in Vermont’s energy landscape in 2013. In a decision issued August 14, 2013, the United States Court of Appeals for the Second Circuit largely upheld federal district court injunctions against Vermont statutes targeting the Vermont Yankee nuclear power plant. The ruling states that the Federal Atomic Energy Act gives exclusive responsibility to the federal government for radiological safety at commercial nuclear reactors, thus preempting two recently enacted Vermont statutes that address the ability of Vermont Yankee nuclear power station to operate and prohibiting the Vermont legislature from addressing safety issues at VY.

On March 21, 2012, the Nuclear Regulatory Commission granted VY a 20-year extension of its federal operating license through March 21, 2032. Under Vermont law, the plant also needs a certificate of public good (CPG) from the Vermont Public Service Board, and the board is currently reviewing VY’s CPG application. The criteria that the board must consider in deciding whether to issue a CPG relate to such concerns as power generation stability, economic impact on the state, aesthetic and environmental issues, and the likelihood of compliance with federal regulations.

Entergy Nuclear Power Marketing announced on August 27, 2013, that it intends to retire its Vermont Yankee Nuclear Power Station during 2014. While earlier ISO studies showed that reliability could be affected without Vermont Yankee, the most recent study in 2012 showed that the regional power grid could be operated reliably without Vermont Yankee (see Section 5.7). With the retirement of VY, planning studies will be updated and the ISO will continue to address long-term reliability issues through the planning process. One reliability concern is that the loss of this baseload nuclear facility will increase the dependence of the New England system on natural gas resources (see Section 6.2). The ISO will continue to address these fuel diversity issues.

### Summary of Renewable Portfolio Standards

The New England states have targets for the proportion of electric energy load-serving entities must provide using renewable resources and energy efficiency. The ISO projects that electric energy reductions from passive demand resources, as reported in the 2013 CELT, along with the New England state targets for renewable resources, will meet approximately one-third of New England’s total projected electric energy use by 2022. Options for meeting, or exceeding, the region’s RPS targets include developing the renewable resources in the ISO queue, importing qualifying renewable resource energy from adjacent balancing authority areas, building new renewable resources in New England not yet in the queue, developing “behind-the-meter” projects, and using eligible renewable fuels in existing generators. In addition, shortfalls in qualified renewable resources providing sufficient Renewable Energy Certificates to meet the RPSs can be met by load-serving entities making state-established alternative compliance payments (ACPs). ACPs also can serve as a price cap on the cost of RECs.

  - Summary of Initiatives

The ISO’s planning activities are closely coordinated among the six New England states, with neighboring systems, across the Eastern Interconnection, and nationally. The ISO has achieved full compliance with all required planning standards and has successfully implemented the Northeastern ISO/RTO Planning Protocol, which has further improved interregional planning among neighboring areas and will continue to do so as part of regional compliance with Order 1000. Each New England state has a unique set of energy policy objectives and goals and continues to implement laws, policies, and initiatives that affect the regional system planning in New England.

# Key Findings and Conclusions

In accordance with all requirements in the Open Access Transmission Tariff, ISO New England’s 2013 Regional System Plan discusses the electrical system needs and the amounts, locations, and types of resource development that can meet these needs from 2013 through 2022. RSP13 also discusses the status of transmission system assessments, transmission system planning studies, and projects that
will be required to meet reliability requirements and improve the economic performance of the system. Other discussions include strategic planning challenges expected over the same 10-year planning horizon and how the region is analyzing and addressing these challenges. This section summarizes the key findings of RSP13 and conclusions about the outlook for New England’s electric power system over the next 10 years.

## Energy Use and Energy-Efficiency Forecasts

RSP13’s 10-year forecast for the annual use of electric energy is a 1.1% increase per year for 2013 through 2022. The forecast for the average growth in the summer peak demand is 1.4%. The forecast is materially the same as the RSP12 forecast. The 50/50 summer peak forecast for 2013 is 75 MW higher than the RSP12 forecast and 50 MW lower for 2021. The ISO’s 2013 energy-efficiency forecast for 2016 to 2022, which also is similar to the EE forecast reported in RSP12, shows a regional annual average energy savings of 1,358 GWh, an average annual reduction in the peak demand by 193 MW, and a total reduction in the peak demand by 1,353 MW from 2016 to 2022. The regional load forecast net of EE resources is projected to increase at approximately half the projected growth rate of the 90/10 forecast without EE. The projection for net electric energy consumption is essentially no growth.

## Capacity Needs

Sufficient resources are being procured through the Forward Capacity Market to meet the tariff requirements for capacity. Resources with capacity supply obligations in the FCM are exceeding the “representative” value of 35,300 MW for capacity resources needed by 2022, with 36,220 MW of resources procuring capacity supply obligations for 2016 in FCA #7. A comparison of the representative ICR with the FCA #7 resources plus the EE forecast shows a surplus of 2,042 MW in 2022. However, regional resource retirements are anticipated as a consequence of economics, upcoming environmental compliance obligations, and other factors.

RSP13 shows projections of the systemwide need for capacity, the amounts of retirements the system can withstand, and the locations where fast-start operating reserves would be beneficial. Natural-gas-fired generation and renewable resources currently in the generator interconnection queue, which shows 5,294 MW of active resource projects, may replace some of this retired capacity.

## Operating Reserves and Ancillary Services

Resources participating in the locational Forward Reserve Markets are helping to satisfy the operating-reserve requirements of the region overall and in major load pockets to address contingencies. As a result of transmission upgrades and other resource additions, the Greater Southwest Connecticut area is not expected to need any additional local operating reserve from 2013 to 2017. Over the same period, the forecasted need for operating reserve in the Greater Connecticut area is for up to 900 MW during the summer, and similarly, the need for the BOSTON area is for up to 300 MW.

The need for flexible resources to provide operating reserves as well as other ancillary services, such as regulation and ramping, will likely increase as a result of unit retirements and the addition of variable energy resources, particularly wind and PV. To date, increasing the 10-minute operating-reserve requirement and adding seasonal replacement reserves have improved the systemwide performance for meeting peak load, ramping during changing system conditions, and the resource response to contingencies.

## Transmission Projects

Completed transmission projects are required for providing reliable electric service throughout the system and meeting the demand in areas with significant load growth. From 2002 through June 2013, 475 projects have been put into service, totaling approximately $5.5 billion of new infrastructure investment. The descriptions of transmission projects in RSP13 are based on the June 2013 RSP Project List update, which includes 282 projects at a total cost of approximately $5.7 billion.

The Maine Power Reliability Program has received siting approval with several components either completed or under construction. The region also has made progress on the NEEWS project, which consists of several projects to serve load and improve transfer capability across southern New England. Two components—the Springfield and Rhode Island components—have received siting approval and are scheduled for completion by the end of 2013. The need for the Interstate component of NEEWS has been reevaluated and reconfirmed. The preferred solution remains unchanged, and siting in three states is nearly completed. The needs assessment is underway for the Central Connecticut Reliability Project and the Greater Hartford-Central Connecticut area, which have been combined into one study.

Other transmission projects are being developed to meet reliability requirements where the development of resources is insufficient. In addition to the reliability benefits, transmission upgrades are supporting market efficiency, reflected by the low amounts of congestion and other out-of-merit charges, such as second-contingency and voltage-control payments. Additionally, elective and merchant transmission facilities are in various stages of development in the region and have the potential to provide access to renewable resources in remote areas of New England and neighboring regions, including Atlantic Canada and Québec.

## Transmission System Studies

Transmission planning studies show the system needs and transmission additions required for the ISO’s continued compliance with NERC and NPCC reliability standards and criteria, providing detailed information to resource developers and other stakeholders. In general, the critical load level identified in all transmission system needs assessments can help identify the amount of resources that would relieve transmission system constraints.

The ISO also is conducting a transmission system study, the Strategic Transmission Analysis, which shows that interconnecting resources deliverable to the Hub would minimize the need for new transmission facilities. Although some local transmission improvements may be required, these locations are favorable even when considering resources needed to compensate for the retirement of older oil- and coal-fired generating units. This analysis also is developing conceptual additions to the regional transmission system that would enable onshore wind resources to serve load reliably, which will help inform stakeholders and government officials as they establish policies that affect the future planning and development of the system.

## Analysis of Market Resource Alternatives

The ISO is reassessing how to best conduct future analyses of market resource alternatives. In particular, it is evaluating the set of tools currently available for improving the ISO staff’s efficiency of performing this analysis and more meaningful ways to share the results of these studies. The results of this reassessment and the efforts on zonal modeling should enhance the MRA studies and make them more useful to stakeholders. The ISO plans to apply these enhancements to MRA analysis beginning in 2014.

## Fuel Supply and Diversity

The fuel supply for New England generators has become less diverse, as economic, technology, and environmental drivers have increased the natural gas share of regional generating capacity from 17.7% in 2000 to 43.0% in 2012. With natural gas already providing the majority of the system’s electrical energy production in 2012 (51.8%), both its share of generating capacity and electric energy production are poised to grow further as new natural gas capacity, under current market incentives, replaces older coal-fired and oil-fired units.

Several operating events and studies have identified the resource-performance, fuel-diversity risks to the region, including the region’s limited nearby storage facilities for natural gas and the limitations of the natural gas delivery system and existing fuel supply arrangements at natural-gas-fired generators. As a result, the ISO, regional stakeholders, and industry are taking actions to mitigate the regional risks due to its reliance on natural gas. The region is examining ways to improve the area’s natural gas delivery and storage system and the coordination between electric power and natural gas system operations to anticipate and avoid generator fuel shortages. Several proposals under consideration would encourage the greater availability of dual-fuel capabilities at existing natural-gas-fired generators, increase access to natural gas from pipelines and liquefied natural gas facilities, and expand the use of other fuel sources. The increase in the required amounts of both systemwide 10-minute reserves and systemwide replacement reserves assists in improving system reliability.

The ISO is commissioning further study of natural gas system demand scenarios to quantify periods when natural-gas-fired generators may be exposed to fuel shortages and is participating in a study of the interregional natural gas system. Existing efforts to coordinate interregional electric power system plans for providing greater access to resources in neighboring regions also will improve the overall reliable and economic operation of the interconnected system and help reduce regional fuel diversity risk.

## Development and Integration of Renewable Resources

The region has significant potential for developing renewable resources and energy efficiency, encouraged by Renewable Portfolio Standards, the Regional Greenhouse Gas Initiative, and other environmental regulations and public policy objectives. Economic study scenarios have shown the potential effects of increasing the use of renewable resources and demand resources in the region and the import of renewable energy resources from neighboring regions.

The ISO is addressing potential system performance, interconnection, and transmission-expansion issues posed by the integration of variable wind resources, and it has made progress implementing the recommendations from the New England Wind Integration Study. This study analyzed various planning, operating, and market aspects of wind integration for up to a 12 GW addition of wind resources to the system. The ISO will continue to analyze wind integration issues and work with stakeholders to address the challenges of the wind-interconnection process and the performance of the system with wind resources in locally constrained areas. A number of wind projects have interconnected to electrically remote and weak portions of the regional power system, and additional wind projects are proposed for these areas. These facilities pose operational and planning challenges resulting from issues with voltage and stability performance, modeling, and differences between actual system operation and system conditions investigated for interconnection studies. The ISO also is facilitating wind integration by modifying operating procedures, data acquisition, and, over the longer-term, dispatch rules. While intermittent renewable resources can provide additional fuel diversity, integrating them could place additional stresses on natural-gas-fired generators, which system operators could call on to change output on short notice to provide system balancing and reserves.

Photovoltaic resources are rapidly developing in New England and are predominately situated in southern New England. The large-scale development of photovoltaic resources poses particularly complex issues that the ISO is beginning to address with stakeholders. The ISO cannot directly observe or control most of these resources, which may respond differently to grid disturbances than larger, conventional generators.

New England is a leader in applying advanced technologies, including FACTS and HVDC, phasor measurement units, and active demand resources, which may be used to provide the regulation and reserve services required to reliably integrate intermittent renewable resources.

## State Targets for Renewable Energy

The New England states have targets for the proportion of electric energy that renewable resources and energy efficiency provide. Because the states are revising these targets to reflect different amounts and types of resources that qualify for RPSs, the ISO cannot project the precise amount of regional renewable energy goals. However, the electric energy reductions from passive demand resources, as reported in the 2013 CELT, along with the New England state targets for renewable resources, will meet approximately one third of New England’s total projected electric energy use by 2022. The forecast for energy-efficiency savings is 11.3%, but the states are revising RPS targets.

Options for meeting, or exceeding, the region’s RPS targets include developing the renewable resources in the ISO queue, importing qualifying renewable resource energy from adjacent balancing authority areas, building new renewable resources in New England not yet in the queue, developing “behind-the-meter” projects, and using eligible renewable fuels in existing generators. NESCOE is working with the New England states to implement, in late 2013, coordinated, competitive procurement of renewable resources in the region.

## Environmental Regulations and Initiatives

Existing and pending state, regional, and federal environmental requirements, addressing air pollution (smog, regional haze, mercury, and other air toxics), greenhouse gas emissions (such as carbon dioxide and methane), the use of cooling water from rivers and bays, and wastewater discharges into water bodies and public treatment works, will affect many New England generators in the 2015 to 2022 timeframe. When implemented, the full suite of environmental regulations, currently in various stages of promulgation, could affect generator economic performance in several ways. Generator capital costs could rise for modifying or replacing cooling systems or wastewater discharge or air pollution controls, and operating costs could increase through the increased use of new and existing pollution control devices. The regulations also may affect reliability by limiting generator energy production, reducing capacity output, or contributing to unit retirements. Environmental regulations affecting system performance are being monitored for their potential effects within the region and interregionally.

## Economic Studies

Economic studies have quantified system performance for varying amounts, locations, and types of resource expansion and retirements, providing guidance to regional policymakers and developers of supply and demand resources and merchant transmission. The studies also reinforce several of the strategic issues the region is assessing:

- Connecting renewable wind energy remote from the load centers

- Replacing older, higher-emitting coal- and oil-fired generators with cleaner-burning natural-gas-fired generators

- Decreasing load-serving entity electric energy expenses while maintaining sufficient market revenues for resources

The 2011 economic study examined the effects of integrating varying amounts of wind resources on production costs, load-serving entity energy expenses, and emissions, as well as the need for transmission development, to enable wind resources to serve the region’s load centers. The results of the 2012 economic study highlighted the most suitable locations for developing different resources without causing congestion; the effects of using efficient, low-emitting resources, increased amounts of renewable energy, and energy efficiency; and the least suitable locations for unit retirements.

In response to stakeholder requests received in 2013, the ISO is conducting an economic study to examine the effects of increasing the acceptable loss-of-source limits in New England. Strategic transmission analyses are providing additional insights on the most effective points for interconnecting new resources if and when retirements occur. Potential generator retirements, however, would need to be evaluated individually to ensure the reliable performance of the system.

## Interregional Coordination

In addition to coordinating planning activities with the New England states, ISO New England proactively coordinates activities with neighboring ISO/RTO systems in the NPCC, across the Eastern Interconnection through the Eastern Interconnection Planning Collaborative, and nationally through NERC. The ISO has worked closely with NYISO and PJM to conduct interregional production cost studies and coordinate interconnection and transmission studies, and it has built on the interregional planning issues summarized in the 2011 Northeast Coordinated System Plan. Sharing more supply and demand resources with other systems will likely become necessary, particularly to provide access to a greater diversity of resources, meet environmental compliance obligations, and successfully integrate variable energy resources.

## Federal, Regional, and State Initiatives

The ISO continuously works with a wide variety of state policymakers and other regional stakeholders through its planning process. Regional initiatives have improved the transparency of transmission cost estimates, provided critical load levels and other information on market resources in needs assessments, and demonstrated progress in improving a forecast of energy efficiency. The ISO has continued to provide technical support to a number of state agencies and groups, such as NECPUC, NESCOE, the New England governors, the Consumer Liaison Group, and others.

The ISO has worked with stakeholders to comply with FERC Order 1000 and will continue to work with stakeholders as the planning process evolves in response to FERC orders and other governmental policy developments.

## Looking Ahead

The regional energy landscape is undergoing a dramatic change in terms of the composition of generation, transmission, demand resources, and wholesale markets. This evolution poses a series of challenges that the ISO is addressing through a collaborative effort of the New England states and market participants, as well as neighboring regions. Changes to the planning process and improvements to the wholesale electricity markets are in various stages of development that will affect both the reliable and economic development and operation of the system. Discussions of these issues with the region’s stakeholders will be ongoing, and the ISO will provide an update on strategic planning issues and studies in RSP14.

Active involvement and participation by all stakeholders, including public officials, state agencies, NESCOE, market participants, and other PAC members, are key elements of an open, transparent, and successful planning process. As needed, the ISO will continue to work with these groups, as well as NEPOOL, its individual members and other interested parties, to support regional and federal policy initiatives. The ISO also will continue to provide required technical support to the New England states and the federal government as they formulate policies for the region.

Appendix A
Acronyms and Abbreviations

| Acronym/Abbreviation | Description |
| --- | --- |
| ¢/kWh | cents per kilowatt-hour |
| $/kW-month | dollar per kilowatt-month |
| AC | Administrative Committee |
| ACP | alternative compliance payment |
| AGT | Algonquin Gas Transmission |
| AIM | Algonquin Incremental Market (Spectra Energy project) |
| AMI | advanced metering infrastructure |
| AMRXY | 20XY Annual Markets Report |
| Bcf; Bcf/d | billion cubic feet; billion cubic feet per day |
| BHE | 1) RSP subarea of northeastern Maine 2) Bangor Hydro Electric (Company) |
| BOSTON, BOST | RSP subarea of Greater Boston, including the North Shore (all capitalized) |
| Btu | British thermal unit |
| CAA | Clean Air Act (US) |
| CAGR | compound annual growth rate |
| CAIR | Clean Air Interstate Rule |
| CCP | capacity commitment period |
| CCRP | Central Connecticut Reliability Project |
| CEC | Clean Energy Center (MA) |
| CEII | critical energy infrastructure information |
| CELT | capacity, energy, loads, and transmission |
| 2001 CELT Report | 2001–2010 Forecast Report of Capacity, Energy, Loads, and Transmission |
| 2012 CELT Report | 2012–2021 Forecast Report of Capacity, Energy, Loads, and Transmission |
| 2013 CELT Report | 2013–2022 Forecast Report of Capacity, Energy, Loads, and Transmission |
| CEPS | Clean Energy Performance Standard (MA) |
| CES | Comprehensive Energy Strategy (CT DEEP) |
| CFR | Code of Federal Regulations |
| Cir. | Circuit (court) |
| Civ. | civil court |
| CLG | Consumer Liaison Group |
| CMA/NEMA | RSP subarea comprising central Massachusetts and northeastern Massachusetts |
| CMP | Central Maine Power (Company) |
| CO2 | carbon dioxide |
| Conn. | Connecticut |
| CPCN | Certificate of Public Convenience and Necessity |
| CSAPR | Cross State Air Pollution Rule (US) |
| CSO | capacity supply obligation |
| CT | 1) State of Connecticut 2) RSP subarea that includes northern and eastern Connecticut 3) Connecticut load zone |
| DC | direct current |
| D.C. | District of Columbia |
| D.C. Cir. | District of Columbia Circuit (US Court of Appeals) |
| DCT | double-circuit tower |
| DE | Delaware |
| DEEP | Department of Energy and Environmental Protection (CT) |
| DG | distributed generation |
| DGFWG | Distributed Generation Forecast Working Group |
| DOE | Department of Energy (US) |
| DPU | Department of Public Utilities (MA) |
| Dth/d | dekatherms per day |
| DVAR | dynamic voltage ampere reactive |
| EE | energy efficiency |
| EEF | energy-efficiency forecast |
| EIA | Energy Information Administration (US DOE) |
| EIPC | Eastern Interconnection Planning Collaborative |
| EISPC | Eastern Interconnection States Planning Council |
| ELG | Effluent Limit Guidelines (for Electric Steam Generation) (US EPA) |
| EPA | Environmental Protection Agency (US) |
| EPAct | Energy Policy Act of 2005 |
| EPRI | Electric Power Research Institute |
| ERCOT | Electric Reliability Council of Texas |
| ERO | Electric Reliability Organization |
| ETU | Elective Transmission Upgrade |
| F.3d | Federal Reporter, third series |
| FACTS | Flexible Alternating-Current Transmission System |
| FCA | Forward Capacity Auction |
| FCA #N | nth Forward Capacity Auction |
| FCM | Forward Capacity Market |
| Fed. Reg. | Federal Register |
| FERC | Federal Energy Regulatory Commission |
| FOA | Funding Opportunity Announcement |
| FRM | Forward Reserve Market |
| FTR | financial transmission rights |
| GDP | gross domestic product |
| GHCC | Greater Hartford Central Connecticut (part of NEEWS) |
| GHG | greenhouse gas |
| G.L. | general law |
| GPM | gallons per minute |
| Greater Connecticut | RSP study area that includes the RSP subareas of NOR, SWCT, and CT |
| Greater Southwest Connecticut | RSP study area that includes the southwestern and western portions of Connecticut and comprises the SWCT and NOR subareas |
| GRI | Greater Rhode Island |
| GSRP | Greater Springfield Reliability Project |
| GW | gigawatt |
| GWh | gigawatt-hour(s) |
| HB | House Bill |
| HQ | Hydro-Québec Balancing Authority Area |
| HQICC | Hydro-Québec Installed Capability Credit |
| H.R. | House of Representatives |
| HRSG | heat-recovery steam generator |
| (the) Hub | ISO New England energy trading hub |
| HV | high voltage |
| HVDC | high-voltage direct current |
| ICR | Installed Capacity Requirement |
| IEEE | Institute of Electrical and Electronics Engineers |
| IESO | Independent Electric System Operator (Ontario, Canada) |
| IGCC | integrated combined cycle |
| IGTS | Iroquois Gas Transmission System |
| IPSAC | Inter-Area Planning Stakeholder Advisory Committee |
| IRC | ISO/RTO Council |
| IREMM | Interregional Electric Market Model |
| ISO | Independent System Operator of New England; ISO New England |
| ISO/RTO | Independent System Operator/Regional Transmission Organization |
| ISOs | Independent System Operators |
| ISO tariff | ISO New England’s Transmission, Markets, and Services Tariff |
| JIPC | Joint ISO/RTO Planning Committee |
| kV | kilovolt(s) |
| kW | kilowatt |
| kWh | kilowatt-hour |
| lb | pound |
| L.D. | legislative documents (Maine) |
| LDC | local distribution company |
| LEG | limited-energy generator |
| LFG | landfill gas |
| LLC | limited liability company |
| LMP | locational marginal price |
| LNG | liquefied natural gas |
| LOLE | loss-of-load expectation |
| Lower SEMA; LSM | lower southeastern Massachusetts |
| LSE | load-serving entity |
| LSR | local sourcing requirement |
| LTS | Laura T. Swain, US District Judge (SDNY) |
| MA | Massachusetts |
| MA DPU | Massachusetts Department of Public Utilities |
| Mass. Gen. Laws | General Laws of Massachusetts |
| MATS | Mercury and Air Toxics Standard (US EPA) |
| MCL | maximum capacity limit |
| MDth/d | thousand dekatherms per day |
| ME | 1) State of Maine 2) RSP subarea that includes western and central Maine and Saco Valley, New Hampshire 3) Maine load zone |
| MEPCO | Maine Electric Power Company, Inc. |
| METU | Market Efficiency Transmission Upgrade |
| MISO | Midcontinent Independent System Operator |
| MMBtu | million British thermal units |
| MPRP | Maine Power Reliability Program |
| MPUC | Maine Public Utilities Commission |
| MRA | market resource alternative |
| mtons | million tons |
| MVAR | megavolt-ampere reactive |
| MW | megawatt(s) |
| MWe | electrical megawatts (of nuclear power plants) |
| MWh | megawatt-hour(s) |
| N-1 | first-contingency loss |
| N-1-1 | second-contingency loss |
| NAAQS | National Ambient Air Quality Standard (US EPA) |
| NAESB | North American Energy Standards Board |
| NB | New Brunswick |
| n.d. | no date |
| NBSO | New Brunswick System Operator |
| NCPC | Net Commitment-Period Compensation |
| NCSPXY | Northeast Coordinated System Plan 20XY |
| NECPUC | New England Conference of Public Utilities Commissioners |
| NEEWS | New England East–West Solution |
| NEGC | New England Governors' Conference |
| NEG/ECP | New England Governors/Eastern Canadian Premiers |
| NEL | net energy for load |
| NEMA | 1) RSP subarea for northeast Massachusetts 2) Northeast Massachusetts load zone |
| NEMA/Boston | combined load zone that includes northeast Massachusetts and the Boston area |
| NEPOOL | New England Power Pool |
| NERC | North American Electric Reliability Corporation |
| NESCOE | New England States Committee on Electricity |
| NESHAP | National Emission Standard for Hazardous Air Pollutant |
| NEWIS | New England Wind Integration Study |
| NG | natural gas |
| NGA | Northeast Gas Association |
| NGCC | natural gas combined cycle |
| NH | 1) State of New Hampshire 2) RSP subarea comprising northern, eastern, and central New Hampshire; eastern Vermont; and southwestern Maine 3) New Hampshire load zone |
| NIST | National Institute of Standards and Technology |
| NJ | New Jersey |
| NMISA | Northern Maine Independent System Administrator, Inc. |
| NNE | northern New England |
| No. | number |
| NOPR | Notice of Proposed Rulemaking |
| NOR | RSP subarea that includes Norwalk and Stamford, Connecticut |
| NOX | nitrogen oxide(s) |
| NPCC | Northeast Power Coordinating Council, Inc. |
| NRC | Nuclear Regulatory Commission (US) |
| NRI | Northeast Reliability Interconnection |
| NSPS | New Source Performance Standard (US EPA) |
| NWVT | Northwest Vermont |
| NY | New York Balancing Authority Area |
| NYISO | New York Independent System Operator |
| NYPA | New York Power Authority |
| O3 | ozone |
| OATT | Open Access Transmission Tariff |
| OEP | Office of Energy and Planning (NH) |
| OP 4 | ISO Operating Procedure No. 4, Action during a Capacity Deficiency |
| OP 7 | ISO Operating Procedure No. 7, Action in an Emergency |
| OP 8 | ISO Operating Procedure No. 8, Operating Reserve and Regulation |
| OP 19 | ISO Operating Procedure No. 19, Transmission Operations |
| PA | Pennsylvania |
| PAC | Planning Advisory Committee |
| PDC | phasor data concentrator |
| PJM | PJM Interconnection LLC; the RTO for all or parts of Delaware, Illinois, Indiana, Kentucky, Maryland, Michigan, New Jersey, North Carolina, Ohio, Pennsylvania, Tennessee, Virginia, and the District of Columbia |
| PKC | P. Kevin Castel, US District Judge (SDNY) |
| PM | particulate matter |
| PM2.5 | fine particulate matter |
| PMU | phasor measurement unit |
| PNGTS | Portland Natural Gas Transmission System |
| pnode | pricing node |
| PP 10 | ISO Planning Procedure No. 10, Planning Procedure to Support the Forward Capacity Market |
| PSERC | Power System Engineering Research Center (US DOE) |
| PSNH | Public Service of New Hampshire |
| PSPC | Power Supply Planning Committee |
| PTF | pool transmission facility |
| PTO | participating transmission owner |
| Pub. L. | public law |
| PUC | Public Utilities Commission |
| PV | photovoltaic |
| queue (the) | ISO Generator Interconnection Queue |
| RC | Reliability Committee |
| RCPF | Reserve Constraint Penalty Factor |
| REC | Renewable Energy Certificate |
| REMVEC | Rhode Island-Eastern Massachusetts-Vermont Energy Control |
| RFI | request for information |
| RFP | request for proposals |
| RGGI | Regional Greenhouse Gas Initiative |
| RGSP | real gross state product |
| RI | 1) State of Rhode Island 2) RSP subarea that includes the part of Rhode Island bordering Massachusetts 3) Rhode Island load zone |
| RIRP | Rhode Island Reliability Project |
| RNS | Regional Network Service |
| ROS | rest of system |
| ROSE | Region of Stability Existence |
| RPS | Renewable Portfolio Standard |
| RSP | Regional System Plan |
| RSPXY | 20XY Regional System Plan |
| RTEG | real-time emergency generation |
| RTO | Regional Transmission Organization |
| S. | Senate (US) |
| S&D | Scheduling System Control and Dispatch Service Rate |
| SB | Senate Bill |
| SBC | systems benefits charge |
| SCC | seasonal claimed capability |
| SCR | selective catalytic reduction |
| SDNY | US District Court Southern District of New York |
| SEMA | 1) RSP subarea comprising southeastern Massachusetts and Newport, Rhode Island 2) Southeastern Massachusetts load zone |
| Sess. | Session (Congress) |
| SLOD | severe line-outage detection |
| SMD | Standard Market Design |
| SME | RSP subarea for southeastern Maine |
| SO2 | sulfur dioxide |
| SPI | Strategic Planning Initiative |
| SPS | special protection system |
| STATCOM | static synchronous compensator |
| SVC | static voltage ampere reactive (VAR; V) compensator |
| SWCT | RSP subarea for southwestern Connecticut |
| tbd | to be determined |
| TMNSR | 10-minute nonspinning reserve |
| TMOR | 30-minute operating reserve |
| TMSR | 10-minute spinning reserve |
| TVA | Tennessee Valley Authority |
| US | United States |
| VAR | voltage ampere reactive |
| VER | variable energy resource |
| USC | United States Code |
| VELCO | Vermont Electric Power Company |
| VSC | voltage source converter |
| VT | 1) State of Vermont 2) RSP subarea that includes Vermont and southwestern New Hampshire 3) Vermont load zone |
| VY | Vermont Yankee |
| WCMA | Western/Central Massachusetts load zone |
| WIP | Wright Interconnection Project (of the Iroquois Gas Transmission System) |
| WMA | RSP subarea for western Massachusetts |
| WMPP | Wholesale Markets Project Plan |
| yr | year |

The requirements of the OATT include Attachment K, the ISO Information Policy, and interconnection procedures and address generator and elective upgrades. ISO New England Inc. Transmission, Markets, and Services Tariff (ISO tariff), Section II, Open Access Transmission Tariff, Attachment K, “Regional System Planning Process” (January 1, 2013), http://www.iso-ne.com/regulatory/tariff/sect_2/oatt/sect_ii.pdf. ISO tariff, Attachment D, “ISO New England Information Policy” (August 30, 2013), http://www.iso-ne.com/regulatory/tariff/attach_d/index.html. OATT, Schedules 22 and 23, “Standard Large Generator Interconnection Procedures” (February 12, 2013) and “Standard Small Generator Interconnection Procedures” (July 25, 2012), http://www.iso-ne.com/regulatory/tariff/sect_2/index.html.

RSP13 is based on the June 2013 RSP Project List, http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/projects/index.html.

The region’s private and municipal utilities formed NEPOOL to foster cooperation and coordination among the utilities in the six-state region and ensure a dependable supply of electricity. Today, NEPOOL members serve as ISO stakeholders and market participants. The NEPOOL stakeholder process provides advisory input on market, reliability, and OATT matters. More information is available at http://www.iso-ne.com/committees/nepool_part/index.html.

Past RSPs are archived at http://www.iso-ne.com/trans/rsp/index.html. For access to supporting reports, contact ISO Customer Service at 413-540-4220.

Supporting information and some supplements to the RSP statistics, such as import and export figures, are available at New England 2013 Regional System Plan Load and Capacity Resource Overview, PAC presentation (April 24, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/apr242013/index.html.

PAC materials and meeting minutes are available at http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/index.html. For access to PAC critical energy infrastructure information (CEII), complete the PAC Access Request Form at http://www.iso-ne.com/support/custsvc/forms/index.html and mail to ISO New England Inc., Attn: Customer Support, One Sullivan Road, Holyoke, MA 01040-2841, or email the PDF file to custserv@iso-ne.com.

A demand resource is a capacity product, type of equipment, system, service, practice, or strategy that verifiably reduces end-use demand for electricity from the power system.

Meeting materials, notes, and meeting dates for discussing the Strategic Planning Initiative are available at http://www.iso-ne.com/committees/comm_wkgrps/strategic_planning_discussion/index.html.

PAC materials and meeting minutes are available at http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/index.html. For access to PAC critical energy infrastructure information (CEII), complete the PAC Access Request Form at http://www.iso-ne.com/support/custsvc/forms/index.html and mail to ISO New England Inc., Attn: Customer Support, One Sullivan Road, Holyoke, MA 01040-2841, or email the PDF file to custserv@iso-ne.com. The region’s private and municipal utilities formed NEPOOL to foster cooperation and coordination among the utilities in the six-state region and ensure a dependable supply of electricity. Today, NEPOOL members serve as ISO stakeholders and market participants. More information is available at http://www.iso-ne.com/committees/nepool_part/index.html.

FERC, Order on Compliance Filings (May 17, 2013), http://www.iso-ne.com/regulatory/ferc/orders/2013/may/index.html. “Transmission Operating Agreements,” web page, http://www.iso-ne.com/regulatory/toa/index.html.

ISO New England Inc. Transmission, Markets, and Services Tariff (ISO tariff), Part II (2013), http://www.iso-ne.com/regulatory/tariff/index.html.

Information on NERC requirements is available at http://www.nerc.com. Information on NPCC is available at http://www.npcc.org/. An NPCC compliance audit conducted from March 12 through March 15, 2012, showed no ISO violations of any standards and requirements.

ISO tariff Section II, Open Access Transmission Tariff, Attachment K, “Regional System Planning Process” (January 1, 2013), http://www.iso-ne.com/regulatory/tariff/sect_2/oatt/sect_ii.pdf.

The ISO’s Generator Interconnection Queue includes the requests that generators submit to ISO New England to interconnect to the ISO-administered transmission system.

Information on the January 2004 cold snap is available at http://www.iso-ne.com/pubs/spcl_rpts/2005/index.html.

The RSP Project List summarizes transmission projects under various stages of development (i.e., concept, planned, proposed, and under construction), as required under the OATT to meet regional system needs. It also includes information on project status and cost estimates. The current update of the RSP Project List is available at http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/projects/index.html. The system’s pricing points for electric energy include individual generating units, load nodes, load zones (i.e., aggregations of load pnodes within a specific area), and the Hub. The Hub is a collection of energy pricing locations that has a price intended to represent an uncongested price for electric energy, facilitate energy trading, and enhance transparency and liquidity in the marketplace.

PJM Interconnection LLC is the RTO for all or parts of Delaware, Illinois, Indiana, Kentucky, Maryland, Michigan, New Jersey, North Carolina, Ohio, Pennsylvania, Tennessee, Virginia, and the District of Columbia. Additional information on the EIPC is available at http://www.eipconline.com/.

ISO New England, Order No. 1000 Interregional Compliance Filing of ISO New England Inc. and the Participating Transmission Owners Administrative Committee, Supported by the New England Power Pool Participants Committee, FERC filing (July 10, 2013), http://www.iso-ne.com/regulatory/ferc/filings/2013/jul/index.html.

FERC, Order on Compliance Filing, 143 FERC ¶ 61,150 (May 17, 2013), http://www.iso-ne.com/regulatory/ferc/orders/2013/may/index.html.

“Transmission Operating Agreements,” web page, http://www.iso-ne.com/regulatory/toa/index.html.

FERC stated that the ISO could grandfather existing projects no longer subject to either evaluation or reevaluation as of the effective date, which would not be subject to the competitive process.

Order No. 1000 Compliance Filing of ISO New England Inc. and the Participating Transmission Owners Administrative Committee, parts 1 and 2 (October 25, 2013), http://www.iso-ne.com/regulatory/ferc/filings/2012/oct/index.html.

The ISO is scheduled to make its Order 1000 compliance filing to FERC on November 15, 2013.

The 50/50 “reference-case” peak loads have a 50% chance of being exceeded because of weather conditions. For the reference case, the summer peak load is expected to occur at a weighted New England-wide temperature of 90.2°F, and the winter peak load is expected to occur at 7.0°F. The 90/10 peak loads have a 10% chance of being exceeded because of weather. For the 90/10 case, the summer peak is expected to occur at a temperature of 94.2°F, and the winter peak is expected to occur at a temperature of 1.6°F.

The actual load has been near or above the 50/50 forecast 10 times during the last 20 years because of weather conditions; six of these 10 times, the load has been near or has exceeded the 90/10 forecast.

The ISO’s Forecast Data 2013 (May 3, 2013), worksheet 9 (http://www.iso-ne.com/trans/celt/fsct_detail/index.html) shows that the gross consumption of electric energy for 2022 is 151,005 gigawatt-hours (GWh). The savings attributable to federal appliance standards is 2,450 GWh for 2022. In addition, passive demand resources are projected to save 17,406 GWh for 2022 (see worksheet 2).

Passive demand resources reduce electric energy consumption that otherwise would have been served by generation resources and include such resources as energy efficiency and “behind-the meter” distributed generation (DG) in locations that have net metering. Active demand resources (i.e., demand response) reduce load in response to a request from the ISO for system reliability reasons or in response to a price signal. Net metering allows power customers who generate their own electricity, such as from wind or solar power, to feed their unused electricity back into the grid.

The net ICR values for 2012/2013 to 2015/2016 are the latest values approved by FERC and are available at http://www.iso-ne.com/markets/othrmkts_data/fcm/doc/summary_of_icr_values.pdf. Representative net ICR values are illustrative future ICRs for the region, minus a monthly value that reflects the annual installed capacity benefits of the Hydro Québec Phase II Interconnection.

OP 4 actions include allowing the depletion of the 30-minute and partial depletion of the 10-minute reserves (1,000 MW) (see Section 4.2), scheduling market participants’ submitted emergency transactions and arranging emergency purchases between balancing authority areas (1,600 to 2,000 MW), and implementing 5% voltage reductions (400 to 450 MW). Operating Procedure No. 4, Action during a Capacity Deficiency (December 9, 2011), http://www.iso-ne.com/rules_proceds/operating/isone/op4/index.html.

Higher tie-reliability benefits and reductions in the net ICR would increase the frequency and depth of OP 4 actions.

A capacity commitment period runs from June 1 through May 31 of the following year. FCA #7 covers June 1, 2016, through May 31, 2017. Existing capacity resources are required to participate in the FCA and automatically are entered into the capacity auction. However, these resources may indicate a desire to be removed from the FCA by submitting a delist bid before the existing-capacity qualification deadline.

These totals do not account for the announced shutdown of Norwalk Harbor Station (349 MW nameplate capacity).

A local sourcing requirement is the minimum amount of capacity that must be electrically located within an import-constrained capacity zone to meet the ICR.

For more information on delist bids, refer to the ISO’s Overview of New England's Wholesale Electricity Markets; Market Oversight (May 15, 2013), http://www.iso-ne.com/pubs/spcl_rpts/index.html.

FERC, Order on Compliance Filing, 143 ¶ 61,198 (May 31, 2013), http://www.iso-ne.com/regulatory/ferc/orders/2013/may/index.html.

According to NERC, NPCC, and ISO criteria, a contingency is the loss of one or more generation, transmission, or both types of facilities or power system elements. A system’s first contingency (N-1) is when the power element (facility) with the largest impact on system reliability is lost. A second contingency (N-1-1) takes place after a first contingency has occurred and is the loss of the facility that at that time has the largest impact on the system.

Spinning operating reserves are on-line resources that can increase output. Nonsynchronized (i.e., nonspinning) operating reserves are off-line resources that can be electrically synchronized to the system quickly, reaching maximum output within 10 to 30 minutes.

To conduct some RSP studies, the region is divided into various areas associated with their electrical system characteristics. Greater Connecticut is an area that has boundaries similar to the State of Connecticut but is slightly smaller because of electrical system limitations near Connecticut’s borders with western Massachusetts and Rhode Island. Greater Southwest Connecticut includes southwestern and western portions of Connecticut. The BOSTON area (all capitalized) includes the city of Boston and northeast Massachusetts. (See Section 2.4.)

The ISO develops the representative operating-reserve requirements of these major import areas as ranges to account for future uncertainties about the availability of resources, load variations due to weather, and other factors.

Regional network service is the transmission service over the pool transmission facilities (PTFs), including services used for network resources or regional network load not physically interconnected with a PTF.

Cost estimates without transmission cost allocation approval are subject to established variations as projects progress through various stages of implementation. The $5.7 billion cost estimate has a range of $4.4 to $6.9 billion based on projects proposed, planned, and under construction. See the Regional System Plan Transmission Projects June 2013 Update, PAC presentation (June 14, 2012), slide 9, at http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/jun192013/index.html.

For the results of a study of the changes in transfer limits across major interactions in Maine, including Maine to New Hampshire, see Maine Power Reliability Program (MPRP): Transfer Capability Study Results, PAC presentation (December 13, 2012), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2012/dec132012/index.html. Also see MPRP North to South Steady State Transfer Limits and Incremental Stability Performance Study, final draft report (November 2012), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/reports/2012/mprp_transfer_limits.pdf.

An Elective Transmission Upgrade is an upgrade to the New England transmission system voluntarily funded by one or more participants that have agreed to pay for all the costs of the upgrade. Merchant transmission facilities are independently developed and funded and subject to the operational control of the ISO, pursuant to an operating agreement specific to each of these facilities.

For additional information on the near-, medium-, and long-term measures, see Interdependencies of Market and Operational Changes to Address Resource Performance and Gas Dependency, ISO white paper (2013), http://www.iso-ne.com/committees/comm_wkgrps/strategic_planning_discussion/materials/interdependency_of_iso_proposals_to_key_spi_risks.pdf. ISO New England Inc. and New England Power Pool, Docket No. ER13-___-000, Energy Market Offer Flexibility Changes, FERC filing (July 1, 2013), http://www.iso-ne.com/regulatory/ferc/filings/2013/jul/index.html.

FERC, Order Conditionally Accepting Tariff Revisions, 144 FERC ¶ 61,204 (September 16, 2013), http://www.iso-ne.com/regulatory/ferc/orders/2013/sep/index.html.

ICF International, Assessment of New England’s Natural Gas Pipeline Capacity to Satisfy Short- and Near-Term Electric Generation Needs, final report (June 15, 2012), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/reports/2012/gas_study_ceii.pdf.

2011 ISO New England Electric Generator Air Emissions Report (February 2013), http://www.iso-ne.com/genrtion_resrcs/reports/emission/2011_emissions_report.pdf. These changes in generation are consistent with New England fuel consumption in 2010 and 2011, as reported by the US Energy Information Administration (EIA). Coal consumption for electric generators fell from 6.2 million short tons in 2010 to 3.0 million short tons in 2011, and residual fuel oil consumption fell from 1.5 million barrels in 2010 to 0.7 million barrels in 2011.

In all communications, the ISO must adhere to the requirements of its Information Policy regarding the disclosure of confidential information. ISO New England Information Policy (ISO tariff, Attachment D) (2013), http://www.iso-ne.com/regulatory/tariff/attach_d/index.html.

Renewable Energy Certificates are tradable, nontangible commodities, each representing the eligible renewable generation attributes of 1 MWh of actual generation from a grid-connected renewable resource.

Wind Development in Constrained Areas, PAC presentation (March 21, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/mar212013/index.html.

Preliminary Results for 2012 Economic Study Request Specific Scenario Phase and IREMM 2012 Economic Study Update,  IREMM 2012 Economic Study Update, and 2011 Economic Studies: GridView Simulation Results, PAC presentations (January 17, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/jan172013/index.html, and 2011 Economic Studies: An Update of GridView Simulation Results, PAC presentation (March 21, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/mar212013/index.html.

Nontransmission Alternatives Analysis: Results of the NH/VT Pilot Study, PAC presentation (May 26, 2011), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2011/may262011/nta_analysis.pdf.

Market Resource Alternative Analysis—Demand-Side Results Greater Hartford and Central Connecticut Area, PAC presentation (November 14, 2012), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2012/nov142012/ghcc_mra_november.pdf, and Market Resource Alternative Analysis —Final Supply-Side Results Greater Hartford and Central Connecticut Area, PAC presentation (December 13, 2012), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2012/dec132012/ghcc_mra.pdf.

The 2011 Northeast Coordinated System Plan (NCSP11) (ISO New England, NYISO, and PJM; May 31, 2012) and supplemental materials and reports are available at http://www.iso-ne.com/committees/comm_wkgrps/othr/ipsac/ncsp/index.html and http://www.iso-ne.com/committees/comm_wkgrps/othr/ipsac/index.html.

FERC, Order on Compliance Filings (May 17, 2013), http://www.iso-ne.com/regulatory/ferc/orders/2013/may/index.html, and FERC, Transmission Planning and Cost Allocation by Transmission Owning and Operating Public Utilities, 18 CFR Part 35, Order 1000, 136 FERC ¶ 61,051 (July 21, 2011), http://www.ferc.gov/industries/electric/indus-act/trans-plan.asp and http://www.ferc.gov/whats-new/comm-meet/2011/072111/E-6.pdf.

EIPC, Phase I Report: Formation of Stakeholder Process, Regional Plan Integration, and Macroeconomic Analysis (December 2011), http://www.eipconline.com/Phase_I.html.

ISO New England, Transmission Planning Process Guide, draft (February 5, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/feb122013/index.html.

ISO New England, Transmission Planning Technical Guide, draft (February 28, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/mar202013/index.html.

Likewise, the markets and market changes may help meet future system needs by providing incentives for the development of new resources. Market changes are subject to a different stakeholder process and are described in the ISO’s Annual Markets Report (http://www.iso-ne.com/markets/mkt_anlys_rpts/annl_mkt_rpts/index.html) and Wholesale Markets Project Plan (http://www.iso-ne.com/pubs/whlsle_mkt_pln/index.html).

ISO New England Inc. Transmission, Markets, and Services Tariff (ISO tariff) (2013), http://www.iso-ne.com/regulatory/tariff/index.html, including Section II. ISO New England Open Access Transmission Tariff, http://www.iso-ne.com/regulatory/tariff/sect_2/index.html.

A balancing authority area is a group of generation, transmission, and loads within the metered boundaries of the entity (balancing authority) that maintains the load-resource balance within the area. The Eastern Interconnection consists of the interconnected transmission and distribution infrastructure that synchronously operates east of the Rocky Mountains, excluding the portion of the system located in the Electric Reliability Council of Texas (ERCOT) and Québec.

A demand resource is a capacity product, type of equipment, system, service, practice, or strategy that verifiably reduces end-use demand for electricity from the power system. Active demand resources (i.e., demand response) reduce load quickly or continuously in response to a request from the ISO for system reliability reasons or in response to a price signal. Passive demand resources are nondispatchable resources that reduce electric energy consumption that generation resources would have otherwise served and include energy-efficiency measures and “behind-the meter” distributed generation (DG) in locations that have net metering. Net metering allows power customers who generate their own electricity, such as from wind or solar power, to feed their unused electricity back into the grid.

Elective Transmission Upgrades are required to interconnect a merchant transmission facility to the ISO system (refer to Section 5.2.4). A merchant transmission facility is an independently developed and funded facility subject to the operational control of the ISO, pursuant to an operating agreement specific to each facility (refer to Section 5.2.4).

ISO New England, Transmission Planning Process Guide, draft (February 5, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/feb122013/index.html; Transmission Planning Technical Guide, draft (February 28, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/mar202013/index.html.

FERC, Order on Compliance Filings (May 17, 2013), http://www.iso-ne.com/regulatory/ferc/orders/2013/may/er13-193_er13-196_5-17_13_order_on_order_1000_compliance_filings.pdf. Also see “Order No. 1000—Transmission Planning and Cost Allocation,” FERC web page (updated May 17, 2013), http://www.ferc.gov/industries/electric/indus-act/trans-plan.asp.

Refer to the OATT, Attachment K, Section 4.1 and 4.2 for complete definitions for needs assessments and solutions studies; http://www.iso-ne.com/regulatory/tariff/sect_2/oatt/sect_ii.pdf.

Any stakeholder can designate a representative to the PAC by providing written notice to the ISO. PAC materials (2001–2013) are available at http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/index.html. PAC agendas; minutes; materials; draft reports, including stakeholder questions and ISO responses; and final reports are posted on the ISO website.

The region’s private and municipal utilities formed NEPOOL to foster cooperation and coordination among the utilities in the six-state region and ensure a dependable supply of electricity. Today, NEPOOL members serve as ISO stakeholders and market participants. More information on NEPOOL participants is available at http://www.iso-ne.com/committees/nepool_part/index.html.

Market Rule 1 (ISO tariff, Section III) (2012), http://www.iso-ne.com/regulatory/tariff/sect_3/index.html.

The current list is available at http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/projects/index.html.

Recent and archived RSP materials are available at http://www.iso-ne.com/trans/rsp/index.html. The latest and archived editions of the AMR are available at http://www.iso-ne.com/markets/mkt_anlys_rpts/annl_mkt_rpts/. The latest and archived WMPPs are available at http://www.iso-ne.com/pubs/whlsle_mkt_pln/index.html. The needs assessments and solutions studies presented to the PAC and posted on the ISO website can be obtained by contacting ISO Customer Service at 413-540-4220.

Stakeholders also can obtain publicly available network models of the transmission system through the FERC 715 process, which requires transmitting utilities that operate facilities rated at or above 100 kilovolts (kV) to submit information to FERC annually; see http://www.ferc.gov/docs-filing/forms/form-715/overview.asp. ISO New England Information Policy (ISO tariff, Attachment D) (2013) contains the requirements for controlling the disclosure of CEII and confidential information; see http://www.iso-ne.com/regulatory/tariff/attach_d/index.html.

“ISO New England Filings and Orders” web page, http://www.iso-ne.com/regulatory/ferc/orders/index.html. FERC, Preventing Undue Discrimination and Preference in Transmission Service, 18 CFR Parts 35 and 37, Order 890 (February 16, 2007), http://www.ferc.gov/whats-new/comm-meet/2007/021507/E-1.pdf. NERC Reliability Standards (2012), http://www.nerc.com/page.php?cid=2|20. NPCC Regional Standards (2012), https://www.npcc.org/Standards/default.aspx. ISO New England Planning Procedures, http://www.iso-ne.com/rules_proceds/isone_plan/index.html. ISO New England Operating Procedures, http://www.iso-ne.com/rules_proceds/operating/index.html. Information on NERC requirements is available at http://www.nerc.com. Information on NPCC is available at http://www.npcc.org/. Also see Sections 7.2.4 and 7.2.5.

“Transmission Operating Agreements” web page, http://www.iso-ne.com/regulatory/toa/index.html.

FERC, “Transmission Planning and Cost Allocation,” web page, http://www.ferc.gov/industries/electric/indus-act/trans-plan.asp.

The ISO is not responsible for portions of northern and eastern Maine. The Northern Maine Independent System Administrator, Inc. (NMISA) is a nonprofit entity responsible for the administration of the northern Maine transmission system and electric power markets in Aroostook and Washington counties, which has a peak load of approximately 132 MW. NMISA, Seven-Year Outlook: An Assessment of the Adequacy of Generation and Transmission Facilities of the Northern Maine Transmission System (June 2012), http://www.nmisa.com/docs/2012_NMISA_7_Year_Adequacy_Base_Case.pdf.

For more information on New England wholesale electricity markets, see the ISO’s 2012 Annual Markets Report (AMR12) (May 15, 2013), http://www.iso-ne.com/markets/mkt_anlys_rpts/annl_mkt_rpts/index.html, and an Overview of New England’s Wholesale Electricity Markets and Market Oversight (Markets Overview Report) (May 15, 2013), http://www.iso-ne.com/markets/mktmonmit/rpts/other/index.html.

Installed capacity is the megawatt capability of a generating unit, dispatchable load, external resource or transaction, or demand resource that qualifies as a participant in the ISO’s Forward Capacity Market according to the market rules. Additional information is available at http://www.iso-ne.com/markets/othrmkts_data/fcm/index.html.

Regulation is the capability of specially equipped generators to increase or decrease their generation output every four seconds in response to signals they receive from the ISO to control slight changes on the system.

A contingency is the sudden loss of a generation or transmission resource. A system’s first contingency (N−1) is when the power element (facility) with the largest impact on system reliability is lost. A second contingency (N−1−1) takes place after a first contingency has occurred and is the loss of the facility that at that time has the largest impact on the system.

Fast-start resources can be electrically synchronized to the system quickly and reach claimed capability (i.e., a generator’s maximum production or output) within 10 to 30 minutes to respond to a contingency and serve demand.

The ISO tariff allows loads that meet specified requirements to request and receive nodal pricing.

See Market Rule 1, Section III.2.7, of the ISO tariff, http://www.iso-ne.com/regulatory/tariff/sect_3/mr1_sec_1-12.pdf.

Real-time emergency generation is distributed generation (i.e., the use of electricity generated on site; DG) the ISO calls on to operate during certain voltage-reduction or more severe actions but must limit its operation to 600 MW to comply with the generation’s federal, state, or local air quality permit(s) or combination of permits, as well as the ISO’s market rules. RTEG operations result in curtailing load on the grid, as the distributed energy provided by the emergency generator begins serving demand.

The ISO’s Capacity, Energy, Load, and Transmission (CELT) Reports and associated documentation contain more detailed information on short- and long-run forecast methodologies, models, and inputs; weather normalization; regional, state, subarea, and load-zone forecasts of annual electric energy use and peak loads; high- and low-forecast bandwidths; and retail electricity prices. They are available at “CELT Forecasting Details 2013,” http://www.iso-ne.com/trans/celt/fsct_detail/index.html. Also see 2013–2021 Forecast Report of Capacity, Energy, Loads, and Transmission (May 2013), http://www.iso-ne.com/trans/celt/report/, and ISO Seasonal Peaks since 1980 (May 13, 2013), http://www.iso-ne.com/markets/hstdata/rpts/ann_seasonal_pks/index.html.

Edward Friedman, Fiscal Policy Remains Key to Outlook, PAC presentation (Moody’s Analytics, January 16, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/jan162013/index.html.

The 50/50 “reference” case peak loads have a 50% chance of being exceeded because of weather conditions. For the reference case, the summer peak load is expected to occur at a weighted New England-wide temperature of 90.2°F, and the winter peak load is expected to occur at 7.0°F. The 90/10 “extreme” case peak loads have a 10% chance of being exceeded because of weather. For the extreme case, the summer peak is expected to occur at a temperature of 94.2°F, and the winter peak is expected to occur at a temperature of 1.6°F.

Preliminary ISO-NE Annual Energy & Seasonal Peak Forecast 2013–2022, PAC presentation (Preliminary Forecast 2013–2022 presentation) (February 12, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/feb122013/a3_load_forecast.pdf.

The compound annual growth rate (CAGR) is calculated as follows:

Preliminary Forecast 2013–2022 presentation, slide 18.

OP 4 actions include allowing the depletion of the 30-minute reserves and partial depletion of the 10-minute reserves (1,000 MW) (see Section 4.2), scheduling market participants’ submitted emergency transactions and arranging emergency purchases between balancing authority areas (1,600 to 2,000 MW), and implementing 5% voltage reductions (400 to 450 MW). System conditions and the effectiveness of OP 4 actions affect the extent of the actions. Operating Procedure No. 4, Action during a Capacity Deficiency (December 9, 2011), http://www.iso-ne.com/rules_proceds/operating/isone/op4/index.html.

Weather conditions during the actual peak summer loads were slightly below the expected 90/10 weather conditions for 1994, 1999, 2001, and 2002, and weather conditions were slightly above the expected 90/10 weather during both the 2006 and 2010 peaks. A spreadsheet containing historical annual peak loads and associated weather conditions since 1980 is available at http://www.iso-ne.com/markets/hstdata/rpts/ann_seasonal_pks/seasonal_peak_data_summary.xls.

Economy.com forecasts of New England gross state product (millions of 2005 $) from November 2012 and November 2011 forecasts.

Preliminary Forecast 2013–2022 presentation, slide 10.

2013 CELT Report (May 2013), http://www.iso-ne.com/trans/celt/report/index.html. Copies of all CELT reports are available at http://www.iso-ne.com/trans/celt/index.html. The ICR is the amount of capacity the New England region will need in a particular year to meet its NPCC resource adequacy planning criteria; see Section 4.1.1 for additional information.

Other demand resources, an asset category that was retired on May 31, 2010, at the end of the transition period leading to the FCM, consisted of energy-efficiency measures, load management, and distributed generation—typically nondispatchable resources that tend to reduce end-use demand on the electricity network across many hours but usually not in direct response to changing hourly wholesale prices. For additional information on ODRs, refer to AMR10, Section 2.7, http://www.iso-ne.com/markets/mkt_anlys_rpts/annl_mkt_rpts/index.html.

Forecasts of net energy for load and peak loads are “gross loads.” Additional details of the loads are available at “CELT Forecasting Details 2013,” http://www.iso-ne.com/trans/celt/fsct_detail/index.html. Also see the full 2013 CELT report, 2013–2024 Forecast Report of Capacity, Energy, Loads, and Transmission (May  2013), http://www.iso-ne.com/trans/celt/report/.

For additional information, refer to the pricing node tables available at “Settlement Model Information,” http://www.iso-ne.com/stlmnts/stlmnt_mod_info/index.html.

State-sponsored EE programs consist of various efforts designed to reduce energy consumption. These efforts generally are funded by multiple sources, including a system benefits charge (SBC) applied to customer bills, the Regional Greenhouse Gas Initiative (RGGI) auction revenues (see Section 6.3.2.4), and state EE policy funds. More information on the methodology used to develop the EE forecast is available at the ISO’s “Energy-Efficiency Forecast Working Group,” web page (2013), www.iso-ne.com/eefwg.

A capacity commitment period, also referred to as a capability year, is the one-year period from June 1 through May 31 of the following year for which Forward Capacity Market obligations are assumed and payments are made (see Section 4.1).

ISO New England, 2013 Energy Efficiency Forecast (February 22, 2013), http://www.iso-ne.com/eefwg.

The ISO’s Generator Interconnection Queue includes the requests submitted by generators to interconnect to the ISO New England-administered transmission system (see Section 4.4.3).

Deterministic analyses are snapshots of assumed specific conditions that do not quantify the likelihood that these conditions will actually materialize. The results are based on analyzing the assumed set of conditions representing a specific scenario.

Established ICR values refer to the values that either FERC has approved or the ISO has filed with FERC for approval. Representative net ICR values are the representative ICRs for the region, minus the tie-reliability benefits associated with the Hydro-Québec Interconnection Capability Credits (HQICCs). As defined in the ISO’s tariff, the HQICC is a monthly value that reflects the annual installed capacity benefits of the HQ Interconnection, as determined by the ISO using a standard methodology on file with FERC. The ISO calculates representative net ICR values solely to inform New England stakeholders; these values have not and will not be filed with FERC for approval. The values for FCA #8 for the 2017/2018 CCP are scheduled to be filed with FERC in November 2013.

ISO New England, 2012–2021 Forecast Report of Capacity, Energy, Loads, and Transmission (May 2012),  http://www.iso-ne.com/trans/celt/report/2012/index.html.

The most recent version of this presentation, Future Representative Capacity Requirements for 2017/18–2021/22 (November 14 2012), is available at http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2012/nov142012/representative_icr_values_pac_nov2012.pdf.

Resulting reserves are the amount of capacity in excess of the forecast 50/50 peak load. Percentage resulting reserves = [{(Net ICR − 50/50 peak load) ÷ 50/50 peak load} × 100].

Future Representative Capacity Requirements for 2017/18–2021/22, PAC presentation (November 14, 2012), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2012/nov142012/representative_icr_values_pac_nov2012.pdf.

Probabilistic analyses use statistical estimates of the likelihood of an event taking place and explicitly recognize that the inputs are uncertain.

MCLs and LSRs are based on network models using transmission facilities that will be in service no later than the first day of the relevant capacity commitment period.

The ICR requirements for 2013/2014 to 2016/2017 are available in the FERC filings at http://www.iso-ne.com/regulatory/ferc/filings/2011/mar/er11-3048-000_03-08-11_icr_2014-2015.pdf, http://www.iso-ne.com/regulatory/ferc/filings/2012/jan/er12-756-000_01-03-12_icr_2015-2016_filing.pdf, and http://www.iso-ne.com/regulatory/ferc/filings/2012/nov/er13-495-000_11-30-12_icr_aras.pdf. The ISO filed with FERC the results of FCA #7, which was held on April 4-5, 2013, for the 2016/2017 capacity commitment period. ISO New England Inc., Forward Capacity Auction Results Filing, Docket NO. ER12-___000 (April 30, 2012), http://www.iso-ne.com/regulatory/ferc/filings/2013/feb/er13-992-000_2-26-13_7th_fca_results_filing.pdf. The ISO provided PAC with representative values for LSRs for both NEMA/Boston and Connecticut and an MCL for Maine. See http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2012/nov142012/representative_icr_values_pac_nov2012.pdf.

The 2013 CELT Report, Section 3 and Appendix D (May 2013) (http://www.iso-ne.com/trans/celt/report/index.html) contains the FCM capacity supply obligations for all capacity resources by load zone.

FERC, Order on Tariff Revisions to the Forward Capacity Market (March 30, 2012), http://www.iso-ne.com/regulatory/ferc/orders/2012/mar/er12-953-000_3-30-12_order_fcm_redesign_ext.pdf.

ISO New England, Compliance Filing Revisions to Forward Capacity Market Rules (December 3, 2012), http://www.iso-ne.com/regulatory/ferc/filings/2012/dec/er12-953-001_12-3-12_fcm_redesign_compl.pdf.

FERC, Order Accepting in Part, and Rejecting in Part, FCM Compliance Filing (February 12, 2013), http://www.iso-ne.com/regulatory/ferc/orders/2013/feb/er12-953-001_2-12-13_order_fcm_compliance.pdf; FERC, Order on Compliance Filing (May 31, 2013), http://www.iso-ne.com/regulatory/ferc/orders/2013/may/er12-953-002_5-31-13_order_accept_fcm_compliance.pdf.

An administrative export delist bid is a type of bid submitted during a Forward Capacity Auction for a capacity export resource associated with multiyear contracts but wanting to opt out of a capacity supply obligation.

Market Rule 1, http://www.iso-ne.com/regulatory/tariff/sect_3/index.html.

ISO Operating Procedure No. 8, Operating Reserve and Regulation (January 7, 2011), http://www.iso-ne.com/rules_proceds/operating/isone/op8/op8_rto_final.pdf.

ISO Operating Procedure No. 19, Transmission Operations (June 1, 2010), http://www.iso-ne.com/rules_proceds/operating/isone/op19/op19_rto_final.pdf.

For more information, refer to Assessment of Resource Performance and Operating Reserve Requirements, Reliability Committee presentation (June 20, 2012), http://www.iso-ne.com/committees/comm_wkgrps/relblty_comm/relblty/mtrls/2012/jun202012/a7_tmnsr_requirement_analysis.pptx.

In November 2012, the ISO and the NEPOOL Participants Committee jointly submitted a filing to FERC proposing to revise the market rules to procure additional 10-minute nonspinning reserve (TMNSR) in the Forward Reserve Market, effective March 1, 2013. See ISO New England Inc. and New England Power Pool, Docket No. ER13-___-000, Market Rule 1 Revision Relating to the Procurement of Ten-Minute Nonspinning Reserve in the Forward Reserve Market, FERC filing (November 27, 2012), http://www.iso-ne.com/regulatory/ferc/filings/2012/nov/er13-465-000_11-27-2012_proc_ten-min_rule.pdf and FERC Revisions to Forward Reserve Market Rules to Permit the Procurement of Additional Ten-Minute Nonspinning Reserve, FERC order (February 8, 2013), http://www.iso-ne.com/regulatory/ferc/orders/2013/feb/er13-465-000_2-8-13_tmnsr_order.pdf.

For more information about replacement reserves, see In-Day Reserves and Supplemental Procurement, Reliability Committee presentation (February 14, 2013), http://www.iso-ne.com/committees/comm_wkgrps/relblty_comm/relblty/mtrls/2013/feb142013/a12_in_day_reserves.pptx.

Reserve Constraint Penalty Factors are administratively set limits on redispatch costs ($/MWh) the system will incur to meet reserve constraints. Refer to the ISO’s Markets Overview Report for additional information on RCPFs; http://www.iso-ne.com/pubs/spcl_rpts/index.html. FERC, Revisions to Establish a Reserve Constraint Penalty Factor for the Replacement Reserve Requirement, letter order, Docket No. ER13-1736-000 (August 15, 2013), http://www.iso-ne.com/regulatory/ferc/orders/2013/aug/index.html. FERC, Revisions Concerning Forward Reserve Market Incentives, letter order, Docket No. ER13-1733-000 (August 15, 2013), http://www.iso-ne.com/regulatory/ferc/orders/2013/aug/index.html.

Also see New England Regional System Plan (RSP13) Representative Future Locational Forward Reserve Requirements, PAC presentation (June 19, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/jun192013/index.html.

While the estimates for operating-reserve requirements are based on expected future operating conditions, annual market requirements are based on historical data that reflect the actual previous seasonal system conditions; actual market requirements are calculated immediately before each locational FRM procurement period.

Market Rule 1, Standard Market Design (ISO tariff, Section III) (2011), defines the types of reserves that can meet these requirements; http://www.iso-ne.com/regulatory/tariff/sect_3/index.html.

Economic-merit order (i.e., in merit or in merit order) is when the generators with the lowest-price offers are committed and dispatched first, and increasingly higher-priced generators are brought on line as demand increases. Out-of-merit dispatch occurs when generators are run less economically to respect system reliability requirements.

In some circumstances, when transmission contingencies are more severe than generation contingencies, shedding some load may be acceptable.

Operating Procedure No. 4, Action during a Capacity Deficiency (December 15, 2011), http://www.iso-ne.com/rules_proceds/operating/isone/op4/index.html. Operating Procedure No. 7, Action in an Emergency (June 26, 2011), http://www.iso-ne.com/rules_proceds/operating/isone/op7/index.html.

Net Installed Capacity Requirements, Indicative Future Net ICR and Operable Capacity Analysis for 2012 Regional System Plan, PAC presentation (June 19, 2012), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2012/jun192012/net_icr.pdf.

The ISO provides monthly updates on the status of active generation interconnection requests, NEPOOL Participant Committee COO Report for Monthly Updates (Monthly COO Report). See the April 2013 monthly COO Report in the NEPOOL Participant Committee materials at http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/prtcpnts/mtrls/index.html.

The CMA subarea in Massachusetts has no megawatts proposed in the active queue.

In addition to the Monthly COO Reports, information on the queue is available at http://www.iso-ne.com/genrtion_resrcs/nwgen_inter/index.html.

The projects proposed but discontinued faced problems associated with financing, licensing, insufficient market incentives, or other issues. More information on interconnection projects is available at “Interconnection Status” (updated monthly), http://www.iso-ne.com/genrtion_resrcs/nwgen_inter/status/index.html.

Higher tie-reliability benefits and reductions in the net ICR would increase the frequency and depth of OP 4 actions.

Past RSPs are available at http://www.iso-ne.com/trans/rsp/index.html. PAC materials and reports are available at http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/index.html.

ISO New England, Transmission Planning Process Guide, draft, http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/feb122013/index.html; Transmission Planning Technical Guide, draft, http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/mar202013/index.html.

See the OATT, Section II.B, Attachment N, “Procedures for Regional System Plan Upgrades,”
http://www.iso-ne.com/regulatory/tariff/sect_2/oatt/index.html.

The Network Capability Interconnection Standard is an energy-only standard that includes the minimum criteria required to permit a generator to connect to the transmission system so that it has no adverse impacts on the reliability, stability, or operation of the system, including the degradation of transfer capability for interfaces affected by the generating facility. The Capacity Capability Interconnection Standard is a capacity and energy standard that includes the same criteria as the Network Capability Interconnection Standard but also includes criteria to ensure intrazonal deliverability by avoiding the redispatch of other capacity network resources. Before October 29, 1998, Generator Interconnection-Related Upgrades included cost responsibility for additional upgrades beyond those required to satisfy the minimum interconnection standard. The OATT, Section 22, defines the standards; http://www.iso-ne.com/regulatory/tariff/sect_2/sch22/index.html.

The filing for the addition or modification to the transmission upgrade must be in accordance with the OATT, Section II.47.2, on a date after the RSP Project List (as of the date of that application) already has documented the addition or modification, other than as an Elective Transmission Upgrade.

Pool transmission facilities are the facilities rated 69 kV or above owned by the participating transmission owners, over which the ISO has operating authority in accordance with the terms set forth in the Transmission Operating Agreements. Refer to the OATT, Section II.49, 109, for additional specifications, http://www.iso-ne.com/regulatory/tariff/sect_2/oatt/sect_ii.pdf.

PAC materials and meeting minutes are available at http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/index.html. The RSP Project List is available at http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/projects/index.html.

The range for the $5.7 billion cost estimate is $4.4 to $6.9 billion.

Regional network service is the transmission service over the PTFs, including services used for network resources or regional network load not physically interconnected with a PTF.

Revised RNS and S&D Rates Effective June 1, 2013–May 31, 2014, “Rate Development Supporting Documents,” web page (August 16, 2013), http://www.iso-ne.com/stlmnts/iso_rto_tariff/supp_docs/2013/index.html.

One exception is that Aroostook and Washington Counties in Maine are served radially from New Brunswick.

Further details about individual transmission projects can be obtained by contacting ISO Customer Service at (413) 540-4220. As part of the PAC materials, the ISO includes study schedules of system performance needs assessments and solutions studies.

The flows vary with system conditions, as shown by the 2012 historical market data, which include the occurrence of northbound flows. See RSP13 2012 Historical Market Data: Locational Marginal Prices, Interface MW Flows, PAC presentation (January 16, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/jan162013/a4_2012_lmp_and_interface_011613.pdf.

Wind Development in Constrained Areas, PAC presentation (March 21, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2013/mar212013/a5_wind_development_in_constrained_areas_new.pdf.

Maine Power Reliability Program (MPRP) Steady State Needs Assessment, PAC presentation (May 14, 2007), https://smd.iso-ne.com/trans/sys_studies/rsp_docs/pres/2007/maine_power_reliability_program_steady_state_needs_assessment.pdf. Final Report Maine Power Reliability Program Needs Assessment of the Maine Transmission System (June 19, 2007), https://smd.iso-ne.com/trans/sys_studies/rsp_docs/pres/2007/maine_power_reliability_program_needs_assessment_final_report.pdf.

Northern Maine System Performance, PAC presentation (September 21, 2010), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2010/sep212010/northern_maine.pdf.

Maine Power Reliability Program (MPRP): Transfer Capability Study Results, PAC presentation (December 13, 2012), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2012/dec132012/mprp_transfer_limits.pdf.

Wind Development in Constrained Areas, PAC presentation (March 21, 2013) http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2013/mar212013/a5_wind_development_in_constrained_areas_new.pdf.

The Vermont Long-Range Transmission Plan identifies reliability concerns and the transmission alternatives to address these concerns. The plan serves as the basis for considering whether alternatives, including new generation and energy efficiency, can meet Vermont's reliability needs. It also provides information about transmission projects that may be needed to maintain grid reliability.

VELCO, 2012 Vermont Transmission System Long-Range Plan (July 1, 2012), http://www.velco.com/LongRange/Pages/2012Long-RangeTransmissionPlan.aspx.

New Hampshire/Vermont Transmission System 2011 Needs Assessment (November 2011), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/reports/2011/nhvt_2011_needs.pdf.

Nontransmission Alternatives Analysis, Results of the NH/VT Pilot Study (May 26, 2011), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2011/may262011/nta_analysis.pdf.

NYISO and NYPA have informed ISO New England that in 2013 the Moses-Willis 230 kV double-circuit towers in northern New York will be separated. Interregional planning studies are coordinated through the Joint ISO/RTO Planning Committee (JIPC) (see Section 7.2.5).

Follow-Up Analysis to the New Hampshire/Vermont Solutions Study (NH/VT Solutions Study Follow Up) (April 2012), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/reports/2012/final_nhvt_solutions_followup.pdf. Final NH/VT Transmission Follow-Up Appendices (April 13, 2012), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/reports/2012/nhvt_sol_followup_apps.pdf. Also see the ISO’s web page, “Study Area: Vermont and New Hampshire” (2012), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/key_study_areas/vt_nh/index.html.

New Hampshire/Vermont Transmission Solutions Study Report (April 2012), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/reports/2012/nhvt_solutions_report.pdf.

New Hampshire/Vermont 2022 Needs Assessment Study Scope (June 2013), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/reports/2013/a_final_nh_vt_2022_needs_scope.pdf.

New Hampshire/Vermont 2022 Needs Assessment Results (June 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/jun192013/index.html.

Vermont Shunt Reactor Needs and Alternatives, PAC presentation (February 16, 2011), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2011/feb162011/vt_reactors.pdf.

Vermont Substation Rebuilds and Reactive Device Additions, PAC presentation (July 15, 2010), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2010/jul152010/vt_sub_rebuilds.pdf.

VELCO, Highgate Converter Station Cooling and Control System Refurbishment (February 16, 2011), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2011/feb162011/highgate.pdf.

Overview—New Hampshire Second Deerfield Autotransformer, PAC presentation (June 4, 2008), http://www.iso-ne.com/trans/sys_studies/rsp_docs/pres/2008/deerfield_area.pdf. New Hampshire Second Deerfield Autotransformer—Update to June 2008, PAC presentation (December 16, 2008), http://www.iso-ne.com/trans/sys_studies/rsp_docs/pres/2008/deerfield.pdf. Second 345/115-kV Deerfield Autotransformer Proposed Plan Application Analysis Report (June 16, 2009), http://www.iso-ne.com/committees/comm_wkgrps/relblty_comm/relblty/ceii/ceii_mtrls/2009/jun162009/2nd_deerfield_txfmr_rev1_ppa.zip.

MPRP Steady State Needs Assessment, PAC presentation (May 14, 2007), https://smd.iso-ne.com/trans/sys_studies/rsp_docs/pres/2007/maine_power_reliability_program_steady_state_needs_assessment.pdf. MPRP Needs Assessment of the Maine Transmission System, final report (June 19, 2007), https://smd.iso-ne.com/trans/sys_studies/rsp_docs/pres/2007/maine_power_reliability_program_needs_assessment_final_report.pdf.

Maine Power Reliability Program (MPRP) Transmission Alternatives—Revised, PAC presentation (January 24, 2008), https://smd.iso-ne.com/trans/sys_studies/rsp_docs/pres/2008/amprprevised.pdf. Final Report Maine Power Reliability Program Transmission Alternatives Assessment for the Maine Transmission System (June 10, 2008), https://smd.iso-ne.com/trans/sys_studies/rsp_docs/pres/2008/mprp_final_report.pdf. The Maine Power Reliability Program Transmission Alternatives Assessment for the Maine Transmission System (May 30, 2008) describes the original version of this project in more detail. The CMP Maine Power Reliability Program Proposed Plan Application Analyses Addendum Report (February 6, 2009) updates the project descriptions.

Central Maine Power Company and Public Service of New Hampshire, Request for Certificate of Public Convenience and Necessity for the Maine Power Reliability Program Consisting of the Construction of Approximately 350 miles of 345 kV and 115 kV Transmission Lines, Maine PUC Docket No. 2008-255 (July 31, 2008), http://www.cmpco.com/OurCompany/MPRP_CPCN_APPLCTN.html, see MPRP CPCN Volume I, Petition.

PSNH and CMP. Joint Supplemental Filing with Respect to Termination of Section 3022 Adjacent to Existing Three Rivers Substation, Maine PUC Docket No. 2008-255 (July 26, 2010).

Dave Conroy, Maine Power Reliability Program Update, PAC presentation (CMP, September 21, 2010), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2010/sep212010/cmp_mprp.pdf.

Because the “Lewiston Loop” section of MPRP is still under MPUC review, it currently has an in-service date of late 2015.

Bangor Hydro’s Northern System Review, PAC presentation (June 4, 2008), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2008/bhe.pdf.

The 345 kV Reliability Project in Boston added new 345 kV cables between Stoughton, Hyde Park, and K Street substations and is often referred to as the Stoughton Cables Project. In Southwest Connecticut, the Phase I Project added a new 345 kV circuit between Plumtree and Norwalk substations and is often referred to as the Bethel–Norwalk Project. The Phase II project added a new 345 kV circuit between Beseck, East Devon, Singer, and Norwalk substations and is often referred to as the Middletown–Norwalk Project.

A lower load forecast, new supply and demand resources, and the potential unavailability of the Vermont Yankee generating facility drove the need to reassess these upgrades. An area with constantly growing load and no added new resources would not need to be reassessed.

GHCC Needs Assessment—Scope of Work, final (July 2012); GHCC Needs Assessment Scope of Work Appendices, final (July 2012); and ISO Response to Stakeholder Comments on GHCC Scope of Work (June 10, 2011), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/reports/2012/.

New England East–West Solution (NEEWS) Rhode Island and Springfield Current Needs Assessments (June 17, 2009), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2009/jun172009/neews.pdf.

New England East-West Solution (NEEWS): Interstate Reliability Project Component Updated Needs Assessment (April 2011), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/reports/2011/neews_interstate_final.pdf. New England East-West Solution (NEEWS): Interstate Reliability Project Component Updated Solutions Study Report (February 2012), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/reports/2012/neews_interstate_solution.pdf. Follow-Up Analysis to the 2011 New England East-West Solution (NEEWS): Interstate Reliability Project Component Updated Needs Assessment (September 2012), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/reports/2012/neews_needs_addendum_final.pdf. Follow-Up Analysis to the 2012 New England East–West Solution (NEEWS): Interstate Reliability Project Component Updated Solution Study (September 2012), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/reports/2012/neews_sol_addendum_final.pdf.

The original Interstate Project included the following major components: a new Millbury–West Farnum–Lake Road–Card Street 345 kV line and associated substation upgrades; four 345 kV, 120 MVAR capacitor banks at Montville; and the looping in of the Millstone–Manchester 345 kV line into the Card Street substation.

Greater Boston Area Transmission Needs Assessment (July 8, 2010), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/reports/2011/index.html.

Greater Boston Study Needs Assessment/Solution Study Status Update, PAC presentation (March 2012), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2012/mar142012/gbwg_update.pdf.

Greater Boston Study Needs Assessment and Solutions Study Status Update, PAC presentation (July 9, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/jul92013/index.html.

Pittsfield–Greenfield MA Area Transmission: Preferred Solution and Alternatives Study, PAC presentation (October 21, 2010), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2010/oct212010/pittsfield-greenfield.pdf.

Pittsfield-Greenfield 2022 Needs Assessment: N-1 and N-1-1 Results, PAC presentation (July 9, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/jul92013/index.html.

Power system equipment must be able to withstand and interrupt short circuits. The highest level of expected short-circuit currents is called fault-duty availability.

SWCT Area Transmission Needs Assessment (July 13, 2011), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/reports/index.html.

SWCT Update on Continuing Alternatives Analyses (November 16, 2011), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2011/nov162011/swct_solution_study.pdf.

Southwest Connecticut Advanced Solutions Introduction (April 13, 2011), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2011/apr132011/swct_adv_sol_intro.pdf. SWCT Advanced Solutions Mill River to Quinnipiac 8300 Line Reconfiguration Project (April 13, 2011), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2011/apr132011/8300_line.pdf. SWCT Advanced Solutions Stamford Reliability Project (April 13, 2011), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2011/apr132011/stamford.pdf.

Southwest Connecticut 2022 Needs Assessment (May 23, 2013), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2013/may232013/a3_swct_needs_assessment_052313.pdf.

Greater Hartford and Central Connecticut Area Needs Assessment Scope of Work (March 16, 2011), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2011/mar162011/ghcc.pdf.

Eastern Connecticut Area Needs Assessment Updates, PAC presentation (July 9, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/jul92013/index.html.

Western Massachusetts Transmission Reinforcements 2007 to 2017 (September 2007), http://www.iso-ne.com/committees/comm_wkgrps/relblty_comm/relblty/mtrls/2007/oct102007/zip2_western_ma_ppa.zip.

National Grid, Auburn St. Substation Upgrades System Impact Study (November 2007) and Auburn St. Substation and Area Transmission System Reliability Study (July 2007), http://www.iso-ne.com/committees/comm_wkgrps/relblty_comm/relblty/mtrls/2007/dec192007/Zip%203%20auburn%20area.zip.

Lower SEMA Short-Term Upgrades System Impact Study Steady-State Analysis (May 3, 2007), http://www.iso-ne.com/committees/comm_wkgrps/relblty_comm/relblty/mtrls/2007/aug82007/zip1b_study-reports.zip.

This circuit’s designated line number is “115,” coincidentally the same as the voltage class.

Greater Rhode Island Transmission Reinforcements (March 2008), http://www.iso-ne.com/committees/comm_wkgrps/relblty_comm/relblty/mtrls/2008/apr152008/zip1_gri-study-reports.zip.

Northeast Utilities, Millstone 345 kV Circuit Separation Project and SLOD Special Protection System Retirement, PAC presentation (January 19, 2011), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2011/jan192011/millstone.pdf.

SWCT Advanced Solutions–Mill River to Quinnipiac 8300 Line Reconfiguration (April 13, 2011), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2011/apr132011/8300_line.pdf.

SWCT Advanced Solutions–Stamford Reliability Project (April 13, 2011), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2011/apr132011/stamford.pdf.

Follow-Up Analysis to the New Hampshire/Vermont Solutions Study (April 2012), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/reports/2012/final_nhvt_solutions_followup.pdf.

Greater Boston Needs Assessment/Solutions Study Status Update, PAC presentation (June 2011), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2011/jun302011/index.html. Greater Hartford and Central Connecticut Area (GHCC) Needs Assessment II (January 2013), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2013/jan162013/a8_ghcc_needs_assessment_ii_011613.pdf.

Load Pockets—2012, PAC presentation (July 18, 2012), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2012/jul182012/load_pockets_2012.pdf.

NCPC is a “make-whole” payment to a supply resource that responded to the ISO’s dispatch instructions but did not fully recover its start-up and operating costs in either the Day-Ahead or Real-Time Energy Markets.

ISO New England, Forward Capacity Auction Results, FERC filing (August 30, 2010), http://www.iso-ne.com/regulatory/ferc/filings/2010/aug/er10-2477-000_08-30-10_fca_4_results.pdf. FERC, Order on Forward Capacity Auction Results Filing (December 16, 2010), http://www.iso-ne.com/regulatory/ferc/orders/2010/dec/er10-2744-000_12-16-10_order_fca_results.pdf.

A nonprice retirement request is an irrevocable request submitted in a FCA to retire the entire capacity of a resource, subject to an ISO review for reliability impacts and that supersedes any other delist bids submitted. If the ISO determines the system needs the resource for reliability, the resource owner can either retire the resource as requested or continue to operate it until the reliability need has been met and then retire the resource. The ISO’s website for the nonprice retirement determination letters and resource responses in 2011 is http://www.iso-ne.com/genrtion_resrcs/reports/non_prc_retremnt_lttrs/2011/index.html.

ISO New England, Forward Capacity Auction Results, FERC filing (June 27, 2011), http://www.iso-ne.com/regulatory/ferc/filings/2011/jun/er11-3891-000_06-27-11_fca_5_results_filing.pdf.

ISO New England, Forward Capacity Auction Results, FERC filing (April 30, 2012), http://www.iso-ne.com/regulatory/ferc/filings/2012/apr/index.html.

An administrative export delist bid for 100 MW also was submitted for FCA #7, but the ISO does not review or analyze this type of bid. Thus, the total for all delist bids for this FCA was 1,660 MW. Refer to the ISO’s Markets Overview Report for more information on delist bids; http://www.iso-ne.com/pubs/spcl_rpts/index.html.

AMR12, appendix, http://www.iso-ne.com/markets/mkt_anlys_rpts/annl_mkt_rpts/index.html. AMR12 also states that the total day-ahead congestion revenue in 2012 was $29.3 million.

This total includes seven projects in 2002, 26 projects in 2003, 30 projects in 2004, 51 projects in 2005, 55 projects in 2006, 36 projects in 2007, 64 projects in 2008, 38 projects in 2009, 37 projects in 2010, 44 projects in 2011, 60 projects in 2012, and 27 additional projects through June 2013. The June 2013 RSP Project List shows that 47 more projects are due in service by the end of 2013.

ISO New England, “Strategic Planning Initiative,” web page (2013), http://www.iso-ne.com/committees/comm_wkgrps/strategic_planning_discussion/index.html.

Generating capacity has retired at Salem Harbor, AES Thames, and Somerset; Bridgeport Harbor failed to qualify for FCA #7; and Norwalk Harbor Stations dynamically delisted in FCA #7, for a total of 1,493 MW (596 MW coal fired and 897 MW oil fired).

Information on the January 2004 cold snap is available at http://www.iso-ne.com/pubs/spcl_rpts/2005/index.html.

The maximum snowfalls across most of the region ranged from 30 to 40 inches, except for Vermont where the maximum snowfall was 17 inches. Wind speeds exceeded 80 miles per hour in some parts of southern New England. Temperatures during the storm were not as cold as during the January 2013 period discussed above.

NEPOOL Participants Committee minutes, supplemental notice (April 1, 2013), p. 2,951, http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/prtcpnts/mtrls/2013/apr52013/npc_20130405_supp_notice.pdf.

Market Rule 1, http://www.iso-ne.com/regulatory/tariff/sect_3/index.html. The ISO’s AMR12, Section 2.1.3.4, contains additional information on the LEG provisions; http://www.iso-ne.com/markets/mkt_anlys_rpts/annl_mkt_rpts/index.html.

NEPOOL Participants Committee Report, NEPOOL Participants Committee presentation (February 1, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/prtcpnts/mtrls/2013/feb12013/index.html, and Winter Operations Summary: January–February 2013, draft paper (February 27, 2013), http://www.iso-ne.com/committees/comm_wkgrps/strategic_planning_discussion/materials/index.html.

EIA, “US Liquefied Natural Gas Imports,” web page table (July 31, 2013), http://www.eia.gov/dnav/ng/hist/n9103us2m.htm.

Bentek Energy, Northeast Gas Supply Dynamics, NGA 2013 Regional Market Trends Forum, April 30, 2013.

One dekatherm (1 Dth) is approximately equivalent to one million British thermal units (1 MMBtu) and one thousand cubic feet (1 Mcf).

Northeast Gas Association, Planned Enhancements, Northeast Natural Gas Pipeline Systems (August 5, 2013). Under development, the Northeast Expansion Project has a proposed capacity of 0.5 to 17 Bcf/d by adding capacity into upstate New York and New England.

ICF International, Assessment of New England’s Natural Gas Pipeline Capacity to Satisfy Short and Near-Term Electric Generation Needs, draft report (June 15, 2012), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/reports/2012/gas_study_ceii.pdf. Also see the ISO’s memo to the PAC regarding this study (June 15, 2012), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/reports/2012/gas_study_ltr.pdf.

Addressing Gas Dependence, white paper (July 2012), http://www.iso-ne.com/committees/comm_wkgrps/strategic_planning_discussion/materials/natural-gas-white-paper-draft-july-2012.pdf.

PJM Interconnection is the RTO for all or parts of Delaware, Illinois, Indiana, Kentucky, Maryland, Michigan, New Jersey, North Carolina, Ohio, Pennsylvania, Tennessee, Virginia, and the District of Columbia.

EIA, “Natural Gas Consumption by End Use,” web page (July 31, 2013), http://www.eia.gov/dnav/ng/ng_cons_sum_dcu_nus_m.htm.

ISO New England, Fuel Dependence Risk: Winter 2013/14 Issues and Solutions, Reliability Committee/Markets Committee presentation (March 19, 2013), http://www.iso-ne.com/committees/comm_wkgrps/mrkts_comm/mrkts/mtrls/2013/mar192013/a2_winter_2013_2014_fuel_dependence_risks_03_20_13.pdf and “Key Project: Energy Market Enhancements,” web page (2013), http://www.iso-ne.com/key_projects/energy_mrkt_enhancements/index.html. ISO New England Inc., Docket No. ER13-1851- ___; Emergency Amendments to Pending Filing Regarding the Winter 2013-14 Reliability Program, FERC filing (August 9, 2013), http://www.iso-ne.com/regulatory/ferc/filings/2013/aug/index.html. ISO New England Inc. and New England Power Pool, Docket No. ER13-___-000, Energy Market Offer Flexibility Changes, FERC filing (July 1, 2013) (ISO and NEPOOL July 1, 2013, FERC filing), http://www.iso-ne.com/regulatory/ferc/filings/2013/jul/index.html.

ISO New England, “Key Project: Winter 2013/2014 Reliability Solutions,” web page (April 2013), http://www.iso-ne.com/key_projects/win_relblty_sol/index.html. ISO New England Inc., Docket No. ER13-___-000 Winter 2013-14 Reliability Program, FERC filing (June 28, 2013), http://www.iso-ne.com/regulatory/ferc/filings/index.html.

FERC, Order Conditionally Accepting Tariff Revisions, 144 FERC ¶ 61,204 (September 16, 2013), http://www.iso-ne.com/regulatory/ferc/orders/2013/sep/index.html.

Mitigation and Intraday Offers: Proposed Changes, Markets Committee presentation (March 11, 2013), http://www.iso-ne.com/committees/comm_wkgrps/mrkts_comm/mrkts/mtrls/2013/mar11122013/a12_imm_presentation_03_11_13.ppt.

Energy Market Offer Flexibility: Final Impact Analysis Report, Markets Committee presentation (March 11, 2013), http://www.iso-ne.com/committees/comm_wkgrps/mrkts_comm/mrkts/mtrls/2013/mar11122013/a12_iso_presentation_final_impact_analysis_rpt_03_11_13.ppt. Also see the June 28, 2013, FERC filing citation, above.

For additional information on the near-, medium-, and long-term measures, see Interdependencies of Market and Operational Changes to Address Resource Performance and Gas Dependency, ISO white paper (2013), http://www.iso-ne.com/committees/comm_wkgrps/strategic_planning_discussion/materials/interdependency_of_iso_proposals_to_key_spi_risks.pdf. Also, see the ISO and NEPOOL July 1, 2013, FERC filing citation, above; http://www.iso-ne.com/regulatory/ferc/filings/2013/jul/index.html.

A filing of FCM enhancements is planned for late 2013, effective for FCA #9.

Price response is the reduction of electricity consumption in response to a price signal from the ISO in exchange for compensation based on wholesale electricity prices.

Under an emissions trading program, an emissions allowance is the authorization for a source of a pollutant to emit one ton of the pollutant (e.g., SO2, NOX, or CO2) during a specific compliance period.

RGGI is a mandatory, market-base effort to reduce greenhouse gas emissions in the Northeast and Mid-Atlantic states through a multistate carbon dioxide (CO2) emissions budget cap-and-trade program.

EPA, Cooling Water Intake Structures § 316(b), Notice of Proposed Rulemaking, 76 FR 22174 (April 20, 2011). Applies to existing and new cooling water intake structures at power plants and manufacturers. EPA, Effluent Limitation Guidelines and Standards for the Stream Electric Power Generating Point Source Category 78 FR 34431 (June 7, 2013), https://federalregister.gov/a/2013-10191. The main pollutants of concern for these discharges include metals (mercury, arsenic, and selenium), nitrogen, and total dissolved solids generated by the operation of air pollution control devices.

Third Amendment to Settlement Agreement for Cronin, et al v. Reilly, 93 Civ. 314 (LTS) [Laura T. Swain, US District Judge] (SDNY), Riverkeeper, et al. v. EPA, 06 Civ. 12987 (PKC) [P. Kevin Castel, US District Judge] (SDNY) (June 27, 2013). Provides additional time for completion of formal consultation under the Endangered Species Act between EPA and the National Marines Fisheries Service and the US Fish and Wildlife Service. See http://water.epa.gov/lawsregs/lawsguidance/cwa/316b/upload/amendment3rd.pdf.

EPA, Effluent Limitations Guidelines and Standards for the Steam Electric Power Generating Point Source Category, proposed rule, 78 FR 34432 (June 7, 2013). EPA proposes revisions to existing (circa 1982) wastewater effluent limitation guidelines for power plants to address the changing toxicity of power plant wastewater discharge streams from scrubbers and other air pollution control systems required by air quality regulations.

EPA, National Ambient Air Quality Standards for Ozone, final rule, 73 FR 16436 (March 27, 2008); National Ambient Air Quality Standards for Particulate Matter, final rule, 78 FR 3086 (January 15, 2013); National Ambient Air Quality Standards for Sulfur Dioxide, final rule, 75 FR 35520 (June 22, 2010).

EPA, National Emission Standards for Hazardous Air Pollutants: Coal- and Oil-fired Electric Utility Steam Generating Units, final rule 77 FR 9304 (February 16, 2012). EPA developed standards under Section 112(d) to reduce hazardous air pollutant emissions from this source category. MATS was proposed on May 3, 2011 (76 FR 24976) and included proposed amendments to the criteria pollutant NSPS for utilities.

Clean Air Act Title IV—Acid Deposition Control, §§ 401-416, 42 U.S.C. §§ 7651-7651o; EPA, Rule to Reduce Interstate Transport of Fine Particulate Matter and Ozone (Clean Air Interstate Rule); Revisions to Acid Rain Program; Revisions to the NOX SIP Call, final rule, 70 FR 25162 (May 12, 2005).

EIA, Annual Energy Outlook 2013, “Issues in Focus—4. Competition between coal and natural gas in the electric power sector” (April 15, 2013), http://www.eia.gov/forecasts/aeo/IF_all.cfm#coal_gas.

2011 ISO New England Electric Generator Air Emissions Report (February 7, 2013), http://www.iso-ne.com/genrtion_resrcs/reports/emission/2011_emissions_report.pdf.

These changes in generation are consistent with New England fuel consumption in 2010 and 2011, as reported on the EIA Form, “EIA-923, Power Plant Operations Report” (http://www.eia.gov/electricity/data/eia923/). Coal consumption for electric generators fell from 6.2 million short tons in 2010 to 3.0 million short tons in 2011, and residual fuel oil consumption fell from 1.5 million barrels in 2010 to 0.7 million barrels in 2011.

RGGI, Inc., “Program Overview,” web page (n.d.), http://www.rggi.org/design/overview. The RGGI CO2 budget (cap) is equal to the total number of CO2 allowances issued by RGGI states in a given year. A CO2 allowance represents a limited authorization to emit one short ton of CO2 from a regulated source, as issued by a participating state. During the current control period (2012–2014), the cap is 165 million short tons of CO2 per year for the nine-state region.

RGGI, Inc., “Updated Model Rule,” on Program Review web page (February 7, 2013), http://www.rggi.org/design/program_review.

EPA, Standards of Performance for Greenhouse Gas Emissions for New Stationary Sources: Electric Utility Generating Units, proposed rule, 77 FR 22392 (April 13, 2012). Affected units include electric utility steam generating units (boilers); stationary combined-cycle combustion turbines and their associated heat-recovery steam generators (HRSGs) and duct burners; and integrated combined-cycle (IGCC) units, including their combustion turbines and associated HRSGs.

EIA, Annual Energy Outlook 2013, Early Release Overview (2013), http://www.eia.gov/forecasts/aeo/IF_all.cfm#coal_gas.

EPA, GHG New Source Performance Standard, 77 FR 22392, 22398 (April 13, 2012), http://www.federalregister.gov/a/2012-7820/p-219. EPA excluded simple-cycle turbines because they generally are used much less often (and thus have lower GHG emissions) and mostly to meet peak demand rather than base or intermediate load requirements.

Executive Office of the President, “Power Sector Carbon Pollution Standards,” presidential document, 78 FR 39533 (July 1, 2013), https://federalregister.gov/a/2013-15941.

New York v. NRC, 681 F.3d 471 (D.C. Cir. 2012). The court found that NRC violated the National Environmental Policy Act by failing to consider potential environmental effects in the event a permanent repository for disposing of spent nuclear fuel is never built. The court also found that the NRC’s consideration of leaks and fires involving spent fuel pools at nuclear power plants was deficient. Nuclear Regulatory Commission, Consideration of Environmental Impacts of Temporary Storage of Spent Fuel after Cessation of Reactor Operation, final rule, 75 Fed. Reg. 81032 (Dec. 23, 2010), and NRC, Waste Confidence Decision Update, 75 Fed. Reg. 81037 (Dec. 23, 2010).

FERC, Hydropower Licensing web page (June 10, 2013), http://www.ferc.gov/industries/hydropower/gen-info/licensing.asp.

Hydropower Regulatory Efficiency Act of 2013, Pub. L 113-23 (August 9, 2013). The act also directs DOE to study the operational flexibility that existing pumped storage facilities offer in support of intermittent renewable electric energy generation, including the potential for such facilities to be upgraded or retrofitted with advanced, commercially available technology and the potential of existing pumped storage facilities and new advanced pumped storage facilities to provide grid reliability benefits.

GE Applications and Systems Engineering. New England Wind Integration Study (December 5, 2010), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/reports/2010/newis_report.pdf. PAC archives of NEWIS materials are available at http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/reports/2010/index.html.

Refer to ISO’s FERC filing, Wind Resource Dispatch Rules (September 26, 2012), http://www.iso-ne.com/regulatory/ferc/filings/2012/sep/er12-2690-000_9-26-2012_wind_dispatch_rules.pdf.

ISO New England, Wind Development in Constrained Areas, PAC presentation (March 21, 2013), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2013/mar212013/a5_wind_development_in_constrained_areas_new.pdf . “Summary of Wind Power and Curtailment in New England,” ISO memorandum (June 28, 2013), http://www.iso-ne.com/regulatory/ferc/filings/2012/oct/er13-196-000_10-25_12_order_1000_compliance_part_2.pdf.

FERC, Interconnection for Wind Energy, Order No. 661-A, order on rehearing and clarification, 18 CFR, Part 35 (December 5, 2005), http://www.ferc.gov/industries/electric/indus-act/gi/wind.asp.

FERC, Standardization of Generator Interconnection Agreements and Procedures, Order 2003, final rule, 104 FERC ¶ 61,103 (July 24, 2003), http://www.ferc.gov/legal/maj-ord-reg/land-docs/order2003.asp. FERC, Interconnection for Wind Energy, Order No. 661, final rule, 18 CFR, Part 35 (June 2, 2005), http://www.ferc.gov/industries/electric/indus-act/gi/wind.asp.

Strategic Transmission Analysis Update, PAC presentation (March 14, 2012), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2012/mar142012/strat_trans_analysis.pdf.

The steady-state analysis is considering summer peak, winter peak, shoulder peak (fall and spring), and light load conditions. For each level of wind generation expansion, the analysis is simulating different wind conditions, including maximum wind, high wind, typical wind, and low wind. It also is varying the transfers with neighboring systems with the different load levels.

For example, the overlay design only considered single-contingency thermal constraints. New England Governors’ Conference, New England Governors’ Renewable Energy Blueprint (September 15, 2009), http://www.nescoe.com/Blueprint.html. Also see New England 2030 Power System Study: Report to the New England Governors, Scenario Analysis of Renewable Resource Development (February 2010), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/reports/2010/economicstudyreportfinal_022610.pdf.

Update on Solar PV and Other DG in New England, PAC presentation (June 19, 2013) (Solar Update PAC Presentation), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/jun192013/a7_solar_dg_update.pdf.

On December 27, 2012, the DOE Solar Program awarded funding to the IBM Thomas J. Watson Research Center (DOE Award No. DE-EE0006017). More information is available at https://solarhighpen.energy.gov/project/ibm_thomas_j_watson_research_center_watt_sun_multi_scale_multi_model_machine_learning_solar.

A new stakeholder forum (i.e., the Distributed Generation Forecast Working Group; DGFWG) will undertake efforts to develop long-term forecasts of PV and other distributed generation resources. This process will consider the key challenges to the integration of large amounts of PV in the region. (Refer to the Solar Update PAC presentation, June 19, 2013, in citation above.)

2011 Economic Studies: GridView Simulation Results, PAC presentation (January 17, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/jan172013/index.html, and 2011 Economic Studies: An Update of GridView Simulation Results, PAC presentation (March 21, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/mar212013/index.html. A load-serving entity secures and sells electric energy, transmission service, and related services to serve the demand of its end-use customers at the distribution level.

Preliminary Results for 2012 Economic Study Request Specific Scenario Phase and IREMM 2012 Economic Study Update, PAC presentations (January 17, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/jan172013/index.html. The simulation was run using IREMM, which used a simplified pipe and bubble representation of the of the transmission system that reflects first-contingency limits but does not capture all reliability requirements. The study reflected resource retirements and additions effective as of FCA #5.

Refer to the Solar Update PAC presentation, June 19, 2013, in citation above.

Economic Studies Update, PAC presentation (April 24, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/apr242013/index.html.

2013 Economic Study: Analysis of HQ Phase II Imports—Scope of Work and Assumptions Update, PAC presentation (July 9, 2013), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/jul92013/index.html.

A repowered generator may require transmission system improvements to qualify for the FCM, as identified by an FCA overlapping interconnection impact analysis, which the ISO conducts for each new supply-side resource to assess whether the resource can provide useful capacity and electric energy without negatively affecting the ability of other capacity resources to provide these services also.

Refer to ISO Planning Procedure 10, Planning Procedure to Support the Forward Capacity Market (April 22, 2013), http://www.iso-ne.com/rules_proceds/isone_plan/pp10/pp10_r12.pdf. Also refer to Sections 4.1.3 and 5.7.

Nontransmission Alternatives Analysis: Results of the NH/VT Pilot Study, PAC presentation (May 26, 2011), https://smd.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/ceii/mtrls/2011/may262011/nta_analysis.pdf.

Market Resource Alternative Analysis—Final Supply-Side Results Greater Hartford and Central Connecticut (December 13, 2012), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2012/dec132012/index.html, and Market Resource Alternative Analysis—Demand-Side Results Greater Hartford and Central Connecticut , revised (November 14, 2012), http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2012/nov142012/index.html.

Refer to the Solar Update PAC presentation, June 19, 2013, in citation above.

Energy Policy Act of 2005, Pub. L. 109-58, Title XII, Subtitle B, 119 Stat. 594 (2005) (amending the Federal Power Act to add a new § 216).

FERC, Transmission Planning and Cost Allocation by Transmission Owning and Operating Public Utilities, Order 1000, 18 CFR Part 35, 136 FERC ¶ 61,051 (July 21, 2011), http://www.ferc.gov/industries/electric/indus-act/trans-plan.asp and http://www.ferc.gov/whats-new/comm-meet/2011/072111/E-6.pdf. Preventing Undue Discrimination and Preference in Transmission Service, 18 CFR Parts 35 and 37, Order 890 (February 16, 2007), http://www.ferc.gov/whats-new/comm-meet/2007/021507/E-1.pdf.

ISO New England, Order No. 1000 Compliance Filing of ISO New England Inc. and the Participating Transmission Owners Administrative Committee, Part 1 of 2 (October 25, 2012), http://www.iso-ne.com/regulatory/ferc/filings/2012/oct/er13-193-000_10-25-12_order_1000_compliance_part_1.pdf. Also, Order No. 1000 Interregional Compliance Filing of ISO New England Inc. and the Participating Transmission Owners Administrative Committee, Supported by the New England Power Pool Participants Committee (July 10, 2013). http://www.iso-ne.com/regulatory/ferc/filings/2013/jul/index.html.

FERC, Order on Compliance Filings (May 17, 2013), http://www.iso-ne.com/regulatory/ferc/orders/2013/may/er13-193_er13-196_5-17_13_order_on_order_1000_compliance_filings.pdf.

ISO New England, Request for Rehearing on Order 1000 Compliance Order (June 17, 2013), http://www.iso-ne.com/regulatory/ferc/filings/2013/jun/er13-193_er13-196_6-17-13request_rehear_ordr1000.pdf.

National Interest Electric Transmission Corridors and Congestion Study documents are available at http://nietc.anl.gov/documents/index.cfm.

Piedmont Environmental Council v. FERC, 558 F.3d 304 (4th Cir. 2009).

More information about NERC is available at http://www.nerc.com/.

At 12,580 GWh, ISO’s net interchange with neighboring systems totaled 9.9% of its net energy for load in 2012. Refer to New England 2013 Regional System Plan Load and Capacity Resource Overview, PAC presentation (April 24, 2013), slide 4, http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/apr242013/a3_new_england_rsp13_load_and_capacity_resource_overview.pdf.

Additional information on the EIPC is available at http://www.eipconline.com/.

EIPC, Final DOE Statement of Project Objectives (July 14, 2010), http://www.eipconline.com/uploads/SOPO_14Jul10_DE-OE0000343.pdf.

EIPC, Phase I Report: Formation of Stakeholder Process, Regional Plan Integration and Macroeconomic Analysis, DOE Award Project DE-OE0000343 (December 2011), http://eipconline.com/uploads/Phase_1_Report_Final_12-15-2011.pdf. Phase II resources are available at http://eipconline.com/Phase_II.html.

See NERC’s “Reliability Assessment and Performance Analysis,” web page (2013), http://www.nerc.com/pa/RAPA/Pages/default.aspx.

FERC, Small Generator Interconnection Agreements and Procedures, notice of proposed rulemaking, 142 FERC ¶ 61,049 (January 17, 2013). ISO/RTO Council on Notice of Proposed Rulemaking, Small Generator Interconnection Agreements and Procedures (June 3, 2013), http://www.iso-ne.com/regulatory/ferc/filings/2013/jun/index.html.

Improving Critical Infrastructure Cybersecurity, White House Executive Order (February 12, 2013), http://www.whitehouse.gov/the-press-office/2013/02/12/executive-order-improving-critical-infrastructure-cybersecurity.

Response of the ISO/RTO Council to the NIST’s February 26, 2013, RFI (n.d.), http://www.iso-ne.com/regulatory/ferc/fed/2013/irc_response_nist_req_for_info.pdf.

The NPCC region covers nearly 1.2 million square miles populated by more than 55 million people. NPCC in the United States includes the six New England states and the state of New York. NPCC Canada includes the provinces of Ontario, Québec, and the Maritime provinces of New Brunswick and Nova Scotia. As full members, New Brunswick and Nova Scotia also ensure that NPCC reliability issues are addressed for Prince Edward Island.

Additional information about the protocol is available at http://www.interiso.com/public/document/Northeastern%20ISO-RTO%20Planning%20Protocol.pdf.

All IPSAC materials are available at http://www.iso-ne.com/committees/comm_wkgrps/othr/ipsac/index.html.

ISO New England, New York ISO, and PJM, 2011 Northeast Coordinated System Plan, final (May 31, 2012), http://www.iso-ne.com/committees/comm_wkgrps/othr/ipsac/ncsp/index.html. Also see “Interarea Planning Stakeholder Advisory Committee Materials,” ISO New England web page (2013), http://www.iso-ne.com/committees/comm_wkgrps/othr/ipsac/mtrls/index.html.

For more information, see www.nescoe.com.

New England Governors’ Conference, Inc., Resolution No. 205: A Resolution Directing NESCOE to Implement a Work Plan for the Competitive Coordinated Procurement of Regional Renewable Power (July 30, 2012), http://www.negc.org/uploads/file/NEGC%20Resolutions/NEGC%20Resolution%20205.pdf.

NESCOE, “Coordinated Competitive Renewable Power Procurement Work Plan” (November 2012), http://www.nescoe.com/uploads/WORK_PLAN_Final_Nov_2012.pdf.

NESCOE, Natural Gas Infrastructure and Electric Generation: A Review of Issues Facing New England (December 14, 2012), http://www.nescoe.com/uploads/Phase_I_Report_12-17-2012_Final.pdf.

NESCOE, New England Natural Gas Infrastructure and Electric Generation: Constraints and Solutions (April 16, 2013), http://www.nescoe.com/Gas_Supply_Study.html.

NESCOE, Natural Gas Infrastructure and Electric Generation: Proposed Solutions for New England (August 26, 2013), http://nescoe.com/Gas_Supply_Study.html.

ISO New England, “Monthly Issues Memo,” web page http://www.iso-ne.com/committees/comm_wkgrps/othr/clg/mnthly_issu_memo/index.html.

Eric Runge, “Sector Caucus Representatives for the EIPC,” memorandum (June 23, 2010), http://www.iso-ne.com/committees/comm_wkgrps/othr/eipc/eipc_caucus_reps.doc.

NEG/ECP, “Resolution Concerning Energy,” Resolution 37-1 (September 9, 2013), http://www.cap-cpma.ca/default.asp?mn=1.98.21.375.

Additional information on the CLG is available at http://www.iso-ne.com/committees/comm_wkgrps/othr/clg/index.html.

For more information on the CLG’s Governance, see http://www.iso-ne.com/committees/comm_wkgrps/othr/clg/consum_lias_grp_gov/index.html.

ISO New England and Consumer Liaison Group Coordinating Committee, 2012 Report of the Consumer Liaison Group (June 27, 2013), http://www.iso-ne.com/committees/comm_wkgrps/othr/clg/annual_rpts/index.html.

See the ISO’s Wholesale Markets Project Plans at http://www.iso-ne.com/pubs/whlsle_mkt_pln/index.html.

The Institute of Electrical and Electronics Engineers (IEEE) describes the smart grid as a “next-generation” electrical power system that typically employs the increased use of communications and information technology for generating, delivering, and consuming electrical energy. See the IEEE’s “What Is the Smart Grid” website (2011) at http://smartgrid.ieee.org/about-smartgrid. A more detailed discussion of smart grid technology is available at http://smartgrid.ieee.org/.

The IEEE defines FACTS as flexible alternating-current transmission systems that incorporate power-electronics-based controllers and other static controllers to enhance controllability and power-transfer capability. See http://www.ieee-pes.org/nari-hingorani-facts-award.

For additional information on PSERC and EPRI, refer to http://www.pserc.wisc.edu/home/index.aspx and http://www.epri.com/.

EIA, “Today in Energy,” web page (accessed June 20, 2013), “Percentage of US electric customers with AMI, 2011,” map, http://www.eia.gov/todayinenergy/detail.cfm?id=8590.

Additional information on NIST is available at http://www.nist.gov/index.html. Also see “2030 Smart Grid Interoperability Series of Standards” website, IEEE Standards Association (2010), http://grouper.ieee.org/groups/scc21/dr_shared/2030/.

ISO/RTO Council, “Smart Grid Standards Project,” website (2011), http://www.isorto.org/site/c.jhKQIZPBImE/b.6368657/k.CCDF/Smart_Grid_Project_Standards.htm.

For more information on IEEE, see http://www.ieee.org/index.html.

A map illustrating all the PMUs installed in North America as of March 30, 2012, is available at http://www.eia.gov/todayinenergy/detail.cfm?id=5630.

Michael Henderson and Donald Ramey, Planning Issues for FACTS, presentation at the IEEE Power Engineering Society General Meeting, Tampa (June 2007). Also see “Transmission System Application Requirements for FACTS Controllers Special Publication 06TP178,” produced by the IEEE Power Engineering Society Working Group 15.05.13.

Static VAR compensators and DVARs provide dynamic voltage support.

OATT, Attachment K, http://www.iso-ne.com/regulatory/tariff/sect_2/oatt/sect_ii.pdf. Transmission Planning Process Guide, draft, http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/feb122013/index.html, and Transmission Planning Technical Guide, draft, http://www.iso-ne.com/committees/comm_wkgrps/prtcpnts_comm/pac/mtrls/2013/mar202013/index.html.

CT DEEP, 2013 Comprehensive Energy Strategy (February 19, 2013), http://www.ct.gov/deep/cwp/view.asp?a=4405&q=500752&deepNav_GID=2121%20.

State of Connecticut, An Act Concerning Connecticut’s Clean Energy Goals, Public Act No. 13-303, http://www.cga.ct.gov/2013/ACT/PA/2013PA-00303-R00SB-01138-PA.htm.

CT DEEP, Restructuring Connecticut’s Renewable Portfolio Standard (April 26, 2013), http://www.ct.gov/deep/lib/deep/energy/rps/rps_final.pdf.

Renewable Energy Certificates are tradable, nontangible commodities, each representing the eligible renewable generation attributes of 1 MWh of actual generation from a grid-connected renewable resource.

State of Maine, An Act to Reduce Energy Costs, Increase Energy Efficiency, Promote Electric System Reliability, and Protect the Environment, Pub. L., Chapter 369 (June 26, 2013), H.P. 1128—L.D. 1559, http://www.mainelegislature.org/legis/bills/getPDF.asp?paper=HP1128&item=6&snum=126.

State of Maine, Resolve, Directing the Public Utilities Commission to Examine Measures to Mitigate the Effects of Geomagnetic Disturbances and Electromagnetic Pulse on the State's Transmission System,  Chapter 45 (June 10, 2013), H.P. 106—L.D. 131, http://www.mainelegislature.org/legis/bills/getPDF.asp?paper=HP0106&item=3&snum=126.

See Maine PUC press releases at www.maine.gov/tools/whatsnew/index.php?topic=puc-pressreleases&id=463166&v=article08.

Massachusetts, An Act Relative to Competitively Priced Electricity in the Commonwealth, Mass Gen. Laws, Ch. 209 (approved August 3, 2012), http://www.malegislature.gov/Laws/SessionLaws/Acts/2012/Chapter209.

Order on MA DPU Docket No. 12-77, Investigation by the Department of Public Utilities on its own motion into the need for additional capacity in NEMA/Boston within the next 10 years, pursuant to Chapter 209, Section 40 of the Acts of 2012 “An Act Relative to Competitively Priced Electricity in the Commonwealth” and pursuant to G.L. c. 164 §76 (March 15, 2013), http://www.env.state.ma.us/DPU_FileRoom/frmDocketListSP.aspx.

CEC, Massachusetts Clean Energy Industry Report 2013 (2013), http://images.masscec.com/uploads/attachments/2013/09/MassCEC_2013_IndustryRpt.pdf. In June 2013, the DOER announced its intent to promulgate regulations that would incent this additional PV development; see Mass.gov web page, “SREC-II Solar Carve Out Policy Development” (2013), http://www.mass.gov/eea/energy-utilities-clean-tech/renewable-energy/solar/rps-solar-carve-out/post-400-mw-solar-policy-development.html.

Massachusetts, Patrick Administration Reaches 2017 Solar Energy Target, Sets New Goal, press release (May 1, 2013), http://www.mass.gov/governor/pressoffice/pressreleases/2013/0501-solar-power-goal-reached.html.

PSNH, Report on Investigation into Market Conditions, Default Service Rate, Generation Ownership, and Impacts on the Competitive Electricity Market, IR 13-020 (June 7, 2013), http://www.puc.nh.gov/Electric/IR%2013-020%20PSNH%20Report%20-%20Final.pdf.

State of New Hampshire, “Electric Rate Reduction Financing and Commission Action,“ Section 369-B:1, Title 34, Public Utilities (June 12, 2000). http://www.gencourt.state.nh.us/rsa/html/xxxiv/369-b/369-b-mrg.htm.

State of New Hampshire, “Requiring a study of the site evaluation committee and process, and developing regulatory criteria for the siting of energy facilities,” SB 99 (June 26, 2013), http://legiscan.com/NH/bill/SB99/2013.

State of New Hampshire, An Act Establishing a State Energy Strategy, SB 191 (July 24, 2013), http://legiscan.com/NH/text/SB191/id/792744.

For more information, refer to “Vermont Energy Generation Siting Policy Commission,” web page (2013), http://sitingcommission.vermont.gov/.

Vermont Energy Generation Siting Policy Commission, Energy Generation Siting Policy Commission: A Report to the Governor and the Vermont General Assembly (April 2013), http://sitingcommission.vermont.gov/.

Entergy Nuclear Vermont Yankee, LLC v. Shumlin, No. 12-707-cv(L) (2nd Cir. August 14, 2013).

See Vt. Stat. Ann. tit. 30, § 248(b).

“ISO New England Issues Statement on Entergy’s Announcement to Retire Vermont Yankee Nuclear Plant,” press release (August 27, 2013), http://www.iso-ne.com/nwsiss/pr/index.html.